Request for Proposals

For

Small Business Direct Install Services

LIPA’s Commercial Efficiency Program

November 12, 2010

Long Island Power Authority

333 Earle Ovington Boulevard

Uniondale, New York 11553

Request for Proposals for

SMALL BUSINESS DIRECT INSTALL SERVICES

November 12, 2010

The Long Island Power Authority (“Authority”), a corporate municipal instrumentality and political subdivision of the State of New York, requests proposals for the provision of implementation services to the Authority and its subsidiary, the Long Island Lighting Company d/b/a LIPA (hereinafter the Authority and its subsidiary are collectively and individually referred to as “LIPA”) to support LIPA’s new Small Business Direct Install Program (the “SBDI”) for a contract term of five years as part of LIPA’s Commercial Efficiency Program.

RFP Highlights

- LIPA is seeking two Small Business Direct Install Contractors: one for Lighting projects (“SBDIC-L”) and one for Refrigeration projects (“SBDIC-R”) in this Request for Proposal (RFP).  The Small Business Direct Install Contractor (s) is to provide turnkey energy efficiency opportunity identification and installation services to small businesses located in identified load pockets, including:

  - Marketing to and enrolling Small Business customers within assigned service areas;

  - Performing site visits and collecting all necessary equipment and energy data;

  - Comprehensively identifying efficiency opportunities and performing analyses of the costs and savings of each opportunity;

  - Providing recommendations and information to customers, and obtaining customer approval for measure installations;

  - Preparing and executing cost-sharing contracts with customers, and submitting completed customer contracts to LIPA and National Grid (serving as LIPA’s agent);

  - Performing direct installation of eligible energy efficiency unit-priced measures.  The program targets energy-efficient lighting and refrigeration;

- LIPA intends to select two SBDIC(s), as described above, for a contract term of 5 years.

- The SBDIC will be paid for its services on a per-project/job basis at rates set forth in its proposal, or as may be subsequently negotiated.  LIPA will pay only for those energy efficiency measures which are identified by the selected Proposer in “Attachment A - SBDI Pricing Worksheet” for each scope proposed.   Any additional efficiency projects will be referred to LIPA’s project managers.  Any other work the SBDIC may propose to the customer must be reviewed and agreed upon with LIPA prior to work.

- LIPA has provided its preferred Contract (“SBDI Services Contract”) in Attachment C below.  The SBDI Services Contract contains a number of standard industry and required New York State provisions, and certain other terms and conditions.  Proposers may either accept or take exceptions to the SBDI Services Contract; provided that Proposers include specific alternate language for each exception taken.  The nature and extent of the exceptions taken, if any, to the SBDI Services Contract will be an important factor considered by LIPA in its evaluation of proposals.

- Proposals need to include Proposer’s signed statement that all proposed prices, terms, and conditions are firm through the end of the contract terms.

- For all information concerning this RFP, refer to the RFP Website accessible through the LIPA Website at http://www.lipower.org.

All questions regarding this RFP must be submitted as set forth herein.  LIPA will post questions and responses on the RFP Website.  Mr. William Funk, Contract Specialist and Mr. John Franceschina, Director of Commercial Programs, will serve as LIPA’s main points of contact for communications with Proposers.  Except as otherwise stated in the RFP, no other contact with Authority Board members, staff or LIPA’s consultants regarding this RFP will be allowed during the RFP process.  Violation of this requirement may be grounds for disqualification from the RFP.

- Target Schedule:

| Event | Target Date |
| --- | --- |
| Issuance of RFP | November 12, 2010 |
| Notice of Intent to Submit Response | December 10, 2010 |
| Deadline for submission of Questions | December 3, 2010 |
| Proposal Due Date | December 17, 2010 |
| Proposal Selection | TBD |
| Small Business Direct Install Services Commence | TBD |

Request for Proposals for

SMALL BUSINESS DIRECT INSTALL SERVICES

November 12, 2010

TABLE OF CONTENTS

1.0	Background	1

2.0	Introduction	2

3.0	Small Business Direct Install Program Description	3

4.0 	Scope of Work – Scope A. Lighting	4

4.1	Marketing of the Program	4

4.2	Authorizations	5

4.3	Energy Audit	5

4.4	Customer Contract	5

4.5	Lighting Prescriptive Measures	5

4.6	Training/Meetings	7

4.7	Customer Incentives, Payment, and Financing	7

4.8	Reporting/Tracking	7

4.9	Program Management	8

4.10	General Waste Disposals	8

4.11	Hazardous Waste Disposal	8

4.12	Equipment Purchase and Inventory	8

4.13	Standards/Warranties	8

5.0 	Scope of Work – Scope B. Refrigeration	9

5.1	Marketing of the Program	9

5.2	Authorizations	10

5.3	Energy Audit	10

5.4	Customer Contract	10

5.6	Training/Meetings	11

5.7	Customer Incentives, Payment, and Financing	11

5.8	Reporting/Tracking	11

5.9	Program Management	12

5.10	General Waste Disposals	12

5.11	Hazardous Waste Disposal	13

5.12	Equipment Purchase and Inventory	13

5.13	Standards/Warranties	13

6.0 	Proposal Submittal Requirements	14

7.0	Proposal Conditions and Instructions	16

7.1	Limitations	16

8.0	Evaluation Process & Criteria	17

8.1 	Evaluation Process	17

8.2	Evaluation Criteria	17

9.0	Communication during RFP Process	19

10.0	Proposal Submission	20

11.0	Target Schedule	20

12.0	Errors and Omissions	21

13.0	Contract Approval	21

14.0	Debriefing of Unsuccessful Proposers	21

Attachments

Attachment A:  SBDI Pricing Worksheet

Attachment B:  Notice of Intent or Decline to Bid

Attachment C: Required Forms

Attachment D: SBDI Contract

Request for Proposals for

SMALL BUSINESS DIRECT INSTALL SERVICES

November 12, 2010

The Authority seeks to select a Small Business Direct Install Contractor (“SBDIC”) for a term of 5 years.  This Request for Proposals for Small Business Direct Install Services describes the services being sought, the proposal requirements, and the evaluation process and criteria.  For all information, refer to the RFP Website accessible through the LIPA website at www.lipower.org.  All questions regarding this solicitation must be submitted by December 3, 2010 as further set forth herein (see discussion in Section 9.0 “Communication during RFP Process”).  Responses to this RFP are due no later than 3 p.m. Eastern Time, December 17, 2010.

Any contact regarding this RFP, beyond that allowed in this RFP, with Authority Board members, staff, or LIPA consultants during the pendency of this RFP may be grounds for disqualification from the RFP process.

Proposals received after the proposal due date and time will not be considered; nor will faxed or e-mailed proposals, whenever received.  Interviews of the top-qualifying firms may be conducted at LIPA’s discretion.  Once submitted, proposals will remain valid until December 17, 2011.

LIPA will not reimburse Proposers for any expenses incurred in connection with this RFP, including the costs of developing and/or submitting a proposal, providing any additional information, or attending an interview.  All material that is submitted in response to this RFP will become the sole property of LIPA.  LIPA expressly reserves the right to utilize any and all ideas submitted in the proposals received unless covered by legal patent or proprietary rights which must be clearly noted in the proposal submitted in response to the RFP.

Please be advised that selected Proposer(s) may be requested to provide an on-site presentation (interview) of their qualifications and provide further information regarding previous projects to assist LIPA in the proposal evaluation process.

Proposers’ attention is directed to the Minority and Women-Owned Business Enterprise (“M/WBE”) participation and goal requirements for this RFP of MBE: 5% and WBE: 5% as explained in the Minority and Women-Owned Business Enterprise Procedures language contained in the SBDI Services Contract.  Proposers are required to provide the information identified therein with their proposal. The goals are applicable to the total value of the contract.

# 1.0	Background

LIPA provides electric service to Customers in Nassau County, Suffolk County, and the portion of Queens County known as the Rockaways in the State of New York.  LIPA provides electric service via approximately 1,300 miles of underground and overhead transmission lines to over one million electric Customers on Long Island.

Since 1998, shortly after it acquired LILCO, LIPA has provided energy efficiency programs to its Customers through its Clean Energy Initiative (“CEI”), which expired at the end of 2008.  CEI had provided financial incentives, rebates, technical assistance, training, and other services to LIPA Customers to promote energy efficiency measures and offset the cost of qualifying residential and commercial products and appliances, and in the design and construction of new homes and businesses.

National Grid (formerly KeySpan), which manages LIPA’s transmission and distribution system pursuant to a Management Services Agreement, as Amended and Restated, has historically managed LIPA’s energy efficiency programs as well.  Going forward, LIPA envisions National Grid will continue to provide such support in the day-to-day management of present and future Energy Efficiency programs.

In evaluating options for meeting the demands of current and future electric energy markets, LIPA has designed a new set of energy efficiency initiatives, under the Efficiency Long Island (“ELI”) program, to provide significantly increased energy and demand savings.  LIPA intends to implement the ELI initiative to achieve significant energy savings through 2018 by offering energy savings incentives and rebates to the residential, commercial, and industrial sectors.  As a result of a pending New York Public Service Commission (“PSC”) proceeding to establish an Energy Efficiency Portfolio Standard Proceeding (“EEPS”), LIPA may decide to pursue even more aggressive energy efficiency goals, resulting in peak electric demand and energy savings.

# 2.0	Introduction

The Authority is requesting proposals for implementation services to support a new Small Business Direct Install (the “SBDI”) Program as part of the Authority’s Commercial Efficiency Program.  The SBDI program will be in effect for five years.  This RFP consists of two separate Scopes of Work – one for the lighting component, Scope A, and one for the refrigeration component, Scope B.  Proposers can bid on one or both Scopes of Work.  Each Scope of Work is described in general terms to include:

- Marketing of the SBDI to eligible Small Business Customers (the “Customers”) in assigned load pocket areas;

- Energy efficiency measure identification, including developing existing equipment inventories, and developing Customer cost proposals for all eligible and cost-effective measures;

- Presentation of all recommendations and a cost-sharing proposals to the Customer;

- Executing cost-sharing contracts with the Customer for the installation of agreed upon measures;

- Installation of all contracted measures at the Customers’ facilities, including inventory management and proper disposal of removed equipment.

- Performance of administrative functions for the management of the SBDI, including tracking and reporting to the Authority of all Program activity, as directed.

The Small Business Direct Install Contractor (“SBDIC”) will be paid for its services on a per-project/job basis.  The Customer contract will be between the SBDIC and the Customer, and LIPA will not be a party thereto.  Any responsibility with regard to contract disputes and/or the resolution thereof, shall be solely between the SBDIC and the Customer.  The SBDIC will be paid 70% of the project cost from LIPA, with the Customer responsible for the remaining 30%.  Depending upon market and program conditions, LIPA and the SBDIC may revise the 70/30 cost split, decreasing LIPA’s contribution and increasing the customer’s contribution.

The first year targeted Program budget is $10 million.  LIPA estimates participation levels to be 90% lighting projects with the remaining 10% refrigeration.  These levels are estimates only. Depending on actual start date the budget will be prorated with the remainder added to subsequent years.  This budget includes all costs charged by the SBDIC as well as all other costs incurred by the Program, such as internal administration, Customer outreach, evaluation, etc.

Savings targets for the first year are between 20 – 30 GWh (5 - 7.5MW peak demand).  Depending upon the actual start date, the goals will be prorated with the remainder added to subsequent years.  It is expected that all Proposers will maximize energy savings given the targeted budget, and overall program cost effectiveness is a very important evaluation component.

Program goals for all five years are as follows:

| Year | 2011 | 2012 | 2013 | 2014 | 2015 |
| --- | --- | --- | --- | --- | --- |
| Goal | 20 – 30 GWh 5 – 7.5 MW | 20 – 30 GWh 5 – 7.5 MW | 20 – 30 GWh 5 – 7.5 MW | 25 – 35 GWh 6.25 – 8.75 MW | 25 – 35 GWh 6.25 – 8.75 MW |

# 3.0	Small Business Direct Install Program Description

  - Program Summary

The SBDI Program offers Customers the opportunity to have existing electric equipment replaced with more energy-efficient systems in an easy and cost-effective process.  The Program targets energy-efficient lighting systems and refrigeration equipment, but will consider other measures such as lighting controls, HVAC, motors and variable speed drives, etc., provided that they meet the cost-effectiveness criteria of the Program.  The SBDI Program will target Small Business Customers defined as Customers with an average peak demand of 145 kW per month or less.  The Program is designed to identify all cost-effective efficiency opportunities and provide direct installation, financial incentives, education, and other strategies to encourage the early replacement of existing equipment with high efficiency alternatives.

The SBDIC shall propose fixed-cost pricing for total-installed equipment, with the understanding that LIPA will take responsibility for 70% of the project cost and the Customer 30%.  The program is designed to offset the cost of installing energy-efficient equipment for Customers.  LIPA will pay their cost split directly to the SBDIC; the SBDIC will bill the Customer for the remaining 30% of the installed cost.  Any SBDIC that is able to provide financing to the Customers for the remaining 30% should include that in their proposal.  Proposers that offer such financing options for customers will be given additional consideration.

The Program is intended to be a turnkey solution that offers Customers a single source of information, technical assistance, installation services and financial incentives.  Projects must pass cost effectiveness criteria such as Total Resource Cost Test prior to implementing the project.  LIPA will provide the screening criteria tool after award of contract.  The SBDIC responsibilities include the following elements:

    - marketing to Customers;

    - performing site visits and collecting all equipment and energy data, identifying efficiency opportunities, performing analyses, project screening, and developing Customer recommendations

    - presenting the recommendations to the Customer and developing and executing a Customer Contract prior to proceeding with the installation

    - installing eligible measures

    - collecting the Customer portion of the installed costs

    - tracking various levels of Program activity through the Authority’s database and data collection protocols;

    - tracking and proper disposal of all equipment including lamps and ballasts

    - invoicing LIPA per the SBDI Services Contract

    - submitting all required documentation to LIPA.

3.2	Program Rationale

Market-driven/lost opportunity programs have the potential to permanently transform markets, thereby ensuring the capture of sustainable and widespread savings at relatively low cost.  However, the vast majority of current and near-future electric consumption and savings potential is found in existing buildings and equipment.  While many small business facilities are regularly renovated or remodeled, energy efficiency is traditionally not a primary consideration.  Most remodels are performed for cosmetic or functional reasons, and often leave much of the energy-consuming equipment in place.  Compounding this, the level of efficiency of in-place mechanical and electrical equipment is often substantially below new high efficiency equipment or even new standard equipment.

Numerous intractable barriers exist that prevent most small business customers from pursuing energy efficiency on their own, including limited access to capital and an inability to devote the necessary time and expertise to identify opportunities and manage installations.  By overcoming these barriers, the SBDI Program will also improve small businesses’ bottom-lines and thereby improve overall economic development on Long Island.

3.3	Market Description

3.3.1	End-User Market Segments

The Program targets eligible small business Customers with peak demand less than or equal to 145 kW within selected load pocket areas in LIPA’s service territory.  These load pockets represent areas where the impacts of SBDI can further strengthen the local electric distribution system.  Targeted load pockets will be identified by LIPA in Nassau and Suffolk Counties as well as the Rockaway Peninsula.

3.3.2	Target Efficiency Opportunities

LIPA seeks to pursue comprehensive savings among all of its program participants where practicable.  For the SBDI Program, it is expected that the vast majority of cost-effective energy savings will be derived from energy-efficient lighting (90%) and refrigeration (10%).  The Proposer must submit pricing for all measures under the appropriate Scope of Work (either Scope A, Scope B or both Scope A and Scope B).  Leaving any measures blank will result in the disqualification of the Proposal.  For example, if a Proposer is bidding on only the Lighting Scope of Work (Scope A), the Pricing Document for Scope A must be completed in its entirety. .  If a Proposer is bidding on both Scopes of Work, the Proposer must complete all pricing documents in their entirety.

As part of the site visit and energy assessment and equipment inventory, it is expected that the SBDIC may identify energy savings opportunities which fall outside the scope of the SBDI program.  The SBDIC will forward all such leads to LIPA’s Project Managers for review and follow up.

# 4.0 	Scope of Work – Scope A. Lighting

# 4.1	Marketing of the Program

The Lighting Small Business Direct Install Contractor (“SBDIC-L”) shall have the capability for marketing this Program directly to eligible Customers in their assigned service areas.  In some cases, National Grid’s Customer Energy Solutions Group will take the lead in Customer contact and will work together with the SBDIC-L.  LIPA will provide the SBDIC-L with a database of eligible commercial Customers.  That database will include the Customer’s energy consumption history.  Such eligible Customers are those commercial Customers being serviced on LIPA’s non-residential electric rates, which have an average monthly demand of less than or equal to 145 kW.  It is expected that the SBDIC-L will perform marketing primarily through direct contact (in person, by phone or by mail).  This marketing may be supplemented by more broadly-based utility print and broadcast marketing, at LIPA’s discretion.

# 4.2	Authorizations

The SBDIC-L will be responsible for obtaining signed authorizations to conduct energy audits at the Customer’s facilities. This authorization will be obtained prior to conducting any energy audits and no audit shall be conducted without this authorization.

# 4.3	Energy Audit

The SBDIC-L will take the lead on all Customer Audits.  The SBDIC-L will be responsible for conducting an energy audit at the Customer’s facility.  The audit will be a total and complete inventory of all lighting and mechanical systems at a Customer’s facility that are currently used in normal operation of the Customer’s business.  The audit debriefing presentation must include a list of recommended measures for replacement under the SBDI Program and a Customer Contract for consideration.

# 4.4	Customer Contract

The SBDIC-L will present the Customer with a LIPA-approved boilerplate contract (Customer Contract).  Although the SBDIC-L will be an independent contractor and LIPA will not be a party to the contract between the SBDIC-L and the Customer, as a Public Authority and political subdivision of the State of New York, LIPA is concerned for its Customers and the implementation of its programs.  Accordingly, LIPA will review and approve the Customer Contract.  The provisions of the Customer Contract shall include, but shall not be limited to the following:

- a detailed statement of work, and an existing equipment inventory,

- project screening results

- proposed equipment to be installed,

- installation parameters for the actual work to be completed,

- the total installation cost, a breakdown of the cost sharing,  [LIPA (70%), the Customer portion (30%)],

- the estimated energy savings and corresponding electric bill reduction,

- payment terms,

- warranty information, and

- SBDIC-L contact information.

The SBDIC-L will have responsibility for the Customer Contract and for the collection of Customer payments.  Through the design of the program, LIPA’s role is to provide 70% of the project cost as a customer incentive, but LIPA will not be a party to the Customer Contract.  While the SBDIC-L shall submit a sample of its boilerplate customer contract for LIPA’s review and approval of the required form to be used for all Customer Contracts, as previously indicated, LIPA will not be not party to those contracts and will not review or approve each Customer Contract.

# 4.5	Lighting Prescriptive Measures

Prescriptive measures consist of such pre-qualified equipment as found on LIPA’s Commercial Efficiency Program Prescriptive Application.  The SBDIC-L must regularly check the CEP Prescriptive Application for updates.  The SBDIC-L will price these measures on a fixed-fee basis (inclusive of material and labor).  These measures are more fully described below and itemized in the SBDI Pricing Worksheet (Attachment A) provided with this RFP.  The SBDIC-L is encouraged to include additional energy savings measures and pricing separate from the SBDI Pricing Worksheet (Attachment A).

The SBDIC-L is to provide a list of a minimum of three (3) local equipment suppliers and negotiate fixed low prices on energy-efficient equipment.  The intention is to offer the best value for service and equipment for LIPA Customers.

4.5.1	Lighting Retrofits

All bids for retrofits shall be for ballast and lamp replacements including the removal of both the existing lamp(s) and ballasts(s).  Any deviations from the expected application parameters written in the spreadsheet (e.g., height, interior/exterior, relocation greater or less than 10’, capping of abandoned electrical source, etc.) should be explained in the SBDI Pricing Worksheet (Attachment A).  High Performance T-8 systems, as specified by the Authority, shall be the standard replacement option for all applicable lighting installations.   The Authority’s minimum standards for High Performance T-8 systems are consistent with Consortium for Energy Efficiency (CEE) specifications, and all lighting equipment (lamps, ballasts and fixtures) must meet (CEE) specifications.

4.5.2	Reflectors

All bids for fluorescent reflectors shall be for ballast and lamp replacements, including the removal of both the existing lamp(s) and ballast(s), as well as the installation of the new reflectors.  Additionally, the SBDIC-L shall perform a thorough cleaning of the existing fixture lens. Fixture efficiencies shall be in accordance with the minimum requirements set by the Authority.

4.5.3	Occupancy Sensors

Ceiling-mounted and switch plate sensors shall be prescribed for the appropriate use only in areas where the technology will not interfere with ongoing use of the area.  Any occupancy sensor installation shall be adjusted and tested for sensitivity at the time of installation.

4.5.4	Fixture Replacements

The SBDIC-L will be responsible for the identification and quantification of any fixtures to be replaced. Digital pictures of any recommended fixtures or equipment for replacement shall be submitted to LIPA.

All bids for fixture replacement shall be on a per-fixture basis, which includes the installation of the fixture, ballast and lamp(s).  Any deviations from the expected application parameters written in the spreadsheet (e.g., height, interior/exterior, relocation greater or less than 10’, capping of abandoned electrical source, etc.) shall be explained in the SBDI Pricing Worksheet (Attachment A).

The SBDIC-L will be expected to remove and relocate the existing fixture(s) to an on-site storage location specified by the Customer or to an off-site storage location provided by the SBDIC-L in a timely manner.   Proposer must be able and qualified to transport and store materials off-site for recycling.  The ultimate pick-up and disposal of hazardous materials (including, but not limited to lamps and ballasts) is the sole responsibility of the SBDIC-L.

The SBDIC-L must explain any aesthetic alterations to the Customer.  These may include, for example, paint or holes to be repaired by the Customer where the new fixture may not cover the original fixture footprint.

# 4.6	Training/Meetings

The SBDIC-L’s employees and subcontractors will be required to attend Program training sessions held at LIPA’s discretion.

# 4.7	Customer Incentives, Payment, and Financing

LIPA will pay the SBDIC-L 70% of the total cost for measures installed at a Customer site upon completion of the project.  The SBDIC-L will be responsible for collecting the remaining 30% directly from the Customer.

# 4.8	Reporting/Tracking

LIPA will provide to the SBDIC-L access to the Siebel data tracking/contact management system. The SBDIC-L will be required to use this system in the course of all implementation tasks.  Proposers must agree to enter all required data into LIPA's partner portal, for each application processed.

4.8.1	Data Requirements

Data must be captured at a level that minimally includes:

- Customer information, including active account number, rate code, contacts, service address, mailing address, etc

- Contractor and Partner information

- All application form data elements

- Project leads

- Workflow activities and associated statuses

- Number and attributes of units for each instance of unique existing equipment, proposed retrofit and actual equipment installed (where applicable)

- Marketing campaign response data and promotion codes

- Document attachments and scanned images

- “Before” and “After” date-stamped photographs of each project.  Photos must be able to clearly identify location, number and type of equipment replaced.

- Customer interaction notes

- All created and updated transactions should be tagged with company, user id and date/time of transaction (including date/time created or date/time modified).

All Proposers must have the capability to capture all the data specified above within a relational database that can be interfaced to LIPA's Siebel System using XML interface through web services and/or via Siebel Partner Portal.  LIPA will provide XML Schema /WSDL (Web Services Description Language) templates and the Proposer will be responsible for mapping their system data to the supplied Schema.

Please provide a detailed plan and timeline describing how your company’s system will interface with LIPA’s Siebel CRM System.  The plan should include LIPA resources necessary to complete each task within the plan.  Please provide client names and project examples of other similar system interfaces that you have successfully implemented in the past.  Describe the file formats, transfer protocols, load schedules and data security methods for each example.

# 4.9	Program Management

The SBDIC-L will be assigned targeted load pocket areas in LIPA’s service territory.  These areas may be adjusted based on performance and/or at LIPA’s discretion.

The SBDIC-L is required to maintain a local office within LIPA’s service territory.

Prior to the start of work, the SBDIC-L is required to secure a Performance Bond equal to one month of activity or $625,000, whichever amount is greater.

# 4.10	General Waste Disposals

The SBDIC-L shall be solely responsible for the proper and compliant disposal of all waste materials resulting from the implementation of the project including, but not limited to, fixtures including lamps and ballasts.  The SBDIC-L shall be responsible for ensuring that the worksite is left in a neat and orderly manner with no negative impact to the Customer or their business operations.

The SBDIC-L must provide a written guarantee to LIPA that fixtures removed will not be reused in the LIPA service area.  Proof of disposal must be made available to LIPA upon request.

# 4.11	Hazardous Waste Disposal

The SBDIC-L will track all equipment removed from each facility and shall comply with all general and hazardous waste disposal laws, rules, regulations, codes and requirements of New York State, the federal government and local municipalities.  The SBDIC-L must provide a written guarantee to LIPA that hazardous materials removed will not be reused in the LIPA service area.  Proof of disposal must be made available to LIPA upon request.

# 4.12	Equipment Purchase and Inventory

The SBDIC-L shall be responsible for the procurement and inventory of all materials and energy-efficient equipment.

# 4.13	Standards/Warranties

The SBDIC-L shall warrant all work to be performed by properly licensed personnel in a neat and workman-like manner taking all reasonable necessary precautions to ensure minimal impact to the Customer’s facility and operations.  The SBDIC-L and all subcontractors shall be professional and courteous in nature and shall execute the work in accordance with standard trade practices.  The SBDIC-L may subcontract the work performed; however, the SBDIC-L shall be responsible for the acts and omissions of the subcontractor, as well as for the acts and omissions of any and all persons employed by the SBDIC-L and its subcontractors.  If the Authority determines the SBDIC-L or any subcontractor is not meeting requirements or has acted in an inappropriate or undesirable manner, the Authority shall notify the SBDIC-L.  The SBDIC-L shall immediately take the necessary steps to remedy the problem, including the cancellation of any subcontractor agreements or the removal of any persons performing the substandard work.

The SBDIC-L will report any hazardous or unsafe conditions to the Customer.  Identification of such conditions will preclude Customer participation in SBDI.  SBDIC-L personnel will be expected to wear personal protective gear as appropriate.

##### The SBDIC-L's employees will wear proper identification (e.g., nametag, hats, shirts, etc.) with their Company Name, logo, employee name, etc., and must present their credentials to the Customer prior to entering the property.  Should the SBDIC-L require documentation outlining their relationship with LIPA, LIPA will provide such documentation upon request.

##### SBDIC-L must complete criminal background checks on employees and any personnel with questionable background will not be permitted contact with LIPA customers.

The SBDIC-L shall offer a one-year warranty, including labor, from the date of original installation for the installation of each product.  The SBDIC-L will also notify the Authority of all unusual and/or recurring Customer equipment performance problems, and shall describe the resolution of all warranty work related to such problems.

The SBDIC-L shall supply a sticker at the electric panels stating the energy efficiency measures installed.  The sticker shall include as a minimum, the SBDIC-L name, address, and phone number.  The purpose of the sticker is to provide the Customer with easy-to-find contact information for warranty or other service requests.

The Proposal shall indicate any other warranties available and offered to the Customer.  The SBDIC-L should fully describe their proposed Customer complaint resolution approach and describe their quality control (QA/QC) procedures.

Work shall conform to all existing state and local building codes.  The SBDIC-L is responsible for obtaining all necessary permits.  The work shall also conform to standard industry best practices.  In all cases, lighting shall be maintained at safe and acceptable levels consistent with IESNA standards.

4.14	Quality of Workmanship Plan

The SBDIC-L must propose a Quality Assurance/Quality Control Plan.  The plan should include a process to verify work completed is in accordance with the signed Customer Contract.  Details of the plan should include a mechanism to submit findings to LIPA along with any remediation plans if required.

LIPA reserves the right for LIPA and its Manager, Measurement and Verification contractor, and agents to inspect any completed projects and, at its discretion, LIPA may employ its own Quality Assurance/Quality Control.

# 5.0 	Scope of Work – Scope B. Refrigeration

# 5.1	Marketing of the Program

The Refrigeration Small Business Direct Install Contractor (“SBDIC-R”) shall have the capability for marketing this Program directly to eligible Customers in their assigned service areas.  In some cases, National Grid’s Customer Energy Solutions Group will take the lead in Customer contact and will work together with the SBDIC-R.  LIPA will provide the SBDIC-R with a database of eligible commercial Customers, including the Customer’s energy consumption history.  Such eligible Customers are those commercial Customers being serviced on LIPA’s non-residential electric rates, which have an average monthly demand of less than or equal to 145 kW.  It is expected that the SBDIC-R will perform marketing primarily through direct contact (in person, by phone or by mail).  This marketing may be supplemented by more broadly-based utility print and broadcast marketing, at LIPA’s discretion.

# 5.2	Authorizations

Where authorization has not already been obtained by the SBDIC-L, the SBDIC-R will be responsible for obtaining signed authorizations to conduct energy audits at the Customer’s facilities. This authorization will be obtained prior to conducting any energy audits and no audit shall be conducted without this authorization.

# 5.3	Energy Audit

When the SBDIC-L has not already done so, the SBDIC-R will be responsible for conducting an energy audit at the Customer’s facility.  The audit will be a total and complete inventory of all lighting and mechanical systems at a Customer’s facility that are currently used in normal operation of the Customer’s business.  Where there is question as to whether the Audit should be conducted by the SBDIC-L or the SBDIC-R, the SBDIC-R must present the potential audit to the SBDIC-L and the SBDIC-L decision will stand.  The audit debriefing presentation must include a list of recommended measures for replacement under the SBDI Program and a Customer Contract for consideration.

# 5.4	Customer Contract

The SBDIC-R will present the Customer with a LIPA-approved boilerplate contract (Customer Contract).  Although the SBDIC-R will be an independent contractor and LIPA will not be a party to the contract between the SBDIC-R and the Customer, as a Public Authority and political subdivision of the State of New York, LIPA is concerned for its Customers and the implementation of its programs.  Accordingly, LIPA will review and approve the Customer Contract.  The provisions of the Customer Contract shall include, but shall not be limited to the following:

- a detailed statement of work, and an existing equipment inventory,

- project screening results

- proposed equipment to be installed,

- installation parameters for the actual work to be completed,

- the total installation cost, a breakdown of the cost sharing,  [LIPA (70%), the Customer portion (30%)],

- the estimated energy savings and corresponding electric bill reduction,

- payment terms,

- warranty information, and

- SBDIC-R contact information.

The SBDIC-R will have responsibility for the Customer Contract and for the collection of Customer payments.  Through the design of the program, LIPA’s role is to provide the 70% of the project cost as a customer incentive, but LIPA will not be a party to the Customer Contract.  While the SBDIC-R shall submit a sample of its boilerplate customer contract for LIPA’s review and approval of the required form to be used for all Customer Contracts, as previously indicated, LIPA will not be not party to those contracts and will not review or approve each Customer Contract.

5.5.5 	Refrigeration Measures

Refrigeration measures are defined below.  The SBDIC-R will price and itemize these measures on a fixed-fee basis (inclusive of material and labor) in the SBDI Pricing Worksheet (Attachment A) provided with this RFP.  The SBDIC-R is encouraged to include additional energy savings measures and pricing separate from the SBDI Pricing Worksheet (Attachment A).  The SBDIC-R is also encouraged to affiliate itself with local equipment suppliers and negotiate fixed low prices on energy-efficient refrigeration equipment (Controls, Heaters, Night set-backs, ECMs and LED Strips [LED strips must appear on the Solid State Lighting approved DesignLights Consortium list.]  The intention is to offer the best value for service and equipment for the LIPA Customers.  All equipment must be certified by Underwriters Laboratory (UL) and proper documentation must be provided regarding technical specifications, energy consumption and projected energy savings.  Equipment must be installed according to local codes and standards.  Any materials removed must be in accordance with sections 5.10 and 5.11 of this RFP.  Refrigeration measures are defined as those listed below, but are not limited to:

      - Evaporator/Compressor Controller

The control unit, sensors and wiring required to measure the temperature of a walk-in cooler or freezer in order to turn evaporator fans and compressors off and on based on the set-point and the inside temperature of the cooler.

      - Cooler/Freezer Door Heater Control Circuit

The sensors and wiring required to measure humidity levels in ambient area to automatically turn cooler and freezer door heaters on/off only when needed.

      - Night Set-back of Free-Standing Novelty Coolers

A control unit used to allow the temperature of novelty coolers to rise during the overnight period thereby requiring the compressor to operate less.

      - Retrofit High-Efficiency Evaporative Fan Motor

Replace existing shaded-pole evaporator fan assemblies in walk-in coolers and freezers with unitary fan assemblies containing efficient ECM motors.

      - LED Lighting/5’ and 6’ Mullion and End Cap Strips

Retrofit all T12, T10 and T8 fluorescent lighting systems with LED strips which appear on the Design Lights Consortium Solid State approved products list found on the NEEP website.

# 5.6	Training/Meetings

The SBDIC-R’s employees and subcontractors will be required to attend Program training sessions held at LIPA’s discretion.

# 5.7	Customer Incentives, Payment, and Financing

LIPA will pay the SBDIC-R 70% of the total cost for measures installed at a Customer site upon completion of the project.  The SBDIC-R will be responsible for collecting the remaining 30% directly from the Customer.

# 5.8	Reporting/Tracking

LIPA will provide to the SBDIC-R access to the Siebel data tracking/contact management system. The SBDIC-R will be required to use this system in the course of all implementation tasks.  Proposers must agree to enter all required data into LIPA's partner portal, for each application processed.

5.8.1	Data Requirements

Data must be captured at a level that minimally includes:

- Customer information, including active account number, rate code, contacts, service address, mailing address, etc

- Contractor and Partner information

- All application form data elements

- Project leads

- Workflow activities and associated statuses

- Number and attributes of units for each instance of unique existing equipment, proposed retrofit and actual equipment installed (where applicable)

- Marketing campaign response data and promotion codes

- Document attachments and scanned images

- “Before” and “After” date-stamped photographs of each project.  Photos must be able to clearly identify location, number and type of equipment replaced.

- Customer interaction notes

- All created and updated transactions should be tagged with company, user id and date/time of transaction (including date/time created or date/time modified).

All Proposers must have the capability to capture all the data specified above within a relational database that can be interfaced to LIPA's Siebel System using XML interface through web services and/or via Siebel Partner Portal.  LIPA will provide XML Schema /WSDL (Web Services Description Language) templates and the Proposer will be responsible for mapping their system data to the supplied Schema.

Please provide a detailed plan and timeline describing how your company’s system will interface with LIPA’s Siebel CRM System. The plan should include LIPA resources necessary to complete each task within the plan.  Please provide client names and project examples of other similar system interfaces that you have successfully implemented in the past.  Describe the file formats, transfer protocols, load schedules and data security methods for each example.

# 5.9	Program Management

The SBDIC-R will be assigned targeted load pocket areas in LIPA’s service territory.  These areas may be adjusted based on performance and/or at LIPA’s discretion.

The SBDIC-R is required to maintain a local office within LIPA’s service territory.

Prior to the start of work, the SBDIC-R is required to secure a Performance Bond equal to one month of activity or $625,000, whichever amount is greater.

# 5.10	General Waste Disposals

The SBDIC-R shall be solely responsible for the proper and compliant disposal of all waste materials resulting from the implementation of the project.  The SBDIC-R shall be responsible for ensuring that the worksite is left in a neat and orderly manner with no negative impact to the Customer or their business operations.

The SBDIC-R must provide a written guarantee to LIPA that equipment and materials removed will not be reused in the LIPA service area.  Proof of disposal must be made available to LIPA upon request.

# 5.11	Hazardous Waste Disposal

The SBDIC-R will track all equipment removed from each facility and shall comply with all general and hazardous waste disposal laws, rules, regulations, codes and requirements of New York State, the federal government and local municipalities.  The SBDIC-R must provide a written guarantee to LIPA that hazardous materials removed will not be reused in the LIPA service area.  Proof of disposal must be made available to LIPA upon request.

# 5.12	Equipment Purchase and Inventory

The SBDIC-R shall be responsible for the procurement and inventory of all materials and energy-efficient equipment.

# 5.13	Standards/Warranties

The SBDIC-R shall warrant all work to be performed by properly licensed personnel in a neat and workman-like manner taking all reasonable necessary precautions to ensure minimal impact to the Customer’s facility and operations.  The SBDIC-R and all subcontractors shall be professional and courteous in nature and shall execute the work in accordance with standard trade practices.  The SBDIC-R may subcontract the work performed; however, the SBDIC-R shall be responsible for the acts and omissions of the subcontractor, as well as for the acts and omissions of any and all persons employed by the SBDIC-R and its subcontractors.  If the Authority determines the SBDIC-R or any subcontractor is not meeting requirements or has acted in an inappropriate or undesirable manner, the Authority shall notify the SBDIC-R.  The SBDIC-R shall immediately take the necessary steps to remedy the problem, including the cancellation of any subcontractor agreements or the removal of any persons performing the substandard work.

The SBDIC-R will report any hazardous or unsafe conditions to the Customer.  Identification of such conditions will preclude Customer participation in SBDI.  SBDIC-R personnel will be expected to wear personal protective gear as appropriate.

##### The SBDIC-R's employees will wear proper identification (e.g., nametag, hats, shirts, etc.) with their Company Name, logo, employee name, etc., and must present their credentials to the Customer prior to entering the property.  Should the SBDIC-R require documentation outlining their relationship with LIPA, LIPA will provide such documentation upon request.

##### SBDIC-R must complete criminal background checks on employees and any personnel with questionable background will not be permitted contact with LIPA customers.

The SBDIC-R shall offer a one-year warranty, including labor, from the date of original installation for the installation of each product.  The SBDIC-R will also notify the Authority of all unusual and/or recurring Customer equipment performance problems, and shall describe the resolution of all warranty work related to such problems.

The SBDIC-R shall supply a sticker at the electric panels stating the energy efficiency measures installed.  The sticker shall include as a minimum, the SBDIC-R name, address, and phone number.  The purpose of the sticker is to provide the Customer with easy-to-find contact information for warranty or other service requests.

The Proposal shall indicate any other warranties available and offered to the Customer.  The SBDIC-R should fully describe their proposed Customer complaint resolution approach and describe their quality control (QA/QC) procedures.

Work shall conform to all existing state and local building codes.  The SBDIC-R is responsible for obtaining all necessary permits.  The work shall also conform to standard industry best practices.

5.14	Quality of Workmanship Plan

The SBDIC-R must propose a Quality Assurance/Quality Control Plan.  The plan should include a process to verify work completed is in accordance with the signed Customer Contract.  Details of the plan should include a mechanism to submit findings to LIPA along with any remediation plans if required.

LIPA reserves the right for LIPA and its Manager, Measurement and Verification contractor, and agents to inspect any completed projects and, at its discretion, LIPA may employ its own Quality Assurance/Quality Control.

# 6.0 	Proposal Submittal Requirements

To assist the Authority in its review of proposals, all Proposers are required to follow the following proposal format:

Section 1:	Executive Summary

Provide a brief summary describing the Proposer’s overall understanding and knowledge of the services requested by this RFP and summarize the overall approach for meeting the requirements put forth by the Authority.

Section 2:	Scope of Work

The Scope of Work is the source document from which the contractual Statement of Work will be developed once the project is awarded.  Describe in detail the actions you will take and services you will provide to complete each task.  Arrange your tasks logically and be specific as to who will perform the work, when, where, and how it will be performed and the expected result.

In addition to other RFP requirements, Proposers shall specifically address the following in their proposals.  Be sure the proposal includes your plan to address any subcontractors/vendors/scope changes and how they will comply.

- Project Startup: detail the startup activities that will be required and an associated timeline that facilitates project commencement

- Marketing methodology and resources, including the identification of any new approaches to marketing or new target markets.

- The SBDIC energy efficiency project capacity.  Provide monthly estimates for:

    - Audits

    - Projects

    - Energy savings

Provide plan for meeting these goals

- Project Management:  explain how you will manage subcontractors, provide project oversight, and address problems and complaints.  Detail your process and procedures that will ensure a high level of Customer satisfaction. Lay out the Proposer’s average process flow time between the marketing, auditing, proposing, Customer Contract execution, and completing of a project.

- Include a process diagram that clearly depicts workflow.  The process diagram should provide an overview of all of the activities/processes and deliverables along with timeframes needed to complete each task.

- Inventory management, including quantities of equipment on hand and storage capacity.

- Describe and explain the Proposer’s Tracking and Database resources, and indicate whether significant capital outlays will be necessary to meet the requirements. Provide a detailed plan and timeline describing how your company’s system will interface with LIPA’s Siebel CRM System.

- Include in the Proposal your plan for general waste and hazardous waste disposal management, including your hazardous waste tracking tool.

- Include in the Proposal a discussion of the major issues related to the approach for performing, and any experience in delivering specialized services not listed as a Prescriptive Measure that the Proposer can offer or coordinate for the Authority’s Customers.

- Include in the Proposal your Quality Assurance/Quality Control Plans.

- Include in the Proposal a sample invoice.

- Provide a sample Customer Contract and other documentation.

- Include in your proposal your proposed electric panel sticker per section 4.13 and 5.13.

- Describe in detail a representative sample of how you would approach the Scope of Work on behalf of a Customer.  Provide information on how you would achieve the goals and objectives of this RFP on behalf of LIPA and on behalf of the Customer.  Include in this representative sample the types of work, equipment and the costs that are associated with Attachment A of this RFP.  Should you provide financing options for the customer, include information on those financing programs in your proposal.

Section 3: 	Qualifications

Provide the qualifications of all key staff involved with the delivery of the services proposed and a summary of their qualifications including technical training, licensing, audit and installation experience, along with their work locations.  If subcontractors are to be utilized, include a listing of subcontractors, including contact person, address, contact information, summary of qualifications, number of years of experience with energy efficiency turn-key services, and a list of references.  If Proposer intends to hire additional staff in order to provide the proposed services, a description of its approach to hiring and the qualifications it will require of prospective employees should be included.  If licenses are required, Proposer shall provide verification of each license holder and shall be responsible for maintaining such licenses over the duration of the SBDI Services Contract.

Indicate the location and logistics of anticipated field operations.

Section 4: 	References

Provide a minimum of three (3) references that can speak to the Proposer’s experience in delivering energy-efficient installations to small business Customers.

Section 5:	Experience

Indicate the Proposer’s direct experience in delivering turn-key services, comprehensive energy efficiency audits and surveys, and energy savings equipment installations to small business Customers.  Also describe the Proposer’s experience marketing energy efficiency services; developing, using, and maintaining electronic tracking systems; and integrating and managing multiple subcontractors.  Include a summary of past and present contracts held similar in nature to the services described in this RFP.

Section 6:  M/WBE Utilization

Proposer’s attention is directed to the Minority Business Enterprise (“MBE”) and Women-Owned Business Enterprise (“WBE”) participation and goals for this RFP of MBE: 5% and WBE:  5% as explained in the Minority and Women-Owned Business Enterprise language contained in Attachment C, Appendix A.  Proposers are to provide the information identified in Section 4.9 Bidding Procedure Items 1 through 3 with their proposal.  The goals are applicable to the total value of the contract.

Section 7:  Pricing

Provide pricing for all services specified in the Scope of Work and price those services on the SBDI Pricing Worksheet provided (Attachment A).  All Proposers must use these spreadsheets to indicate their company’s per-unit pricing for each prescriptive measure.  All proposals shall be inclusive of all pricing, including labor and materials as well as marketing, sales, audit, permit fees, data collection, data tracking, use, service, excise, federal, state, local taxes, and any and all other fees and charges.  Proposers are requested to include a sample invoice that will be submitted to LIPA as required for payment on completed projects.

# 7.0	Proposal Conditions and Instructions

Miscellaneous

While LIPA has endeavored to supply useful information in this RFP, LIPA makes no representation or warranty, expressed or implied, as to the accuracy or completeness of any information contained herein or otherwise provided to any Proposer by or on behalf of LIPA.  LIPA shall have no liability relating to or arising from any such information or the use thereof.  Proposers are encouraged to conduct their own investigation and analysis of any and all information contained herein or otherwise provided by or on behalf of LIPA.  This RFP is not an offer or commitment and is not capable of being accepted to form a binding agreement.

# 7.1	Limitations

- This RFP does not commit LIPA to award a contract, pay any costs associated with the preparation of a proposal, or procure or contract for services of any kind whatsoever.  LIPA reserves the right, in its sole discretion, to accept or reject any or all responses to this RFP, to negotiate with any and all considered firms, or to cancel this RFP in whole or in part.  LIPA reserves the right to request additional information from any or all Proposers.

- The Proposer is expected to perform and complete only the work contemplated in the Scope of Work in this RFP and the SBDI Contract, and not to utilize the program to solicit any additional work from the customer without LIPA’s express written consent and the informed consent of the Customer, and any such additional work shall not be included in the Customer Contract.  LIPA shall not be party to any additional agreement between the Customer and SBDIC for additional work and will assume no responsibility for any work that is beyond the scope of this RFP.

- Proposers may be requested by LIPA to clarify the contents of their proposal.  Other than to provide such information as may be required by LIPA, no Proposer will be allowed to alter its proposal or add new information after the proposal due date.

- All material submitted in response to this RFP will become the sole property of LIPA.

- From among the proposals received, LIPA may select one or more proposals, or it may decline to accept any or all proposals.

6.	Proposers must submit best and final pricing in their Proposals.  There will be no ability to negotiate pricing once proposals are submitted.

7.	Should LIPA be unsuccessful in negotiating a contract with the selected Proposer within a timeframe it considers acceptable, LIPA reserves the right to begin contract negotiations with another Proposer in order to serve and realize the interests of LIPA.

# 8.0	Evaluation Process & Criteria

# 8.1 	Evaluation Process

A Selection Committee consisting of LIPA staff and consultants will evaluate proposals.  This Selection Committee will make its recommendation to LIPA’s Board of Trustees for approval.  The cumulative non-cost, evaluation criteria listed below, will be given greater significance than the cost factors during LIPA’s evaluation of proposals.

The Selection Committee will initially review all proposals to determine responsiveness.  The Selection Committee may afford Proposers the opportunity to clarify proposals for the purpose of assuring a full understanding of their responsiveness to the RFP.  The Selection Committee will evaluate all responsive proposals based on the evaluation criteria stated below.  LIPA reserves the right to reject all non-responsive proposals.

LIPA may short-list (conduct interviews of those Proposers found to be the most qualified to provide the required services) based upon the RFP evaluation criteria.  If interviews are conducted, Proposers will be notified in advance of the exact interview date(s).  Prior to the award of any contract(s), the Selection Committee will conduct a vendor responsibility determination and may require eligible Proposers to answer questions and provide additional information to supplement the information provided in the Vendor Responsibility Questionnaire to assist the Selection Committee in making such a determination.

# 8.2	Evaluation Criteria

Each responsive proposal will be subject to a qualitative and quantitative evaluation by LIPA based upon an overall assessment of its merits using criteria which includes (not necessarily listed in the order of importance):

- Responsiveness to Work Scope and Program Needs:  Proposer’s demonstrated understanding of LIPA’s needs in the Small Business Direct Install Program, the scope of services proposed, and description of how the services will be provided.  The Proposer’s plan to quickly respond to LIPA requests related to resolving Customer issues must be clearly defined.

- Costs:  Proposer’s proposed per-measure pricing and its total proposed cost for meeting the SBDI goals for the services requested in this RFP.

- Relevant Experience:  Proposer’s relevant program experience, qualifications and experience of management and support staff, technical expertise, experience with energy efficiency programs, experience with subcontractor management, experience with the Long Island market, and the number and quality of its references.

- Customer Service:  Proposer’s demonstrated success in providing exceptional Customer service.

- M/WBE Utilization:  Proposer’s demonstrated understanding of the importance to utilize MBE’s and WBE’s as a part of the provision of Program Services to LIPA.  The Proposer’s demonstrated means to meet LIPA’s goals of 5% for MBE’s and 5% for WBE

- Acceptance of the SBDI Contract:  Acceptance of the SBDI Contract; or, if exceptions to the contract are taken, the number and extent of exceptions as well as the risk such exceptions place on LIPA.

- Key Deliverables:  Ability of Proposer to provide key deliverables as indicated stated throughout this RFP and outlined below:

- General Waste Disposal Plan

- Hazardous Waste Disposal Plan

- Hazardous Waste Tracking Tool

- Proposed Electric Panel Sticker (section 4.13)

- Complaint Resolution Approach

- Customer Satisfaction Plan

- Quality Control Plan

- Marketing Methodology

- marketing resources

- market approach

- target markets

- Process Flow Chart

- marketing

- audit

- proposal

- contract implementation

- project completion

- Proposed Boilerplate Customer Contract (section 4.4 & 5.4)

- Sample SOW for Customer Contract

- Siebel System interface Plan

- Sample Customer Inventory Report

- Sample Invoice

- Specialized Services

- Financing Proposals

- Personnel

- specialized training

- experience

- licensing

- hiring approach

- References

# 9.0	Communication during RFP Process

A Proposer may be disqualified from the RFP process if it has any contact regarding this RFP, beyond that allowed in this RFP with LIPA Board members, LIPA staff or LIPA consultants during the pendency of this RFP.

Pursuant to State Finance Law sections 139-j and 139-k, this RFP includes and imposes certain restrictions on communications between LIPA and Proposers during the procurement process.  A Proposer is restricted from making contacts (i.e., an oral, written or electronic communication which a reasonable person would infer as an attempt to unduly influence the award, denial, or amendment of a contract) from issuance of the RFP through final award and approval of the resulting Procurement Contract by LIPA and the Office of the State Comptroller ("restricted period") to any LIPA staff, its consultants or Board of Trustees member other than as designated herein, unless it is a contact that is included among certain statutory exemptions as set forth in State Finance Law sections 139-j(3)(a).  LIPA's designated staff for this RFP, as of the date hereof is Mr. John Franceschina, Director of Commercial Programs (516) 719-7506; Mr. William Funk, Contract Specialist, (516) 719-9235; Mr. Michael Standridge, Director of Corporate Contracts and Procurement (516) 719-8620; and Mr. Jonathan Chandler, Contract Administrator (516) 719-9274. The LIPA Board of Trustees and staff, as well as LIPA’s agents and representatives are also required to obtain certain information when contacted during the restricted period and make a determination of the responsibility of the Proposer pursuant to these two statutes.  Certain findings of non-responsibility can result in rejection for contract award, and in the event of two findings within a four year period, the Proposer is debarred from obtaining governmental Procurement Contracts.  Further information about these requirements, including the contract disclosure forms can be found in LIPA’s Guidelines Regarding Procurement Lobbying posted on the RFP Website.

Up to the date for the deadline for submission of questions, Proposers are encouraged to submit questions in writing to the Authority and the Authority will post responses to the questions on the RFP Website on a rolling basis.  Any questions should be submitted in writing and faxed to John Franceschina, Director of Commercial Programs at (516) 719-8602.  No other communication of questions and answers will be made.  Further, following issuance of this RFP, the Authority will use the Website to provide any additional information to Proposers regarding the RFP process.

Periodically throughout the RFP process, the Authority may accumulate the questions and post them on the Authority’s Website.

It is requested that entities interested in submitting a proposal in response to this RFP fax a Notice of Intent or Decline to Bid (Attachment B) to the attention of John Franceschina, Director of Commercial Programs at (516) 719-8602 on or before December 10, 2010.  Such notice should contain the Proposer’s name, address, phone number, e-mail address and contact person.  Submission of a Notice of Intent or Decline to Bid is not a pre-requisite for submitting a proposal.

# 10.0	Proposal Submission

- A cover letter, which shall be considered an integral part of the proposal, shall accompany the proposal and be signed by the individual or individuals authorized to bind the SBDI contractually.  In signing the cover letter, the SBDI agrees to be bound by the terms of this RFP and its submission hereunder until December 17, 2011.  The cover letter shall contain a statement to the effect that the SBDI’s work for the Authority will not create any conflict of interest.  If Proposer believes that a conflict may arise, the nature of the conflict should be described.

- Non-responsive proposals include, but are not limited to, those that:

- Are irregular or not in conformance with RFP requirements and instructions;

- Are conditional;

- Are intended to accomplish only part of the overall work; or

- Are not submitted on time or are submitted at any time via facsimile or email.

LIPA may waive minor informalities or irregularities in a proposal that are merely a matter of form and not substance and the correction of which would not be prejudicial to other proposals.

Failure to submit a proposal on time will not be waived by LIPA under any circumstance (e.g., traffic conditions, mail or courier failure).

Proposals submitted in response to this RFP should be submitted in a manner set forth below.

- Six bound copies of the Proposer’s proposal and one CD of the proposal must be mailed, sent by courier, or hand-delivered so that they are received by 3:00 p.m. Eastern Time on December 17, 2010 at the following address:

Long Island Power Authority

Mr. John Franceschina

Energy Efficiency Small Business Direct Install Services RFP

333 Earle Ovington Blvd., Suite 403

Uniondale, New York 11553

Proposals received after the above-stated due date and time will not be considered, nor will e-mailed or faxed proposals, whenever received.

# 11.0	Target Schedule

The proposed schedule of key dates in this RFP is as follows:

| Event | Target Date |
| --- | --- |
| Issuance of RFP | November 12, 2010 |
| Notice of Intent to Submit Response | December 10, 2010 |
| Deadline for submission of Questions | December 3, 2010 |
| Proposal Due Date | December 17, 2010 |
| Proposal Selection | TBD |
| Small Business Direct Install Services Commence | TBD |

# 12.0	Errors and Omissions

If a Proposer discovers any ambiguity, conflict, discrepancy, omission or other error in this RFP, it shall immediately notify Mr. William Funk, in writing, at Long Island Power Authority, Energy Efficiency Small Business Direct Install Services RFP, 333 Earle Ovington Blvd., Suite 403, Uniondale, New York 11553, of such error and request clarification or modification to the document.

Should LIPA find it necessary, modifications to the RFP will be made by written addenda.  Such modifications will be posted on LIPA’s website.

If a Proposer fails to notify LIPA of a known error or an error that reasonably should have been known prior to the final filing date for submission, the Proposer shall assume the risk.  If awarded the contract, the Proposer shall not be entitled to additional compensation or time by reason of the error or its late correction.

# 13.0	Contract Approval

LIPA’s selection of the successful Proposer, on behalf of LIPA, shall not be binding until such selection is approved, in accordance with Section 112 of the New York State Finance Law, by the State Comptroller of the State of New York and filed in his office.  No payment for services rendered can be made under the contract until such approval is obtained.

# 14.0	Debriefing of Unsuccessful Proposers

Upon written request to Mr. John Franceschina, an unsuccessful Proposer may request a debriefing with LIPA staff.  Debriefings will be scheduled after LIPA has provided written notice of its selection of the successful Proposer(s).

Discussions during any such debriefing will be limited to an analysis of the proposal submitted to LIPA by the Proposer requesting the debriefing.  Comparisons between proposals or evaluations of the other proposals will not be discussed.  Debriefings may be conducted in person or on the telephone at LIPA's discretion.

Attachment A

SBDI Pricing Worksheet

For Scope A Lighting

And Scope B Refrigeration

Instructions:

1. Proposers may submit cost proposals for one or both scopes.

2. Proposers must fill out costs for all of the blue fields. A proposal that does not contain all of the cost information for the scope proposed shall be deemed non-responsive.

Attachment B

NOTICE OF INTENT OR DECLINE TO BID

Date:  _________________

Via Fax

Dear Mr. John Franceschina

Fax Number: (516) 719-8602

The undersigned (intends to respond) or (declines the opportunity to respond) (Circle) to the RFP for the Energy Efficiency Small Business Direct Install under LIPA’s Efficiency Long Island initiative:

Contact Person		_________________________

Company		_________________________

Address		_________________________

_________________________

Phone #			_________________________

Fax #			_________________________

Email Address		_________________________

Proposer Signature	_________________________

Reason for Decline

Attachment C

Required Forms

The following forms must be completed and provided in the Proposer’s Technical proposal pursuant to proposal submittal requirements in Section 5.1.e. and are available on LIPA’s website with the RFP.

- MacBride Principles

- Non-Collusive Bidding Certification

- Contractor Disclosure forms

- Contingent Fee Certification

- NYS Vendor Responsibility Questionnaire

Attachment D

SBDI Contract

# Footnotes

See CEE commercial lighting specifications posted and updated at www.cee1.org