
	Invitation to Bid                                               
MOREHEAD STATE UNIVERSITY
OFFICE OF SUPPORT SERVICES

_____________________________
ATTENTION:  This is NOT an order.  Read all instructions, terms and conditions carefully.

______________________________
IMPORTANT:  Sealed bids must be received by                                                 
                                                        
                                                                             ►
	Invitation No.

MO-07-12
	Date Issued

8/29/11
	Method of Award

BEST VALUE

	
	Product or Service
CAMPUS WALLS AND STONE REPAIR OR REPLACEMENT

	
	Area Code

606
	Telephone Number

783-2018

	
	Bid Opening Date


09/13/11
	Time

3 PM
	Location


Support Services

	SIGNATURE REQUIRED:  This Invitation to Bid cannot be considered valid unless the bidders signs and prints or types his name, firm address, telephone number, and date in the spaces provided below.  A bid signed by an agent is to be accompanied by evidence of authority, unless such evidence has been previously furnished the issuing office.
	Mail or Hand Deliver Copy to:

Morehead State University     
Office of Support Services

160 Old Cranston Road
Morehead, KY 40351

	1. Sealed bids for furnishing the following will be received by Morehead State University, Office of Support Services, Morehead, KY 40351, until the date and time stated above.

2. Please quote your single best net price on each item, unless a discount from list price is requested, delivered to the address specified, all transportation charges prepaid.  Price shall include delivery as specified on invitation.

3. Bids must be firm.  Those containing escalator clauses cannot be accepted.  To receive consideration, bids must be made on this form and signed in full.  Prices must be based on stated units and extended.  Delivery guarantee must be shown.

	AUTHENTICATION OF BID AND STATEMENT OF NON-COLLUSION AND NON-CONFLICT OF INTEREST

I hereby swear (or affirm) under the penalty for false swearing as provided by KRS 523.040:

1. That I am the bidder (if the bidder is an individual), a partner in the bidder (if the bidder is a partnership) or an officer or employee of the bidding corporation having authority to sign on its behalf (if the bidder is a corporation);

2. That the attached bid or bids have been arrived at by the bidder independently and have been submitted without collusion with, and without any agreement, understanding or planned common course of action with, any other vendor of materials, supplies, equipment or services described in the Invitation to Bid, designed to limit independent bidding or competition;

3. That the contents of the bid or bids have not been communication by the bidder or its employees or agents to any person not an employee or agent of the bidder or its surety on any bond furnished with the bid or bids and will not be communicated to any such person prior to the official opening of the bid or bids;

4. That the bidder is legally entitled to enter into the contracts with Commonwealth of Kentucky and is not in violation of any prohibited conflict of interest, including those prohibited by the provisions of KRS 164.390, 45A.330 to .340; and

5. That I have fully informed myself regarding the accuracy of the statements made above.

                                                                   NOTICE

1. Any agreement or collusion among bidders or prospective bidders which restrains, tends to restrain, or is reasonably calculated to restrain competition by agreement to bid at a fixed price, or to refrain from bidding, or otherwise is prohibited.

2. Any person who violates any provisions of Kentucky Revised Statute 45A.325 shall be guilty of a felony and shall be punished by a fine of not less than five thousand dollars nor more than ten thousand dollars, or be imprisoned not less than one year nor more than five years, or both such fine and imprisonment.  Any firm, corporation or association which violates any of the provisions of KRS 45A.325 shall, upon conviction, be fined not less than ten thousand dollars nor more than twenty thousand dollars.

	TIME DISCOUNT ALL ITEMS ___________________
                                                     (Quote only 30 days or longer)

Time discount will not be factor in award.

We submit the prices and agree to make delivery within ____ days after receipt of order.  This offer is for _______ calendar days from the date this bid is opened.

In submitting this bid, it is expressly agreed that, upon proper acceptance by Morehead State University of any or all items bid above, a contract shall thereby be created with respect to the items accepted.
                                                     
	►  IMPORTANT:  SIGN OFFER BELOW
Signed by _____________________________________________
Printed Name __________________________________________
Firm _________________________________________________

Address ______________________________________________

_____________________________________________________
City                                     State                                       Zip Code        
Email ________________________________________________

Area Code ______ Telephone No. _________________________

Area Code _________ Fax No. ____________________________

Date:  ________________________________________________


INSTRUCTION FOR BIDS              
Office of Support Services
Prices

Firm pricing is desired and will be given first consideration for contract award.  If prices can be held for only a specific period of time, this should be stated by the bidder.  Price quotations made, which may be subject to change must be so identified in the bid.  If contracts are placed under these prices, the University, upon notification by the vendor of documented market changes which must be submitted prior to contact delivery; may either accept the price change or cancel the contract.

Method of Award

Unless otherwise stated, the award will be made on an item per item basis.  However the Office of Support Services reserves the right to award or reject bids as deemed to be in the best interest of the University.  Additional units may be purchased with the consent of the Vendor.

Multiple Bids

Unless otherwise specified, only one price, brand/or model may be proposed for each item of this Invitation to Bid.  Bidders must determine their single best offering based on the quality specified.  Bids not conforming to this requirement will be rejected.

Warranty

Manufacturers standard warranty must be submitted to the University for any contract issued as a result of this Invitation.

Submission of Offers

Offers and modifications thereof shall be enclosed in sealed envelopes.  Telegraphic offers will not be considered unless authorized by the solicitation; however, offers may be modified by telegraphic notice, provided such notice is received prior to the hour and date specified for receipt.

Equal Employment Opportunity

All bidders must be in compliance with Executive Order 11246 of September 24, 1965, as amended by Executive Order 11375 of October 13, 1967.

NOTE – Offers must set forth full, accurate, and complete information as required by this solicitation.
[image: image1.png]Morehead State University
Office of Support Services

Invitation No. MO-07-12 Page Number ___ 3 Bidder’s Name

Specifications

YOU ARE INVITED TO BID ON THE FOLLOWING . ..

1 Furnish all permits, approvals, labor, materials, tools, equipment,
services and supplies, necessary to perform demolition, removal
or preparation of walls, stone, brick or concrete structures as
identified by the attached photographs, project list and site maps
located on the campus of Morehead State University, complete
and in accordance with the terms, conditions and specifications
attached hereto.

ALTERNATE 1

Substitute architectural limestone components for the specified
precast concrete on Button Auditorium stairway walls. Alternate
shall also include any change in construction materials and
methods that may be required to correctly install limestone wall
components.

PLEASE NOTE: Bid will be awarded on the base bid only.
The total of the alternate bid has no bearing on the award. A
decision on the alternate will be made after all bids are opened.

SUCCESSFUL BIDDER MUST PROVIDE PROOF OF
INSURANCE.

A 5% BID BOND OR CASHIER’S CHECK MUST BE INCLUDED
WITH BID TO RECEIVE CONSIDERATION.

A 100% PERFORMANCE BOND WILL BE REQUIRED OF THE
SUCCESSFUL BIDDER. THE PERFORMANCE BOND MUST BE
ISSUED WITHIN TEN WORKING DAYS AFTER NOTICE OF
AWARD.

Vendor must visit site accompanied by authorized Facilities
Management staff prior to bid opening for bid to be considered. Site
visits may be scheduled 24 hours in advance by calling Steve Leitz or
Terry White at 606-783-2066, Monday through Friday, 8:00 AM — 3:30
PM

The materials, products and equipment detailed, described or
referenced to manufacturers’ or vendors’ names, trade names, catalog
numbers, etc., are intended to establish a standard for required function,
dimension, appearance and quality. Material, article or equipment of
other manufacturers and vendors which will perform adequately the
duties imposed by the general design will be considered equally
acceptable provided the materials, article or equipment so proposed is,
in the opinion and judgment of the Owner, of equal substance and
function.

or use of Office of Support Services

Date E 'Z )&' }’ ’

(Purchasing Agent)






MOREHEAD STATE UNIVERSITY
CAMPUS WALLS AND STONE
REPAIR OR REPLACEMENT
INSTRUCTIONS TO BIDDERS

AND

GENERAL CONDITIONS

ARTICLE 1 - INVITATION
Bids are requested by the Office of Facilities Management, Morehead State University, Rice Maintenance Building, Morehead, Kentucky 40351, from eligible firms for the furnishing of all permits, approvals, labor, materials, tools, equipment, services and supplies, necessary to perform the demolition, removal or preparation of walls, stone, brick or concrete structures as identified by the attached photographs, project list and site maps, located on the campus of Morehead State University, in Morehead, Kentucky, complete and in accordance with terms, conditions and specifications as contained herein. 

ARTICLE 2 - METHOD OF BIDDING
Bidders shall submit bids as indicated in the accompanying Bid Form. No other method of bidding will be considered, and the bidder must use the form of bid which is included in and made part of this invitation. Contract will be awarded by low total. 

ARTICLE 3 - AWARD OF CONTRACT
A.
The "owner" reserves the right to reject any and all bids, to waive all informalities and/or technicalities of a bid when in the Owner's judgment, the interest of Morehead State University may be served.

B.
In the event the bidder's bid is accepted by the owner and such bidder shall fail to furnish satisfactory performance bond within ten (10) calendar days from the date of notification of the award of the contract, the owner may at its option, determine that the awardee has abandoned the contract. Thereupon the bid shall become null and void, and the bid guarantee which accompanied it shall be forfeited to and become the property of the owner as liquidated damages from such failure. If the bidder shall execute the contract and furnish satisfactory bond, the bid guarantee will be returned to the bidder by the owner.

C. That a contract is legally entered into will be indicated by the issuance and release of the Morehead State University purchase order.

ARTICLE 4 - INSURANCE
The contractor shall provide proof of the following minimum insurance coverage:

(A)
Worker's Compensation

Kentucky Statutes

(B)
Public Liability


$   500,000 One Person/Maximum

$1,000,000 One Accident/Maximum




MSU named as Additional Insured

(C)
Property Damage


$   500,000 One Accident/maximum

$1,000,000 Aggregate

(To include all vehicles and equipment owned or non-owned for use on the project)

ARTICLE 5 - INSPECTION OF WORK
The owner reserves the right to inspect the work in progress.  If any portion of the materials or installation does not meet the required specification, the contractor shall remove and/or replace at the contractor's expense.

The contractor shall permit the owner and/or their representatives to inspect and review work, materials, payrolls, records or personnel, conditions of employment, invoices of materials, books of account, and other relevant data and records with respect to this contract.

The owner has the right to test materials and submit for laboratory testing.

ARTICLE 6 - PERMITS AND CODES
The contractor shall obtain all permits necessary for any and/or all parts of the work from the authorities governing such work.  Evidence of such approved permits being issued, shall be furnished to the owner before beginning work. The contractor shall observe all applicable federal, state, and local codes governing the work. Permits shall be provided by the contractor but no fee shall be applicable on projects of the Commonwealth.

ARTICLE 7 - ADDENDA
Any "Addenda or Instructions to Bidder" issued by the Office of Facilities Management  prior to the time for receiving bids shall be covered in the bid and in closing a contract they shall become part thereof. Such addenda shall be acknowledged in the Bid. No instructions or changes shall be binding unless documented by a proper and duly issued addendum.

ARTICLE 8 - TAXES, WORKMEN'S COMPENSATION, ETC.
The contractor shall be required to accept liability, make payment, and include in Bid Amount, all payroll taxes, sales and use tax, and all other taxes or deductions required by federal, state, or local laws such as old age pensions, social security, or annuities measured by wages. Morehead State University is not exempt from the provisions of the current Kentucky Sales or Use Tax so that provision for this tax must be included in the bid amount and paid by the contractor.

Morehead State University is entitled to exemption from Federal Excise Tax. Exemption certificates will be furnished to cover excise tax exemption where applicable and when requested by the contractor.
ARTICLE 9 - WITHDRAWAL OF BIDS
A.
Prior to closing date for receipt and opening of bids, any bidder may withdraw his/her bid in person only, at any time prior to the scheduled time for closing of bids.

B.
After receipt and opening of bids, withdrawal of bids will not be permitted for a period of thirty (30) calendar days from the date of receipt and opening of bids.

ARTICLE 10 - OR EQUAL
If any material or equipment and/or specifications, unless specifically designated "no substitution" appear in this Invitation which restricts any bidder from bidding whose product is equal in performance, construction, efficiency, etc., to that specified, then, and in that event the bidder may submit a bid on the lowest and best bid herefrom.  The burden of proof of equality shall be the responsibility of the bidder.  If the Architect/Engineer judges the material or equipment not equal to that named in the specifications, the bidder/contractor shall provide material or equipment that is judged to be in compliance with the specifications.  The Architect/Engineer's decision shall be final.

ARTICLE 11 - ALTERNATES
The owner reserves the right to reject any or all alternate bids if provided for in the bid documents.  The determination as to the responsive and responsible bid will be made on the basis of the lump sum base bid plus and/or minus any alternate that may be accepted by the owner.  Alternates to be used in sequence set forth in the bid if considered for acceptance.

ARTICLE 12 – SITE VISIT
Any vendor wishing to submit a response to this project must visit the site accompanied by authorized Facilities Management staff prior to bid opening for bid to be considered.  Site visits can be scheduled 24 hours in advance by contacting Steve Leitz or Terry White at 606-783-2066, Monday through Friday, 8:00 AM – 4:30 PM.
ARTICLE 13 - CLEAN UP
It shall be the duty of the contractor to keep the job policed and clean at all times. Rubbish and trash shall be cleaned out and removed daily and the premises kept in condition satisfactory to the architect or the Owner's appointed representative.

ARTICLE 14 - PROTECTION OF PREMISES
The contractor shall provide and properly maintain protection as required by the governing laws, rules, regulations, and ordinances together with such additional protection as may be required for the safety of workmen and the public.

ARTICLE 15 - DAMAGED FACILITIES
The contractor shall repair and/or replace damaged sections of existing facilities such as sprinkler systems, walls, floors, ceilings, roads, streets, sidewalks, curbs, utilities, structures, etc., caused by work performed under this contract.

ARTICLE 16 -  AUTHENTICATION OF BID AND STATEMENT OF NON-COLLUSION AND NON-CONFLICT OF INTEREST

This document, where applicable, must be executed and signed for the bid to be valid.

ARTICLE 17 - LIQUIDATED DAMAGE
The timely completion of this project is very critical and it is necessary the contractor meet the intermediate scheduled dates and contract completion date. 

ARTICLE 18 - GENERAL GUARANTEE


Neither the final certificate of payment nor any provision in the contract documents nor partial or entire use of the premises by the owner shall constitute an acceptance of work not done, in accordance with the contact documents or relieve the contractor of liability in respect to any expense warranties or responsibility for faulty material or workmanship.  

The contractor shall remedy any defects in the work and pay for any damage to other work resulting therefrom which shall appear within a period of two years from the date of final acceptance of the work, unless a longer period is specified. Manufacturer's guarantee and warranties on equipment shall be furnished to the owner.
ARTICLE 19 - CHANGES IN WORK
A.
The owner, without invalidating the contact, may order extra work or make changes by altering, adding to or deducting from the work, the contact sum being adjusted accordingly.  


All such work shall be executed under the conditions of the original contract, except any claim for extensions of time of ordering such change.

B.
In giving instructions, the agency shall have authority to make minor changes in the work, not involving extra cost, and not inconsistent with the purpose of the work, but otherwise, except in any emergency unless in pursuance of a written order from an agency stating that the owner has authorized the extra work or change and no claim for an addition to the contract sum shall be valid unless so ordered and approved by Morehead State University.

C.
The value of any such extra work or change shall be determined in one or more of the following ways.

1.
By estimate and acceptance in a Lump Sum.

2.
By unit price named in the contract or subsequently agreed upon.

3.
If none of the above methods is agreed upon, the contractor, provided he received an order as above, shall proceed with the work, for which he shall be paid the new cost of said work, plus fifteen percent (15%) of such cost.

D.
It is agreed and understood that only one (1) fifteen percent (15%) shall be added to the actual net cost of the work as defined herein, whether such work be done by the prime contractor with his/her own forces or by his/her subcontractor, and any distribution thereof shall be worked out between the contractor and the subcontractor.

E.
In case (3) the contractor shall keep and present in such form as the University may direct, a correct account of all items comprising the net cost of such work, together with vouchers.  The determination of the University shall be final upon all questions of the amount and cost of extra work and changes in the work, and shall include in such the cost to the contractor of all materials used, of all labor, of foremen, trucks, and terms and the fair rental of all machinery used upon the work after the extra work is done. 

If said extra work requires the use of machinery to and from the work, then the cost of transportation of such machinery to and from work shall be added to the fair rental, but said transportation shall not cover a distance exceeding one hundred (100) miles.  The University shall include in the cost of extra work the cost to the contractor of all insurance applicable to such work as required by these documents or by any other governmental authority having jurisdiction.

F. The University shall not include in the net cost of the extra work any cost or rental of small tools, building or any portion of the time of the contractor or its superintendent, or any allowance for the use of capital or any job or any additional bond premium or any actual or anticipated profit, or any job or office overhead not previously mentioned, these items being considered as being covered by the added fifteen percent (15%) in case (3).

G.
Pending final determination of value, payments on account or extra work changes shall be made only upon the University estimate.

ARTICLE 20 - CONSTRUCTION AND SAFETY DEVICES

A.
The contractor shall provide safety controls for protection of the life and health of employees.  He will utilize precautionary methods for the prevention of damage to property, materials, supplies, and equipment, and for avoidance of work interruptions in the performance of this contract.

In order to provide such safety control aforesaid, the contractor shall comply with all pertinent provisions of the Kentucky Safety Department of Labor and Federal Occupational Safety and Health Construction Standards, plus any other applicable regulations pertaining to this type of work that are in effect at the time this contract is to be performed.  Contractor shall also take or cause to be taken such additional measures as directed to be determined reasonable necessary for this purpose.  The contractor shall, after receipt of noncompliance notice, immediately initiate all required corrective measures.

B.
Nothing in the aforesaid provisions shall prohibit the United States Department of Labor, or the Kentucky Department of Labor, Division of Occupational Safety and Health, from enforcing pertinent occupational safety and health standards as authorized under Federal and State Occupational Safety and Health Law.

ARTICLE 21 - INDEMNITY
Contractor shall hold harmless from the indemnity the owner and/or architect/engineers against all claims, suits, actions, costs, council, fees, expenses, damages, judgement in decrees by reason or persons or property being damaged or injured by the contractor or any of his/her subcontractors or in a capacity during the progress of the work, whether by negligence or otherwise.
ARTICLE 22 - EMPLOYMENT PRACTICE

A.
The contractor, per State Executive Order 72-51, dated January 18, 1972, shall register from time to time with the State Department Service Contract, nearest the construction site, a complete list of all job requirements and positions necessary to perform this contract.

B.
Where persons referred to the contractor, by the State Employment Service, are found to be qualified, the contractor is urged to utilized and employ said persons for such jobs.

C.       It is the policy of Morehead State University to utilize minority vendors and 
      subcontractors whenever possible in order to help bring them into the mainstream 
      of the American economy.  

Therefore, the contractor when looking for subcontractors, should make full faith efforts to locate minority business persons. For assistance in identifying minority vendors or subcontractors, the contractor may contact the Kentucky Office of Minority Business Enterprise, 2329 Capital Plaza Tower, Frankfort, Kentucky 40601, (502) 564-2064.

D.
Apprentices shall be permitted to work only under an apprenticeship agreement approved by the Kentucky Supervisor of Apprenticeship and by the Kentucky Apprenticeship Council, which is recognized by the Bureau of Apprenticeship and Training, U.S. Department of Labor.

E.
It is to be understood that the consumption of alcohol or illegal drugs on the job by any worker is strictly prohibited.  Any personnel apprehended under the influence of alcohol and/or illegal drugs at any time will be subject to automatic dismissal by the contractor.

ARTICLE 23 - NON-DISCRIMINATION IN EMPLOYMENT
During the performance of this contract, the contractor agrees as follows:

A. The contractor will not discriminate against any employee or applicant for employment because of race, creed, color, or national origin.  

The contractor will take affirmative action to ensure that applicants are treated during employment without regard to their race, creed, color, or national origin.  Such action shall include, but not be limited to the following:  employment, upgrading, demotion, or transfer, recruitment or recruitment advertising, layoff or terminations, rates of pay or other forms of compensation, and selection for training including apprenticeship.  The contractor agrees to post in conspicuous places, available to employees and applicants for employment, notice to be provided setting forth the provisions of this nondiscrimination clause.

B.
The contractor will, in all solicitation or advertisements placed by or on behalf of the contractor, state that all qualified applicants will receive consideration for employment without regard to race, creed, color, or national origin.

C. The contractor will send to each labor union or representative of workers with which he has a collective bargaining agreement or other contracts or understanding, a notice to be provided advising the said labor union or worker's representative of the contractor's commitment under this section, and shall post copies of the notice in conspicuous places available to employees and applicants for employment.  The contractor will take such action with respect to any subcontractor or purchase order as the administrating agency may direct as a means of enforcing such provisions, including sanctions for noncompliance.

In case the work to be performed is paid for in whole or in part with funds obtained from the Federal Government or borrowed on the credit of the Federal Government pursuant to a grant, loan, insurance, or guarantee, during the performance of this contract, the contractor, in addition, agrees to the following:

D.
The contractor will comply with all provisions of Executive Order No. 11246 of September 24, 1965, or as amended, and by the rules, regulations, and relevant orders of the Secretary of Labor.

E.
The contractor will furnish all information and reports required by Executive Order No. 11246 of September 24, 1965, or as amended, and by the rules, regulations, and orders of the Secretary of Labor, or pursuant thereto, and will permit access to his/her books, records, and accounts by the applicable federal Agency and/or agencies and the Secretary of Labor for purpose of investigation to ascertain compliance with such rules, regulations, and orders.

F.
In the event of the contractor's noncompliance with nondiscrimination clauses of this contract or with any such rules, regulations, or orders, this contract may be canceled, terminated, or suspended in whole or in part.

G.
The contractor will include the provisions of paragraphs (A) through (G) in every subcontract or purchase order unless exempted by rules, regulations, or orders of the Secretary of Labor, issued pursuant to Section 20.4 of Executive Order No. 11246 of September 24, 1965, so that such provisions will be binding upon each subcontractor or vendor.  The contractor will take such action with respect to any subcontractor purchase order as the Federal Agency or Secretary of Labor may direct as a means of enforcing such provisions including actions for noncompliance.

Provided, however, that in the event that the Contractor becomes involved in, or is threatened with, litigation with a subcontractor or vendor as a result of such direction by the Federal Agency or Secretary of Labor, the contractor may request the United States to enter into such litigation to protect the interest of the United States.

ARTICLE 24 – KENTUCKY PREFERENCE LAWS



In accordance with KRS 45A.494, a resident Offeror of the Commonwealth of 


Kentucky shall be given a preference against a non-resident Offeror. In evaluating 


proposals, the University will apply a reciprocal preference against an Offeror 


submitting a proposal from a state that grants residency preference equal to the 


preference given by the state of the nonresident Offeror. Residency and non-


residency shall be defined in accordance with KRS 45A.494(2) and 45A.494(3), 


respectively. Any Offeror claiming Kentucky residency status shall submit with its 


proposal a notarized affidavit affirming that it meets the criteria as set for in the 


above referenced statute.  Affidavit Form is page 20 of this Invitation to Bid.


Further, in accordance with KRS 45A.465 and 45A.470, any bidder wishing to claim 


qualified bidder status must complete and include an Affidavit for Qualified Bidder 


Status with their response.  In evaluating responses, the University will apply 


preference in accordance with KRS 45A.470.  An Affidavit for Qualified Bidder 


Status forms is available from the Office of Support Services, upon request.

ARTICLE 25 - SCHEDULING
The project shall start with preliminary work on September 19, 2011and be completed no later than November 11, 2011.

MOREHEAD STATE UNIVERSITY
CAMPUS WALLS AND STONE REPAIR
OR REPLACEMENT SPECIFICATIONS

A. SCOPE

The following specifications, photos and plans describe the work to be performed at various locations on the campus of Morehead State University. The Campus walls and stone repair or replacement shall include the following:

1. Demolition, removal or preparation of walls, stone, brick or concrete structures as identified by the attached photographs, project list and site maps.

2. Replacement or repair of identified structures with the specified materials and processes, matching existing surfaces.

3. Cleanup, grading and restoration of work sites to include required and scraping.

4. Sealing of designated surfaces.

5. Alternate: Button Auditorium stairway walls. An alternate price shall be provided to substitute architectural limestone components for the specified precast concrete. Alternate shall also include any change in construction materials and methods that may be required to correctly install limestone wall components.

B.
INSURANCE REQUIREMENT
The contractor shall provide proof of the following minimum insurance coverage:

(To include all vehicles and equipment owned or non-owned for use on the project)

(A)
Worker’s Compensation
Kentucky Statutes, Worker’s Compensation coverage




shall also be provided by the contractor for all 




person’s performing work at the job site.

             (B)
Public Liability

 
$   500,000 One person/Maximum

 



                                                $1,000,000 One Accident/ Maximum
                                                                 MSU named as Additional Insured

(C)
Property Damage

$   500,000 One Accident/ Maximum





$1,000,000 Aggregate

C.
RESPONSIBILITY OF CONTRACTOR

1.
The contractor shall provide and pay for all permits, materials, supplies, labor, tools and equipment, transportation, superintendence, state or local inspection, temporary construction of every nature, taxes legally collectible because of the work under contract and deliver it complete in every aspect within the specified time.

2.       The work shall be complete and all labor, equipment, materials and services not

expressly called for in the Specifications or not shown on the plan which may be necessary for complete and proper construction and to carry out the contract in good faith shall be furnished and installed by the contractors at no increase in cost to the owner.

3.
Every contractor proposing to submit a bid on this project must visit and review the areas and sites of work and verify size and quantities.  They must sign in and be accompanied to the site with one of the MSU representative listed below to satisfy themselves as to the nature and scope of all work to be performed and familiarize themselves with existing conditions and conditions likely to be encountered.  Site visits may be scheduled (24 hours in advance) by contacting Steve Leitz, Engineering Services Superintendent at (606) 783-5271, or Terry White, Construction Manager at (606) 783-5273.
4.
Work will take place in areas of heavy student and vehicle traffic. Contractor shall be responsible to provide signage, barricades and flagman to divert foot and vehicle traffic to designated, safe detour routes. Contractor shall fully cooperate with Morehead State University Campus Police and Facility Managements instructions.

D.
PAYMENT AND PERFORMANCE BONDING AND BIDDER SECURITY

The following guidelines shall be complied with regarding project bonding and bid security.

· A 5% bid bond or cashier’s check must accompany bid to receive consideration.

· A 100% performance and payment bond will be required of the successful bidder before contract will be award.  Performance and payment bond must be issued within ten (10) days of notice of award.
E.
CONSTRUCTION AND SAFETY
1.
Work will be performed in active areas where the public will be traveling.  Proper barricades, signage, and lighting shall be maintained at all times to insure protection of public.  Caution tape is not a satisfactory barricade.  Access will be required, during the course of the work, by MSU personnel into work areas. No equipment or hoses shall be placed in areas of traffic flow without protection, signage and safe passing guards.

F.
QUALITY ASSURANCE
1. Contractor shall engage professional workmen, services and subcontractors with a minimum of five years of experience in trades or skills required for this project.  Project superintendence shall be by a professional, experienced manager with knowledge of all aspects of the project.  Contractor shall provide references and show evidence of having successfully constructed projects of a similar size and nature.
G.
MATERIALS BUTTON AUDITORIUM AND ADRON DORAN UNIVERSITY 
STUDENT CENTER
1. Architectural precast: All precast units shall conform to National Precast Concrete Association Specifications for precast manufacturer. Handling and setting precast units shall conform to the Standard Guidelines for Architectural Precast Concrete or set forth by the Prestressed Concrete Institute and ASTM Standards. New Precast Concrete components shall match the shape and placement of existing unless the owner authorizes otherwise. Minimum compression strength for precast shall be 5000 PSI and color shall match existing, adjacent building surfaces. Texture shall be smooth, dense and fine grain having been acid etched to remove surface cement paste. Match texture of new precast to existing building. Provide cast stone units that are resistant to freezing and thawing as determined by ASTM C666 laboratory testing. Submit precast sample for owners approval.

Reinforcement of precast units and precast setting anchors shall be corrosion resistant stainless steel or galvanized steel hot dipped after fabrication or bending.

Precast concrete units shall match size and shaped of units that are being replaced. The only size variation that shall be allowed will be if supporting structures are sized different than existing.

Seal all precast concrete with a no sheen, penetrating sealer equal to stone technologies X-3 sealant or as approved by the precast manufacturer. Caulk all joint surfaces with a matching silicone sealant at a depth not less than ½”. Setting grant shall be non-shrink, non-staining and color matched to existing building grant joints and new precast.

Alternate; Architectural Limestone; Limestone shall meet ASTM test procedures C 170, C99 and C97 for compressive strength, modulous of rupture and absorption. Limestone shall be equal to Indiana Limestone as specified by the Indiana Limestone Intuitions of America. Use only mortar, anchors and cups as specified by the Institute. Limestone components shall match existing. 

2. Poured in place concrete: Concrete that may be required shall be 4000 PSI at depths and reinforced as specified for the project type and location. Use foam expansion with silicone caulk joint filler as concrete joint separation.
3. Limestone patch and repair: Limestone repair material shall be a color matched, unsanded, cementatious grout resulting in a texture matching existing surfaces. Certain repair sites may require a thermal setting resin stone repair. Provide corrosion resistant pins and anchors for repair.

4. Site restoration: Excavated areas shall be restored with good quality top soil free of rock and debris. Seed with tall fescue and place erosion control blanket on all disturbed grass area.

H.
DEMOLITION OF EXISTING LIMESTONE (BUTTON AUDITORIUM)


1. 
General: Contractor shall place structural barricades around the work area to protect 


individuals using the building entry. Construction access to the work area shall be the 

concrete driveway in front of Button Auditorium. Owner shall restrict the use of 


heavy equipment on this driveway. 


Submit precast concrete sample for owner approval.
2. Button Auditorium Entrance Demolition; Demolition will consist of the careful and complete removal of the entry step sidewalls and disposal of all materials as directed by the owner. Steps, railing, adjacent concrete and building shall be protected from damage. The contractor shall carefully remove the limestone sections down to the existing concrete subsurface walls and slab. Existing, concrete shall remain as support for new concrete precast. Exhaust vents shall remain.

Prior to demolition the contractor shall photograph, measure and document the work site, position and size of the sidewall components and elevations and position of top wall caps. Excavate the below grade area along the walls to determine if footers or concrete support ledges exist. (No plans are available for the existing structure).

Demolition shall not be complete until all debris has been removed and surfaces cleaned. Protect the lower electrical vault from potential water intrusion when 
demolition is accomplished. DO NOT use electric or air powered hammer equipment in this demolition.



Visitors may use the center of the entry steps as demolition and constructions takes 



place.



Contractor shall assure that the demolition work or vibration does not damage steps 



or adjacent building limestone. Steps shall remain and step edges protected.


Contractor shall immediately notify the owner if subsurface concrete or any other 



structure in the work area shows signs of movement, fracture or failure.
I.
BUTTON AUDITORIUM ENTRANCE, INSTALLATION
Precast concrete components shall not be installed until subsurface concrete support has been examined and alterations or repairs that may be needed are accomplished. Construction details are not available that show all subsurface structures. Submit a sample of precast concrete material for owner approval.

Contractor shall investigate measure and observe existing conditions and be prepared to adjust materials and methods to meet conditions encountered. Adequate subsurface conditions can be observed and contractor shall not add to the contract for unseen variations in structure.

Form, reinforce and pour any concrete support structures that may be required for new precast concrete. Set any corrosion resistant anchors that may be needed to support new precast. Contractor may be required to drill and set new anchors in existing concrete. Repair and protect existing electrical vault vents located on both sides of the steps. Reinforcement 
embedded in any new concrete that may be required shall be #4 bar set 12” on center both ways. Where only horizontal bar is required spacing shall be double rows, 12” apart.

Contractor may proceed to the precast concrete setting phase upon owner approval of the support structures that exists or that may have been added and sufficient cure time for concrete that may have been poured.

Concrete precast components shall be transported, handled and set with care. No chipped or fractured components will be approved for setting. Contactor shall immediately replace damage precast. Contractor will not be allowed to patch damage on new precast for acceptance in this project.

See attached photography sheet for a representation of the existing limestone sidewalls along the Button Auditorium stairway. Existing components are made up of solid and veneer pieces held in place by anchors and metal stone ties. Contractors shall utilize new corrosion resistant pins, anchors or ties in placement and quantity sufficient to secure the new components. Mortar all components in place with full ½” mortar joints assuring that the 
joints below are cured and will not squeeze mortar out of place. Brace all newly set precast in 
place as needed to assure perfect positioning.

Contractor shall be responsible to protect precast concrete that is stored on site, or set in place from vandalism and or accident. Cover precast as the joints cure to protect from moisture.

As previously stated in these specifications the contractor shall obtain all information, sizes, measurements and layout of existing components and substrate to assure a match with the existing sidewalls. Button Auditorium is a facility registered in the Historical Building 
Register. 


Alternate: The alternate material and installation for the Button Auditorium stair walls shall be architectural limestone components as described in section G.1.

Cleaning, Caulking and Sealing: 


Cleaning – Clean existing stairway, building entry and railing. Pressure clean all surfaces without damaging existing components. Remove all stains, gum or graffiti.

Caulk – Recaulk all existing joints and caulk new joints between stairway and precast 
concrete. Use backing rod where needed. If new concrete is required assure that expansion 
is used where needed.

Sealing – Seal new precast and existing stairway. Assure that all stairway chips or breaks are 
repaired prior to sealing. Use only precast manufacturer approved sealer applied as recommended. Repaint existing railing. Leave barricades in place until all paint and sealer is cured. 

Cleanup: Existing concrete drive, concrete apron and all adjacent surfaces shall be completely cleaned. Regrade grass areas that are disturbed to owners designated grade, using good quality top soil. Seed with tall fescue and place erosion control blanket on all disturbed areas. Assure that railing, building entry doors and building limestone is clean. Clean all glass.

J.
NATURAL ROCK AND EXPOSED STONE WALLS

1.
See attached campus map and photo page for rock wall cleaning and repair locations.


2. 
Rock walls shall be sprayed with a algaecide/degreasing detergent specifically 



formulated to 
clean exterior surfaces and not kill adjacent plants and landscaping. 


Detergent shall be allowed to remain on the surfaces long enough to penetrate stains, 

fungus or algae. Following the detergent applications all surfaces shall be pressure 


cleaned to remove stains, fungus and algae. Do not allow the detergent to dry on the 


wall surfaces. Do not damage plantings with pressure washer.


3.
All surfaces, areas, or objects adjacent to this cleaning operation shall be thoroughly 


rinsed free of all over spray and debris. Protect and cover adjacent surfaces.


4.
Following the cleaning procedure the walls shall be repaired by replacing broken, 


fractured or missing rock and tuck pointing all mortar joints. Mortar shall match 


existing.


5.
Caulking: Wall cracks or edges shall be filled with silicone caulk in colors matching 


grant or mortar joints.


6. 
Natural or “creek” rock: Obtain rock from accessible locations in sizes and colors 


appropriate for the repair. Setting mortar shall be equal to secrete stone veneer 


mortar.


7.
Contractor shall provide all barricades and signage necessary to safely separate the 


work area from pedestrian and vehicle traffic. Work in some areas will require prior 


scheduling. Some work may require scheduling during evenings or weekends. 


Contractor shall be aware that the work may have to temporarily stop due to the 


presence of large numbers of pedestrians.


Contractor shall be responsible to place hoses around areas of high traffic to prevent 

tripping and falling hazards and provide hazard warning signs.

K.
BRICK VENEER – “THIN BRICK”

1.  Electrical Switchgear House exposed concrete surface shall be cleaned and prepared to receive brick veneer adhesive and brick veneer.

2. Brick veneer shall be equal to Z-Brick, Coronado Stone thin brick, Brick –IT or approved equal. Only manufacturer’s recommended adhesive shall be used.  Owner shall select color/texture from manufacture’s standard samples.

3. Brick veneer shall be applied after the slab has been removed and site is graded.
L.
SERVICES PROVIDED BY MOREHEAD STATE UNIVERSITY
Morehead State University will provide the following services to the contractor performing the work as specified.

1. Parking – An adequate number of parking spaces will be provided for employees, service vehicles, and equipment.  Full identification of the vehicle and ownership must be given to the Morehead State University Office of Public Safety.  No vehicle shall be used for overnight sleeping.

Utilities –.Water and power are available at each building.
M.
CLEANUP 


1.
It shall be the responsibility of the contractor to clean all areas daily during construction.  

No Morehead State University dumpsters shall be used for waste.
N.
CONSTRUCTION SCHEDULE
Work shall commence on September 19, 2011 and be completed by November 11, 2011.

O.
PAYMENT AND PROJECT CLOSEOUT
1. Final inspections, completion of all punch list items and approval by the owner.

2. Prior to application for final payment the contractor :

· Remove all debris and thoroughly clean all work areas.

· Restore all grass areas and landscaping that has been damaged.

· Repair or replace any structures or surface that has been stained or damaged by the work of the contractor.
MOREHEAD STATE UNIVERSITY
CAMPUS WALLS, STONE AND CONCRETE REPAIR
WORK LIST

	Location
	Type of Work

	1. Adron Doran University Student Center
	Pressure clean, replace selected precast units, reset loose precast units.

	2. Button Auditorium Entry steps, driveway
	Replace entry step sidewalls, pressure clean stone walls, repair or replace loose or missing stone and grout.

	3. President’s Home
	Pressure clean brick walls and repair or replace loose or missing stone and grout in stone walls.

	4. Fields Hall and Grotto
	Pressure clean stone walls and grotto patio. Repair or replace loose or missing stone and grout. Solvent clean and seal grotto patio.

	5. Campus Bell Tower Plaza
	Pressure clean all surfaces, repair loose or broken bricks and tuck point missing or loose brick mortar. Pressure clean Bell Tower interior brick walls.

	6. Allie Young Hall
	Pressure clean rear stone wall and repair or replace loose or missing stone and grout.

	7. Thompson and Breckinridge Halls
	Pressure clean all stone walls and repair or replace loose or missing stone and grout.

	8. Nunn Hall
	Pressure clean stained or painted concrete surfaces on building.

	9. Normal Hall
	Pressure clean all stone walls and repair or replace loose or missing stone or grout.

	10. Allen Field Baseball Stadium
	Pressure clean brick wall and repair broken and cracked block and mortar joints.

	11. Academic-Athletic Center
	Pressure clean east side walkway walls, repair bricks and mortar and caulk all cap stone joints. Repair parapet corner.

	12. Electrical Switchgear House
	Pressure clean walls and apply veneer, “thin” brick on exposed concrete surface.


Note: See attached specifications for all materials and processes. All work will be performed and materials provided in accordance with these specifications

This Contract between 
Morehead State University

and _________________________________________________________________________

           Name of Individual and/or Firm (The Second Party)

       The undersigned hereby certifies that neither he/she nor any member of his/her immediate family having an interest of 10% or more in any business entity involved in the performance of this contract, has contributed more than the amount specified in KRS 121.056(2), to the campaign of the gubernatorial candidate elected at the election last preceding the date of this contract.  The undersigned further swears under the penalty of perjury, that neither he/she or the Company which he/she represents, has knowingly violated any provisions of the campaign finance laws of the Commonwealth, and that the award of a contract to him/her or the Company which he/she represents will not violate any provisions of the campaign finance laws of the Commonwealth.







CONTRACTOR (SECOND PARTY)







__________________________________________







(Signature)







__________________________________________







(Title)







__________________________________________







(Name of Company or Corporation)

Solicitation/Contract #: MO-07-12
REQUIRED AFFIDAVIT FOR BIDDERS, OFFERORS AND CONTRACTORS CLAIMING RESIDENT BIDDER STATUS
FOR BIDS AND CONTRACTS IN GENERAL:
The bidder or offeror hereby swears and affirms under penalty of perjury that, in accordance with KRS 45A.494(2), the entity bidding is an individual, partnership, association, corporation, or other business entity that, on the date the contract is first advertised or announced as available for bidding: 

1. Is authorized to transact business in the Commonwealth;

2. Has for one year prior to and through the date of advertisement

a. Filed Kentucky corporate income taxes;

b. Made payments to the Kentucky unemployment insurance fund established in KRS 341.49; and

c. Maintained a Kentucky workers’ compensation policy in effect. 
The BIDDING AGENCY reserves the right to request documentation supporting a bidder’s claim of resident bidder status.  Failure to provide such documentation upon request shall result in disqualification of the bidder or contract termination.  
	
	
	

	Signature
	
	Printed Name

	
	
	

	Title
	
	Date


	Company Name
	

	Address
	

	
	

	
	


	Subscribed and sworn to before me by
	
	
	
	

	
	
	(Affiant)
	
	(Title)


	of
	
	this  _____day of ____________,20___.

	
	(Company Name)
	
	
	
	

	
	
	
	

	Notary Public
	
	
	
	

	[seal of notary]
	
	My commission expires:
	


