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SECTION A 

OFFEROR MILESTONES, INSTRUCTIONS AND CHECKLIST
Milestones

	Date
	Milestone

	June 8, 2009
	RFP Issued

	June 15, 2009
	Pre-Proposal Meeting

   Date: 06/15/2009
   Time: 1:00 pm to 2:00 pm
   Location: General Office Complex
                     3700 Lake Austin Blvd.

                     Austin, TX 78703

	June 17, 2009
	Deadline for Questions

	June 26, 2009 @ 3:00pm CST
	Proposal Deadline

   Date:  06/26/2009
   Time: 3:00pm CST

	August 1, 2009
	Anticipated Award Date


This solicitation is being issued by the Lower Colorado River Authority (LCRA).  LCRA is a conservation and reclamation district of the State of Texas created pursuant to Article XVI, Section 59, of the Texas Constitution.  LCRA is one of the 25 largest public power utilities in the U.S.  It is renowned as a well managed and prestigious firm with which to do business.  LCRA’s growth, its status as an Authority of the State of Texas, and the growth in its service area, make it a prized customer and client.

Description of Services: Maintenance and repair for traction, hydraulic, and rack and pinion elevators.
NOTE:  NEW OFFEROR MUST COMPLETE VENDOR REGISTRATION ON-LINE PRIOR TO SUBMITTING PROPOSAL.  Vendor Registration can be found at  http://www.lcra.org/about/bids.html.
INSTRUCTIONS
1. Submission of Proposals.  PROPOSALS SHALL BE RECEIVED ON THE DATE INDICATED IN THE MILESTONES BLOCK BY 3PM CST. Proposals received after the date and time specified above shall be considered late and will not be accepted. Proposals shall be considered valid legal offers for a period of ninety (90) days after receipt by LCRA.  Proposals may be submitted by email only. Submit your proposal to ebids@lcra.org with the 4-digit RFP number and a short description of the proposal in the subject line of your email. You are solely responsible for ensuring that your complete proposal is actually received timely by LCRA at the proper destination server. LCRA takes no responsibility for proposals that are captured, blocked, filtered, quarantined or otherwise prevented from reaching the proper destination server by any LCRA anti-virus or other security software.
2. Opening of Proposals.  Proposals will not be publicly opened. All Proposals and evaluations will be kept strictly confidential throughout the evaluation, negotiation and selection process. Only the members of the Evaluation Team and Supply Chain Services’ employees will be provided access to the Proposals and evaluation results during this period. 
3. Contact.  Questions regarding the RFP should be emailed to the LCRA Authorized Agent at matt.chavez@lcra.org.  The LCRA Authorized Agent is the sole LCRA point of contact from RFP issuance until contract award.  Do not rely on information from any other source.  Contacts with other LCRA personnel initiated by an Offeror may be grounds for disqualification of its offer at LCRA’s sole discretion.
4. Proposal Forms.  Proposals must conform to the formatting and other requirements contained herein. Incomplete proposal forms, schedules and information sheets may be grounds for disqualification. Proposals shall be limited to not more than 150 letter size pages.  
5. Requirements of Offerors Prior to Proposal Submission Date.
5.a. Review of Documents. Offerors shall read and understand the complete RFP package including those sections that shall be completed subsequently by the Offeror to whom an award is made.
5.b. Exceptions to Terms and Conditions. Exceptions to Terms and Conditions must be taken at the time the proposal is submitted. Offerors shall submit exceptions to LCRA in the cover letter accompanying the proposal with proposed alternative language. Exceptions shall not be allowed after the proposal opening date and time.  At the sole discretion of the LCRA, the amount and nature of exceptions may be grounds for disqualification.
5.c. Clarifications Regarding Scope of Work.  LCRA shall attempt to answer written inquiries concerning the RFP, but shall not be obligated to do so.  If an Offeror believes the RFP contains an error or ambiguity, then the Offeror shall make a written inquiry to LCRA explaining the issue and referencing paragraph and page number in the RFP, and asking the appropriate question.  Written inquiry must be submitted to the LCRA Authorized Agent by the date indicated in the milestone block.  Inquiries or questions shall be emailed to the LCRA Authorized Agent. A proposal  item, which, in the opinion of LCRA, is not in exact compliance with the RFP, and which has not been modified or clarified may, at LCRA’s discretion, be considered an exception to the RFP or be rejected as a non-conforming offer.
6. LCRA Reservation of Rights.  LCRA reserves the right to reject any and all proposals, irregularities or formalities in the proposal.  LCRA shall evaluate the proposals in accordance with the RFP requirements.  LCRA may request additional written or oral information from Offerors to obtain clarifications with respect to their proposals.  LCRA may award from proposals without discussions, or may conduct discussions with one or more Offerors.  LCRA reserves the right to delay proposal opening, to evaluate alternate proposals and to make multiple and/ or split awards from this proposal. If you take issue with the contents of a solicitation, or a contract award decision as a result of this solicitation, refer to LCRA Issue Resolution Procedures posted at http://www.lcra.org/about/bids.html.  LCRA reserves the right to engage in business with responsible contractors with sound management, quality control, capacity, experience, financial resources, and ethics to perform its contract.  LCRA reserves the right to employ a variety of means to determine the responsibility of potential contractors.
7. Discussions with Responsible Offerors and Revisions to Proposal. Discussions may be conducted individually with responsible Offerors for the purpose of clarification or to assure full understanding of, and responsiveness to, the solicitation requirement.  LCRA reserves the right to determine when and with whom to conduct discussions. As a result of such discussions, revisions may be permitted after initial submissions and prior to award for the purpose of obtaining best and final offers.  In conducting discussions, LCRA shall not disclose to an Offeror any information derived from proposals submitted by competing Offerors. The purpose of such discussions may include: (a)  Investigation in greater detail of an Offeror's qualifications; (b) Exploration with the Offeror of the scope, schedule,  and nature of the proposed project, the Offeror's proposed method of performance, and the relative utility of alternative methods of approach; (c) Establishment of the experience and availability of personnel and facilities necessary to perform within the required time; and (d) Review of the Offeror’s proposed compensation and opportunities for savings, taking into account the nature, scope, schedule, and complexity of proposed project; and (e) price, and other aspects of value.  LCRA may award a contract directly from proposals without any discussions, or may conduct discussions with one Offeror or simultaneous discussion with multiple Offerors, so it is in the best interest of all Offerors to submit competitive offers, and to keep their best offers “on the table” at all times.
8. Addenda.  Nothing in the instructions shall limit LCRA’s right to issue addenda to the RFP prior to proposal opening.
9. Confidential Information. The LCRA is subject to the Texas Public Information Act.  Any information submitted to the LCRA by an Offeror shall be available to the public, unless it is clearly marked "CONFIDENTIAL".  If another party requests access to information marked confidential, then LCRA shall ask the Offeror if the information may be released.  If the release is agreed to, LCRA shall release the information.  If the release is denied, the matter shall be referred to the Texas Attorney General's Office where the Offeror shall be responsible for substantiating its confidentiality.  The Attorney General's office shall rule on the matter. Pricing information contained in proposals or contracts is not considered confidential under the PIA and will be disclosed without making a request to the Texas Attorney General.
10. Evaluation Criteria.  Proposals will be evaluated based on the following criteria (not in order of precedence):   (a) Ability to Perform (b) Quality (c) Service (d) Cost and (e) Innovation.
11. References.  If LCRA has experience with your firm and you do not list LCRA as a reference, LCRA reserves the right to use past experience for this proposal.
12. Approvals.  Contracts with the LCRA that exceed $2,000,000 (either initially or through a change order) must be approved by the LCRA Board of Directors before they become effective.  Consulting contracts that exceed $50,000 (either initially or through a change order) must be approved by the LCRA Board of Directors before they become effective.  Change orders to contracts must be approved by the LCRA Board of Directors if they exceed $2,000,000 ($50,000 for consulting contracts), either separately or in the aggregate.  Change orders must be executed by an authorized LCRA Authorized Agent.
Contracts in excess of $14,999 or more involving the Fayette Power Project or the Smithville Railcar Facility must be reviewed and approved by the FPP Management Committee prior to becoming effective.  Change Orders to contracts must be approved by the FPP Management Committee if they exceed $14,999, either separately or in the aggregate.  Change orders must be executed by an  LCRA Authorized Agent.

CHECKLIST
Items to be Provided With All Proposal Submittals

· Cover Letter.  Signed letter stating any exceptions to Terms and Conditions, and that Offeror has the capability of performing the contract in accordance to Section B - Scope of Work.

· Offeror’s Questionnaire & Information Form must be completed in its entirety.

· Attachments/Exhibits: Review, sign and return the Attachments/Exhibits as indicated in the Table of Contents.

· List of Personnel.  List and resumes of personnel responsible for performance of the contract.

· Proposal.  Your proposal for work described in Section B and your response to the requested information and questions contained therein.

· Workers’ Compensation.  Provide Workers’ Compensation Modification Ratings for the past three (3) years.

· Pricing.  Your pricing using the method as described in Section C.

Items to be Provided Upon Selection of Offeror

· Contract.  Sign in the space provided at the end of the Terms and Conditions.

· Insurance Certificate.  A copy of the insurance policy and endorsements per requirements of the Terms and Conditions.

· List of Personnel.  List of all persons reporting to job site.

·  Payment Information.  Advise if you want payments mailed or electronically funded to your financial institution.  If mailed, provide contact name and full mailing address.  If EFT, provide bank name, address and phone number, bank account name, account number and bank routing number.

· Audited Financials for the past three (3) years, if applicable.

SECTION B 

SCOPE OF WORK

Any exception to this Scope of Work shall be clearly stated by the contractor on the first page of the proposal.
B.1

----- ABILITY TO PERFORM -----
B1.1 LCRA requires elevator maintenance and repair for traction, hydraulic, and rack and pinion elevators.  Contractor shall check the following types of elevators that they are able to provide maintenance and repairs for:
 FORMCHECKBOX 
 
Traction Elevator

 FORMCHECKBOX 

Hydraulic Elevator

 FORMCHECKBOX 

Rack and Pinion Elevator


Contractor is responsible for furnish all supplies, materials, labor, labor supervision, tools, equipment, and lubricants necessary to provide full-preventative maintenance, safety inspections, annual full-load and no-load testing, adjustments, replacement, and repair of the complete vertical transportation systems.
B.2

----- QUALITY -----

B2.1 Quality Assurance:  Contractor will provide with the Proposal a copy of Contractors written procedures addressing quality control issues.  Supplier and LCRA will meat at least annually to review the process and make adjustments to increase the effectiveness and efficiency of this agreement.  Meeting to address specific performance issues will be on an as needed basis.
B.3

----- SERVICE -----
B3.1 Maintenance Requirements: Contractor shall furnish preventive maintenance service on vertical transportation equipment described herein.

The Contractor shall maintain the efficiency, safety, speeds and operating characteristics as originally designed and installed by the manufacturer(s) of the equipment, including acceleration, deceleration, retardation, contract speed with or without full load, floor to floor time, door opening and closing time, leveling accuracy and vertical lift running clearances
a. The Contractor agrees to provide full preventive maintenance service on a regular basis for the elevators under this contract. This includes all labor and materials, inspections, adjustments, tests, parts replacement and repairs to keep the elevators in continuous use at their established capacity and efficiency for their intended purpose.
b. The Contractor shall establish in its proposal the number of hours and frequency needed to maintain a minimum standard of performance based on State of Texas standards for all vertical lift equipment.
c. Contractor agrees to increase the hours or frequency of service for any vertical lift equipment that does not meet the minimum standard of performance based on State of Texas standards. This additional preventive maintenance shall be at no additional cost to LCRA.
d. The hours established in the proposal shall be the minimum actual hours spent performing preventive maintenance duties. These hours do not include call-backs, repair adjustments or testing needed to maintain the vertical lift equipment in optimum working order based on State of Texas standards. Documentation of hours is required for monthly payment due Contractor.
e. The Contractor shall regularly and systematically examine, clean, lubricate, adjust the vertical transportation equipment, and as conditions warrant, repair or replace all portions of the vertical transportation equipment included under this contract. Contractor shall maintain the elevator machine rooms, hoist-ways, pits, car, tops, outside door hardware, and the equipment in or on them in a clean condition. As a minimum, maintenance condition will be to the standards set in the latest version of ASME A17.1, Part XII.
B3.2 Repairs: Perform all repairs to covered equipment and systems during the period of the contract. This contract includes repair or replacement of all vertical transportation equipment with the following exclusions only:
a. Repairs required because of negligence, accident, or misuse of the equipment by anyone other than the Contractor, his employees, subcontractors, or agents.

b. Repairs required because of natural disaster.

c. Repair or replacement of building items, such as hoist-way or machine room walls and floors, car enclosures and interior finishes, car finish floor material, hoist-way entrance frames, door panels, sills, signal fixture face-plates, smoke detectors and communication equipment not installed by an elevator Contractor. 

d. Mainline and auxiliary disconnect switches, fuses and feeders to control panels. 

B3.3 Pre-maintenance Repairs: Each offeror shall inspect the subject elevators to determine their condition, and note any items(s) that need replacement or repair.

a. The Contractor shall identify any components that are currently in need of repair or replacement in its proposal; it shall offer a price for said replacement or repair in order to bring the elevator equipment listed to near its original state of repair and operation before placing on maintenance, and under which the contractor will accept full responsibility for continued maintenance of the elevator equipment, as required by the terms of the contract. 
b. These pre-maintenance repairs shall not include alteration, change or addition to the equipment other than ordinary repair or replacement.
c. Failure of the offeror to include any item requiring pre-maintenance repair on its list shall not relieve it of the responsibility to repair same under the terms of the contract. Otherwise it shall be construed that the Contractor shall replace any malfunctioning or unsafe component parts or machinery as a part of this contract, subject to the scope identified in this specification. 

d. The Contractor shall submit along with its proposal a separate proposal item, including all parts, materials, labor, transportation, and other expenses, to make any necessary repairs and replace the parts identified as needing replacement to bring the elevators up to serviceable condition. 

e. The Contractor shall not be required to supply replacement parts that are obsolete and for which a suitable replacement part is no longer available. If an obsolete part requires replacement, a separate agreement shall be negotiated for rebuilding the part, using commercially built repair kits or making any necessary modifications to allow a suitable substitution to be made.

B3.4 Routine and extraordinary repairs: When, during routine examination or testing of the equipment, corrective action is found to be required, the Contractor shall proceed immediately to make (or cause to be made) replacements, repairs, and adjustments at Contractor’s expense. When such work is determined not to be the Contractor’s responsibility, a written report signed by the Contractor shall be delivered to the LCRA facility contact within seventy-two (72) hours for further action. In the event of a safety or potential safety problem the Contractor shall immediately notify the LCRA and request guidance.
B3.5 Alterations and Additions: Contractor shall make no alterations or additions to the equipment without prior written approval from the appropriate Facility Contact.
B3.6 Service Calls: Service calls to handle elevator malfunctions shall usually be placed during normal business hours. Normal business hours for the purpose of this contract shall be 7:00 A.M. to 5:00 P.M. CST Monday through Friday except National Holidays. For service calls placed during normal business hours and not designated an emergency by the LCRA, the Contractor shall respond to the problem with the personnel and tools necessary to begin repairs on the malfunctioning elevator within 24 hours from the time the service call is placed. If the service call has been placed on a Friday or the last business day before a holiday, and not designated as an emergency, the Contractor shall respond before the end of the next business day. 
B3.7 Time Period for Completion of Repair: Contractor shall notify facility contact of the component parts needing repair or replacement, and the time required to repair or replace said components if said repair cannot be completed within two working days of elevator malfunctioning. Contractor shall provide a written explanation and estimate of delay to the facility contact before the end of the day or before site check-out.
B3.8 Declaration of Unsafe Conditions: In no instance shall an elevator be returned to service if the safety of the elevator is in question.  Contractor is to notify LCRA immediately if it considers an elevator to be unsafe.
B3.9 Authorization for Overtime Labor: If the repairs require work beyond the normal business hours, which would involve overtime labor, the LCRA shall reimburse the Contractor for the difference between the straight time labor rate and the overtime rate(s), over and above the fixed price of this contract. No reimbursements for overtime shall be allowed unless the overtime has been authorized before commencement of the overtime work in writing by the LCRA. This authorization may be obtained when it is apparent that repairs cannot be completed during normal business hours. Since it is considered an extension of a service call that is to be covered under the price of this contract, no reimbursements shall be made for travel time, meals, lodging, transportation, or per diem expenses. The Contractor shall allow for travel time, transportation, meals, lodging or per diem expenses for service calls in their proposal, if it is deemed necessary.
B3.10 Emergency Callout: At times, the LCRA may deem the functioning of the elevators vital to the safety and economic operation of the plant equipment and office complex. Under these conditions, the LCRA may declare an emergency situation. The Contractor shall supply contact information so that emergency service calls may be placed at any time, with a backup contact procedure in the event the primary contact cannot be reached. If the LCRA has declared an emergency situation, the Contractor shall arrive onsite within 4 hours and make every reasonable effort to see that the elevator malfunction is corrected within 12 hours. If an emergency callout is made, the LCRA shall reimburse the Contractor over and above the contract price for the full premium overtime labor rate, and travel time, meals, and lodging expenses incurred responding to the emergency situation. Emergency rates shall be in effect for up to 24 hours after the Contractor has been called out, or the beginning of the next regular business day, whichever is longer, at which time the service call provision listed above shall apply.

No emergency rates shall be in effect for more than two technicians per emergency unless authorized in advance by the LCRA’s authorized representative. The LCRA shall provide the Contractor with a list of persons who can approve overtime work or declare an elevator emergency, and notify the Contractor in writing of any changes to this list. 
B3.11 Tests and Inspections: Contractor shall perform periodic equipment test and maintenance inspections of all equipment, including, but not limited to, annual no-load, slow-speed test of car and counterweight safeties, governors ad buffers; annual pressure test on hydraulic elevators; annual Firefighter’s service operational tests, annual standby power operation test and annual, full-load and not-load full speed, test of safeties, governors and buffers, etc; all as required by the most current ASME A17.1 Safety Code for Elevators and Escalators. Annual and semi-annual safety inspections performed pursuant to ASME A17.1 shall be performed under the observation and guidance of an independent inspector provided or hired separately by the LCRA. The inspector shall contact the Contractor regarding scheduling of safety inspections; the Contractor shall make every reasonable effort to comply with the inspector’s scheduling requests.

The Contractor shall perform all tests and correct all deficiencies to covered equipment noted under such safety inspections at Contractor’s cost. 
B3.12 Materials: Contractor shall provide all materials and spare parts required in performing all preventive and corrective maintenance and repairs to the subject elevators. The Contractor shall ensure that all parts, materials, and lubricants used are of the proper design, construction, or formulation for the application for which they are used.
B3.13 Documentation of Work Performed: Contractor shall maintain records on all maintenance work performed on plant or building equipment using the existing work order system at all locations. The LCRA shall provide the Contractor with the appropriate work order(s) and inspection report forms to be used to perform preventive or corrective maintenance to elevator equipment. 
B3.14 Schedule, Log, and Posting: Contractor shall post a preventive maintenance schedule and a work log in each machine room. The log shall include all entries for routine preventive maintenance and repairs. Entries shall include at a minimum, date work completed, Mechanic’s or Supervisor’s name, brief description of work completed (including number of elevators serviced) and the approximate time required for the work. The log and maintenance schedule shall be posted conspicuously in each machine room. LCRA shall be allowed to inspect and copy the work log and maintenance schedule at any time. 
B3.15 Diagrams and Drawings:  Contractor shall maintain a complete set of straight-line wiring diagrams in good   condition. Drawings shall be consistently modified to reflect any changes or modifications to circuits resulting from control modifications, parts replacement or equipment upgrades made by the Contractor during the term of this Contract. The LCRA shall be allowed to reproduce these as-built drawings and retain sole possession of these drawings when the contract is terminated. If contract is terminated, the LCRA will withhold final payment until the proper set of wiring diagrams is provided.
B3.16 Site Check-in and Check-out: Upon arrival at the plant site, the Contractor’s crew shall meet with the designated facility contact before commencing work. The crew shall contact the facility contact for approval of time sheets and to turn in complete work orders with copies of time sheets before leaving the plant site. For emergency callout work that is completed before the start of the next business day for which a work order had not been written, the Contractor’s crew shall provide a separate sheet outlining the aforementioned information along with their time sheets to the LCRA’s facility contact before leaving the plant site.
B3.17 Contractor-Provided Materials: Contractor shall submit to Owner before commencing the work each of the following:
a. Proposed preventive maintenance schedule for each elevator.
b. Proposed routine maintenance hours per elevator per month.
c. Brief description of monthly routine maintenance to be performed.
d. Copies of routine maintenance checklists that govern procedures to be completed each month.
B3.18 Hydraulic Elevators: 
a. The Contractor shall regularly and systematically examine, clean, lubricate, adjust and, when conditions warrant, repair or replace the following, using parts made by or parts approved for use by the original manufacturer of the elevator.
i. Pumps, Valves, Motors, Controllers, and parts thereof, including:
1. Bearings
2. Windings and coils
3. Rotating elements
4. Contacts and relays
5. Resistors and contactors
6. Packing
7. Drive belts
8. Strainers and mufflers
9. Above-ground piping
b. The Contractor shall keep guide rails properly lubricated except where roller guides are used.
c. The Contractor shall replace guide shoe gibs or rollers, when conditions warrant, to provide smooth and quiet operation.
d. The Contractor shall repair or replace control cables when conditions warrant, to provide smooth and quiet operation.
e. The Contractor shall furnish lubricants and hydraulic system oil compounded to original manufacturer’s specifications.
f. The Contractor shall relamp signals as required, during regular examinations only, except where building maintenance personnel have union jurisdiction.
g. The Contractor shall periodically examine, clean, lubricate, adjust and, when conditions warrant, repair or replace the following safety devices:
i. Interlocks and door closers
ii. Buffers
iii. Limit, landing and slowdown switches
iv. Door protective devices
v. Alarm bells
h. The Contractor shall conduct pressure relief valve tests, as required by ASME A-17.1 code.
i. The Contractor shall periodically examine, lubricate, adjust and when conditions warrant, repair or replace the following accessory equipment.
i. Car and corridor operating stations
ii. Car and corridor hangers and tracks
iii. Door operating devices
iv. Door gibs
v. Car fan
j. The Contractor shall periodically clean elevator hatch equipment, including rails, inductors, hatch door hangers and tracks, relating devices, switches, buffers and car tops.
k. The Contractor assumes no responsibility for the following items, which are not included under this specification:
i. Hoistway panels, door hinges, frames, gates and sills
ii. Cabs and cab flooring
iii. Cab doors, gates and removable cab panels
iv. Power switches, fuses and feeders to controllers
v. Light fixtures and lamps

vi. Cover plates for signal fixtures and operating stations
vii. Cab mirrors and handrails
viii. Cleaning of cab interiors and exposed sills
ix. Plungers, casings, or cylinders and all underground piping and connections
x. Smoke detectors
B3.19 Spare Parts: The Contractor shall own and maintain a sufficient supply of spare parts for repair of each unit.  Materials or parts used for the Work shall be those used by the manufacturers of the original equipment for replacement or repair. A list of replacement parts in stock, by part number, shall be furnished if requested by the Owner prior to award of the contract.  Contractor shall maintain an up-to-date inventory of all spare parts by part numbers.
a. The following replacements are to be stocked on each job for each type of elevator covered by these specifications:
1. Coils; minimum of one (1) for each type relay or contactor used.
2. Contacts; minimum of three (3) of each type used.
3. Motor brushes; minimum of one set of each type used.
4. Supply of lubricants and hydraulic oil for each requirement.
5. Supply of fuses.
6. Interlock rollers and contacts; minimum of two (2) of each type.
7. Car and hoistway door hanger rollers; minimum of two (2) of each type.
8. Car and hoistway door gibs; minimum of one (1) set of each type.
9. Car and hoistway door closer parts (springs, spirators, etc.)
10. Door operator belts, chains, and brushes; minimum of one (1) set of each type.
11. Door operator drive blocks, clutch rollers, and fingers; minimum of one (1) set of each type.
12. Photo electric tubes; minimum of one (1) of each type.
13. Landing switch equipment and magnetic inductors; minimum of one (1) of each type.
14. Solid state timers and printed circuit boards; minimum of one (1) of each type.
15. Safety edge pivot arm assembly and switch; minimum of one (1) of each type.

16. Signal fixture lamps; minimum of five (5) of each type.
17. Selector cams and contact assemblies; minimum of one (1) of each type.
18. Brake contact; minimum of one (1) of each type.

19. Normal renewal parts peculiar to equipment covered by this specification.
b. The following parts are to be owned and stored within two hours travel time from the job:
1. Supply of selector tapes to handle highest rise.
2. Roller guides and gibs for car and counterweight.

3. Car door electric eye photo cell replacement units.
4. Complete car door safety edge.
5. Transformers and rectifiers for all controller power supplies.
6. Door operator motors of each type used.
7. Door operator gear reduction units of each type used.
8. Controller and selector coils of each type used.
9. Car and hall buttons with contacts of each type used.
10. Replacement relays of each type used.
11. Selector drive motor.
12. Geared machine brake shoe and lining assembly; minimum of one (1) set of each type.
c. The following replacement parts are to be owned and ready for immediate shipment within twenty-four (24) hours.  If the twenty-four (24) hour requirement cannot be met, Contractor must pay continuous overtime for local shop to repair.
1. Rotating elements of each type and size used.

2. Stators of each type and size used.
3. Brake coils of each type and size used.
4. AC motors of each type and size used.
5. Line contactors of each type and size used.
B3.20 Records: The Contractor shall maintain an orderly and chronological file including drawings, parts lists, specifications and copies of all reports as required by these specifications.  A record of all callbacks and repairs shall be kept by the Contractor indicating any difficulty experienced and the corrective measures taken to eliminate these difficulties.  This file shall be available for inspection, and a copy shall be maintained electronically and accessible through a website.
B3.21 FACILITY LOCATIONS & ELEVATOR SPECIFICATIONS:
LCRA reserves the right to add or remove LCRA locations and elevators throughout the term of this contract.

Location 1. Fayette Power Project (FPP): 6549 Power Plant Road / La Grange, Texas 78945
Facility Contact: Randy Stork / Phone: (979) 249-8409
(Contractor shall provide monthly preventative maintenance)

FPP – Elevator 1.1

	Elevator Description:
	Unit 1 Boiler Structure

	Elevator Type / Service:
	Traction/Freight & Passengers

	Manufacturer / Type / Serial No.:
	Otis / 71VCLS /sn 651066

	Rated Capacity:
	5000 LB.

	Rated Speed:
	350 FPM

	Hoisting Ropes:
	1/2" steel 8 x 25

	Governor Type:
	Centrifugal

	Number of Landings:
	12

	Approximate Installation Date:
	1978


FPP – Elevator 1.2

	Elevator Description:
	Unit 2 Boiler Structure

	Elevator Type / Service:
	Traction/Freight & Passengers

	Manufacturer / Type / Serial No.:
	Otis / 71VCLS /sn 651067

	Rated Capacity:
	5000 LB

	Rated Speed:
	350 FPM

	Hoisting Ropes:
	1/2" steel 8 x 25

	Governor Type:
	Centrifugal

	Number of Landings:
	12

	Approximate Installation Date:
	1978


FPP – Elevator 1.3
	Elevator Description:
	Unit 3 Boiler Structure

	Elevator Type / Service:
	Traction/Freight & Passengers

	Manufacturer / Type / Serial No.:
	Montgomery/sn 50154

	Rated Capacity:
	5000 LB

	Rated Speed:
	350 FPM

	Hoisting Ropes:
	5/8" steel 8 x 19

	Governor Type:
	Ball

	Number of Landings:
	13

	Approximate Installation Date:
	1987


FPP – Elevator 1.4

	Elevator Description:
	Unit 3 FGD Elevator

	Elevator Type / Service:
	Traction/Freight & Passengers

	Manufacturer / Type / Serial No.:
	Montgomery/sn 50155

	Rated Capacity:
	1500 LB.

	Rated Speed:
	200 FPM

	Hoisting Ropes:
	1/2" steel 8 x 19

	Governor Type:
	Ball

	Number of Landings:
	6

	Approximate Installation Date:
	1988


FPP – Elevator 1.5

	Elevator Description:
	Unit 3 T/G Building

	Elevator Type / Service:
	Hydraulic/Freight & Passengers

	Manufacturer / Type / Serial No.:
	Montgomery/Miprom/ sn 50156

	Rated Capacity:
	2500 LB.

	Rated Speed:
	150 FPM

	Hoisting Ropes:
	N/A

	Governor Type:
	N/A

	Number of Landings:
	3

	Approximate Installation Date:
	1988


FPP – Elevator 1.6
	Elevator Description:
	Stackout Building Manlift

	Elevator Type / Service:
	Rack & Pinion/Passenger

	Manufacturer / Type / Serial No.:
	Alimak/Scando-mini

	Rated Capacity:
	900 LB.

	Rated Speed:
	100 FPM

	Hoisting Ropes:
	N/A

	Governor Type:
	Centrifugal

	Number of Landings:
	4

	Approximate Installation Date:
	1983


FPP – Elevator 1.7
	Elevator Description:
	Unit 3 Chimney

	Elevator Type / Service:
	Rack & Pinion/Passenger

	Manufacturer / Type / Serial No.:
	Alimak/Scando-mini

	Rated Capacity:
	900 LB.

	Rated Speed:
	150 FPM

	Hoisting Ropes:
	N/A

	Governor Type:
	Centrifugal

	Number of Landings:
	4

	Approximate Installation Date:
	1988


FPP – Elevator 1.8
	Elevator Description:
	Unit 3 T4 Building

	Elevator Type / Service:
	Rack & Pinion/Passenger

	Manufacturer / Type / Serial No.:
	Alimak/Scando-mini

	Rated Capacity:
	900 LB.

	Rated Speed:
	150 FPM

	Hoisting Ropes:
	N/A

	Governor Type:
	Centrifugal

	Number of Landings:
	3

	Approximate Installation Date:
	1988


FPP – Elevator 1.9
	Elevator Description:
	Unit 3 T5 Building

	Elevator Type / Service:
	Rack & Pinion/Passenger

	Manufacturer / Type / Serial No.:
	Alimak/Scando-mini

	Rated Capacity:
	900 LB.

	Rated Speed:
	150 FPM

	Hoisting Ropes:
	N/A

	Governor Type:
	Centrifugal

	Number of Landings:
	5

	Approximate Installation Date:
	01/1988


FPP – Elevator 1.10
	Elevator Description:
	Unit 3 Fly ash silo

	Elevator Type / Service:
	Rack & Pinion/Passenger

	Manufacturer / Type / Serial No.:
	Alimak/Scando-mini

	Rated Capacity:
	900 LB.

	Rated Speed:
	150 FPM

	Hoisting Ropes:
	N/A

	Governor Type:
	Centrifugal

	Number of Landings:
	7

	Approximate Installation Date:
	1987


FPP – Elevator 1.11
	Elevator Description:
	Unit 1 Chimney

	Elevator Type / Service:
	Rack & Pinion/Passenger

	Manufacturer / Type / Serial No.:
	Alimak/Scando-mini

	Rated Capacity:
	900 LB.

	Rated Speed:
	150 FPM

	Hoisting Ropes:
	N/A

	Governor Type:
	Centrifugal

	Number of Landings:
	2

	Approximate Installation Date:
	1992


FPP – Elevator 1.12
	Elevator Description:
	Unit 2 Chimney

	Elevator Type / Service:
	Rack & Pinion/Passenger

	Manufacturer / Type / Serial No.:
	Alimak/Scando-mini

	Rated Capacity:
	900 LB.

	Rated Speed:
	150 FPM

	Hoisting Ropes:
	N/A

	Governor Type:
	Centrifugal

	Number of Landings:
	2

	Approximate Installation Date:
	1992


Location 2. Sim Gideon Plant: 4 Miles East of Bastrop on Hwy. 21 / Bastrop, Texas 78602
Facility Contact: John Lax / Phone: (512) 321-3641
(Contractor shall provide monthly preventative maintenance)
SGP – Elevator 2.1
	Elevator Description:
	Sim Gideon #1

	Elevator Type / Service:
	Traction/General Freight

	Manufacturer / Type / Serial No.:
	Montgomery/sn C-16856

	Rated Capacity:
	1200 LB.

	Rated Speed:
	100 FPM

	Hoisting Ropes:
	1/2"seal traction steel (4 each)

	Governor Type:
	Bale  (175 FPM)

	Number of Landings:
	5

	Approximate Installation Date:
	1964


SGP – Elevator 2.2
	Elevator Description:
	Sim Gideon #2

	Elevator Type / Service:
	Traction/General Freight

	Manufacturer / Type / Serial No.:
	Montgomery/sn C-19839

	Rated Capacity:
	1200 LB.

	Rated Speed:
	100 FPM

	Hoisting Ropes:
	1/2"seal traction steel (4 each)

	Governor Type:
	Bale  (175 FPM)

	Number of Landings:
	5

	Approximate Installation Date:
	1969


SGP – Elevator 2.3
	Elevator Description:
	Sim Gideon #3

	Elevator Type / Service:
	Traction/General Freight

	Manufacturer / Type / Serial No.:
	Dover/sn C23106

	Rated Capacity:
	1500 LB.

	Rated Speed:
	100 FPM

	Hoisting Ropes:
	1/2"seal traction steel (4 each)

	Governor Type:
	Bale  (175 FPM)

	Number of Landings:
	7

	Approximate Installation Date:
	1971


Location 3. Ferguson Plant: 2001 Ferguson Rd. / Marble Falls, Texas 78657
Facility contact: Johnny Slawinski / Phone: (830) 596-7135
(Contractor shall provide preventative maintenance every 3 months)

Ferguson – Elevator 3.1
	Elevator Description:
	Ferguson #1

	Elevator Type / Service:
	Traction/General Freight

	Manufacturer / Type / Serial No.:
	Dover/type 65886/sn 24822

	Rated Capacity:
	3000 LB.

	Rated Speed:
	150 FPM

	Hoisting Ropes:
	5/8" -4-8x19 steel

	Governor Type:
	flyweight  (190 FPM)

	Number of Landings:
	7

	Approximate Installation Date:
	1973


Location 4. Lost Pines Power Park (LPPP): 256 Power Plant Road / Bastrop, Texas 78602

Facility Contact: Keith Trolinger / Phone: (512) 321-3670

(Contractor shall provide monthly preventative maintenance)

LPPP 4. 1

	Elevator Description:
	LP1-A

	Elevator Type / Service:
	Rack & Pinion/Passenger

	Manufacturer / Type / Serial No.:
	Alimak Hek

	Rated Capacity:
	1,500lb

	Rated Speed:
	150 FPM 

	Hoisting Ropes:
	

	Governor Type:
	

	Number of Landings:
	3

	Approximate Installation Date:
	2007


LPPP 4. 2

	Elevator Description:
	LP1-B

	Elevator Type / Service:
	Rack & Pinion/Passenger

	Manufacturer / Type / Serial No.:
	Alimak Hek

	Rated Capacity:
	1,500lb

	Rated Speed:
	150 FPM 

	Hoisting Ropes:
	

	Governor Type:
	

	Number of Landings:
	3

	Approximate Installation Date:
	2007


Location 5. Buchanan Dam: 815 Buchanan Plant Rd. / Buchanan Dam, Texas 78609 
Facility Contact: Jim Guenther / Phone: (512) 793-3003
(Contractor shall provide preventative maintenance every 3 months)
Buchanan – Elevator 5.1
	Elevator Description:
	Dam Access

	Elevator Type / Service:
	Rack & Pinion/Passenger

	Manufacturer / Type / Serial No.:
	American Mast Climbers/Model-A-2400

	Rated Capacity:
	2800 LB.

	Rated Speed:
	100 FPM

	Hoisting Ropes:
	N/A

	Governor Type:
	Centrifugal

	Number of Landings:
	2

	Approximate Installation Date:
	2001


Location 6. Max Starcke Dam: 1395 Starcke Dam Rd. / Marble Falls, Texas 78654
Facility Contact: Jim Guenther / Phone: (512) 793-3003
(Contractor shall provide preventative maintenance every 3 months)
Starcke – Elevator 6.1
	Elevator Description:
	Starcke #1

	Elevator Type / Service:
	Traction/Passenger

	Manufacturer / Type / Serial No.:
	Otis / sn 227420

	Rated Capacity:
	1200 LB.

	Rated Speed:
	100 FPM

	Hoisting Ropes:
	1/2" steel (3 each)

	Governor Type:
	type R  (175 FPM)

	Number of Landings:
	3

	Approximate Installation Date:
	1951


Location 7. Alvin Wirtz Dam: 3138 North Wirtz Dam Rd. / Marble Falls, Texas 78654
Facility Contact: Jim Guenther / Phone: (512) 793-3003
(Contractor shall provide preventative maintenance every 3 months)
Wirtz – Elevator 7.1
	Elevator Description:
	Wirtz #1

	Elevator Type / Service:
	Traction/Passenger

	Manufacturer / Type / Serial No.:
	Otis / sn 227421

	Rated Capacity:
	1200 LB.

	Rated Speed:
	100 FPM

	Hoisting Ropes:
	1/2" steel (3 each)

	Governor Type:
	type R  (175 FPM)

	Number of Landings:
	3

	Approximate Installation Date:
	1951


Location 8. Garwood Irrigation District: 6759 Hwy. 71 / Garwood, TX
Facility Contact: Jerome Emmel / Phone: (512) 473-3200 x 3716(Contractor shall provide preventative maintenance every 3 months)
Garwood – Elevator 8.1
	Elevator Description:
	Garwood #1

	Elevator Type / Service:
	Cable System

	Manufacturer / Type / Serial No.:
	Hollister-Whitney Elevator Corporation, Quincy Illinois

	Rated Capacity:
	650 lbs

	Rated Speed:
	approximately 100 FPM

	Hoisting Ropes:
	unknown

	Governor Type:
	Governor Model 480  FPM TRIP 175 SW 157 Rope 3/8” Rope Pull Thru 300

	Number of Landings:
	2

	Approximate Installation Date:
	1977


Location 9. General Office Complex (GOC): 3700 Lake Austin Blvd. / Austin, Texas 78703
Facility Contact: Ken Case / Phone: (512) 473-3200 x 7880
(Contractor shall provide monthly preventative maintenance)
GOC – Elevator 9.1/2
	Elevator Description:
	#1 Near Shapiro Building / #2 Near Miller Building

	Elevator Type / Service:
	Wheelchair Lifts

	Manufacturer / Type / Serial No.:
	Cheney Liberty Wheelchair Lifts, GO #83240-01

	Rated Capacity:
	

	Rated Speed:
	

	Hoisting Ropes:
	

	Governor Type:
	

	Number of Landings:
	

	Approximate Installation Date:
	


GOC – Elevator 8.2/3/4
	Elevator Description:
	Shapiro Building

	Elevator Type / Service:
	Hydraulic

	Manufacturer / Type / Serial No.:
	Schindler MPH Passenger Elevator GO #83224

	Rated Capacity:
	4,000lb

	Rated Speed:
	150 FPM 2C-MPH,

	Hoisting Ropes:
	

	Governor Type:
	

	Number of Landings:
	5

	Approximate Installation Date:
	


GOC – Elevator 9.5/6
	Elevator Description:
	Hancock Building

	Elevator Type / Service:
	Hydraulic

	Manufacturer / Type / Serial No.:
	Schindler MPH Passenger Elevators GO #84112

	Rated Capacity:
	3,500lb

	Rated Speed:
	150 FPM 2C-MPH

	Hoisting Ropes:
	

	Governor Type:
	

	Number of Landings:
	4

	Approximate Installation Date:
	


GOC – Elevator 9.8/9
	Elevator Description:
	Long Building

	Elevator Type / Service:
	Hydraulic

	Manufacturer / Type / Serial No.:
	Schindler MPH Passenger Elevator GO #84113

	Rated Capacity:
	3,500lb

	Rated Speed:
	150 FPM 2C-MPH

	Hoisting Ropes:
	

	Governor Type:
	

	Number of Landings:
	4

	Approximate Installation Date:
	


GOC – Elevator 9.10
	Elevator Description:
	Miller Building

	Elevator Type / Service:
	Hydraulic

	Manufacturer / Type / Serial No.:
	Schindler MPH Passenger Elevator GO #84113

	Rated Capacity:
	3,500lb

	Rated Speed:
	150 FPM 2C-MPH

	Hoisting Ropes:
	

	Governor Type:
	

	Number of Landings:
	3

	Approximate Installation Date:
	


GOC – Elevator 9.11
	Elevator Description:
	Red Bud Center

	Elevator Type / Service:
	Hydraulic

	Manufacturer / Type / Serial No.:
	Schindler MPH Passenger Elevator GO #84113

	Rated Capacity:
	3,500lb

	Rated Speed:
	150 FPM 2C-MPH

	Hoisting Ropes:
	

	Governor Type:
	

	Number of Landings:
	3

	Approximate Installation Date:
	


Location 10. Dalchau-Service Center (DSC): 3505 Montopolis Drive / Austin, Texas
Facility Contact: Frank Cruz / Phone: (512) 473-3200 x 6388
(Contractor shall provide monthly preventative maintenance)
DSC – Elevator 10.1
	Elevator Description:
	System Operating Control Center (SOCC)

	Elevator Type / Service:
	Hydraulic

	Manufacturer / Type / Serial No.:
	Dover Passenger Elevator

	Rated Capacity:
	5,000lb

	Rated Speed:
	125 FPM

	Hoisting Ropes:
	

	Governor Type:
	

	Number of Landings:
	

	Approximate Installation Date:
	


B.4

----- INOVATION -----
Please provide LCRA with any innovative solutions and opportunities to better meet our elevator maintenance requirements (Example: Utilizing a General Service Administration (GSA) contract, etc.).
SECTION C

PRICING METHODOLOGY
Pricing shall remain firm and unchanged throughout the entire term of this contract.  The undersigned, as offeror, hereby proposes to do all work and furnish all supervision, labor, tools, material as identified and equipment, and any other tasks necessary to complete all work as specified herein for the prices as follows:
	C.2

PREVENTIVE MAINTENANCE, REPAIRS, SERVICE CALLS and annual full load and no load tests to be performed in accordance with ASME A17.2 Section 1002.3 and IN ACCORDANCE WITH SECTION B SCOPE OF WORK.

	ELEVATOR
	PRICE PER

MONTH / QUARTER
	ESTIMATED HOURS PER MONTH
	NUMBER

OF CREW

MEMBERS
	PROPOSED

MAINTENANCE

SCHEDULE
	ANNUAL COST

	FPP – Elevator 1.1
	$
	
	
	
	$

	FPP – Elevator 1.2
	$
	
	
	
	$

	FPP – Elevator 1.3
	$
	
	
	
	$

	FPP – Elevator 1.4
	$
	
	
	
	$

	FPP – Elevator 1.5
	$
	
	
	
	$

	FPP – Elevator 1.6
	$
	
	
	
	$

	FPP – Elevator 1.7
	$
	
	
	
	$

	FPP – Elevator 1.8
	$
	
	
	
	$

	FPP – Elevator 1.9
	$
	
	
	
	$

	FPP – Elevator 1.10
	$
	
	
	
	$

	FPP – Elevator 1.11
	$
	
	
	
	$

	FPP – Elevator 1.12
	$
	
	
	
	$

	SGP – Elevator 2.1
	$
	
	
	
	$

	SGP – Elevator 2.2
	$
	
	
	
	$

	SGP – Elevator 2.3
	$
	
	
	
	$

	Ferguson – Elevator 3.1
	$
	
	
	
	$

	LPPP - Elevator 4.1
	$
	
	
	
	$

	LPPP - Elevator 4.2
	$
	
	
	
	$

	Buchanan – Elevator 5.1
	$
	
	
	
	$

	Starcke – Elevator 6.1
	$
	
	
	
	$

	Wirtz – Elevator 7.1
	$
	
	
	
	$

	Garwood – Elevator 8.1
	$
	
	
	
	$

	GOC – Elevator 9.1
	$
	
	
	
	$

	GOC – Elevator 9.2
	$
	
	
	
	$

	GOC – Elevator 9.3
	$
	
	
	
	$

	GOC – Elevator 9.4
	$
	
	
	
	$

	GOC – Elevator 9.5
	$
	
	
	
	$

	GOC – Elevator 9.6
	$
	
	
	
	$

	GOC – Elevator 9.7
	$
	
	
	
	$

	GOC – Elevator 9.8
	$
	
	
	
	$

	GOC – Elevator 9.9
	$
	
	
	
	$

	GOC – Elevator 9.10
	$
	
	
	
	$

	GOC – Elevator 9.11
	$
	
	
	
	$

	DSC – Elevator 10.1
	$
	
	
	
	$


	C.1

PRE-MAINTENANCE REPAIRS REQUIRED PER SECTION B – SCOPE OF WORK

(Pre-maintenance repairs are required on the following elevators)

	ELEVATOR

(Please Specify Location & Elevator from Section B)
	COST OF REPAIR
	ESTIMATED HOURS TO REPAIR
	NUMBER OF CREW MEMBERS
	PROPOSED

REPAIR

SCHEDULE

	
	$
	
	
	

	
	$
	
	
	

	
	$
	
	
	

	
	$
	
	
	

	
	$
	
	
	

	
	$
	
	
	

	
	$
	
	
	

	
	$
	
	
	


	C.3
FURNISH A LIST OF ALL PARTS, COSTING $50.00 OR LESS, INCLUDED IN THE MONTHLY PREVENTIVE MAINTENANCE PRICE ON THE PREVIOUS PAGES.

	
DESCRIPTION
	
MANUFACTURER & MODEL NO.

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	


	C.4

Rates for Unscheduled Repairs Or Other Repairs: Firm hourly rates for the provision of services outside the scope of monthly preventive maintenance, during regular hours, Monday through Friday 8:am through 4:30 pm.

	Elevator Mechanic
	$/Hr.

	Assistant/Helper Mechanic
	$/Hr.
	Crew Rate: $/Hr.

	Overtime Hours during times other than those listed above, worked only at the request of the Owner

	Elevator Mechanic
	$/Hr.
	Double Time

	Assistant/Helper Mechanic
	$/Hr.
	Crew Rate
	$/Hr.


	C.5

Percentage Discount off Manufacter’s List price 
for repair parts NOT INCULDED IN THE PREVENTATIVE MAINTENANCE

	Dover Parts:                 
	Motion Control:

	Otis Parts:
	Montgomery KONE:

	Alimak Parts:
	Schindler:

	Hollister Whitney:
	Other:


SECTION D 

OFFEROR INFORMATION AND QUESTIONNAIRE
Offeror MUST complete this form in its entirety.  If a question is not applicable, Offeror should state “not applicable”.
BUSINESS INFORMATION
	Business  Name:
	

	Federal Tax ID #:
	

	Address (Headquarters):

City / State / Zip
	

	Website Address:
	

	Duns Number:
	

	Full Legal Name of Parent or Holding Company, if any:
	

	Is Business or Parent Publicly Traded?
	Yes  FORMCHECKBOX 
  No  FORMCHECKBOX 


	Type of Business Entity:
	Corporation  FORMCHECKBOX 
  LLC  FORMCHECKBOX 
  LP  FORMCHECKBOX 
  LLP  FORMCHECKBOX 
  Other  FORMCHECKBOX 


	In What State & Year Did Your Business Organize in It’s Current Structure?
	

	Number of Year in Business
	

	Services Provide by Business:
	

	Supplier Diversity:
	MBE  FORMCHECKBOX 
  or WBE  FORMCHECKBOX 
  


CONTACT INFORMATION
	Contact Name:
	

	Phone Number:
	

	E-Mail Address:
	

	Fax Number:
	


GENERAL CONTRACT INFORMATION/PERFORMANCE

In the past three (3) years, has Business:  

(a)   Been engaged in any litigation?  Yes  FORMCHECKBOX 
  No  FORMCHECKBOX 
 If yes, attach explanation.

(b)   Completed all contracts it was awarded?  Yes  FORMCHECKBOX 
 No  FORMCHECKBOX 
  If no, attach details. 

(c)   Been awarded a bonus for early completion of work?  Yes  FORMCHECKBOX 
 No  FORMCHECKBOX 
  If yes, attach details. 

(d)   Defaulted or been in a material breach of a contract?  Yes  FORMCHECKBOX 
 No  FORMCHECKBOX 
  If yes, attach details.  

(e)   Been assessed liquidated damages? Yes  FORMCHECKBOX 
 No  FORMCHECKBOX 
 If yes, attach details.

(f)    Delayed commercial operation beyond contractually required date?  Yes  FORMCHECKBOX 
 No  FORMCHECKBOX 
 If yes, attach details.

(g)   Been the recipient of any Notice of Dispute?   Yes  FORMCHECKBOX 
 No  FORMCHECKBOX 
 If yes, attach details.

(h)   Been responsible for any warranty claims?  Yes  FORMCHECKBOX 
 No  FORMCHECKBOX 
 If yes, attach details.

The undersigned Offeror declares: (a) that it is has reviewed and agrees to the Terms and Conditions, Scope of Work, and all other documents herein; (b)  that the signatory has the authority to bind the Company to this formal legal offer; (c) that through its authorized personnel it has personally examined the location of the proposed work and has determined the amount and character of the proposed work and the supervision, labor, tools, material as identified, and equipment, necessary to complete the same in compliance with the specifications and contract documents (if applicable); (d) that prior to the submission of this proposal, and prior to the award of any contract resulting from this proposal, neither the Offeror, nor any of its subcontractors, nor their agents nor employees have or will: (1) offer or give gratuities to an LCRA employee or affiliate, (2) pay a kickback to obtain favorable treatment in connection with an LCRA contract, (3) “buy-in” to obtain a contract with LCRA, (4) participate in practices which unlawfully eliminate competition or restrain trade such as collusive bidding or negotiating, follow the leader pricing, rotation of low bids, collusive price estimating, or sharing of business with other Offerors, and (5) commit bribery to obtain favorable treatment by LCRA or any affiliates; and (e) that either (1) no delinquent corporate franchise taxes are owed the State of Texas under Chapter 171, Tax Code or (2) the Offeror is not subject to the corporate franchise tax in Texas.

SIGNATURE: _________________________________________
TITLE: ___________________________________

PRINTED NAME: ______________________________________
DATE: ____________________________________

OFFEROR INFORMATION AND QUESTIONNAIRE CONTINUED
The proposal shall include all of the following information.  Failure to include all of the required information could result in disqualification of an offeror.

1.) Contractor’s qualification, staff profile and experience to provide maintenance and repair services required by LCRA.
2.) Contractor’s Quality Assurance processes and procedures.

3.) Facility location(s) from which Contractor will dispatch repair technicians to handle each of LCRA’s locations.
4.) The manufacturer’s names for which Contractor is an authorized service provider.

5.) The manufacturer’s names for which Contractor’s staff has experience performing maintenance and repairs.

6.) At least three (3) references from current users of similar services.  Include company name, contact name, phone number, and a description of the services used.

LIST OF SUBCONTRACTORS/SUPPLIERS

In conformance with the Contract Documents, listed below are the names of the subcontractors/suppliers that will provide more than 5% of the Work, and to what extent they will be used.  Also, include all qualifying Diverse subcontractors/suppliers.   This list becomes part of your Diverse Business Subcontracting Plan and shall not be modified except as requested and approved by LCRA.  Attach additional sheets if needed.  

All blanks for each subcontractor listed MUST be completed.  Prior to contract award, all vendors listed must be registered on LCRA Vendor Database, Diverse Businesses must be noted as such at registration.
	Name of ___Subcontractor:__
	Federal Tax ID  ___Number:  ___     
	Description of __Work/Materials:
	Contract Value:_
	*Qualifying Diverse Business?
	*Diverse _Business Type 

	________________________
	________________
	_______________________
	___________
	Yes  FORMCHECKBOX 
No  FORMCHECKBOX 

	___________

	________________________
	_______________
	_______________________
	 ___________
	 Yes  FORMCHECKBOX 
No  FORMCHECKBOX 

	___________

	________________________
	_______________
	_______________________
	 ___________
	 Yes  FORMCHECKBOX 
No  FORMCHECKBOX 

	___________

	________________________
	_______________
	_______________________
	 ___________
	 Yes  FORMCHECKBOX 
No  FORMCHECKBOX 

	___________

	________________________
	_______________
	_______________________
	 ___________
	 Yes  FORMCHECKBOX 
No  FORMCHECKBOX 

	___________

	________________________
	_______________
	_______________________
	 ___________
	 Yes  FORMCHECKBOX 
No  FORMCHECKBOX 

	___________

	________________________
	_______________
	_______________________
	 ___________
	 Yes  FORMCHECKBOX 
No  FORMCHECKBOX 

	___________

	________________________
	_______________
	_______________________
	 ___________
	 Yes  FORMCHECKBOX 
No  FORMCHECKBOX 

	___________


* Qualifying Diverse Business Types:  1) Certified HUB, 2) Certified Minority Owned or DBE, 3) Certified Woman-Owned, 4) Certified HUBZone, 5) Service-Disabled Veteran Owned.  Valid copies of certification must be included.  See LCRA Supplier Diversity Guidelines.
SECTION E
TERMS AND CONDITIONS 

Article 1.  Services to be Provided

(a) Contractor shall provide services (the “Services”) to LCRA under individual assignments (“Task Order(s)”). A description of the Services that may be included in the Services is attached as Section B.  LCRA will provide a written Task Order, including a written scope of work (“Scope of Work”) describing the particular tasks to be performed, to Contractor for the particular task and a specific price or a formula by which the price can be determined. No Services are authorized unless authorized representatives of both Parties sign such a Task Order. This Contract does not guarantee a minimum amount Contractor will be paid or a minimum number of Task Orders.

(b) Notwithstanding anything to the contrary contained in this Contract, LCRA and Contractor agree and acknowledge that LCRA is entering into this Contract in reliance on Contractor’s special and unique abilities with respect to performing the Services.  Contractor represents that there are no undisclosed obligations, commitments or impediments of any kind that will or could taint, limit or prevent performance of the Services.

 (c)
Changes.  The Contract may be modified to provide for additions, deletions, alterations and revisions in the Scope of Work, schedule, price or to modify the terms and conditions hereof.  The “LCRA Authorized Agent” is the LCRA individual responsible for the administration of and changes to this Contract and is the only one authorized for LCRA to make any modifications to the Contract.  Any verbal modifications to the Contract shall have no effect.  The Contract shall be modified through any of the following documents:

(i)
“Change Orders”.  A document signed by the LCRA Authorized Agent and Contractor which changes the Scope of Work or the schedule in the Contract.  The changes in the Scope of Work or schedule may result in a corresponding change in contract price, which also may be part of a Change Order.    
(ii) “Amendment”.  A document, approved and signed by the LCRA Authorized Agent and Contractor, which changes the Contract in any way other than a Change Order.

 
Effect of Expiration on Task Orders.
  Upon expiration or earlier termination of this Contract, these terms and conditions shall continue in full force and effect with respect to any Task Order awarded under this Contract that has not been completed or otherwise terminated.

Article 2.  Contract Documents

(a)  
General Definition.  In order of precedence, this Contract shall consist of the following documents (“Contract Documents”):

1. All written Change Orders executed after the effective date of this Contract by an authorized representative of each Party;

2. Each Task Order executed pursuant to this Contract by an authorized representative of both Parties;

3. The Scope of Work attached to each Task Order;

4. This Contract; and

5. Any other documents specifically identified as Contract Documents.

(b)
Exclusion from Contract Documents.  No terms and conditions submitted by Contractor in connection with any proposal or proposed Task Order that conflict with the terms and conditions contained in this Contract will be considered part of the Contract Documents unless expressly accepted in writing by the LCRA.

Article 3.  Term

This Contract is for a one (1) year period, with an option to extend for four (4) consecutive one (1) year periods, not to exceed a maximum of five (5) years. The primary term begins upon execution of this Contract by an authorized representative of the LCRA. This Contract will be deemed to extend beyond its expiration or termination date with respect to any Task Order being performed under it at that time, unless the Task Order is also terminated.
Article 4.  Schedule

Time shall be of the essence for performance under this Contract.  Contractor agrees to perform all obligations and render the Services set forth in this Contract or any Task Order issued pursuant hereto in accordance with any timelines included in the Scope of Work, except as the Parties may otherwise  mutually agree to in writing. If required by the Scope of Work, a specific Services progress schedule will be developed for each individual task in compliance with the Scope of Work.   

Article 5.  Price

The price to be paid for Services under any Task Order may be a firm, fixed price, a not to exceed price or computed by reference to a rate table, all as agreed in a particular Task Order.    

Article 6.  Payment

(a)
Notwithstanding anything in this Contract to the contrary, all payments to be made by the LCRA hereunder are subject to Ch. 2251 of the Texas Government Code, popularly known as the Prompt Payment Act.  Payment in full for invoices shall be due within thirty (30) days from date the invoice is received by LCRA.  Invoices paid more than thirty (30) days after the invoice is received are subject to a late charge of 1% per month (12% APR) on the amount of the undisputed past due balance.
(b)
Invoices for payment under this Contract shall be sent to:

Lower Colorado River Authority

Attn:  Accounts Payable

P.O. Box 679000

Austin, Texas 78767

LCRA’s purchase order numbers shall be included prominently on each invoice.  Payments may be based on completion of the Services, fulfillment of milestones, progress payments or any other method that is established in the agreed Task Order.  In no event shall Contractor invoice LCRA more than once a month.

(c)
No invoice shall be considered complete or payable unless all documentation is submitted with invoice supporting reimbursable and LCRA approved expenses, such as time sheets, transportation, lodging and meal expenses.  Alcohol and entertainment expenses are not reimbursable.  

Article 7.  Acceptance of the Services 

When Contractor can demonstrate that the Services are complete in accordance with the acceptance criteria included in the Task Order and so notifies LCRA, LCRA shall review the Services for general compliance with the Contract.  If the Services appear to comply with the Contract requirements, and Contractor has furnished any required documentation, LCRA shall notify Contractor in writing of LCRA's acceptance of the services (“Acceptance of the Services”).  Acceptance of the Services shall not limit nor diminish Contractor's warranties and standards with respect to the Services.

Article 8.  Jobsite Inspection

If required by LCRA, Contractor’s representatives shall inspect the jobsite and clearly understand the requirements and risks of the Services to be performed, the jobsite conditions, traffic conditions, the proximity of high-voltage power lines, buried utilities, biological hazards and other local conditions likely to affect Contractor's performance before accepting any Task Order.  Acceptance of a Task Order shall constitute the Contractor’s certification that it has by inspection satisfied itself with respect to all such local conditions and is willing to accept all risks they impose.

Article 9.  Independent Contractor

Contractor shall perform in all respects as an independent contractor and not as an employee, partner, joint venturer or agent of the LCRA. The Services to be performed by Contractor shall be subject to the LCRA's review, approval and acceptance as provided in the Contract Documents, but the detailed manner and method of performance shall be under the control of Contractor.  The accuracy, completeness and scheduling of the Services and the application of proper means and methods for performance of the Services are entirely the responsibility of Contractor. Contractor shall be solely responsible for hiring, supervising and paying its employees, subcontractors and suppliers. Contractor shall be solely responsible for payment of all (i) compensation, including any employment benefits, to its employees, (ii) taxes, including withholding for federal income tax purposes, employment and unemployment taxes, and (iii) such other expenses as may be owed to Contractor’s employees.  However, because Contractor 's Services may be associated in the minds of the public with LCRA, Contractor shall ensure that all Services by its employees, subcontractors and agents are performed in an orderly, responsible and courteous manner.  
Upon prior notification to and written approval of LCRA, Contractor may hire subcontractors to perform Services hereunder. Contractor shall be responsible to LCRA for the performance of all such subcontractors.  The LCRA reserves the right, in its sole discretion, to reject the employment by Contractor of any subcontractor to which LCRA has a reasonable objection.  Contractor, however, shall not be required to contract with any subcontractor to which it has a reasonable objection.  LCRA shall require any and all such subcontractors to sign contracts with Contractor that bind the subcontractors to perform their subcontracts in accordance with the applicable requirements of the Contract Documents. Upon the request of LCRA, Contractor shall furnish LCRA with copies of such subcontracts. In addition, Contractor agrees that it is Contractor's responsibility to ensure that such subcontractors make all appropriate tax payments or tax withholding in relation to subcontrac​tor's employees providing Services to LCRA through Contractor under this Contract. Contractor represents that it and its subcontractors are fully trained to perform the tasks required by this Contract and that they need no training by the LCRA.  

Article 10.  Supplier Diversity

(a)
LCRA encourages the development of mutually beneficial business relationships with Minority-Owned, Women-Owned, Service Disabled Veteran-Owned and HUBZone (Diverse) Businesses and is committed to increasing their opportunities.  If awarded this Contract, Contractor will carry out this policy in conformity with its subcontracting plan by making good faith efforts to provide opportunities for Diverse Businesses to participate in the performance of the Contract with LCRA as a subcontractor, supplier, professional, practitioner or consultant.  All potential contractors should read and understand the Lower Colorado River Authority’s Supplier 

Diversity Guidelines (http://www.lcra.org/library/media/public/docs/rfps/supdiv_guide.pdf).  
(b)
LCRA establishes targets for Contracts exceeding $100,000.  The target for Diverse Businesses participation under this Contract is ___10___%.

(c) For Contracts with an established Diverse Businesses target, LCRA has a preference that subcontractors’ contributions to the target be direct second-tier purchases, i.e., products and services that are in direct fullfilment of LCRA requirements. Supplier diversity reports for direct second-tier purchases are required quarterly.  When applicable and approved by an LCRA representative, indirect second-tier purchases may also be accepted, i.e., products and services that Contractor purchases from a Diverse Business, but which are not in direct support of LCRA specific requirements.  Supplier diversity reports for indirect second-tier purchases are required quarterly.  These supplier diversity reports shall be considered contract deliverables.  Supplier diversity reports are due by the tenth (10th) business day of any quarter following which you invoiced LCRA.  Failure to submit the report in a timely fashion may be deemed a breach of the Contract and LCRA may exercise any appropriate remedies.  

(d) If a potential contractor’s response indicates it does not intend to subcontract or purchase major supplies in connection with the contract and during performance of the contract opportunities to subcontract with Diverse Businesses develop, LCRA expects contractors to actively and affirmatively solicit Diverse Businesses and notify LCRA’s Supplier Diversity Personnel

Article 11.  Licenses and Permits

(a)
Contractor shall procure and maintain at its expense all licenses and permits necessary for it to perform the Services.
(b)
Contractor shall ensure that its and its subcontractors and their employees are all properly licensed to perform their respective portions of the Services.

Article 12.  Governing Laws, Regulations & Standards

(a)
 This Contract shall be governed, interpreted and enforced under the laws of the State of Texas, without regard to its conflict of law principles.  In the event of litigation between the Parties arising out of this Contract issued under it, venue for such litigation shall be in a court of competent jurisdiction in Travis County, Texas.

(b)
Contractor shall be aware of and shall comply with all federal, state and local laws, ordinances, codes and regulations applicable to the Services, any equipment to be fabricated and delivered and for compliance with standards and codes of technical societies that have been adopted by law or regulation or compliance with which is required in the Contract Documents.  If any of the Services fail to comply with such laws, ordinances, codes and regulations, Contractor shall bear any expense arising from that failure, including the costs to bring the Services into compliance.

Without limiting the generality of the foregoing, during the performance of the Contract, Contractor agrees to comply with all applicable regulations of Executive Order No. 11246 of September 24, 1965, and the rules, regulations and relevant orders of the Secretary of Labor as they may apply to Equal Employment Opportunity. Contractor will furnish all information and reports required by Executive Order No. 11246 of September 24, 1965, and by the rules, regulations and orders of the Secretary of Labor pursuant thereto, and will permit access to its books, records and accounts by the cognizant agency and the Secretary of Labor for purposes of investigation to ascertain compliance with such rules, regulations and orders.

(c)
Contractor is solely responsible to ensure that its employees and those of its subcontractors and suppliers, who are not citizens of the United States, hold all documentation required under U.S. immigration law to lawfully work in the United States.  CONTRACTOR SHALL INDEMNIFY AND HOLD HARMLESS, LCRA, ITS AFFILIATES, THEIR BOARDS OF DIRECTORS, OFFICERS, AGENTS AND EMPLOYEES FROM AND AGAINST ANY EXPENSE (INCLUDING ATTORNEYS' FEES, COURT COSTS AND EXPERT WITNESS FEES), LOSS, FINE, SANCTION, PENALTY, LAWSUIT, JUDGMENT OR OTHER PROCEEDING ARISING IN CONNECTION WITH THE VIOLATION OR ALLEGED VIOLATION OF THIS OBLIGATION.

Article 13.  Intoxicants & Drugs: Employee Conduct

LCRA shall not allow intoxicants or illegal drugs on its jobsite.  Contractor shall not at any time allow personnel for whom it is responsible on the jobsite if they are under the influence of any substance that may impair their performance.  Contractor shall promptly remove from the jobsite any person who is or appears to be under the influence of any of these substances or is otherwise unsafe or disorderly.  Contractor shall ensure that its employees, subcontractors and their employees avoid excessive noise, exceeding speed limits or reckless driving, use of weapons or trespass on land not owned by or under easement to LCRA.  If private property must be entered or crossed to perform the Services, Contractor shall obtain permission from the property owner before entering.

Article 14.  Ethics Requirements

Contractor shall not, either before of after contract award, give or offer to give any personal benefit to any LCRA employee in connection with this contract.  This prohibition includes any gift, entertainment, compensation, employment, subcontract, property, favor, or service to an LCRA employee, or a member of an employee’s family, in order to obtain a favorable treatment by LCRA or for the employee’s having exercised his or her authority as an LCRA employee or for performing his or her LCRA duties in favor of another.  Contractor shall not offer or agree to give any type of personal benefit to an LCRA employee in exchange for a decision, opinion, recommendation, vote, or other exercise of discretion by an LCRA employee.

Contractor shall file with LCRA a completed conflicts of interest questionnaire form, in accordance with Section 176.006, Texas Local Government Code, when Contractor has an employment or other business relationship with any employee of LCRA, or a family member of any employee, or Contractor has given an employee, or family member of an employee, one or more gifts with the aggregate value of over $250 during the 12 months preceding the date of this contract.  Employee includes a family member as defined in Chapter 176, Texas Local Government Code.

Contractor shall disclose to LCRA by notice any consideration received by Contractor by any third party in the performance of this contract.

Article 15.  Risk of Loss

(a)
Contractor shall bear the expense and risk of loss or damage to its work in progress, completed work, materials, equipment and all other incidents of its Services prior to Acceptance of the Services.  Contractor shall promptly replace or repair any loss or damage to its work at its own expense.  In the event of substantial loss or damage due to Force Majeure (see Article 20 for definition), the schedules shall be equitably extended.  Contractor shall bear the expense of storage space for stored materials, whether on-site or off-site, and shall bear the risk of loss or damage to all such materials.  Contractor shall take reasonable precautions to protect its work from weather damage, burglary, pilferage, fire, theft and similar hazards.

(b)
Contractor shall bear the risk of loss or damage to its own equipment, tools, supplies and property and those of its subcontractors and suppliers, regardless of the cause of loss or damage throughout the project.  

Article 16. Warranties

(a) Warranty of Title.  Contractor warrants the title to any goods it delivers to LCRA incidental to the performance of the Services and that said goods will be free and clear of all liens, mortgages, security interests or other encumbrances.  

(b) General Warranty of the Services.  Contractor warrants that all Services shall be performed in a good and workmanlike manner consistent with industry standards and to any higher standard required in the Contract Documents.  Contractor shall correct, without delay and at its own expense, any portion of the Services that does not meet the warranty and that is discovered within one (1) year after Acceptance of the Services by correcting the defective portion of the Services. Any repair, replacement or modification of the Services performed pursuant to the provisions of this paragraph shall be supplied or repaired in accordance with the requirements of the applicable Contract Documents.  In particular, a new warranty period shall apply. Such new warranty period shall expire twelve (12) months from the date of such replacement, repair or modification.

(c) Intellectual Property Warranty.  Contractor warrants that the Services, including any deliverables associated therewith, and the processes used in performing them shall not infringe on any valid United States patent, United States copyright, trademark or trade secret.  

(d) Business Standing Warranty.  Contractor warrants, represents and agrees that if (i) it is a corporation or limited liability company, then it is a corporation duly organized, validly existing and in good standing under the laws of the State of Texas, or a foreign corporation or limited liability company duly authorized and in good standing to conduct business in the State of Texas, that it has all necessary corporate power and has received all necessary corporate approvals to execute and deliver the Contract, and the individual executing the Contract on behalf of Contractor has been duly authorized to act for and bind Contractor; or (ii) if it is a partnership, limited partnership or limited liability partnership, then it has all necessary partnership power and has secured all necessary approvals to execute and deliver this Contract and perform all its obligations hereunder; and the individual executing this Contract on behalf of Contractor has been duly authorized to act for and bind Contractor.

Article 17.  General Indemnity

(a)
Contractor shall hold the LCRA and its Board of Directors, directors, officers, employees, agents and other contractors harmless from all claims, damages, losses and expenses (jointly “Claims”), including reasonable attorneys' fees, arising out of, or resulting from or arising under this Contract, or any claimed defect in the Services, provided that any such claim, damage, loss or expense is caused, in whole or in part, by  the  negligent or grossly negligent act or willful misconduct  of Contractor, anyone directly or indirectly employed by it, or anyone for whose acts it may be liable.   

(b)
To the extent allowed by law, LCRA agrees to indemnify and hold harmless Contractor, its directors, officers and employees from and against any and all losses, claims and expenses arising from the negligent act or omission or willful misconduct of the LCRA related to this Contract which causes the death of, injury to or damage to the property of, any person.

(c)
If the Parties are concurrently negligent, each Party’s liability shall be limited to that portion of negligence attributable to it as determined under the applicable proportionate responsibility rules of the State of Texas.  

(d)
Notwithstanding anything to the contrary herein, neither Party shall be liable to indemnify the other for the negligence, gross negligence or willful misconduct of the other.  

(e)
The foregoing indemnity provisions shall be deemed independent covenants and shall survive completion of or any termination of the Contract or any claimed breach thereof.  Contractor’s indemnity responsibility as specified in this Article shall not include special, incidental, punitive or consequential damages. 

Article 18.  Intellectual Property Indemnity 

(a)
Contractor shall, at its own expense, defend all suits or proceedings instituted against LCRA, its officers, agents, employees or other contractors based upon any claim that the Services, or any part thereof, or the process performed thereby constitutes an infringement of either any patent or copyright of the United States or of any trademark or trade secret protected by either federal or state law.  Contractor shall pay all awards of damages assessed which result from any such claim, suit or proceeding and shall indemnify and save LCRA harmless against losses, expenses (including reasonable attorneys’ fees), and damages resulting from any such claim, suit or proceeding, including obedience to resulting decrees and to resulting compromises.  

(b) If, in any such suit, a restraining order or temporary injunction is granted, Contractor shall make every reasonable effort, by giving a satisfactory bond or otherwise, to secure the suspension of any such restraining order or temporary injunction.   If, in any such suit, the Services or any part thereof or the process performed thereby is held to constitute an infringement and its use be permanently enjoined, Contractor shall at once make every reasonable effort to secure for LCRA a license at Contractor's expense authorizing the continued use of the alleged infringing portion of the Services. If Contractor is unable to secure such license within a reasonable time, Contractor shall, at its own expense and without impairing performance requirements, either provide non-infringing replacements or modify the Services to eliminate the infringement. In addition to indemnifying and saving LCRA harmless, Contractor shall reimburse LCRA for any costs incurred as a result of the unavailability of the infringing Services or its non-infringing replacement.

Article 19.  Publicity

Contractor shall not directly or indirectly publish, approve or issue any advertising, sales promotion, press release or public statement relating to this Contract or any products furnished or services performed by Contractor for LCRA wherein LCRA’s name, trade name, trademark and/or logo is expressly mentioned or language is used from which LCRA’s identity may, in LCRA’s responsible judgment, be inferred or implied (a “Prohibited Publication”), without the prior written approval of LCRA, which approval may be withheld in LCRA’s absolute discretion.  If during the term of this Contract, Contractor makes any Prohibited Publication available to third parties without first obtaining LCRA’s written approval, LCRA may immediately elect to (a) issue at Contractor’s sole expense, or have Contractor issue with LCRA’s prior approval, a retraction or correction of such Prohibited Publication; (b) obtain an injunction to prevent Contractor from issuing additional Prohibited Publications, or (c) pursue other legal or equitable remedies against Contractor that may be available to LCRA to redress the breach of this Section.

Article 20.  Indemnity Procedures

Promptly after receipt by any entity entitled to indemnification of notice of the commencement or threatened commencement of any civil, administrative or investigative action or proceeding involving a claim for which the indemnitee seeks indemnification, it shall notify the indemnitor of such claim in writing.  No failure to so notify an indemnitor shall relieve the indemnitor of its obligations under this Contract except to the extent that the indemnitor can demonstrate damages attributable to such failure.  Within fifteen (15) days following receipt of written notice from the indemnitee relating to any claim, but no later than ten (10) days before the date on which any response to a complaint or summons is due, the indemnitor shall assume control of the defense and settlement of that claim.
Article 21.  Insurance  

Contractor shall obtain and maintain the insurance coverage specified below on an occurrence-basis and shall provide to LCRA a copy of the insurance policies listing the coverage before starting Services on any LCRA property. THE COVERAGE SHALL NOT BE CONSTRUED AS ESTABLISHING OR LIMITING CONTRACTOR'S LIABILITY UNDER THE INDEMNITY PROVISION. LCRA shall be listed as an "additional named insured" on all policies other than the Workers’ Compensation policy. Contractor for itself and its insurers hereby waives subrogation against LCRA, its affiliates, their Boards of Directors, directors, officers, employees and agents.  Contractor’s failure to maintain the required insurance coverage at any time during the Contract period may be grounds for LCRA to suspend the Contract and withhold payment until insurance coverage is satisfactory.  In addition to any other required information, all insurance policies must contain the applicable purchase order number and project title.  Failure to furnish or update (as applicable) insurance policies that comply with LCRA requirements may result in retraction of a contract award, or suspension or termination for breach of contract.



Type of Insurance 

Minimum Coverage

(a)
Workers' Compensation

PRIVATE 






Coverage A - 
statutorytc  \l 5 "

Coverage A - 
 statutory"


Coverage B -


$500,000 employer's liability

(b) General Liability 

PRIVATE 


Bodily Injury

  
$500,000 per person 

                     
Bodily Injury

   
$2,000,000 per occurrence



Property Damage
   
$1,000,000 per occurrence

(c) Automobile Liability



(including owned or leased vehicles and heavy equipment)



Bodily Injury


 $2,000,000 per occurrence



Property Damage 

 $2,000,000 per occurrence

The automobile liability coverage shall apply to owned, non-owned, hired and leased vehicles and heavy machinery.  

(d)
Errors and Omissions
(e) Other Insurance
Before Services begin, a copy of all policies for all required insurance shall be filed with the LCRA Authorized Agent.

Article 22.  Force Majeure

(a) The nonperformance or delayed performance by Contractor or LCRA of any obligation under the Contract shall be excused if such nonperformance or delay is caused by an event beyond the control of the affected Party ("Force Majeure"), except to the extent that Contractor knew of or should reasonably have been able to foresee such an event and failed to take reasonable measures to avoid the event. Items beyond the control of the Parties include, but are not limited to: acts of war, acts of a public enemy, acts of domestic or foreign terrorism, natural disasters, strikes, epidemics or quarantine restrictions, riot, or sabotage and acts of civil or military authority having jurisdiction.

(b) Upon occurrence of a Force Majeure event, the date for performance of the Services shall be extended for a period equal to the time lost by reason of the delay, provided Contractor or LCRA has taken reasonable steps to proceed with the performance of the Contract and has made written notification of such delay and of any corrective action taken. Contractor shall not be entitled to any increase in compensation by reason of Force Majuere.

(c)  
The following delays shall not constitute excusable delays in performance by Contractor and shall not constitute a reason for extending the date for performance of the Services:

(1)
Delays by subcontractors or by suppliers for reasons other than Force Majeure;

(2)
Delays in approval of documentation because of inadequate performance or to unrealistic approval schedules; or

(3)
Delays caused by Contractor's lack of sufficient personnel with the necessary skills.

Article 23. General  Safety, Environmental and Site Operations Requirements

(a) 
General.  Contractor shall perform all work required by this Contract in a safe and healthy manner.  During the course of the work, the Contractor shall comply with and enforce all laws, rules, regulations and industry practices applicable to worker safety and health.  LCRA shall identify to Contractor the Subject Matter Expert  . The Subject Matter Expert (“SME”) is the LCRA individual who assists the LCRA Authorized Agent in monitoring the performance of the contract.
(b)
Scope of Health and Safety Requirements.  Contractor will manage all subcontractors on site and will be accountable for subcontractor performance with respect to health and safety.

(c)
Mandatory Health and Safety Conditions.

(1)
Training/Qualification - All workers performing work on site shall be properly trained and qualified to perform the work they are expected to perform, and have received the necessary certifications and other credentials necessary to perform the work, as required.
(2)
Safety Orientation – Contractor shall ensure all of its employees and subcontractors on site shall attend a safety orientation prior to the start of work.  If any workers fail to attend the initial safety orientation, Contractor shall designate an employee (e.g., site superintendent) to provide the orientation before those workers shall be allowed to start work.  All safety orientations shall be documented and maintained for inspection.  Safety orientation is only required once unless otherwise needed, or the Scope of Work changes.

The following SHALL BE substituted in place of above for WPS/Generation Contracts

(2)
Safety Orientation - Upon arrival at the project site, Contractor shall contact the SME to arrange for an orientation. This orientation will include:  (i) the Emergency Preparedness Plan; (ii) review of LCRA’s safety policies; (iii) lock out/tag out procedures; (iv) confined space entry permits; (v) hot work permits; (vi) waste product disposal (LCRA maintains Material Safety Data Sheets for all material on site); (vii) Hazardous Communication Act/Emergency Response Act; (viii) smoking policy; (ix) plant entry procedures; and (x) designated parking areas.  Each employee of Contractor or its subcontractors must go through the required orientation prior to starting work.

(d)
Warnings & Barricades.  Contractor shall furnish, erect and maintain warning notices, signs, signals, lights, protective guards, enclosures, platforms and other devices as necessary to adequately protect all personnel on site; including but not limited to employees, subcontractors, other contractors, LCRA workers and the public.

(e)
Personal Protective Equipment (PPE) & Safety Equipment.  Contractor shall ensure that all employees, agents and subcontractors (including employees and agents of subcontractors) are equipped with appropriate footwear (safety toe, rubber boots, etc.) with a defined heel, appropriate eyewear (i.e., safety glasses with side shields, goggles, hoods, etc.), hard hats (RED NOT ALLOWED), respiratory protection, safety belts and harnesses, and such other health and safety related apparel as may be specified and/or required by statute, regulation, rule, ordinance, or jobsite conditions. Such equipment shall be furnished by Contractor at Contractor's expense.

(f)
Periodic Inspections.  Contractor shall conduct regular health and safety inspections of the work area(s) and work being performed.  LCRA, or its agent, reserves the right to inspect the work site(s) at any time and without prior notice to Contractor.

(g)
Safety Communications
(1)
Safety meetings – Contractor shall ensure that all hazards and protective measures associated with the work being performed on site are properly communicated to all personnel on site.  Contractor shall conduct regular health and safety meetings.  A copy of the minutes of such meetings shall be submitted to LCRA, upon request.  Contractor is responsible for providing an interpreter if necessary to ensure its communications are understood by all workers.
(2)
Communications with LCRA – The SME shall be the point of communication for all safety and health issues arising under this Contract.  Contractor shall communicate with the SME in the event of any of the following conditions:

· Contractor shall inform SME twenty-four (24) hours prior to any activity that could adversely affect a business organization.  Examples of these “activities” include but are not limited to welding, painting, fire protection, system maintenance/repair and any activity impacting emergency systems/egress routes.  SME will make all reasonable efforts to inform any parties potentially impacted by the activities.

· Contractor shall immediately inform the SME of all federal, state and local safety inspections, citations and penalties associated with the work.  

· Contractor shall immediately notify the SME by verbal, person to person communication, in the event of any incident that results in a death, serious bodily injury or serious property damage related to any aspect of the project.  Minor incidents and near-misses must be promptly communicated to the SME.  

· Contractor shall investigate all incidents resulting in personal injury or illness, property damage, or near-misses to determine the root causes and shall take appropriate action to eliminate such causes.  A copy of the final investigation report shall be promptly submitted to the SME.

(3)
Coordination with Other Officials – Contractor is fully responsible for coordinating with the proper authorities for moving heavy equipment, location of underground utilities, erecting barricades, traffic control and other safety measures, unless otherwise specified.

(4)
Communications with Media Restricted - In the event of an accident or other condition on site, Contractor shall not communicate with the media or any other entity without the expressed consent of the LCRA.

(h)
Suspension of Work and Limitation of Liability.   LCRA RESERVES THE RIGHT THROUGH THE SME TO SUSPEND ALL OR ANY PORTION OF THE WORK BEING PERFORMED IN VIOLATION OF THESE PROVISIONS.  LCRA SHALL NOT BE LIABLE IN CONTRACT, TORT (INCLUDING WITHOUT LIMITATION NEGLIGENCE AND STRICT LIABILITY) WARRANTY OR UNDER ANY OTHER LEGAL THEORY) FOR JUDGMENTS, DAMAGES, COSTS OR EXPENSES RELATED TO ANY SUSPENSION OR STOPPAGE OF WORK, LOSS OF BUSINESS, OR OTHER SPECIAL, INCIDENTAL, CONSEQUENTIAL OR PUNITIVE DAMAGES IN CONNECTION WITH ANY FAILURE ON THE CONTRACTOR’S PART TO ESTABLISH, ENFORCE OR ADEQUATELY MONITOR ITS HEALTH AND SAFETY PROGRAM.

(i) Preliminary Submittals.  Within ten (10) days after the effective date of the Contract and no later than the preconstruction conference, Contractor shall submit to LCRA’s SME for review:

(1) A letter designating onsite safety representative for general safety and specific activities; and

(2) If applicable, a site safety plan to include plans for specific activities.

(j) Other Requirements.  Contractor shall promptly settle rightful claims from counties, municipalities or private parties for road damage caused by trucks or heavy equipment driven to and from the job sites by third-party property by Contractor, subcontractors or suppliers, or employees of any of them.  If Contractor fails to settle such claims promptly, LCRA shall have the right to settle the claims and withhold the amount paid plus LCRA’s costs and expenses from Contractor’s payments under the Contract.

(k) Environmental.   Contractor is solely responsible for all costs incurred by LCRA for any spills or leaks caused by Contractors or its subcontractors or consultants during performance of, or in connection with the Services. Without limiting the foregoing sentence, Contractor shall be responsible for all costs incurred to contain, remediate and restore the site of the spill according to applicable state and federal laws and regulations, and if on LCRA's property, according to LCRA's requirements. 

LCRA shall be responsible for all notifications required by federal, state or local law or regulation. LCRA shall identify to Contractor the site supervisor and facility environmental manager Contractor shall immediately notify the site supervisor, SME and the facility environmental manager with the nature and location of the spill. If unable to notify the facility environmental manager, Contractor shall call the LCRA Environmental Services Spill line at (512) 205-0157. Contractor shall provide a written report to LCRA whose representative shall identify the substance, quantity released, location of the spill and perform clean up and remediation activities. If the spill occurs off the LCRA's property, then the Contractor shall also notify the LCRA of any agencies notified and the representatives of the agencies contacted. The report shall be a narrative that summarizes on-scene activity and remediation efforts. If long-term remediation will be required, it shall be noted in the report. The initial report shall be provided to LCRA within 24 hours after the incident. Follow-up reports shall be provided to LCRA weekly until remediation efforts have been completed and the spill has been properly remediated. 

Contractor shall indemnify and hold LCRA harmless from any and all liabilities, including, but not limited to, remediation costs, fines, penalties, court costs, and attorneys’ fees resulting from spills, releases, improper handling and/or disposal of wastes by Contractor, its subcontractors and/or consultants.  

(l)
Confined Space Entry. Contractor will perform confined space entries in strict accordance with OSHA 1910.146 Confined Space Standard. All Contractor entries will be performed under the guidelines of the contractor's confined space program, which should include but not be limited to, all required personnel training, confined space monitoring and evaluation, entry tag system or any personnel protective equipment required by confined space conditions. All entries will be coordinated with the LCRA’S SME or control room to assure proper isolation and/or de-energizing of the confined space is performed.

(m)
Surplus Material.  Unless otherwise directed through written instructions issued by LCRA, Contractor shall promptly remove all excess surplus material from the job site.  Final payment for performance of the work shall not be due and payable until such materials are removed from the job site.  If surplus materials are not removed from the job site within thirty (30) days of completion of the work, LCRA may dispose of the materials and offset the cost associated with disposal against the unpaid balance of the Contract price.

(n)
Cleaning Jobsite.  Contractor shall clean the job site daily.

(o)
Facility Equipment Clearance and Lock Out Procedures.  Facility Equipment Clearance and Lock Out Procedures shall be followed. Clearances shall be acquired by Contractor and LCRA personnel when required prior to performing work on any equipment. Contractor shall be responsible for providing company locks. Contractor’s locks shall be clearly identified and shall have a tag for employee to print name.

Article 24. Assignment

This Contract is to be considered a personal services Contract.  Contractor may not assign this Contract without the consent of LCRA. Any permitted assignee must notify the LCRA in writing that it accepts the assignment on the same terms and conditions contained in this Contract.  No permitted assignment shall limit Contractor’s responsibility for performance of this Contract.  Attempted assignment or delegation of this Contract, including obligations under it, without the written consent of LCRA shall be void, and not merely voidable.

Article 25.  Ownership of Deliverables

(a)
The Parties agree that such items as plans, drawings, photographs, designs, studies, specifications, data, computer programs, schedules, technical reports or other work products which are developed and specified to be delivered under this Contract and which are paid for by LCRA are considered instruments of services in respect of the Contract, but are subject to the rights of the LCRA under this Contract. These rights include, but are not limited to the right to use, duplicate and disclose such items, in whole or in part, for the purpose of completing, maintaining and operating any building, structure, plant, equipment or system that may result from the performance of this Contract.  If an item produced by Contractor is copyrightable, Contractor may copyright it, subject however to the rights of the LCRA under this Contract.  LCRA is hereby granted and assigned a royalty free, non-exclusive, and irrevocable license to reproduce, publish, modify and use such items and to authorize others to do so solely for LCRA’s business purposes.  Contractor shall include in its subcontractor and consultant contracts, appropriate provisions to achieve the purposes set out here. 
(b)
Intellectual property and rights to intellectual property owned by any Party on the date of this Contract shall remain the property of that Party. 

(c)
CONTRACTOR DOES NOT REPRESENT OR WARRANT THAT ANY DELIVERABLES WILL BE SUITABLE FOR REUSE ON ANY OTHER PROJECT.  CONTRACTOR DISCLAIMS LIABILITY FOR ANY REUSE OF THE DELIVERABLES ON ANY OTHER PROJECT THAT IS DONE WITHOUT THE EXPLICIT, WRITTEN APPROVAL OF THE CONTRACTOR.  

Article 26. Termination for Convenience 

(a)  
LCRA shall have the right to terminate this Contract for its convenience at any time. After receipt of the notice of termination, the Contractor shall immediately proceed with the following obligations, regardless of any delay in determining or adjusting any amounts due at that point in the Contract:

(1)
Stop all ongoing Services;

(2)
Place no further subcontracts or orders for materials or Services;

(3)
Terminate all subcontracts;

(4)
Cancel all materials and equipment orders, as applicable; and

(5)
Take any action that is necessary to protect and preserve all property related to this Contract that is in the possession of the Contractor.


(b) 
In the event of a termination under paragraph (a) of this Article, LCRA shall pay equitable termination charges, including payment for portions of Services completed and materials purchased, profit on completed portions, and out-of-pocket costs that have been reasonably incurred by Contractor as a result of terminating this Contract.  LCRA shall not be liable in connection with any termination under this Article for special, incidental, consequential or punitive damages, or for loss of anticipated future Services, anticipated profits, administrative costs or overhead on anticipated Services, or other indirect costs. 

(c)
This provision relates only to Services being performed at the Fayette Power Project (FPP).  Notwithstanding any provisions in this Contract to the contrary, Contractor agrees that in the event the FPP is not provided sufficient appropriated funds for performance of the Services, and funds are not otherwise available to pay the Contractor, there is no other legal procedure by which payment can be made, and the non-appropriation of funds did not result from any act or failure to act on the part of FPP, the LCRA or Austin Energy, LCRA shall have the right to cancel this Contract by a written notice of termination served no less than thirty (30) days prior to the effective date of the termination.

Article 27. Termination for Cause 

(a)
 
The occurrence of any one or more of the following events will constitute an event of default:

(1)
Contractor’s persis​tent failure to per​form the Services in accordance with the Con​tract Documents (including, but not limited to, failure to supply suffi​cient skilled workers, suitable materi​als or equip​ment, or  to adhere to project schedules as adjusted from time to time pursuant by the Parties);

(2)
Contractor’s disregard of applicable laws or regula​tions;

(3)
Contractor’s disregard of the author​i​ty of LCRA’s representative;

(4)
Contractor’s violation in any material way of any provisions of the Contract Docu​ments;

(5)
Failure of Contractor to pay subcontractors and/or material suppliers; or

(6)
Contractor’s violation of LCRA’s ethics policy, LCRA Board Policy No. 206 or the Ethics Requirements contained herein.
(b) 
If one or more of the events identified in paragraph (a) occur, the LCRA may, at its sole discretion, choose to either terminate this Contract immediately upon written notification to the Contractor, and the surety, if any, or provide a “Corrective Action Request”, which instructs the Contractor to provide a corrective action plan within five (5) business days of issuance that will cure the default.

(c)
If this Contract has been so terminated by LCRA, the termination will not affect any rights or remedies of LCRA against Contractor or any surety then existing or which may thereaf​ter accrue.  No retention or payment of moneys due Contractor by LCRA will release Contractor from liability.

(d)
In such a circumstance, LCRA shall notify Contractor in writing of the termination, with copies of the notice to LCRA’s jobsite personnel.  

Article 28.  Suspension

(a)
LCRA may, at any time and at its sole option, suspend all or any portions of the Services to be performed under this Contract by providing ten (10) calendar days written notice to the Contractor.  Upon receipt of any such notice, Contractor shall:

(1)
Immediately discontinue the Services on the date and to the extent specified in the notice;

(2)
Place no further orders or subcontracts for materials, Services or facilities with respect to the suspended portion of the Services, other than to the extent necessary to protect any portion of the Services already performed;

(3)
Promptly make every reasonable effort to obtain suspension, upon terms satisfactory to LCRA, of all orders, subcontracts and rental agreements to the extent that they relate to performance of the portion of Services suspended by the notice;

(4)
Continue to protect and maintain the portion of the Services already completed, including the portion of the Services suspended hereunder, unless otherwise specifically stated in the notice; and

(5)
Continue to perform Contractor's obligations for the portions of the Services not suspended. 

(b)
As full compensation for such suspension, Contractor will be reimbursed for the following costs, reasonably incurred, without duplication of any item, to the extent that such costs actually result from such suspension of Services. 

(1)
A reasonable standby charge to be negotiated between LCRA and the Contractor sufficient to compensate Contractor for keeping (to the extent required in the notice) its organization and equipment committed to the Services in a standby status;

(2)
All reasonable costs associated with demobilization of Contractor's facility, forces and equipment; and

(3)
A reasonable amount to be negotiated between LCRA and the Contractor to reimburse the Contractor for the cost of maintaining and protecting that portion of the Services upon which activities have been suspended.

(c)
Upon receipt of notice to restart the suspended portion of the Services, Contractor shall immediately resume performance on the suspended portion of the Services to the extent required in the notice. Within fourteen (14) calendar days after receipt of notice to restart the suspended portion of the Services, the Contractor shall submit a revised schedule for approval by LCRA.  If, as a result of any suspension, the cost to Contractor of subsequently performing the Services or the time required to do so is changed, a claim for an adjustment in the Contract price may be made. Any claim on the part of Contractor for change in price or extension of time shall be made in accordance with this Contract. 

Article 29. Dispute Resolution

The Parties agree that in the event of a dispute concerning the performance or non-performance of any obligations flowing from or as a result of this Contract and prior to the initiation of any litigation, the Parties will voluntarily submit the dispute to the Travis County Dispute Resolution Center for mediation as though it were referred through the operation of the Texas Alternative Dispute Resolution Procedures Act, Title 7, Chapter 154, TEX. CIV. PRAC. & REM. ANN., (Vernon's 1986). No record, evidence, statement or declaration resulting from or in connection with such alternate dispute resolution procedure may be used in evidence in subsequent litigation except to demonstrate that this Article has been complied with in good faith by a Party.  Contractor shall proceed diligently with performance of the Contract, pending final resolution of any request for relief, claim, appeal, or action arising under the Contract.

Article 30. Notices

All notices or other communications required under this Contract must be made in writing and sent by registered or certified United States mail, return receipt requested to the address below.  Notice may additionally be sent by email or fax as indicated below.   Parties may change their address by notifying the other party pursuant to this article.  Notices will be deemed to have been validly given if (i) sent by & to the Parties noted below and (ii) delivered in writing by certified mail, return receipt requested.

PRIVATE LCRA:






Contractor:
Lower Colorado River Authority



_________________________________

LCRA Authorized Agent



_________________________________

Matthew Chavez




_________________________________
PRIVATE P.O. Box 220





_________________________________

PRIVATE Austin, TX 78767




_________________________________

Fax No. (512) 473-4094




_________________________________
E-Mail: matt.chavez@lcra.org



_________________________________

Article 31. Titles and Section Headings

The titles and section headings of this Contract are included r convenience only and shall not be deemed to constitute a part of this Contract.

Article 32. Interpretation and Reliance

While this Contract form was initiated by LCRA, Contractor had the opportunity to take exception to and seek clarification of it.  Thus, this Contract is the product of negotiations between the Parties. No presumption will apply in favor of any Party in the interpretation of this Contract or in resolution of any ambiguity of any provision.
Article 33. Failure to Act

No action or failure to act by either Party shall be a waiver of a right or duty afforded under the Contract, nor shall such action or failure to act constitute a breach of this Contract, except as specifically agreed to in writing.

Article 34.  Contract Non-Exclusive

The Contract is not exclusive. Contractor has the right to perform Services for others during the term of the Contract, and LCRA has the right to hire others to perform the same or similar tasks.

Article 35. Third Party Beneficiaries

There are no third party beneficiaries to this Contract and the provisions of this Contract shall not create any legal or equitable right, remedy or claim enforceable by any person, firm or organization other than the Parties and their permitted successors and permitted assigns.

Article 36.  Mitigation of Damages

In all cases the Party establishing or alleging a breach of contract or a right to be indemnified in accordance with this Contract shall be under a duty to take all necessary measures to mitigate the loss which has occurred, provided that it can do so without unreasonable inconvenience or cost.

Article 37.  Severability

This Contract is severable and if any one or more parts of it are found to be invalid, such invalidity shall not affect the remainder of this Contract if it can be given effect without the invalid parts.

Article 38.  Services for Fayette Power Project and LCRA Affiliates

(a) 
This subsection only applies if Services are to be performed at or for the Fayette Power Project (FPP).  LCRA is the project manager for FPP, portions of which LCRA owns with Austin Energy, the municipally owned utility of the City of Austin, Texas.  With respect to any Services performed under this Contract at or for FPP, all indemnities under this Contract shall extend both to LCRA, its directors, officers and employees, and to Austin Energy and its council members, directors, officers and employees, as their respective interests may appear.  In addition, the protections afforded by the additional insured requirement and waiver of subrogation shall extend both to LCRA, its directors, officers and employees, and to Austin Energy and its council members, directors, officers and employees, as their respective interests may appear.  

(b)  
This subsection only applies if Services are to be performed in connection with an LCRA Affiliate. LCRA operates both electrical generation and transmission assets for LCRA Affiliates under service contracts between LCRA and those Affiliates.  With respect to any Services performed under this Contract in connection with LCRA Affiliates, all indemnities under this Contract shall extend both to LCRA, its directors, officers and employees, and to the applicable Affiliate, its directors and officers.  In addition, the protections afforded by the additional insured requirement and waiver of subrogation shall extend both to LCRA, its directors, officers and employees, and to the Affiliate, its directors and officers. As used herein, the term “Affiliate” includes Gentex Power Corporation, LCRA Transmission Services Corporation and any similar entity currently existing or hereafter created, membership on the governing body of which is controlled by LCRA.   

Article 39.  Integration & Contract Modification 

This Contract, including its exhibits and Task Orders issued pursuant to it, contains the entire and integrated agreement between Contractor and LCRA as to its subject matter and supersedes all prior negotiations, correspondence, understandings, representations and agreements, written or oral, related to it.  In case of conflict between the terms and conditions of this Contract and those of any standard sales forms presented by Contractor or such forms appearing in or referenced by Contractor's bid or proposal, the terms and conditions of this Contract shall prevail.  The terms and conditions of this Contract can be modified only by a writing signed by an authorized representative of both Contractor and LCRA. 

Article 40.  Approval
Contracts with the LCRA that exceed $2,000,000 (either initially or through a Change Order) must be approved by the LCRA Board of Directors before they become effective.  Consulting contracts that exceed $50,000 (either initially or through a Change Order) must be approved by the LCRA Board of Directors before they become effective.  Change Orders to contracts must be approved by the LCRA Board of Directors if they exceed $2,000,000 ($50,000 for consulting contracts), either separately or in the aggregate.  Change Orders must be executed by an authorized LCRA Authorized Agent.

Contracts in excess of $14,999 or more involving the Fayette Power Project or the Smithville Railcar Facility must be reviewed and approved by the FPP Management Committee prior to becoming effective.  Change Orders to contracts must be approved by the FPP Management Committee if they exceed $14,999, either separately or in the aggregate.  Change Orders must be executed by an authorized LCRA Authorized Agent.

Article 41.  Security at LCRA Job Site
Contractor shall provide a list of names of its and its subcontractor’s employees to the LCRA SME prior to commencing work at the following LCRA facilities:  Fayette Power Project, Sim Gideon, Eastern Maintenance Facility, Dalchau Service Center, Tom Miller Dam, Wirtz Dam, Starke Dam, Western Maintenance Facility, Ferguson Power Plant, Inks Dam and Buchanan Dam.  The employee will only be allowed on an LCRA job site, if the employee is able to show photo identification and their name is on the list.  Any addition or deletion must be provided to the LCRA SME.

ARTICLE 42.  RIGHT TO AUDIT 

LCRA shall have the right to audit all books and records (in whatever form they may be kept, whether written, electronic or other) relating or pertaining to this contract or agreement (including any and all documents and other materials, in whatever form they may be kept, which support or underlie those books and records), kept by or under the control of the Contractor, including, but not limited to those kept by the Contractor, its employees, agents, assigns, successors and subcontractors.  The Contractor shall maintain such books and records, together with such supporting or underlying documents and materials, for the duration of this contract or agreement and for at least 2 years following the completion of this contract or agreement including any and all renewals thereof.  The books and records, together with the supporting or underlying documents and materials shall be made available, upon request, to LCRA, through its employees, agents, representatives, contractors or other designees, during normal business hours at the Contractor’s office or place of business.  In the event that no such location is available, then the books and records, together with the supporting or underlying documents and records, shall be made available for audit at a time and location which is convenient for LCRA.

Lower Colorado River Authority:

Contractor:

By:  ___________________________

By:  ___________________________

Name: _________________________

Name: _________________________

Title: __________________________

Title: __________________________

Date: __________________________

Date: __________________________
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