
	                   STATE OF KANSAS           

	Quotation #:
	«PROP_NUM»

	    REQUEST FOR QUOTATION  
	Date Mailed:
Closing 2:00 PM:

	«MAIL_DATE»
«CLOSE_DATE»

	                                 SUBMIT BID TO        
                        DIVISION OF PURCHASES
                    900 SW JACKSON, ROOM 102N
                     TOPEKA, KANSAS  66612-1286            
It shall be the vendor’s responsibility to monitor this website
on a regular basis for any changes/addenda.
http://www.da.state.ks.us/purch/rfq/ 

        This Space for Bidder’s Name and Address











     THIS IS NOT AN ORDER                                             
	
1.     When communicating, always refer to the above quotation number.

2.     To receive consideration for award, one copy of the “Request for Quotation,”
        properly completed and signed, must be returned to and received by the Division of 
        Purchases no later than the specified closing time.

3.     All prices, terms, and conditions shall be shown. Prices, terms, and conditions
        not shown or presented after closing will not be considered in the evaluation.

4.     Prompt payment discounts will not be considered in determining the low bid.

5.     Prices quoted shall be less Federal Excise and State Sales tax.

6.     The Director of Purchases reserves the right to accept or reject any part of this 
        quotation.

7.     Bid results will not be given to individuals over the phone. Results can be obtained
        by attending the public bid opening.  If unable to attend the public bid opening, bid
        tabulations can be obtained in person for $3.00. Bid results can also be obtained by
        sending (do not include with bid) a check for $3.00 payable to the State of Kansas,
        with a self addressed, stamped envelope to the Kansas Division of Purchases, Attn:
        Bid Results/Copies, 900  SW  Jackson,  Room  102-N,  Topeka,  KS    66612. Please
        reference quote number on check. Copies of individual bids may be obtained under 
        the Kansas Open Records Act by calling  (785) 296-0002, requesting an estimate of 
        the cost to reproduce the documents, and remitting that amount to the above address.
        Upon receipt of the funds, the documents will be sent.

8.     Faxed bid responses are not acceptable for bids in excess of $25,000. 
        FAX: (785) 296-7240

9.   I hereby certify that I(we) do not have any substantial conflict of interest sufficient to 
        influence the bidding process on this bid.  A conflict of substantial interest is one 
        which a reasonable person would think would compromise the opening bidding process.


	Prices are to be delivered FOB Destination Prepaid & Allowed:
	 «BILL_TO»

	Purchase Requisition Number(s):
	«PR_NUM»

	
For Additional Information Contact:
	«CON_PER»
	«CON_PHONE»

	[image: ]
    QUANTITY
    AND UNIT
	
                              ITEMS AND SPECIFICATIONS
	
     UNIT
   PRICES
	
     TOTAL
     PRICE
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ADDENDUM

November 6, 2009

Addendum Number:	1

RFQ Number:	12652

PR Number:	017660

Closing Date:	November 16, 2009 @ 2:00 PM

Procurement Officer:	Galen D. Greenwood
Telephone: 	785-296-2401
E-Mail Address:	galen.greenwood@da.ks.gov 

Item:	Equipment Storage Building – Various Locations

Agency:	KS Dept. of Transportation
Location(s):	Topeka, KS

Conditions:  

On Page 2 of 15, under the heading “Items and Specifications”, the first building described is the 14-bay building for delivery to Topeka.  Add to the following description for that building:

“The last four bays on the right end of this structure shall be designed as two, 28 foot wide bays, with 13 feet of clearance at entrance”.


There are no other changes at this time.

A signed copy of this Addendum must be submitted with your bid.  If your bid response has been returned, submit this Addendum by the closing date indicated above.
I (We) have read and understand this addendum and agree it is a part of my (our) bid response.

NAME OF COMPANY OR FIRM:	

SIGNED BY:	

TITLE:	 DATE:	
	
Addendum Number One (1) to RFQ Number 12652 was recently posted to the Division of Purchases Internet website.  The bid document can be downloaded by going to the following website:

http://da.ks.gov/purch/rfq/rfqdata/12652.doc 

It shall be the vendor's responsibility to monitor this website on a regular basis for any changes/addenda.
	


	
	
	EQUIPMENT STORAGE BUILDING

	
	
	

	
	
	Bid results will not be given over the phone. Results can be obtained  by
attending the public bid opening or by sending $3.00  with the bid or mail
your request, include with either a self addressed stamped  envelope to the Kansas Division of Purchases. Attn: Bid Results/Copies 900 SW Jackson Room 102-N Topeka, Ks. 66612. Please reference quote number on check.

	
	
	

	
	
	It is the vendor's responsibility to ensure bids are received by the closing
date and time. Delays in mail delivery or any other means of transmittal,
including couriers or agents of the issuing entity shall not excuse late bid
submissions.

	
	
	

	
	
	PLEASE NOTE: If you expect to deliver your bid in person, watch for a
major construction project which result in the closure of streets around the Landon State Office Building at various times throughout 2009.  This
construction activity will affect ease of access to the building.  Please plan accordingly.

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	1
	Each
	Materials Only for a 14-Bay Equipment Storage Building with Guttering.  Delivery to Topeka, KS. (Bldg. No 1-4046) For March , 2010 delivery.

	
	
	

	1
	Each
	Materials Only for a 10-Bay Equipment Storage Building with Guttering.  Delivery to Manhattan, KS. (Bldg. No. 1-5056).  For March, 2010 delivery.

	
	
	

	1
	Each
	Materials Only for a 10-Bay Equipment Storage Building with Guttering, delivery to Oskaloosa, KS. (Bldg. No. 1-4047).  For March, 2010 delivery.

	
	
	

	1
	Each
	Materials Only for a 10-Bay Equipment Storage Building with Guttering.  Delivery to Wichita, KS. (Bldg. No 5-6041).  For March, 2010 delivery.

	
	
	

	1
	Each
	Materials Only for an 6-Bay Equipment Storage Building no gutters.  Delivery to Sublette, KS.  (Bldg. No. 6-2063).  For March, 2010 delivery.

	
	
	

	1
	Each
	Materials Only for a 12-Bay Equipment Storage Building with Guttering.  Delivery to Ulysses, KS. (Bldg. 6-2064.  For March, 2010 delivery.

	
	
	

	1
	Each
	Materials Only for a 10-Bay Equipment Storage Building with Guttering.  Delivery to Junction City, KS.  (Bldg 2-1037).  Delivery for March, 2010
Bidders shall submit one original and one copy of their bid response to the Division of Purchases.

	
	
	

	
	
	

	
	
	

	
	
	To be in accordance with attached Specification for Equipment Storage
Buildings.  A list of contact and delivery locations are also attached.

	
	
	

	
	
	

	
	
	For this bid to be considered, one of the following must be checked:

	
	
	

	
	
	_______	Product complies with all specifications.

	
	
	

	
	
	_______	Product offered deviates from the specifications as follows:

	
	
	

	
	
	_________________________________________________________

	
	
	

	
	
	_________________________________________________________

	
	
	

	
	
	Brand Name:_______________________ No.:___________________

	
	
	

	
	
																				TOTAL:                            $_____________

	
	
	

	
	
	Submit complete discriptive literature with bid if bidding on other than
requested.

	
	
	

	
	
	

	
	
	Tax Clearances:  Per KSA 75-3740(c), the Director of Purchases may reject the bid of any bidder who is in arrears on taxes due the State of Kansas. The Division of Purchases will confirm tax status prior to the release of a purchase order or contract award.  The State of Kansas reserves the right to allow a bidder an opportunity to clear its tax status within ten (10) calendar days, or to proceed with award to the next lowest responsive bidder, whichever is determined by the Director of Purchases to be in the best interest of the State.

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	Potential bidders are encouraged to contact the Kansas Department of
Revenue directly (and on a regular basis) to confirm current tax status and to clear up any outstanding liabilities.

	
	
	

	
	
	The Secretary of Revenue is authorized to exchange such information with the Director of Purchases as is necessary to determine the bidders tax clearance status, notwithstanding any other provision of law prohibit-ing disclosure of the contents of taxpayer records or information.

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	Instructions on how to check Tax Clearance Status can be found at the
following website:  http://www.ksrevenue.org/taxclearance.htm

	
	
	

	
	
	

	
	
	Information about Tax Registration can be found at the following website:  http://www.ksrevenue.org/busregistration.htm

	
	
	

	
	
	Please Indicate Taxes Currently Registered for in Kansas:

	
	
	(___)Corporate Income Tax

	
	
	(___) Sales Tax

	
	
	(___) Withholding Tax

	
	
	(___) Compensating Use Tax

	
	
	(___) None

	
	
	

	
	
	Contact Information:  Please provide the attached contact information for
use should the State of Kansas need to contact the appropriate officials
within your company to discuss your tax clearance / registration status.

	
	
	

	
	
	

	
	
	

	
	
	Contact Person for Tax Issues:________________________________

	
	
	Company Name:___________________________________________

	
	
	FEIN:____________________________________________________

	
	
	Mailing Address____________________________________________

	
	
	City & State_____________________________Zip Code___________

	
	
	Toll Free Telephone_________________________________________

	
	
	Local Telephone____________________________________________

	
	
	Fax______________________________________________________

	
	
	E-Mail:___________________________________________________

	
	
	

	
	
	Accounts Receivable Set-Off Program: During the course of this contract if the vendor is found to owe a debt to the State of Kansas, agency pay-ments to the vendor may be intercepted / setoff by the State of Kansas Accounts Receivable Setoff Program.  Notice of the setoff action will be provided to the vendor.The vendor shall credit the account of the agency making the payment in an amount equal to the funds intercepted.

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	K.S.A. 75-6201 et seq. allows the Director of Accounts & Reports to set-off funds the State of Kansas owes vendors against debts owed by the
vendors to the State of Kansas.Payments setoff in this manner constitute
lawful payment for services or goods received. The vendor benefits fully
from the payment because its' obligation to the State is reduced by the
amount subject to setoff.

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	CRIMINAL OR CIVIL OFFENSE OF AN INDIVIDUAL OR ENTITY THAT CONTROLS A COMPANY OR ORGANIZATION OR WILL PERFORM WORK UNDER THIS CONTRACT:  Any conviction for a criminal or civil offense that indicates a lack of business integrity or business honesty must be disclosed. This includes(1)conviction of a criminal offense as an incident to obtaining or attempting to obtain a public or private contract or subcontract or in the performance of such contract or subcontract; (2) conviction under state or federal statutes of embezzlement,theft, forgery, bribery, falsification or destruction of records, receiving stolen property; (3) conviction under state or federal antitrust statutes; and (4) any other offense to be so serious and compelling as to affect responsibility as a state contractor.  For the purpose of this section, an individual or entity shall be presumed to have control of a company or organization if the individual or entity directly or indirectly, or acting in concert with one or more individuals or entities, owns or controls 25 percent or more of its equity, or otherwise controls its management or policies.   Failure to disclose an offense may result in disqualification of the bid or termination of the contract.

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	




	                   STATE OF KANSAS           

	Quotation #:
	12652

	    REQUEST FOR QUOTATION  
	Date Mailed:
Closing 2:00 PM:

	11/2/2009
11/16/2009

	                                 SUBMIT BID TO        
                        DIVISION OF PURCHASES
                    900 SW JACKSON, ROOM 102N
                     TOPEKA, KANSAS  66612-1286            
It shall be the vendor’s responsibility to monitor this website
on a regular basis for any changes/addenda.
http://www.da.ks.gov/purch/ 

        This Space for Bidder’s Name and Address











     THIS IS NOT AN ORDER                                             db
	
1.     When communicating, always refer to the above quotation number.

2.     To receive consideration for award, one copy of the “Request for Quotation,”
        properly completed and signed, must be returned to and received by the Division of 
        Purchases no later than the specified closing time.

3.     All prices, terms, and conditions shall be shown. Prices, terms, and conditions
        not shown or presented after closing will not be considered in the evaluation.

4.     Prompt payment discounts will not be considered in determining the low bid.

5.     Prices quoted shall be less Federal Excise and State Sales tax.

6.     The Director of Purchases reserves the right to accept or reject any part of this 
        quotation.

7.     Bid results will not be given to individuals over the phone. Results can be obtained
        by attending the public bid opening.  If unable to attend the public bid opening, bid
        tabulations can be obtained in person for $3.00. Bid results can also be obtained by
        sending (do not include with bid) a check for $3.00 payable to the State of Kansas,
        with a self addressed, stamped envelope to the Kansas Division of Purchases, Attn:
        Bid Results/Copies, 900  SW  Jackson,  Room  102-N,  Topeka,  KS    66612. Please
        reference quote number on check. Copies of individual bids may be obtained under 
        the Kansas Open Records Act by calling  (785) 296-0002, requesting an estimate of 
        the cost to reproduce the documents, and remitting that amount to the above address.
        Upon receipt of the funds, the documents will be sent.

8.     Faxed bid responses are not acceptable for bids in excess of $25,000. 
        FAX: (785) 296-7240

9.   I hereby certify that I(we) do not have any substantial conflict of interest sufficient to 
        influence the bidding process on this bid.  A conflict of substantial interest is one 
        which a reasonable person would think would compromise the opening bidding process.


	Prices are to be delivered FOB Destination Prepaid & Allowed:
	 Department of Transportation *SEE ATTACHED

	Purchase Requisition Number(s):
	017660

	
For Additional Information Contact:
	Galen D. Greenwood
	785-296-2401

	[image: ]
    QUANTITY
    AND UNIT
	
                              ITEMS AND SPECIFICATIONS
Page 2 of 15
	
     UNIT
   PRICES
	
     TOTAL
     PRICE



	                                                                                             Quotation No.:
	12652
	Page 3 of 15


	
    QUANTITY
    AND UNIT
	
                     ITEMS AND SPECIFICATION
	
     UNIT 
   PRICES
	
     TOTAL 
     PRICE




	

	
Federal Employer Identification Number (F.E.I.N) or Social Security Number:
	

	
Show Payment Terms:
	
	
Signed by:
	

	Delivery To Be:
	
	days after receipt of order.
	Print Name:
	
	Title:
	

	
Date:
	
	
Toll Free or Phone #:
	
	
Fax #:
	

	
	
	
	Email Address:
	
	



	











































Request for Quotation No.: 12652
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TAX CLEARANCE
PLEASE NOTE:  THIS INFORMATION HAS CHANGED EFFECTIVE 10/27/09

Per KSA 75-3740-(c), the Director of Purchases may reject the bid of any bidder who is in arrears on taxes due the State of Kansas.  The Secretary of the Kansas Department of Revenue is authorized to exchange such information with the Director of Purchases as is necessary to determine a bidder’s tax clearance status, notwithstanding any other provision of law prohibiting disclosure of the contents of taxpayer records or information.

A “Tax Clearance” is a comprehensive tax account review to determine and ensure that the account is compliant with all primary Kansas Tax Laws administered by the Director of Taxation.  Information pertaining to a Tax Clearance is subject to change(s), which may arise as a result of a State Tax Audit, Federal Revenue Agent Report, or other lawful adjustment(s).

Bidders (and their subcontractors) are expected to submit a current Tax Clearance Certificate with every event response.  Bidders can obtain a Kansas Tax Clearance Certificate through the Kansas Department of Revenue’s secure website (http://www.ksrevenue.org/taxclearance.htm).  

Please Note:  For applications entered prior to 5:00 PM Monday through Friday, results typically will be available the following business day.  Individual and business applications are available.  Tax clearance requests may be denied if the request includes incomplete or incorrect information. 

Information about Tax Registration can be found at the following website:
http://www.ksrevenue.org/busregistration.htm

The Division of Purchases reserves the right to confirm tax status of all potential contractors and subcontractors prior to the release of a purchase order or contract award.  

In the event that a current tax certificate is unavailable, the Division of Purchases reserves the right to notify a bidder (one that has submitted a timely event response) that they have to provide a current Tax Clearance Certificate within ten (10) calendar days, or the Division may proceed with an award to the next lowest responsive bidder, whichever is determined by the Director of Purchases to be in the best interest of the State.

Contact Information:  Please provide the attached contact information for use should the State of Kansas need to contact the appropriate officials within your company to discuss your tax clearance / registration status.

CONTRACTOR
Contact Person for Tax Issues:	
Company Name:			
FEIN / Tax Number:			
CAUTION:  If your tax number is the same as your Social Security Number (SSN), you must leave this line blank.  DO NOT enter your SSN on this Tax Clearance Form.  If your SSN is required to process a contract award, including any tax clearance requirements, you will be contacted by an authorized representative of the Division of Purchases at a later date.

Mailing Address	
City & State	Zip Code	
Toll Free Telephone	Local	  Cell:  		Fax	
E-Mail	


SUBCONTRACTOR(S)
Contact Person for Tax Issues:	
Company Name:	Tax Number:	
Mailing Address	
City & State	Zip Code	
Toll Free Telephone	Local	  Cell:  		Fax	
E-Mail	
Additional pages may be added, as required, indicating the same information for multiple subcontractors.



Request for Quotation No.: 12652
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CERTIFICATION REGARDING
IMMIGRATION REFORM & CONTROL


All Contractors are expected to comply with the Immigration and Reform Control Act of 1986 (IRCA), as may be amended from time to time.  This Act, with certain limitations, requires the verification of the employment status of all individuals who were hired on or after November 6, 1986, by the Contractor as well as any subcontractor or sub-subcontractor.  The usual method of verification is through the Employment Verification (I-9) Form.  With the submission of this bid, the Contractor hereby certifies without exception that Contractor has complied with all federal and state laws relating to immigration and reform.  Any misrepresentation in this regard or any employment of persons not authorized to work in the United States constitutes a material breach and, at the State’s option, may subject the contract to termination and any applicable damages.  

	Contractor certifies that, should it be awarded a contract by the State, Contractor will comply with all applicable federal and state laws, standards, orders and regulations affecting a person’s participation and eligibility in any program or activity undertaken by the Contractor pursuant to this contract.  Contractor further certifies that it will remain in compliance throughout the term of the contract.  

	At the State’s request, Contractor is expected to produce to the State any documentation or other such evidence to verify Contractor’s compliance with any provision, duty, certification, or the like under the contract.  

	Contractor agrees to include this Certification in contracts between itself and any subcontractors in connection with the services performed under this contract.




____________________________________________	______________________
	Signature, Title of Contractor	Date
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State of Kansas
Department of Administration
 Division of Purchases

Supplier Diversity Survey Form

Why is the Division of Purchases requesting this information?

Current statutes governing the activities of the Kansas Division of Purchases do not include preferences or set-asides for Small Business Enterprises (SBEs).  The Division of Purchases is interested in determining to what extent purchase orders and contracts are awarded to SBEs under existing work efforts.  Please Note:  You must submit this form with each bid opportunity.

Persons or concerns wishing to receive a Purchase Order or Contract Award resulting from this bid opportunity must provide the information contained in this document before the award is made.  To help expedite this procurement, it is requested that you submit this form with your bid.

COMPANY DATA

Legal Company Name 	
Doing Business As (if applicable)	
Federal Tax ID Number  / FEIN 	
Diversity Program Contact Name	Title	
Phone Number 	Fax Number 	
E-Mail Address 	Company Web 	
Address 	
City 	State 	Zip Code 	
Legal Structure:	□ Corporation	□ Partnership	□ Non-Profit	□ Sole Proprietorship	□ LLC

Signature 	Date:	

COMPANY DIVERSITY DATA  

 (A)	Business Classification   (See Appendix A for definitions):
Is your business a Small Business Enterprise (SBE) as defined by the SBA?
□ Yes	□ No	□ Don’t Know
Check all that Apply:	□ Disabled (DIS) 	□ SBA-Small Disadvantage Business (SDB)
□ Veteran-Owned (VBE)	□ Women-Owned (WBE)	□ Service-Disabled Veterans-Owned (DVBE)
□ African American	□ Native American	□ Minority-Owned Business Enterprise (MBE)
□ Hispanic American  	□ Asian Pacific American	□ Disadvantaged Business Enterprise (DBE)
□ Asian Subcontinent American 	□ Other: __________________________________________________________

 (B)	Has your Business Classification Status been certified by a state, municipal, federal or other certifying agency?
	□ No	□ Yes	Certifying Entity:	



Other State of Kansas Resources for Small Business Enterprises (SBE)

Kansas Department of Commerce
Office of Minority/Women Business Development
http://www.kansas.gov/ksbdc/

Request for Quotation No.: 12652
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State of Kansas
Department of Administration
 Division of Purchases
Supplier Diversity Survey Form

Appendix A
Definition of Terms

Small Business Enterprise / Concern (SBE)
SBEs are businesses that do not exceed the size standard for the product or service it is providing as measured by its employment and/or business receipts in accordance with the U.S. SBA numerical size standards.  These standards are defined as FAR 52.219-8, 13 CFR Part 121 and 13 CFR 121.410.

Disadvantaged Business Enterprise (DBE) 
DBEs are defined as a business which are (a) owned by socially disadvantaged individuals who have been subjected to racial or ethnic
prejudice or cultural bias because of their identity as a member of a group without regard to their individual qualities; or (b) owned by economically disadvantaged individuals whose ability to compete in the free enterprise system has been impaired due to diminished opportunities to obtain capital and credit as compared to others in the same line of business who are not socially disadvantaged.

Disabled Business Enterprise (DIS)
DIS businesses are at least 51% owned and controlled by one or more U.S. citizens who has a physical or mental impairment which substantially limits one or more of such person’s major life activities.

Small Disadvantage Business Concern (SDB)
SDB businesses are certified by the SBA as meeting the following criteria: (1) they are small business concern and (2) must be at least 51% owned and controlled by one or more U.S. citizens who are socially and economically disadvantaged.  African Americans, Asian Pacific Americans, Asian Subcontinent Americans, Hispanic Americans and Native Americans are presumed to qualify as being socially disadvantaged.  Other individuals can qualify if they show by a preponderance of the evidence that they are socially disadvantaged.  In addition, the personal net worth of each eligible owner applicant must be less than $750,000, excluding the values of the applicant’s ownership interest in the business seeking certification and the owner’s primary residence.  Successful applicants must also meet applicable size standards for small businesses in their industry.  SDB regulations can be found in FAR 52.219-8 and 13 CFR parts 121 & 124.

Veterans-Owned Business Concern (VBE)
VBE businesses are at least 51% owned and controlled by one or more U.S. citizens who are Veterans of the U.S. Armed Forces.  In the case of any publicly owned business, at least 51% of the stock is owned by one or more veterans and one or more veterans must control the management and daily business operation.  The term “Veteran” means a person who served in the active military, naval or air service and who was discharged or released there from under conditions other than dishonorable.  VBE regulations can de found in FAR 52.219-9 & 38 USC 101 (2).

Service-Disabled Veterans-Owned Business Concern (DVBE)
DVBE businesses are at least 51% owned and controlled by one or more U.S. citizens who are service-disabled Veterans of the U.S. Armed Forces.  In the case of any publicly owned business, at least 51% of the stock is owned by one or more service-disabled veterans and one or more veterans must control the management and daily business operation.  The term “Veteran” means a person who served in the active military, naval or air service and who was discharged or released there from under conditions other than dishonorable.  The term “Service-Disabled” means a veteran of the U.S. Military Service has a service-connected disability with a disability rating of 0%-100%.  In the case of permanent or severe disability, the spouse of caregiver of such a service-disabled veteran may control the management and daily operations.  DVBE regulations can be found in FAR 52.219-9 & 38 USC 101 (2) & USC 101 (16).

Women-Owned Business Concern (WBE)
WBE businesses are at least 51% owned and controlled by one or more U.S. citizens who are female gender.  In the case of any publicly owned business, at least 51% of the stock is owned by one or more women and one or more women must control the management and daily business operations.  For Federal contracting regulations see FAR 52-219-8.

Minority-Owned Business Enterprise (MBE)
MBE businesses are at least 51% owned and controlled by one or more U.S. citizens belonging to certain ethnic minority groups.  In the case of any publicly owned business, at least 51 % of the stock is owned by one or more minorities, and one or more minorities must control the management and daily business operations.  “Ethnic Minority Groups” are people of Asian Pacific American, Asian Subcontinent American, African American, Hispanic American and Native American descent.  
· African Americans: People whose origins lay in any of the Black racial groups of Africa.
· Asian Pacific Americans: People whose origins lay in Brunei, Burma, China, Guam, Indonesia, Japan, Kampuchea (Cambodia), Korea, Laos, Malaysia, Northern Mariana Islands, Republic of the Marshall Islands, Federated States of Micronesia, Republic of Palau (U.S. Trust Territory of the Pacific Islands), the Philippines, Samoa, Singapore, Taiwan, Thailand and Vietnam.
· Asian Subcontinent Americans: People whose origins lay in Bangladesh, Bhutan, India, Pakistan, Sri Lanka or Nepal.
· Hispanic Americans: People whose origins are in the South and Central America, Mexico, Puerto Rico, Cuba or the Iberian Peninsula (including Portugal).
· Native Americans: American Indians, Inuit (Eskimos), Aleuts, and native Hawaiians of Polynesian ancestry.

Date of Last Update:  March, 2007

Request for Quotation No.: 12652
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Kansas Department of Transportation
Specifications for
Equipment Storage Buildings

DIVISION 13 - SPECIAL CONSTRUCTION

SECTION 13121 - PRE-ENGINEERED WOOD FRAME BUILDING

PART 1 GENERAL
1.1	GENERAL INFORMATION
A.	The Specifications herein shall be considered minimum standards to be met by the Contractor and/or the building and equipment suppliers.
B.	Before the Contract is awarded, but within fourteen (14) days after the Bid opening, the successful Bidder shall submit to the Owner for evaluation, a complete set of Plans and Specifications for the building he has proposed to construct for the Bid Price.  
C.	The submittal shall bear the seal of a Professional Engineer, registered in the State of Kansas, thereby certifying that the structural design of the building fulfills the requirements of:
1.	These Specifications;
	a.	The building size shall be defined using nominal dimensions for width and length.  Clear height from 	finished floor to the bottom of the bottom chord of the truss shall be 14'-0".  The building shall be enclosed 	on three (3) sides and open along the length. Owner has the option of accepting sectional steel overhead 		doors. The building dimensions shall vary depending upon location. Standard sizes shall be as follows:
			(1)	 6 Bay 40’-0” wide x 91’– 0” long
			(2) 	8 Bay: 40'-0" wide x 121'-0" long.
			(3)	10 Bay: 40'-0" wide x 151'-0" long.
			(4)	12 Bay: 40'-0" wide x 181'-0" long.
			(5)	14 Bay: 40'-0" wide x 211'-0" long.
	b.	The following gutter and downspouts will be accepted according to location:
(1)	Gutter: At both eaves, form from 0.0179-inch thick, zinc coated (galvanized) steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating.  Match profile of gable trim, complete with end pieces, outlet tubes, and other special pieces as required.  Fabricate in minimum 96-inch long sections, sized according to SMACNA’s Architectural Sheet Metal Manual.”  Furnish gutter supports 	spaced 36 inches o.c., fabricated from same metal as gutter.  Provide bronze, copper, or aluminum wire ball strainers at outlets.  Finish gutters to match panel.
		(2)	Downspouts: At min. 4 corner locations form from 0.0179-inch thick, zinc-coated (galvanized) steel 		sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating, spaced a maximum of 		30’, in 10-foot long sections, complete with formed elbows and offsets. Finish to match gutters.  			Provide 3'-0" long by 9" wide concrete splashblocks at all downspouts.

Request for Quotation No.: 12652
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[bookmark: OLE_LINK1][bookmark: OLE_LINK2]	c.	Sectional Steel Overhead doors will be accepted according to location.  The building shall be structurally 		designed for installation of overhead doors regardless of accepted locations.  Two additional 3 foot by 7 		foot side-hinged passage doors will be included in the design for structures to have overhead doors.  		KDOT will indicate desired passage door locations. 
	d.	The roof slope shall be 4" in 12".
	e.	The column spacing along the open side shall allow for doorways 14'-0" wide by 12'-0" high.
	f.	Protective liner and steel wainscot.
	g.	The building shall not have an overhang.
	h.	Roof Snow Load:  25 psf.
	i.	Wind Load: 85 MPH (Exposure C).
	j.	Minimum Soil Bearing:  2,000 psf total load.
1.2  	SCOPE OF WORK
	A.	The pre-engineered wood building system includes the primary and secondary structural systems, roof 		system, wall system, overhangs, trim and accessories as required by the Drawings. 
1.3	  SUBMITTALS
	A.	Production Data:  Submit manufacturer's product information, specifications and installation instructions 		for building components and accessories.
	B.	Shop Drawings:  Submit complete Erection Drawings showing roof framing, cross sections, covering/trim 		details and accessory installation details to clearly indicate proper assembly of building components.
	C.	Certification:  Submit written certification prepared and signed by a Professional Engineer, registered to 		practice in the State of Kansas verifying that the building system design with the roof and wall systems 		meet indicated loading requirements and codes.  The certification must reference specified dead loads, 		live loads, wind loads/speeds, concentrated loads, collateral loads, seismic loads, end use categories, 		governing code bodies including year and load applications.
1.4  	QUALITY STANDARDS
	A.	Letter of Certification:  Submit written certification prepared and signed by a Professional Engineer, 		registered to practice in the state of Kansas verifying that the building system design (including the roof 		and wall systems) meets the requirements of these specifications and 2006 IBC.  The certification must 		reference specific dead loads, live loads, wind loads/speeds, concentrated loads, collateral loads, seismic 	loads, end use categories, governing code bodies including year and load applications.
	B.	Structural Design Practice:  Calculations for building design integrity shall be done using diaphragm 		design analysis.  In the event that the building exceeds the diaphragm requirements, additional bracing 		design will be incorporated.
	C.	Unless otherwise specified, the building manufacturer shall supply all components.
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1.5	  WARRANTIES
	A.	Provide manufacturer's written warranty that steel panels will not chalk or fade excessively for a period of 		ten (10) years per ASTM D 2244.
	B.	Provide manufacturer's written warranty that the paint system used on the steel panels will adhere to the 		panels without cracking, checking or peeling for 20 years under normal weather and use conditions.
	C.	Provide manufacturer's written warranty that treated wood columns, whenever in contact with the soil, will 		not rot or suffer insect damage for at least 50 years.

PART 2 PRODUCTS
2.1  	MANUFACTURERS
	A.	Morton Building Systems (used as a guide)
	B.	American building Products (roof and wall panels)
	C.	Bel-Wood Buildings
	D.	Chief Series (CE)
	E.	Idaho Timber Corporation (roof and wall framing)
	F.	Lester Building Inc.
	G.	Wick Buildings
2.2	  MATERIALS
	A.	General: A minimum 48-hour notice shall be given to the Owner prior to delivery of materials.  Vendor 		shall unload the delivery to the location approved by Owner.
	B.	Owner shall select all colors from full line of available colors.
	C.	Supply a building from standard inventory of building sizes.  The dimensions given are the minimum 		required.
	D.	Treated Timber Columns:
		1.  The structural nail laminated timber columns shall be No. 1 or better southern yellow pine, kiln dried to 		19% moisture content and shall be pressure treated with a wood preservative to a retention of .6 lbs. 		per cu. ft. and kiln dried after treating to 19% maximum moisture content.  The wood preservative shall 		be Chromated Copper Arsenate Type III, Oxide type; or equal as listed in Federal Specification TT-W-		571J.  The preservative shall penetrate 100% of the sapwood.  The entire column shall be treated.
		2.  A letter of certification from the wood preserver shall be furnished which certifies the .6 pcf 			preservative retention for a 0 to .75" assay zone.
		3.  The timber columns shall extend 48” below grade and be accurately placed on a column base anchor 		of galvanized steel attached to concrete footings (by owner).
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	E.	Baseboards:  Perimeter baseboards shall be No. 2 or better southern yellow pine 2" x 8" S2S and center 		matched.  They shall be pressure-treated in accordance with American Wood Preservers’ Association 		Standards.  They shall be kiln-dried before and after treating to 19% maximum moisture content.
	F.	Framing Lumber:
		1.  Side nailers shall be 2" x 4" SPF 2100 MSR (minimum) spaced approximately 30" o.c., with all joints 		staggered at attachment to timber columns.  Roof purlins to be 2" x 4" #2  or better (minimum) on 			edge, to be cut between trusses, flush with the top chord, in 20 gage galvanized steel purlin hangers, 		on approximately 16” (maximum) centers.  Continuous 2" x 4" minimum) truss ties shall be provided 		for the length of building.
		2.  All other framing lumber shall be standard grade or better.  All lumber shall be free of warping, twisting  	or splitting.
	G.	Wood Truss Design Specifications:
		1.  All lumber used in the design of wood trusses must be kiln dried and graded in accordance with the 		current grading rules.
		2.  The design of wood members must be in accordance with the formulas published in the 1986 edition 		of the National Design Specification for Wood Construction.
		3.  Light metal toothed connector plates and joint design must conform to specifications as set out in the 		1985 edition of TRUSS PLATE INSTITUTE'S Design Specification for Metal Plate Connected Wood 		Trusses (TPI-85).  Connector plates shall be fabricated from ASTM 446, Grade A, No. 18 and No. 20 		gauge steel sheets galvanized with a G90 coating.
[bookmark: OLE_LINK3][bookmark: OLE_LINK4]		4.  Truss members and joints must be designed in accordance with TPI-85.  All truss designs must be 		accompanied by complete and accurate Shop Drawings and contain the following information:
		a.	Slope or depth, span and spacing of the truss.
		b.	Heel bearing height.
		c.	Design loading to include:
		(1)	Top chord live load
		(2)	Total dead load
		d.	Adjustments to lumber and plate design values for conditions of use.
		e.	Plate type, thickness of gauge, and size.
		f.	Lumber size, species and grade for each member.
5.	Engineering analysis and design data must be available upon request.  This analysis should include the following information:
		a.	Axial forces and bending moments for each member.
		b.	Basic plate design value.
		c.	Design analysis of each joint showing that proper plates have been used.
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	H.	Roof and/or Wall Panel:  
		1.  Panels shall be coated, galvalume steel sheets, minimum thickness of the galvalume steel shall be 		.014 inches and have galvalume.  The topside of the panel shall have a baked polyester topcoat over 		.2 mils of primer, for a total nominal paint thickness of 1 mil.  The panels bottom side shall have a two 		coat baked finish, with a total nominal thickness of .5 mils.
	I.	Fasteners and Panel Length:
		1.  The steel shall be fastened to building frame with EPDM washers and zinc coated galvanized screws 		finished to match panel. The side and end sheets shall be two-piece from the base trim to the roof.  		Roof sheets shall be one piece from eave to peak through 37'-0" length.
	J.	Trim:
		1.  Trim for corners, gables, base of wall, door jamb trim at overhead door, ridge, soffit trim and fascia 		shall be die-formed from the same quality material as wall panels, and shall be of a contrasting color 		from the wall panels.
	M.   Protective Liner:
	1.	36" protective liner consists of 32" high 7/16" oriented strand board inset into baseboard and first side 		nailer.  OSB is directly behind wall steel to provide damage resistance and is installed on three (3) 		sides of the building.
	N.	Steel Wainscot:
		1.  Steel wainscot panel shall be supplied from the same material as wall panels and will be 36" in length.  	Transition flashing shall be installed between wall panels and wainscot panels.  Wainscot panels shall 		be installed with screw fasteners of the same color.
	K.	Gutters (where accepted):
		1.  Join sections with riveted and soldered or lapped and sealed joints.  Attach gutters to eave with gutter 		hangers spaced nor more than 4 feet o.c. using manufacturer’s standard fasteners.  Provide end 			closures and seal watertight with sealant.  Provide for thermal expansion.
	L.	Downspouts (where accepted): Join sections with 1-1/2-inch telescoping joints.  Provide fasteners 		designed to hold downspouts securely 1 inch away from walls; locate fasteners at top and bottom and at 		approximately 60 inches o.c. in between.
			1.	Provide elbow at base of downspout to direct water away from building.
			2.	Provide a splashblock at each downspout.
		O.	Overhead Doors (where accepted):

1.  	Door Sections - Sections shall be 2" thick, roll formed from commercial quality hot dipped galvanized steel per ASTM A-525 and A-526. Each door section to have two deep ribs and four pencil grooves for	additional strength and tongue and groove joint for weathertight closure between sections. 16 gauge end stiles and center stiles. End stiles and center stiles to be riveted to outside face with stainless 	steel rivets and resistance welded to interior rail.
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2.  Finish – Exterior of door precoated prior to roll forming with a two-coat process of baked on polyester enamel finish over epoxy primer. Interior to have baked on grey polyester enamel. Color chosen by Owner from standard color charts.		

3.	Tracks – Galvanized track 2”. Standard lift.

4.	Hardware – All hinges and brackets made from galvanized steel. 2” diameter track rollers shall have hardened steel ball bearings.

	5.	Spring Counterbalance – Heavy-duty oil tempered wire torsion springs on continuous ball bearing cross header shaft. Galvanized aircraft type lifting cables with minimum safety factor of 5 to 1.

		6.	Lock – Standard inside slide bolt.

		7.	Weatherstripping – Bottom of door to have flexible U-shaped vinyl seal in aluminum retainer. 		
	Perimeter seal for jamb shall be aluminum and vinyl mounted to the inside face of the 
	Jamb.  Header seal shall be EPDM rubber seal held in place by a galvanized steel retainer 
	attached to top section.

		8.	Manual Operation – Manual pull rope. (Chain hoist.)		

		9.	Approved manufacturers include the following:
	a.	Midland Garage Door.
	b.	Overhead Door Corporation
	c.	Raynor Garage Door.
		d.	Wayne-Dalton Corporation.

PART 3 TECHNICAL SERVICE
3.1	 TRAINING
	A.	The services of a competent technician, thoroughly trained in the construction and servicing of the 	building, shall be furnished for a four hour period.  The technician shall instruct KDOT personnel in the 		proper construction and preventive maintenance of the building.  This training shall be located in the city 		of Salina and take place before the first delivery date.  The exact date and material to be reviewed will be 		coordinated with the Bureau of Construction and Maintenance.
PART 4 CONTACT PERSON
KDOT contact person for this project is Peter Carttar, phone 785-296-7184.
A 48 hour notice prior to delivery shall be given to the contact persons listed on the attachment for delivery instructions.

END OF SECTION 13121

END OF DIVISION 13
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FY2010 EQUIPMENT STORAGE BUILDINGS

	Delivery Location 
	Bldg Size
	Guttering
	Bldg No. 
	KDOT Contact Name/Number

	
	
	
	
	
	

	
	
	
	
	
	District One

	4219 SE US Hwy 40 
	14 bay
	Yes
	1-4046
	spring
	Jaci Vogel

	Topeka, KS 66607
	
	
	
	
	District Maintenance Engineer

	
	
	
	
	
	121 W 21st

	5700 Tuttle Creek Blvd.
	10 bay
	Yes
	1-5056
	spring
	Topeka, KS  66605

	Manhattan, KS 66502-8629
	
	
	
	
	Ph (785) 296-3881

	
	
	
	
	
	FX (785) 296-1162

	205 East Jefferson St.
	10 Bay
	Yes
	1-4047
	spring
	

	Oskaloosa, KS 66066-9803
	
	
	
	
	

	 
	 
	 
	 
	 
	District Two

	
	
	
	
	
	James Roudybush

	2529 S. U.S. 77 Hwy
	10 Bay
	Yes
	2-1037
	spring
	District Maintenance Engineer

	Junction City, KS 66441
	
	
	
	
	1006 N. Third

	
	
	
	
	
	Saline,KS 67402

	
	
	
	
	
	Ph (785) 823-3754

	
	
	
	
	
	FX (785) 826-9658

	
	
	
	
	
	

	 
	 
	 
	 
	 
	District Five

	600 South 127th St. East
	10 bay
	Yes
	5-6041
	spring
	Scott Koopmann

	Wichita, KS 67207
	
	
	
	
	District Maintenance Engineer

	
	
	
	
	
	500 N Hendricks

	
	
	
	
	
	PO Box 769

	
	
	
	
	
	Hutchinson, KS  67504

	
	
	
	
	
	Ph (620) 663-3361

	
	
	
	
	
	FX (620) 663-1804

	 
	 
	 
	 
	 
	 

	
	
	
	
	
	District Six

	601 LaLande Ave
	6 Bay 
	No 
	6-2063
	spring
	Ron Hall

	Sublette, KS 67877-0814
	
	
	
	
	District Maintenance Engineer

	
	
	
	
	
	121 North Campus Drive

	325 W . Oklahoma Terrace
	12 Bay
	Yes
	6-2064
	spring
	Garden City, KS 67846

	Ulysses, KS 67880-2454
	
	
	
	
	Ph (620)-276-3241




	

	
Federal Employer Identification Number (F.E.I.N) or Social Security Number:
	

	
Show Payment Terms:
	
	
Signed by:
	

	Delivery To Be:
	
	days after receipt of order.
	Print Name:
	
	Title:
	

	
Date:
	
	
Toll Free or Phone #:
	
	
Fax #:
	

	
	
	
	Email Address:
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Mark Parkinson, Governor

—
K A N s A s Chris Howe, Director
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