VENDORS WHO DO NOT WISH TO RESPOND TO A BID ARE NOT REQUIRED TO DO SO. HOWEVER, VENDORS NOT RESPONDING AND/OR SUBMITTING A “NO BID” RESPONSE TO THREE CONSECUTIVE BID INVITATIONS FOR THE REQUESTED COMMODITY MAY BE REMOVED FROM THE UNIVERSITY’S BIDDERS LIST.

Please Print or Type

| Company Name: |  |  | Phone: |  |
| --- | --- | --- | --- | --- |
| Address: |  |  |  |  |
|  |  |  | Fax: |  |
| City: |  |  | EMail: |  |
| State: |  |  | Web Site: |  |
| Zip Code: |  |  | Tax ID or SSN: |  |

THIS OFFICIAL BID SHEET MUST BE SIGNED AND RECEIVED IN A SEALED ENVELOPE WITH BID NUMBER AND BID OPENING DATE CLEARLY NOTED ON OUTSIDE OF ENVELOPE. BIDS MAY NOT BE FAXED DIRECTLY TO THE UNIVERSITY IN RESPONSE TO THIS INVITATION FOR BID. BID WILL BE ACCEPTED EITHER SIGNED IN INK OR WITH ELECTRONIC OR FACSIMILE SIGNATURE. PLEASE ENCLOSE ONE EXTRA COPY OF SIGNED BID. Name (Type or Print): Title: Signature: Date:

# STANDARD TERMS AND CONDITIONS

| 1. | PREPARATION OF BIDS |  |  |
| --- | --- | --- | --- |
|  | 1.1 | Failure to examine any drawings, specifications, and instructions will be at bidder’s risk. |  |
|  | 1.2 | All prices and notations must be printed in ink or typewritten. No erasures permitted. Errors may be crossed out and corrections printed in ink or typewritten adjacent, and must be initialed in ink by person signing bid. |  |
|  | 1.3 | Brand Name References: Unless specified “No Substitute” any catalog brand name or manufacturer’s reference used in the bid invitation is descriptive only, not restrictive, and used to indicate the type and quality desired. If bidding on other than referenced specifications, the bid must show the manufacturer, brand or trade name, and other descriptions, and should include the manufacturer’s illustrations and complete descriptions of the product offered. The University reserves the right to determine whether a substitute offered is equivalent to and meets the standards of the item specified, and the University may require the bidder to supply additional descriptive material, samples, or demonstrators. The bidder guarantees that the product offered will meet or exceed the referenced product and/or specifications identified in this bid invitation. If the bidder takes no exception to the specifications, bidder will be required to furnish the product exactly as specified in the invitation. |  |
|  | 1.4 | Samples: Samples or demonstrators, when requested, must be furnished free of expense to the University. Samples not destroyed during reasonable examination will become property of the University unless bidder states otherwise. All demonstrators will be returned after reasonable examination. Each sample should be marked with the bidder’s name and address, bid number and item number. |  |
|  | 1.5 | Time of Performance: The number of calendar days in which delivery will be made after receipt of order shall be stated in the bid. |  |
| 2. | SUBMISSION OF BIDS |  |  |
|  | 2.1 | Bids, modifications or corrections thereof received after the closing time specified will not be considered. |  |
| 3. | ACCEPTANCE OF BIDS |  |  |
|  | 3.1 | The University reserves the right to accept or reject all or any part of a bid or any and all bids, to waive any informality, and to award the bid to best serve the interest of the University. |  |
|  | 3.2 | If a bidder fails to state the time within which a bid must be accepted, it is understood and agreed that the University shall have 60 days to accept. |  |
| 4. | ERROR IN BID |  |  |
|  | 4.1 | In case of error in the extension of prices in the bid, the unit price will govern. No bid shall be altered or amended after the specified time for opening bids. |  |

| 5. | AWARD |  |  |
| --- | --- | --- | --- |
|  | 5.1 | Contracts and purchases will be made or entered into with the lowest responsible bidder meeting specifications or on the basis of best value. |  |
|  | 5.2 | When more than one item is specified in the Invitation, the University reserves the right to determine the low bidder either on the basis of the individual items or on the basis of all items included in its Invitation for Bids, or as expressly stated in the Invitation for Bid. |  |
|  | 5.3 5.4 | A written purchase order or contract award mailed, or otherwise furnished, to the successful bidder within the time of acceptance specified in the Invitation for Bid results in a binding contract without further action by either party. The contract shall not be assignable by the vendor in whole or part without the written consent of the University. Vendors awarded contracts for commodities and/or services are encouraged to participate in our University Shopping Mall. This online catalog database is operated by a third party provider and will allow all University departments to place orders to multiple vendors online. A monthly maintenance fee, to be negotiated between each vendor and the shopping mall data base provider, is required. |  |
| 6. | DELIVERY |  |  |
|  | 6.1 | The Invitation for Bid will show the number of days to place a commodity in the University designated location under normal conditions. If the bidder cannot meet the stated delivery, alternate delivery schedules may become a factor in award. The University has the right to extend delivery if reasons appear valid. |  |
|  | 6.2 | Delivery shall be made during University work hours only, 8:00 a.m. to 4:30 p.m.., unless prior approval for other shipment has been obtained. |  |
|  | 6.3 | Packing memoranda shall be enclosed with each shipment. |  |
| 7. | ACCEPTANCE AND REJECTION |  |  |
|  | 7.1 | Final inspection and acceptance or rejection may be made at delivery destination, but all materials and workmanship shall be subject to inspection and test at all times and places, and when practicable. During manufacture, the right is reserved to reject articles which contain defective material and workmanship. Rejected material shall be removed by and at the expense of the contractor promptly after notification of rejection. Final inspection and acceptance or rejection of the materials or supplies shall be made as promptly as practicable, but failure to inspect and accept or reject materials or supplies shall not impose liability on the University thereof for such materials or supplies as are not in accordance with the specification. In the event necessity requires the use of materials or supplies not conforming to the specification, payment may be made with a proper reduction in price. |  |
| 8. | TAXES AND TRADE DISCOUNTS |  |  |
|  | 8.1 | Do not include state or local sales taxes in bid price. |  |
|  | 8.2 | Trade discounts should be deducted from the unit price and net price should be shown in the bid. |  |
| 9. | DEFAULT |  |  |
|  | 9.1 | Back orders, default in promised delivery, or failure to meet specifications authorize the University to cancel this contract to the defaulting contractor. The contractor must give written notice to the University of the reason and the expected delivery date. |  |
|  | 9.2 | Consistent failure to meet delivery without a valid reason may cause removal from the bidders list or suspension of eligibility for award. |  |
| 10. | WAIVER |  |  |
|  | 10.1 | The University reserves the right to waive any General Condition, Special Condition, or minor specification deviation when considered to be in the best interest of the University, so long as such waiver is not given so as to deliberately favor any single vendor and would have the same effect on all vendors. |  |
| 11. | CANCELLATION |  |  |
|  | 11.1 | Any contract or item award may be canceled for cause by either party by giving 30 days written notice of intent to cancel. Cause for the University to cancel shall include, but is not limited to, cost exceeding current market prices for comparable purchases; request for increase in prices during the period of the contract; or failure to perform to contract conditions. The contractor will be required to honor all purchase orders that were prepared and dated prior to the date of expiration or cancellation if received by the contractor within period of 30 days following the date of expiration or cancellation. Cancellation by the University does not relieve the Contractor of any liability arising out of a default or nonperformance. If a contract is canceled due to a request for increase in prices or failure to perform, that vendor shall be removed from the Qualified Bidders List for a period of 24 months. Cause for the vendor to cancel shall include, but is not limited to the item(s) being discontinued and unavailable from the manufacturer. |  |
| 12. | ADDENDA |  |  |
|  | 12.1 | Addenda modifying plans and/or specifications may be issued if time permits. No addendum will be issued within a period of three(3) working days prior to the time and date set for the bid opening. Should it become necessary to issue an addendum within the three-day period prior to the bid opening, the bid date will be reset giving bidders ample time to answer the addendum. |  |
|  | 12.2 | Only written addenda is part of the bid packet and should be considered. |  |
| 13. | ALTERNATE BIDS |  |  |
|  | 13.1 | Unless specifically requested alternate bids will not be considered. An alternate is considered to be a bid that does not comply with the minimum provisions of the specifications. |  |
| 14. | BID OPENINGS |  |  |
|  | 14.1 | Bid opening will be conducted open to the public. However, they will serve only to open, read and tabulate the bid price on each bid. No discussion will be entered into with any vendor as to the quality or provisions of the specifications and no award will be made either stated or implied at the bid opening. |  |
| 15. | DEBRIS REMOVAL |  |  |
|  | 15.1 | All debris must be removed from the University after installation of said equipment. |  |

ALL BIDS SUBMITTED SHALL BE IN COMPLIANCE WITH THE GENERAL CONDITIONS SET FORTH HEREIN.  THE BID PROCEDURES FOLLOWED BY THIS OFFICE WILL BE IN ACCORDANCE WITH THESE CONDITIONS.  THEREFORE, ALL VENDORS ARE URGED TO READ AND UNDERSTAND THESE CONDITIONS PRIOR TO SUBMITTING A BID.

# Please send 2 copies of your response to this bid.  The extra copy is needed for bid evaluation purposes.  Please do not send bid responses to different bids in the same envelopes.  Thank You!

Bid the following according to minimum specifications or functional equivalent.

| # Item | ## Description | Qty |  | Unit Price |  | Total Price |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Custom made 100 Liter Fermenter as per minimum specifications: | 1 ea |  | $_________ |  | $_________ |

# FOB:	University of Arkansas

Poultry Health Lab

2652 McConnell

Fayetteville, AR 72701

Delivery___________ days after receipt of order.

NOTE:   If any portion of a vendor's contract terms and conditions are in conflict with those in this Invitation for Bid or with the laws of the State of Arkansas,  State of Arkansas laws shall govern.  Failure to conform to these standards may result in rejection of bid.

NOTE: If offering equal, full description and complete specifications must accompany bid at the time

of bid opening.   Failure to do so may result in disqualification of bid.

Bids must be submitted on this official bid form to be considered.

Bid will be awarded on an all or none basis.

If further information is needed please contact:

# Noel Neighbor at 479-575-8490.

# General Campus Background for University of Arkansas

Established in 1871 as a land grant institution, the University of Arkansas is the only comprehensive doctoral degree granting institution in Arkansas. It is classified as a Carnegie Foundation Doctoral/Research University. The University campus includes 360 buildings on 357 acres. The University offers more than 230 undergraduate and graduate degrees in more than 150 fields of study in agricultural, food and life sciences, arts and sciences, business, education, engineering, architecture and law. As of Fall 2008, student enrollment was 19,800 (undergraduate 14,861, professional 398, graduate 3192, and non-degree 743; full-time 14,814 and part-time 4,380). The faculty count was 898, and staff count was 2864. The University is the flagship campus for the University of Arkansas System.

Ethical Standards

“It shall be a breach of ethical standards for a person to be retained, or to retain a person, to solicit or secure a state contract upon an agreement or understanding for a commission, percentage, brokerage, or contingent fee, except for retention of bona fide employees or bona fide established commercial selling agencies maintained by the contractor for the purpose of securing business”

Technology Access

The Vendor expressly acknowledges that state funds may not be expended in connection with the purchase of information technology unless that system meets certain statutory requirements, in accordance with State of Arkansas technology policy standards relating to accessibility by persons with visual impairments.

Accordingly, the Vendor represents and warrants to University of Arkansas, Fayetteville that the technology provided to University of Arkansas for purchase is capable, either by virtue of features included within the technology or because it is readily adaptable by use with other technology, of: (1) providing equivalent access for effective use by both visual and nonvisual means; (2) presenting information, including prompts used for interactive communications, in formats intended for nonvisual use; and (3) being integrated into networks for obtaining, retrieving, and disseminating information used by individuals who are not blind or visually impaired.

For purpose of this paragraph, the phrase “equivalent access” means a substantially similar ability to communicate with or make use of the technology, either directly by features incorporated within the technology or by other reasonable means such as assisting devices or services which would constitute reasonable accommodations under the American with Disabilities Act or similar state or federal laws.  Examples of methods by which equivalent access may be provided include, but are not limited to, keyboard alternatives to mouse commands and other means of navigating graphical displays, and customizable display appearance.

If requested, the Vendor must provide a detailed plan for making this purchase accessible and/or a validation of concept demonstration.

100 Liter Fermenter Minimum Specifications

General Description

Vertically oriented round, insulated,  jacketed stainless steel fermenter with a 100 liter working capacity (approximately 10” to 16” freeboard at top tangent) designed and tested for 45 PSIG and full vacuum at -60 F to 350 F in tank and 100 PSIG at -60 F to 350 F in jacket.  Designed and constructed to be in compliance with ASME Code Section VIII. Division 1 with ASME Code stamped and National Board Registered. Approximately 20” inside diameter, 25” outside diameter, 32” straight side, 62” overall height with an outlet height of 18”. To include top mounted electric mixer with seal that will hold both full working pressure and full vacuum with motor running or stopped.

Construction

Tank top shell and bottom of 1/4 “ 316L  SS with ASME flanging of bottom and top prior to welding.

Dimpled jacket of 14 gauge T304L SS.

Removable top head with O ring seal.

All product contact surfaces in addition to tank to be of 316L SS.

Joint efficiency of heads to be E=0.85 and joint efficiency of shells to be E=0.70.

Mill finish for external surfaces.

Internal surfaces to include grinding of all welds and #4 sanitary finish.

Supports provided by four 304 SS pipe legs with pad feet.

Tank is to be equipped with full dimpled heat transfer surface on sidewall and bottom head in one zone.  Vent and drain fittings are provided.

Fittings – Specifications

Sanitary clamp ferrules to be heavy wall seamless – Clamps to be heavy duty.

Spray balls to be welded to downpipes, removable from the outside of the tank, equipped with locator pins, and are tagged.  Spray balls are not mapped.

Manway to be quick opening swing bolt hinged type equipped with hand knobs and 0-rings.

Fittings

(1) – 8” handhole in manway top with hinged lid, o-ring seal, and sanitary clamp.

(3) – 1-1/2” Sanitary clamp ferrule in top head.

(1) – 2” Sanitary clamp ferrule in top head.

(1) – 4” Sanitary clamp ferrule in top head for top mount offset agitator.

(1) – 3” Sanitary clamp ferrules in top head with 1” removable down-pipes with

welded spray ball assemblies. They are not mapped spray balls.

(1) – Thermowell in bottom head.

(1) – 1-1/2” Sanitary clamp ferrule outlet

(1) – 3/4” – 150# RF flanged jacket inlet.

(1) – 3/4” – 150# RF flanged jacket outlet.

(1) – ½” – 3,000# Scrd. coupling jacket vent.

(1) – ½” – 3,000# Scrd. coupling jacket drain.

(1) – 1 ½” ASEPCO manual sample valve (1 ½” mount with ½” outlet)

(1) – Ingold fitting and plug in set-back within vessel wall.

Heat Transfer

Tank is to be provided with full dimpled heat transfer surface on sidewall and bottom head in one (1) zone.  Vent and drain fittings are provided.

Insulation

Tank sidewall & bottom head is to be coated w/“Thurmalox 70” & insulated w/2”

chloride & asbestos free fiberglass then sheathed w/12 Ga. type 304 SS.

Supports

Tank is to be provided with four (4) type 304 SS pipe legs x/flat pad feet to provide and outlet height of 18”.

Other Details

Tank I.D. is to passivated at completion.  Tank is to be rinsed with D.I. water at completion.  Grounding lugs and lift lugs are to be provided.

Mixer

4” tri clamp mounted Lightning, or equivalent with  pharmaceutical seals capable of holding full pressure and full vacuum.  Material of wetted parts to be of 316L SS with a finish equivalent to the interior of the tank.  Mixing is to be accomplished through the use of impeller(s) mounted in such as way as to allow the mixing of minimal batch sizes.  Motor to be ½ HP inverter duty 208/230/460/60/3.  Reducer gearing will result in full impeller  rpm of 175.  A VFD is to be built in to allow variable speed control.

Three (3) – 1 ½” ASME Code stamped rupture disks appropriate to application on the fermenter described,  This includes one (1) installed on the tank and two (2) spares.

Equal Opportunity Policy Disclaimer

ATTENTION BIDDERS

Act 2157 of 2005 of the Arkansas Regular Legislative Session requires that any business or person bidding, who is responding to a formal bid request, Request for Qualifications or qualifications, or negotiating a contract with the state for professional or consultant services, submit their most current equal opportunity policy (EO Policy).

Although bidders are encouraged to have a viable equal opportunity policy, a written response stating the bidder does not have such an EO Policy will be considered that bidder’s response and will be acceptable in complying with the requirement of Act 2157.

Submitting the EO Policy is a one-time requirement.  The University of Arkansas, Fayetteville Procurement Department, will maintain a database of policies or written responses received from all bidders.

Note: This is a mandatory requirement when submitting an offer as described above.

Please complete and return this form with your bid response.

Should you have any questions regarding this requirement, please contact this office by calling (479) 575-2551.

Sincerely,

Linda Fast

Linda Fast, APO, CPPO, CPPB

Manager of Procurement Services

University of Arkansas

To be completed by business or person submitting response: (check appropriate box)

____   EO Policy Attached

____   EO Policy previously submitted to University of Arkansas-Fayetteville

Purchasing Department

____   EO Policy is not available from business or person

Company Name

Or Individual: __________________________________________________________

Title:  _____________________________________Date:  ______________________

Signature:  ____________________________________________________________

University of Arkansas

Fayetteville, Arkansas

Procurement Department

321 Administration

Fayetteville, AR  72701

Tel:  479-575-2551

Fax:  479-575-4158

Act 157 of 2007 of the Arkansas Regular Legislative Session requires that any business or person responding to a Request for Proposal (RFP) for professional services, technical and general services or any category of construction in which the total dollar value is $25,000 or greater certify, prior to the award of the contract, that they do not employ or contract with any illegal immigrants.  Bidders are to certify online at:

http://www.dfa.arkansas.gov/offices/procurement/Pages/forms.aspx

This is a mandatory requirement.  Failure to certify may result in rejection of your proposal, and no award will be made to a vendor who has not so certified.  If you have any questions, please contact the Procurement Department.  Thank you.

Linda Fast

Linda Fast, APO, CPPO, CPPB

Manager of Procurement Services

************************************************************************************************************

TO BE COMPLETED BY BUSINESS OR PERSON SUBMITTING RESPONSE:

Please check the appropriate statement below:

_______	We have certified on-line that we do not employ or contract with any

illegal immigrants

Date on-line certification completed:  ___________________________________

_______	We have NOT certified on-line at this time, and we understand that

no contract can awarded to our firm until we have done so.

Reason for non-certification:  _________________________________________

| Name of Company |  |
| --- | --- |
| Mailing Address |  |
| City, State & Zip |  |
| Signature |  |
| Name & Title (printed or typed) |  |
| Date |  |