PERFORMANCE BASED STATEMENT OF WORK

- SCOPE

This Performance Based Statement of Work (PBSOW) sets forth the requirements for Contractor provided engineering, technical, administrative, operation, maintenance, repair, equipment and laboratory upgrades, and calibration services for the Naval Air Warfare Center, Propulsion and Power Department (AIR 4.4), Patuxent River, Maryland.  Approximately 81% of the effort will be performed on-site at the Government’s facility and 19% off-site at the contractor’s facility.   The period of performance for this effort is one year plus four one year optional periods of performance, if and to the extent these options are exercised.

  - BACKGROUND

AIR 4.4 is the lead activity for research, systems engineering and integration, engineering analysis and evaluation, test and evaluation, and in-service engineering support of naval power and propulsion systems.  These systems include, but may not be limited to the following:

•	Air breathing engines (except for ramjets) and engine integration for manned and unmanned aircraft and missiles

•	Auxiliary, secondary and emergency power systems

•	Helicopter transmissions and drive systems

•	Aircraft and engine fuel systems, and ground refueling systems

•	Fuel, oil and greases for propulsion system engines, gearboxes, propellers and transmissions

•	Propulsion system performance

- Electrical systems including alternating and direct current systems

- APPLICABLE DOCUMENTS

Document Number	Nomenclature

MIL-PRF-23699	Lubricating Oil, Gas Turbine Engine, Synthetic Base

DOD-L-85734		Lubricating Oil, Helicopter Transmission, Synthetic Base

MIL-PRF-85704	Cleaning Compound, Turbine Engine Gas Path

MIL-PRF-5624	Turbine Fuels, Aviation, Grades JP-4, JP-5, and JP-5/JP-8 ST

MIL-PRF-32148	Filter Separator Elements, Fluid Pressure, Aviation and Distillate Fuel, Naval Shipboard

API 1581	Specification and Qualification Procedures for Aviation Jet Fuel Filter/Separators

MIL-DTL-16884	Fuel, Naval Distillate

MIL-DTL-87107	Propellant, High Density Synthetic Hydrocarbon Type, Grade JP-10

SAE AS5877	Nozzle, Pressure, Fuel Servicing

MIL-STD-210-C	Climate Extremes for Military Equipment

MIL-STD-461-D	Electromagnetic Emission & Susceptibility Requirements for the Control of Electromagnetic Interference

MIL-STD-462-D	Electromagnetic Interference Characteristics, Measurement of

MIL-STD-464 	Electromagnetic Environmental Effects Requirement for Systems

MIL-STD-704-F	Aircraft Electrical Power Characteristics

MIL-STD-781-D	Reliability Design Qualification & Production Acceptance Tests:  Exponential Distribution

MIL-STD-810-F	Environmental Test Methods & Engineering Guidelines

MIL-E-5272-C	Environmental Testing, Aeronautical & Associated Equipment, General Specification for

MIL-E-5400	Electronic Equipment, Airborne, General Specification for

MIL-T-5422	Testing, Environmental Airborne Electronic, & Associated Equipment

MIL-G-6162-B	Generators & Starter-Generators, Electric Direct Current, Nominal 30 Volts, Aircraft, General Specification for

MIL-G-21480-E	Generator System, 400 Hertz, Alternating Current, Aircraft General Specification for

MIL-E-23001-B	Electric Generating System, Variable Speed Constant Frequency, Aircraft, General Specification for

MIL-E-81910-A	Electric Power Generating & Control Equipment, Aircraft, Testing General Specification for

MIL-W-5088-L &

SAE-AS50881	Wiring, Aircraft, Installation of

MIL-I-8700-A	Installation and Test of Electronic Equipment in Aircraft, General Specification for

MIL-STD-454-N	Standard General Requirements for Electronic Equipment

MIL-E-7080-B	Electric Equipment, Aircraft, Selection and Installation of

NAVAIR 01-1A-505	Installation Practices, Aircraft Electric, and Electronic Wiring

MIL–B-5087-B	Bonding, Electrical and Lightening Protection, for Aerospace

3.0 REQUIREMENTS

The following describes the types of efforts (functional areas) to be performed in support of this acquisition.  The contractor shall make available personnel to AIR-4.4 to perform the tasking areas as set forth below:

3.1 Administrative/Secretarial/Clerical Support

The contractor shall provide administrative/secretarial/clerical support for AIR-4.4.  Typical tasks may include, but are not limited to:

    - Preparation of presentation graphic art which could include viewgraphs, charts and other documents.

    - Filing.

    - Answer telephones and route calls.

    - Receive, route and distribute mail and other office material.

    - Receive, route and transmit facsimiles.

    - Operate an office copier to copy, sort, and collate copies.

    - Maintain and update office files and records..

    - Prepare formal correspondence, technical reports, booklets and memoranda.

    - Provide conference and workshop coordination and administrative services including develop agendas, milestone charts, announcements, accommodations, set up and dismantle of audio/visual equipment, database tracking of events, record attendees and points of contact, record minutes at general and splinter group meetings, and operate message boards.

    - Input information to obtain Security passes using the BASICS II system.

    - Process travel orders using the Defense Travel System (DTS).

    - Prepare and distribute messages.

    - Prepare visit requests using OPNAV 5221/27 and Aircraft and Personnel Automated Clearance System (APACS).

    - Prepare vouchers (Form 1034) for standard issue safety equipment (shoes/glasses).

    - Maintain recall/muster listings.

    - Scan and transfer files.

  - FACILITY/LABORATORY SUPPORT

The contractor shall maintain the test facilities and laboratories (to include test equipment).  The facilities/laboratories to be supported are as follows:

- Propulsion Systems Evaluation Facility (PSEF), Bldg. 2360, NAWCAD Patuxent River, MD

- Aircraft Test and Evaluation Facility (ATEF), Bldg. 1669, NAWCAD Patuxent River, MD

- Electrical Systems Laboratory (ESL), Bldg. 1461, NAWCAD Patuxent River, MD

3.2.1	PSEF – The PSEF consists of numerous test areas and unique facilities to test and collect data on propulsion components and sub-systems in the following test areas:

3.2.1.1  Fuels and Lubricants Test Area (FLT): This test area consists of 30 test rigs used to evaluate specific performance properties of aircraft and ship fuels, fuel handling systems and components, and engine/drive train lubricants.  A complete list of equipment is provided in Appendix A.

3.2.1.2  Rotor Spin Facility (RSF): This facility tests aircraft engine compressor and turbine components under centrifugal loads and supports Multi-Service requirements.  Testing includes Low Cycle Fatigue, Burst and Containment and Life/Design Validation.  A complete list of equipment is provided in Appendix B.

3.2.1.3  Altitude Environmental Chamber (AEC) Altitude Test Cell: This facility assesses the operational flight envelope of UAV propulsion systems, evaluates system performance, mission operability, service life and design integrity.  A complete list of equipment is provided in Appendix C.

3.2.1.4  Helicopter Drive System Facility (HDS): This facility is a unique Department of Defense asset, which provides test and evaluation capability to a multi-service customer base with interests in both the mechanical evaluation of helicopter hardware and the evaluation of diagnostic systems and techniques through the Helicopter Integrated Diagnostics System program.  A complete list of equipment is provided in Appendix D.

3.2.1.5  Accessories Test Area (ATA): These test areas are used to test and evaluate auxiliary power units, aircraft starters, starter control valves and prognostics and health management technologies.  Testing includes life extension evaluations, performance evaluations and developmental hardware evaluations.  A complete list of equipment is provided in Appendix E.

3.2.1.6  Chemistry Laboratory (CL): This test area is used to test and evaluate the chemical and physical properties of aircraft and ship fuels and lubricants A complete list of equipment is provided in Appendix F.

3.2.2  ATEF – The ATEF is a Hush House for the evaluation of aircraft installed and bare engine propulsion system performance.  This facility has the capability to test the full spectrum of aircraft power operation from ground run-up to full afterburner under numerous environmental conditions.  ATEF also contains specialized instrumentation and equipment to provide instrumentation signals real time during engine operation. A list of equipment systems in provided in Appendix G.  Capabilities include:

- Engine/Intake Crosswind/Ingestion

- Weight and Balance

- Environmental effects (rain, wind, sun, heat)

- Thrust calibration

- Residual Fuel Calibration

- X-Ray inspections

- Night Vision equipment testing

3.2.3	ESL – The ESL is a testing facility that consists of numerous test areas that are designed to evaluate electrical power generating, battery and power conversion systems, electrical power distribution systems, electrical power quality, electrical starting and emergency electrical power systems.  The facility is also responsible for auxiliary, secondary, and emergency power systems.  A complete list of equipment is provided in Appendix I.

  - Laboratory Operations/Maintenance Support

The contractor shall provide support to AIR-4.4 testing laboratories and test facilities, including but not limited to, the Helicopter Drive System Facility, (HeDS), Rotor Spin Facility, (RSF), Accessory Test Area, (ATA), Fuels and Lubricants Test area, (FLT), Chemistry Laboratory (CL), Electrical Systems Laboratory (ESL), and the Altitude Environmental Chamber, (AEC). In addition, the contractor shall provide engineering, operation and maintenance support to the Propulsion System Evaluation Facility.   Typical tasks may involve, but are not limited to:

    - Provide training for the proper and safe operation and maintenance of test facilities and test equipment for both contractor and government personnel.

    - Provide training for new test technology and operation, maintenance and repair of new or upgraded test facilities and test equipment.  Training shall be approved by the Task Order Manager (TOM).

    - Review project test plans and/or the test request forms and provide recommendations for test requirements, test procedures and test support resources required to accomplish Government test objectives.

    - Support the preparation of project test plans, test requests and/or development of innovative test procedures to accommodate the conduct of specialized and non-standard tests.  Submit recommendations to the government action organization.

    - Ensure that proper instrumentation and test apparatus are available for carrying out test program objectives in accordance with government approved test plans.  Adapt and modify existing test equipment as necessary, recommending modifications to measurement techniques.  Provide recommendations and obtain approval from the Government Project Engineer if any new instrumentation and wiring set-ups are required to obtain specific approved test objectives.

    - Perform pre-test setup, operation, data collection, recording, and analysis functions to support routine, as well as specialized and non-standard testing, as required.

    - Conduct the necessary tests and analyze laboratory and/or flight test data to ensure that the data is within predicted ranges in accordance with government furnished specifications or approved test plans.

    - Document all information regarding test programs. Documentation to include systems/equipment under evaluation, laboratory test equipment and instrumentation used to conduct the tests with calibration data.  Document all test data including pretest and post-test performance and maintain a written log or record of daily occurrences for each project.  Provide test results with findings, conclusions and recommendations in the reporting format required by the test plan.

    - Maintain proficiency in “state-of-the-art” propulsion test methods, techniques, standards, specifications and operating restrictions.

    - Ensure availability and proper operation of specialized test equipment, adapters, fixtures, cable harnesses, instrumentation, peculiar test equipment and other hardware required for testing.

    - Prepare test facility and equipment preventive maintenance schedules in accordance with equipment maintenance/operation manuals and military test specifications and standards as applicable.

    - Perform preventive maintenance on test facilities and equipment in accordance with the established schedules.  Provide documentation of preventive maintenance to the Mechanical Engineering Team to document any necessary repairs or make recommendations of replacement.

    - Perform or coordinate calibration of in-house equipment and instrumentation that are not subject to Metrology Calibration (METCAL) requirements or cannot be transported to the calibration facility.  As appropriate, test equipment will be calibrated in accordance with the test requirements outlined in the Department of the Navy Metrology and Calibration Program Manual (NAVAIR 17-35-MIL-1).  Maintain calibration records.

    - Repair test facilities and equipment as required.

    - Maintain all contractor occupied or utilized spaces (office, laboratory area, equipment room) in a safe, orderly and clean manner.

    - Remain cognizant of problems with existing test facilities and equipment; changes in future test requirements and advances in testing technology.  This shall include visits or telephone inquiry to other activities, agencies and equipment manufacturers for the purpose of evaluating and observing evolving test equipment technology.  When appropriate, recommendations shall be made to upgrade and modernize test facilities and equipment to ensure test capabilities are compatible with existing and future requirements.

    - The Contractor shall provide inputs for the preparation of recommended performance design change specifications, engineering data, installation requirements, procurement requests and other technical documentation to support the upgrade, repair and/or modification of existing facility/equipment testing capabilities and equipment.  Procurement of any new replacement equipment, in support of existing test capabilities, shall be because the existing equipment is determined Beyond Economical Repair (BER) or obsolete and must be replaced with same or upgraded in-kind equipment.  The purchase of any replacement equipment, materials and repairs or upgrades under this contract shall be limited by the following guidance:

a.  Equipment, materials, repair and upgrade modification purchases will be limited to those required to maintain existing laboratory operations/maintenance support and testing facility capabilities as follows:

b.  The purchase of equipment, materials, and repairs or upgrades, for routine, low cost consumables (i.e. gears, bearings, seals, filters, gaskets, connectors, cables, flow meters, miscellaneous repairs, calibration effort, etc.) which do not exceed $500, and are in within the scope of the contract, pursuant to paragraph (a) above, may be purchased without Government verification.

c.   The purchase of equipment, materials and repairs or upgrades in excess of $500 and less than $5,000, and are within the scope of the contract, pursuant to paragraph (a) above, may be purchased by the contractor after the TOM verification and written approval.

d.  The purchase of equipment, materials and repairs or upgrades, in excess of $5,000, and less than $20,000, and are within the scope of the contract, pursuant to paragraph (a) above, may be purchased by the contractor after AIR4.4C verification and written approval.

e.  The purchase of equipment, materials and repairs or upgrades, in excess of $20,000 will be referred to the Contracting Officer, via the TOM, for determination of whether or not the work is within the contract scope to maintain existing facilities capabilities   The acquisition of new testing capabilities and test facilities are not within the scope of this contract, unless authorized specifically in writing by the Contracting Officer and agreed to via formal modification.

    - Participate in manufacturer design reviews; factory demonstrations, installed equipment acceptance tests and operator/maintenance/manual verification/validation efforts to ensure new/modified equipment capabilities and supporting documentation comply with procurement specifications.

    - Complete the installation of any test facilities or equipment already in progress and provide for and perform the installation of new test facilities or equipment purchased by Government or Contractor approved purchases as per Paragraph 3.3.17 above. These installations should be in accordance with equipment manuals, vendor instructions or Public Works Department instruction provided as government furnished information.

    - Support the development of test methods and procedures to facilitate the safe introduction of new/modified test related equipment, standards and specifications.

    - Attend safety, Automatic Data Processing (ADP) User Group and HAZMAT meetings.  Minutes of these meetings shall be documented and submitted to the TOM.

    - Conduct testing and evaluation utilizing Standard Work Packages (SWPs) and Standard Skills Packages (SSPs).

    - Conduct chemical analysis testing, including but not limited to viscosity, flash point, heating value, density, foam, hydrogen content, surface tension, nitrogen content, tensile test, vapor pressure, water content, pour point test, sonic shear and peroxide content.

    - Conduct tests and analyze data from corrosion test apparatus, Spectroil Jr. spectrophotometer and ferrograph analyzer; evaluate test results from high temperature deposition test, hot liquid process simulator, Ryder gear, Falex multi-specimen test and Rolls Royce Tribo test.

    - Perform electrical wiring Qualified Products List testing, as required.

    - Make recommendations for design and development of facility improvement modifications to enhance testability and versatility of the test area, and recommend ways to reduce testing cost.

3.3.27  Provide technical support to propulsion and power facilities including facility preparation to conduct the testing; environmental temperature control; preparing instrumentation for testing and reporting status, data acquisition and data retention.  Perform information management assurance for the data acquisition systems and ensure the quality of the data for facility/laboratory systems administrators.

3.3.28  Installation

3.3.28.1 Make changes and/or modify facilities, systems, equipment, instrumentation and hardware as per engineering drawings.

3.3.28.2 Fix, Repair and/or upgrade equipment, instrumentation and hardware that are not meeting required performance specifications.

3.3.28.3 Dismantle, prepare and preserve facilities, systems, hardware and equipment that will be placed in long term storage.   Provide a written record of stored items.

3.3.29 Operations

3.3.29.1 Start, set and adjust test operating conditions, monitor test performance and operation and shut down the test facility after testing is complete.

3.3.29.2 Trouble shooting facility, system, equipment and hardware performance problems; advising facilities engineering of problems and potential solutions.

3.3.29.3 Conduct calibration checks on equipment, data systems and instrumentation in accordance with AIR-4.4 Standard Work Packages.

3.3.29.4  Provide neat and clean work areas and facilities.

3.3.29.5 Ship/transport test equipment/test articles.

3.3.30  Maintenance

3.3.30.1 Conduct facilities maintenance as per preventative maintenance plan.

3.3.30.2 Perform routine/daily facility maintenance inspections and checks and perform corrective adjustments to malfunctioning equipment.

3.3.30.3 Maintain and update an inventory of equipment, instrumentation and hardware in the test facilities areas.

3.3.30.4 Procure and maintain a working inventory of small parts, expendable items and consumables.  (See paragraph  3.3.17 (b))

3.3.30.5 Maintain, repair, calibrate, upgrade and operate test facilities and equipment at the Propulsion System Evaluation Facility (PSEF), Aircraft Test and Evaluation Facility (ATEF) and the Electrical Systems Lab (ESL). The facilities include but not be limited to: Rotor Spin Facility, Helicopter Transmission Facility, Rolling Contact Fatigue tester,  Fuels and Lubricants test area, Small Engine Test Area and Altitude Environmental Chamber.

3.3.30.6 Support the RDT&E network within the PSEF, other propulsion facilities, and other facilities sharing and exchanging data in compliance with Navy and DoD data and system security requirements.  Maintain, upgrade and report the network, nodes, and peripheral equipment configuration management.  Recommend technical refresh dates and recommend improvement covering facility software, and data security hardware and software.  Respond to and provide solutions for system trouble calls. The system administrators will support computer resources that are not part of NMCI and upgrade hardware and software to maintain a secure system.

3.3.30.7 Maintain, support, and upgrade RDT&E hardware and software including the Laboratory Information Management System (LIMS), test area data acquisition systems, data processing systems, control systems, and displays. The AIR-4.4.6 organization will maintain, support and upgrade the LIMS system once it is functional and out of development.

4.0 Increased Service Labor (CLINs 4101, 4201, 4301, 4401, 4501)

This CLIN is provided to address an increased level of effort for taskings as shown in paragraph 3.0 above.  Refer to Section H, Task Order Clause H-1, Option to Increase Capacity within the Period of Performance.

5.0 Other Direct Costs (ODC) (CLINs 6100, 6200, 6300, 6400, 6500)

ODCs are based on a per annum Not to Exceed (NTE) amounts.  ODCs may include general and administrative expenses, but shall not include profit.  The Task Order Manager’s (TOM) approval shall be obtained prior to the purchase of ODCs.

5.1 Travel

Travel will be provided only when it is essential to the performance of the tasks detailed in the Labor section.  Reimbursement for travel performed shall be in accordance with established Joint Travel Regulation rates.

5.2 Material

All materials not depleted during the performance of this order shall become Government property upon completion of this order.  The contractor shall transfer all materials not depleted to the TOM by way of Material Inspection and Receiving report.  Projected material is consumables that the contractor may have bought in bulk to reduce purchase costs.

5.3 Navy Marine Corps Intranet (NMCI) requirements

Contractor personnel for contract performance may require the use of and/or access to Department of Navy Information Technology Resources.  Applicable Department of the Navy Information Technology Resources shall be procured from the NMCI Contractor pursuant to the authority of NMCI Contract #N00024-00-D-6000, Clause 5.2 “Ordering.”

6.0 Increased CLIN for ODCs (CLINs 6101, 6201, 6301, 6401, 6501)

This CLIN is provided to address an increased level of effort in ODCs as shown in paragraph 5.0 above.  Refer to Section H, Task Order Clause H-1, Option to Increase Capacity within the Period of Performance.

7.0  Technical Data (CLINs 4140, 4240, 4340, 4440, 4540)

Technical data shall be provided as stated in the CDRLs: Monthly Contractor’s Progress, Status and Management Report (CDRL A001); Monthly Funds and Work-Hour Expenditure Report (CDRL A002); Operations Security (OPSEC) Plan (CDRL A003); and Meeting/Trip Report (CDRL A004); Scientific and Technical Reports (CDRL A007); Engineer/Technical Services Accomplishments Reports (A008) are required.  A Status Report for Information Technology Personnel Security Information is required for the Contracting Officer Representative (CDRL A005) and NAVAIR Security (CDRL A006).

8.0 Operations Security (OPSEC) (CLIN 4150)

An OPSEC plan will be developed and implemented, upon Government approval, in accordance with CDRL A003.  Draft plan is due within 90 days of contract award.  Final plan is due 45 days after government review.

Contractor personnel will be subject to a government security investigation and must meet eligibility requirements for access to classified information at the level noted in Attachment 1, DD Form 254.  The contractor shall ensure that any new employees – prior to their starting on the task-have and maintain a DoD Common Access( CAC), or be able to obtain the interim equivalent, during the period of performance in order to perform the work assigned and access to the facilities required to perform the work.

9.0 Performance Metrics

The work here shall be performance based.  An evaluation and reporting process is provided in the Quality Assurance Surveillance Plan (QASP) provided as an attachment to this task order in Section J.

10.0 Subcontracts/Consultants

Provisions stated herein shall be flowed down to all subcontractors and consultants providing effort under this contract.

11.0 Non-Disclosure Agreements

In the performance of the contract, the contractor may have access to non-public proprietary information.  The contractor shall require that any employee performing services under the contract execute a non-disclosure agreement satisfactory to the Contracting Officer.  The non-disclosure agreement shall acknowledge the contractor and employees’ duties with respect to non-public information and promise to comply with those obligations.  Originals of executed non-disclosure agreements shall be provided to the Contracting Officer.

12.0 Identifications Badges

Contractor Identification (ID) badges will be issued by the Government to on-site contractor personnel.  In accordance with NASPAXRIV Instruction 5510.15N, 31 October 2007, identification badges must be displayed at all times.   The contractor shall furnish all required information required to facilitate issuance of identification badges and shall conform to all applicable regulations concerning their use and possession.  ID media is U.S. Government property and shall be surrendered to the Pass and ID Office upon expiration or termination of employment.  The Government will not check out contractor personnel unless all media including CAC cards are returned in accordance with instructions identified previously in this paragraph.

- Identification of Contractor Personnel

Corporation affiliation shall be referenced on all written documentation that refers to contractor personnel.  This is required for internal and external communication.  Similarly, the contractor affiliation shall be identified when answering phone calls and at the beginning of any meeting or conference (in person or on phone) where contractor personnel are in attendance.

| Appendix A |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| EQUIPMENT | MANUFACTURER | MODEL or P/N | PROP / SERIAL NO. | UNIT | QUANTITY | PRICE |
| BOCLE - Ball On Cylinder Lubricity Evaluation | PCS Instruments | ABSB | A135 | EA | 1 | $ 63K |
| SLBOCLE - Scuffing Load Ball On Cylinder Lubricity Evaluation | PCS Instruments | ABSSL |  | EA | 1 | ~ $ 52K |
| ULTRASONIC BATH | Branson | 3510 | ? |  |  |  |
| HFRR - High Frequency Reciprocating Rig | PCS Instruments | HFRR |  | ? | ? | $ 63K |
| Desiccator | Cole-Parmer | R-08901-40 | TBD | EA | 1 | $ 3K |
| JFTOT - Jet Fuel Thermal Oxidation Test | Alcor / PAC Instru. | JFTOT 230 Mark III | 808-0729 | EA | 1 | $ 75K |
| JFTOT Tube Rater | Alcor / PAC Instru. | ? | ? | EA | 1 | $ 52K |
| OVENS | General Signal Co | Blue M |  | EA | 2 | ? |
| MICROSCOPE | Leitz Wetzlar | ? | US 6009 | EA | 1 | $ 5K |
| IQT - Ignition Quality Test | AET | ? | ? | EA | 1 | $ 230K |
| IQT REGULATORS |  | ? | ? | EA | 3 | $ 15K |
| FSIS | John Cummings | ? | ULT80DD | EA | 1 | ? |
| ASTM 2274 Stability Tester | Lawler | 30-8 | ? | EA | 1 | $ 14K |
| Stability Water Chiller | Lawler | FM-16 | ? | EA | 1 | $ 4K |
| Desktop Computers | Dell | ? | ? | EA | 3 | $ 5 K |
| Ellipsometer Tube Rater | Horiba Jobin Yvon | ETR 100 | TBD | EA | 1 | $ 80K |

Appendix TBD: Electrical Laboratory Equipment List

| Line No. | NOMENCLATURE | MANUFACTURER | MODEL/PART NO. | SERIAL NO. | UNIT OF ISSUE | QUANTITY | ESTIMATED $ VALUE (MILLIONS) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Walk-In Temperature/Altitude/Conditioned Air Chamber | Russells | . |  | Each | 1 | 5.000 |
| 2 | Temperature Control/Altitude/Contrl/Blast Air Control | Honeywell | 10420F-0011 | CET | Each | 1 | 0.200 |
| 3 | Temperature/Altitude Chamber | American Research | ALT64-76150C | 576, 577 | Each | 2 | 0.750 |
| 4 | Temperature Controller | JC Systems | 600A | TA #3,4 | Each | 2 | 0.050 |
| 5 | Temperature/Altitude/Humidity Chamber | Russells | RHD-16-25-25-2-S | 6951640, 06951640 | Each | 2 | 0.600 |
| 6 | Controller/Programmer | Research Inc. | 8703-1101-1222-002-2-00-SP-58 |  | Each | 2 | 0.040 |
| 7 | Portable Conditioned Air System | Russells | PCU-810-LN2 | N/A | Each | 1 | 0.050 |
| 8 | Controller | Watlow | 965A | N/A | Each | 1 | 0.010 |
| 9 | Temperature/Altitude Chambers | Tenny Mite | TMST-3-70150°C | N/A | Each | 3 | 0.270 |
| 10 | Item Deleted |  |  |  |  |  |  |
| 11 | Temperature Control/Recorder | Honeywell | 1PG575GD1-21 | CET | Each | 1 | 0.005 |
| 12 | Temperature Chamber | Standard | TB/5 | 2465 | Each | 1 | 0.020 |
| 13 | Temperature Chambers | Tenny Jr. | N/A |  | Each | 3 | 0.045 |
| 14 | Conditioned Air System | Thermotron | ECA-75/+300-2/2-CA-OL-D | N/A | Each | 1 | 0.040 |
| 15 | System Control Microprocessor | Thermotron | 13025 |  | Each | 1 | 0.001 |
| 16 | Temperature/Air Flow Recorder | Honeywell | 452 | CET | Each | 1 | 0.001 |
| 17 | Temperature/Air Flow Recorder | Honeywell | 452 | CET | Each | 1 | 0.001 |
| 18 | Combined Environmental Test Facility | Tenny |  | N/A | Each | 2 | 0.600 |
| 19 | System Control Microprocessors | Honeywell | UMC-800 | CET | Each | 2 | 0.040 |
| 20 | Vibrator Controller | Sigma | 100 |  | Each | 1 | 0.060 |
| 21 | Conditioned Air Recorder | Honeywell | DR45AT | CET | Each | 2 | 0.004 |
| 22 | Temperature Shock Chamber | BMA Inc. | TA-208CC | 2127 | Each | 1 | 0.050 |
| 23 | Portable Temperature/Altitude Chamber | Russells | RHB-4-705-705 | 1962201 | Each | 1 | 0.050 |
| 24 | Controller/Programmer | Research Inc. | Dimension II |  | Each | 1 | 0.001 |
| 25 | Drive Stand, 200 HP | Avtron | A138 | Opt 1&2: SN1659-25 | Each | 1 | 0.750 |
| 26 | Control System | Avtron | T665A/B23341-1 | DS1 | Each | 1 | 0.100 |
| 27 | Load Bank | Avtron | T660 | DS1 | Each | 1 | 0.030 |
| 28 | Drive Stand, 300 HP | Avtron | K738 | DS2 | Each | 1 | 0.800 |
| 29 | Control System | Avtron | D16112 | A14471 / DS2 | Each | 2 | 0.100 |
| 30 | Load Bank | Avtron | K702 | DS2 | Each | 1 | 0.030 |
| 31 | Drive Stand, 500 HP | Avtron | K938 | DS3 & DS4 | Each | 2 | 1.600 |
| 32 | Control System | Avtron | T665A/B23341-1 | DS3 & DS4 | Each | 2 | 0.200 |
| 33 | Load Bank | Avtron | T660 | DS3 & DS4 | Each | 2 | 0.600 |
| 34 | Drive Stand, 200 HP | Avtron | A138 | DS5 & DS6 | Each | 2 | 1.500 |
| 35 | Control System | Avtron | T665A/B23341-1 | DS5 & DS6 | Each | 2 | 0.200 |
| 36 | Load Bank | Avtron | T660 | DS5 & DS6 | Each | 2 | 0.060 |
| 37 | Drive Stand, 300 HP | General Electric | 946F271-2 | DS9 | Each | 1 | 0.800 |
| 38 | Control System | General Electric | DC3064R Valutrol | DS9 | Each | 1 | 0.100 |
| 39 | Load Bank | Avtron | T103/A18818 | DS9 | Each | 1 | 0.030 |
| 40 | Drive Stand, 300 HP | General Electric | 946F271-2 | DS10 | Each | 1 | 0.800 |
| 41 | Control System | General Electric | DC3064R Valutrol | DS10 | Each | 1 | 0.100 |
| 42 | Load Bank | Avtron | K260 | DS10 | Each | 1 | 0.030 |
| 43 | Drive Stand, 300 HP | General Electric | 946F271-1 | DS11 | Each | 1 | 0.800 |
| 44 | Control System | General Electric | DC3064R Valutrol | DS11 | Each | 1 | 0.100 |
| 45 | Load Bank | Avtron | T103 | DS11 | Each | 1 | 0.030 |
| 46 | Drive Stand, 300 HP | General Electric | 946F271-2 | DS12 | Each | 1 | 0.800 |
| 47 | Control System | General Electric | DC3064R Valutrol | DS12 | Each | 1 | 0.100 |
| 48 | Load Bank | Avtron | T103 | DS12 | Each | 1 | 0.030 |
| 49 | Drive Stand, 300 HP | General Electric | 946F271-3 | DS13 | Each | 1 | 0.800 |
| 50 | Control System | General Electric | DC3064R Valutrol | DS13 | Each | 1 | 0.100 |
| 51 | Drive Stand, 50 HP | General Electric | 59 LDA 1194 | DS5A & DS6A | Each | 2 | 0.700 |
| 52 | Control System | General Electric | DC3064R Valutrol | DS5A & DS6A | Each | 2 | 0.200 |
| 53 | Load Bank | Avtron | ? | DS5A & DS6A | Each | 2 | 0.030 |
| 54 | ATS and PTS, 100 HP AMAD Test Stand | Avtron | 42312R800 | AMAD DS | Each | 1 | 0.750 |
| 55 | ATS and PTS Control Systems | Avtron | T6400 | AMAD DS | Each | 2 | 0.200 |
| 56 | Portable Air Supply | Hydrovane | 68 | ? | Each | 1 | 0.010 |
| 57 | Control System | Avtron |  | AMAD DS | Each | 1 | 0.050 |
| 58 | Oil Hydraulic Supply | Avtron | K-115 | 18 | Each | 1 | 0.100 |
| 59 |  |  |  |  |  |  |  |
| 60 | Oil Hydraulic Supply | Avtron | H-169 | 001, 002 | Each | 2 | 0.368 |
| 61 | Control System | Allen Bradley Co. | WIC | WIC | Each | 1 | 0.010 |
| 62 | Speed Incresear Gear Boxes | Cotta/Gateway | 1541-10 (2), 1541-9, 1569-6, 1541-3 (2), 1659-24, 1659-25, 1675-5, & 2280 | List Ser. Nos. | Each | 10 | 0.800 |
| 63 | Angle Gearboxes | Cotta | 1645-1 | ? | Each | 2 | 0.200 |
| 64 | Portable Speed Increaser Oil Carts | Cotta | T17-4 | ? | Each | 4 | 0.150 |
| 65 | All Altitude Right Angle Gearbox | Gateway | HS0305-B | ? | Each | 1 | 0.120 |
| 66 |  |  |  |  |  |  |  |
| 67 |  |  |  |  |  |  |  |
| 68 | Vibration System | Ling Dynamics Systems | V850 | 140 | Each | 1 | 0.100 |
| 69 | Item Deleted |  |  |  |  |  |  |
| 70 | Vibration System Amplifier | Ling Dynamics Systems | SPA56/8K V3 V870/5 | S6869-001/1, S6869-002/1 | Each | 2 | 0.100 |
| 71 | Vibration System Amplifier | Ling Dynamics Systems | SPA56/8K V3 V870/5 | S6869-001/1, S6869-002/1 | Each | 2 | 0.100 |
| 72 | Vibration Controller, 15 Channel | M+P | Agilent VXI | ? | Each | 1 | 0.065 |
| 73 | Vibration Controller | Data Physics | Signal Calc 550 | ? | Each | 1 | 0.065 |
| 74 | Vibration Controller, 4 Channel | Spectral Dynamics | Puma 1 | 1335 | Each | 1 | 0.065 |
| 75 | Vibration Controller, 10 Channel | Spectral Dynamics | Puma 2 | 1336 | Each | 1 | 0.065 |
| 76A | Able Drive Motor | Smiths | 26760 | ? | Each | 1 | 0.050 |
| 76B | Able Drive Controller | Smiths | 51651/D6739-4 | ? | Each | 1 | 0.050 |
| 76C | Able Drive Fixture | Smiths | K5574 | ? | Each | 1 | 0.010 |
| 77 | Hydraulic Drive Unit | Hydraulic Motor | MF3-011-1 | ? | Each | 1 | 0.040 |
| 78 | Humidity Chamber | Tenny | TH-27-0200 | 6835 | Each | 1 | 0.060 |
| 79 | Temperature/Humidity Controller | Research Inc. | 2S3A500-G1 | Tenney Humidity | Each | 1 | 0.010 |
| 80 | Temperature/Humidity Recorder | Honeywell | TE-2T500FFFS4-43B | CET | Each | 1 | 0.002 |
| 81 | Salt Fog Chamber | Singleton | 23 | 26950 | Each | 1 | 0.075 |
| 82 | Temperature Controller | DIN | FJ32H1-N-N-23 | N/A | Each | 2 | 0.040 |
| 83 | Sand & Dust Chamber | Bethlehem | S&D 80 | AH2035 | Each | 1 | 0.045 |
| 84A | Sand & Dust Temperature Controller/Recorder | Partlow | RFH4-4 | 1 | Each | 1 | 0.005 |
| 84B | Sand & Dust Air Velocity Indicator | Hastings-Raydist, Inc. | G-11 | 847 | Each | 1 | 0.002 |
| 84C | Sand & Dust Relative Humidity Hygrometer | AMLAB | H01 | 10591 | Each | 1 | 0.002 |
| 84D | Sand & Dust - Dust Density Controller | Heat-Timer Corp. | 8G-201T | 68-6-1 | Each | 1 | 0.002 |
| 85 | Incubator | Thermolyne | I42045 | #1 | Each | 1 | 0.005 |
| 86 | Water Still | Barnstead | EL-3 | N/A | Each | 1 | 0.005 |
| 87 | Industrial Laboratory Oven | The Grieve Corp. | 520-Console | 51029 | Each | 1 | 0.020 |
| 88 | Laboratory Sterilizer | Barnstead | C2250 | 670921 | Each | 1 | 0.005 |
| 89 | Dynac Centrifuge | Clay Adams Inc. | CT-1300 | AJ8331 | Each | 1 | 0.020 |
| 90 | PH Meter | Fischer Scientific | 610A | 3890 | Each | 1 | 0.002 |
| 91 | PH Meter | Orion Research | SA-250 | 5031 | Each | 1 | 0.002 |
| 92 | Conductivity Meter | Myron L. Company | EP | 180112 | Each | 1 | 0.002 |
| 93 | Computer Controlled Spectrum Surveillance System |  | CCS750 | ? | Each | 1 | 0.020 |
| 94 |  |  |  |  |  |  |  |
| 95 |  |  |  |  |  |  |  |
| 96 |  |  |  |  |  |  |  |
| 97 |  |  |  |  |  |  |  |
| 98 |  |  |  |  |  |  |  |
| 99 |  |  |  |  |  |  |  |
| 100 |  |  |  |  |  |  |  |
| 101 | RAM Air Turbine Testway |  | Aerolab | N/A | Each | 1 | 0.300 |
| 102 | AC/DC Automatic Current Calibrator System | ? | 2500EP | ? | Each | 1 | 0.008 |
| 103 | AC Calibrator | ? | AC2025, PA250100, QCS110, RCD110BW | ? | Each | 4 | 0.040 |
| 104 |  |  |  |  |  |  |  |
| Added Items |  |  |  |  |  |  |  |
| 105 | AC Capacitive Load Bank | Avtron | T175 | 7 | Each | 1 | 0.010 |
| 106 | AC Generator, 20KVA, 3 Phase | Bendix Electrical Power | ? | 362 | Each | 1 | 0.025 |
| 107 | AC Portable Load Bank | Avtron | T80 |  | Each | 6 | 0.075 |
| 108 | AC Power Source | California Instruments | 251 TCA | 34521 | Each | 1 | 0.010 |
| 109 | AC Power Source | California Instruments | 252 TCA | 34522 | Each | 1 | 0.010 |
| 110 | AC Power Source | California Instruments | 253 TCA | 34523 | Each | 1 | 0.010 |
| 111 | AC Power Supply | California Instruments | 1251RP | 11259 | Each | 1 | 0.005 |
| 112 | AC Power Supply | California Instruments | 351TL | 11408 | Each | 1 | 0.007 |
| 113 | AC Power Supply | California Instruments | 3000iX | ? | Each | 1 | 0.006 |
| 114 | AC Power Supply | Elgar | 3001 | 317-322 (list 6) | Each | 6 | 0.120 |
| 115 | Air Compressor & Tank | Atlas Copco | GA30AFF VSD | API-422122 | Each | 1 | 0.018 |
| 116 | Analog AC Power Supply | Elgar | 501A | 838 | Each | 1 | 0.009 |
| 117 | Analog AC Power Supply | Elgar | 1501 | 173, 174, 175 | Each | 3 | 0.016 |
| 118 | Analog AC Power Supply | Elgar | 251 | 2514, 2518, 2519, 2511, 2512, 2513, 455, 469, 460 | Each | 10? | 0.006 |
| 119 | Analog Power Supply | Elgar | 251 | 825 | Each | 1 | 0.006 |
| 120 | Arbitrary Waveform Generator100Ms/sec | Fluke | 294 | ? | Each | 1 | 0.007 |
| 121 | Arbitrary Waveform Generator100Ms/sec | Fluke | 294-U | ? | Each | 1 | 0.007 |
| 122 | Arbitrary Waveform Generator100Ms/sec | Pragmatic | 2411A | 00222389GS | Each | 1 | 0.007 |
| 123 | Arbitrary/Function Generator | Krohn-Hite | 5910B | 414 | Each | 1 | 0.010 |
| 124 | Automated All Altitude Speed Increaser | Gateway | SK-2400 | ? | Each | 1 | 0.100 |
| 125 | Calibrator | Fluke | 5500A | 7610001 | Each | 1 | 0.050 |
| 126 | Conditioned Air System | Air Rover | WCSC120DA | 66012806 | Each | 1 | 0.013 |
| 127 | Data Acquisition Multiplexer Card | Agilent | 34901A (Subcomponent of MY41026388) | MY41022102, MY41027378 | Each | 2 | 0.005 |
| 128 | Data Acquisition Switch Unit | Agilent | 24970 | SG41005324 | Each | 1 | 0.005 |
| 129 | Data Acquisition Switch Unit | Agilent | 34970A | MY41026404, MY41026388 | Each | 2 | 0.010 |
| 130 | Data Acquisition Switch Unit | Agilent | 34970A | US37048267 | Each | 1 | 0.005 |
| 131 | Data Acquisition Switch Unit | HP | 34970 | US37014188, US37013476 | Each | 2 | 0.010 |
| 132 | Data Acquisition System | Alienware | ? | ? | Each | 1 | 0.005 |
| 133 | Data Acquisition System | Dell | Inspirion 7500 P/N:0549RA02 | YOKO, LABVIEW | Each | 2 | 0.003 |
| 134 | Data Acquisition System | Dell | Inspirion 3500 | 975-0505 | Each | 1 | 0.007 |
| 135 | Data Acquisition System | Nicolet | Odyssey | ICE9700232 | Each | 1 | 0.100 |
| 136 | Data Acquisition System | Nicolet | Sigma 100 | IDM10400357 | Each | 1 | 0.030 |
| 137 | Data Acquisition System | Nicolet | Vision & Vision XP | 2 Unknown, IDW0601955, IDQ0401349, ICN0100808, IDW0601956, IDW0601957 | Each | 7 | 0.175 |
| 138 | Data Acquisition System (Computer System) | Axiomtek | AX6156ET-T-B/X300/64/16/16, SBC8168VE |  | System | 4 | 0.048 |
| 139 | Data Acquistion Multiplexer Card | Agilent | 34901A (Subcomponent of MY41026404) | MY41022102, MY41027378 | Each | 2 | 0.005 |
| 140 | DC Load Bank | Avtron | T242F | 35 | Each | 1 | 0.010 |
| 141 | DC Load Bank | Avtron | K7G0D22375 | 262 | Each | 1 | 0.050 |
| 142 | DC Load System | Transistor Devices | WCL 488 100-5000-48000 | ? | System | 1 | 0.062 |
| 143 | DC Load System | Transistor Devices | MCL 488 10 Channel | ? | System | 2 | 0.045 |
| 144 | DC Load System | Transistor Devices | DLVP 3000 | ? | Each | 2 | 0.007 |
| 145 | DC Load System | Transistor Devices | FET 100-50-250 | ? | Each | 4 | 0.005 |
| 146 | DC Portable Load Bank | Avtron | T469A |  | Each | 6 | 0.075 |
| 147 | DC Portable Load Bank | Avtron | K376B | 23, 24 | Each | 2 | 0.020 |
| 148 | DC Power Supply | Electronic Measurements | EMPH 30-1800-D-42211-RSTL | ? | Each | 1 | 0.065 |
| 149 | DC Power Supply | Sorensen | DCR40-250 | 423 | Each | 1 | 0.025 |
| 150 | DC Power Supply | Sorensen | DCR40-125 | ? | Each | 1 | 0.015 |
| 151 | DC Power Supply | Sorensen | DLM-40-100E | ? | Each | 8 | 0.049 |
| 152 | Digital Bench Scale | Ohaus | D20L-00 | 14535 | Each | 1 | 0.005 |
| 153 | Digital Ocilloscope | Yokogawa | DL708E | ? | Each | 1 | 0.010 |
| 154 | Digital Power Meter | Yokogawa | 2531 | 26AW2023, 26AW2130 | Each | 2? | 0.060 |
| 155 | Digital Power Meter | Yokogawa | 2531 | 26AW2032D, 26AW2073 | Each | 2 | 0.030 |
| 156 | Digital Power Meter | Yokogawa | WT2030 | 12W240931B, 12A911823J, 12A911824J | Each | 3 | 0.060 |
| 157 | Digital Voltmeter | HP | 3456A | 2943A22309 | Each | 1 | 0.005 |
| 158 | Digital Voltmeter | HP | ? | ? | Each | 1 | 0.005 |
| 159 | Digital Voltmeter | HP | 2458A | 2823A09804 | Each | 1 | 0.005 |
| 160 | Distortion Analyzer | HP | 8903E | 3514A01250 | Each | 1 | 0.020 |
| 161 | Distortion Analyzer | HP | 8903E | 3013A00747 | Each | 1 | 0.020 |
| 162 | Distortion Analyzer | HP | 8903E | 3013A00604 | Each | 1 | 0.020 |
| 163 | Drive Stand, 50 HP | US Electric Motors Inc | 4414 | 11-764 | Each | 1 | 0.100 |
| 164 | Dynamic Signal Analyzer | HP | 3561A | 2338A02054, 2338A00890 | Each | 2 | 0.040 |
| 165 | Dynamic Signal Analyzer | HP | 3562A | 3005A05506 | Each | 1 | 0.040 |
| 166 | Dynamometers | Kahn | 301-160-006, 101-100-017 |  | Each | 2? | 0.050 |
| 167 | Electronic Balance | Ohaus | E400 | H440-14-89 | Each | 1 | 0.002 |
| 168 | Floatless Low Water Cutoff Control | Barnstead | CE-1 | 1 | Each | 1 | 0.005 |
| 169 | Fume Hoods | DURLAB | 30X48X96 | ? | Each | 4 | 0.048 |
| 170 | Hand Truck Service Oil Cart | Gateway | GLM Lube Unit | ? | Each | 1 | 0.008 |
| 171 | Hydraulic Load Bank | Gateway | 95-0825-2 | ? | Each | 1 | 0.020 |
| 172 | Instrument Controller Computer | Sony | VAIO PCG-8R1L | 3000003 | Each | 1 | 0.007 |
| 173 | Laser Scanning Vibrometer | Polytec | PSV 400 | System | Each | 1 | 0.250 |
| 174 | Load Bank, 1.5 KVA 400 Hz | Avtron | T205 | 20 | Each | 1 | 0.006 |
| 175 | Main Gearbox, 2 Speed with Custom Power Transmission Shaft | Gateway | EA-2266-000-01 | ? | Each | 1 | 0.280 |
| 176 | Mobile Lab | Chevrolet | C7500 | ML-2 | Each | 1 | 0.200 |
| 177 | Mobile Lab | Ford | F550 | ML-1 | Each | 1 | 0.200 |
| 178 | Multimeter | Keithly | 2002 | 707699 | Each | 1 | 0.005 |
| 179 | Multimeter | Keithly | 2010 | ? | Each | 2 | 0.006 |
| 180 | Multimeter | Keithly | 2002 | ? | Each | 1 | 0.006 |
| 181 | Oil Cooling System Test Stand | Bauer | BE-3699-D | 001, 002 | Each | 2 | 0.380 |
| 182 | Oil Supplies for Accessary Drives | Gateway | NAWC-2148 | ? | Each | 4 | 0.040 |
| 183 | OL & SC Console | Avtron | K312D8698 | 11 | Each | 1 | 0.020 |
| 184 | Oscilloscope | Dewetron | DEWE5000 | 07070309 | Each | 1 | 0.060 |
| 185 | Oscilloscope | Nicolet | Pro 44 | IRL9500984, IRL9501018 | Each | 2 | 0.020 |
| 186 | Oscilloscope | Tektronix | 5113 | B117894 | Each | 1 | 0.010 |
| 187 | Oscilloscope | Tektronix | TDS3014B | ? | Each | 1 | 0.004 |
| 188 | Phase Meter | Dranetz | 305 | 594119281 | Each | 1 | 0.006 |
| 189 | Phase Meter Plug In | Dranetz | 305-PA-3008 | 497102281 | Each | 1 | 0.006 |
| 190 | Piezo Electric Vibration System | AE Techron | 336290 | System | each | 1 | 0.050 |
| 191 | Power Source Frequency Controller | Elgar | TG704A | 201, 122 | Each | 2 | 0.016 |
| 192 | Power Transmission Shaft | Cotta | SN 1675-5 | ? | Each | 1 | 0.020 |
| 193 | Power Transmission Shaft, AV-8B Adapter Plate | Gateway | ? | ? | Each | 1 | 0.010 |
| 194 | Power Transmission Shaft, H-60 Adapter Plate | Gateway | ? | ? | Each | 3 | 0.075 |
| 195 | Power Transmission Shafts | Gateway | SK-2280 | ? | Each | 2 | 0.050 |
| 196 | Pressure Transducer | Setra Systems Inc. | 204 | List | Each | 15 | 0.025 |
| 197 | Programmable Oscillator | Invertron | 835T-G3-3365 | X63836 REV B3 | Each | 1 | 0.010 |
| 198 | Programmable Power Supply | California Instruments | MX-45 3PI | 55550 | Each | 1 | 0.050 |
| 199 | Programmable Power Supply | California Instruments | MX-45-3PI-480-704 | 57089 | Each | 1 | 0.060 |
| 200 | Programmable Power Supply | Elgar | SW5250A | 0619A01193, 0037A1027 | Each | 2 | 0.060 |
| 201 | Programmable Power Supply | Pacific Power Source | 3360 GRST | 1005, 1881, 1088, 1093 | Each | 4 | 0.400 |
| 202 | Spectrum Analyzer | Hewlett Packard | 3580A | 1415A00558 | Each | 1 | 0.010 |
| 203 | Speed Increaser | Gateway | EA-2233-00 | ? | Each | 2 | 0.050 |
| 204 | Speed Increaser, High Speed 20-50K | Gateway | SK-2300 | ? | Each | 1 | 0.050 |
| 205 | Speed Reducer | Philadelphia Gear Corporation | 153002 | ? | Each | 1 | 0.050 |
| 206 | System Power Supply | HP | 6038A | 2511A-00434, 2511A-00435, 2511A-00440 | Each | 3 | 0.030 |
| 207 | Temperature Chamber | Thermotron | 5, 8 | 16091 | Each | 1 | 0.030 |
| 208 | Temperature Recorder | Honeywell | DR45AT | 0129Y1516526 | Each | 1 | 0.005 |
| 209 | Temperature/Humidity Chamber | Thermotron | SM-8C | 27281 | Each | 1 | 0.045 |
| 210 | Vibration System & Controller | Unholtz Dickie | 2XSAI120-T2000/CSTA | 7053 | Each | 1 | 0.750 |
| 211 | Water Supply/Heat Exchanger for Dynamometers |  | TE-020100 | ? | Each | 2 | 0.040 |
| 212 | Wave Analyzer | Hewlett Packard | 302A | 528-05097 | Each | 1 | 0.010 |
|  |  |  |  |  | TOTAL $ VALUE MILLIONS |  | 28.866 |
|  | 2. If repair of Government-owned equipment is involved, provide the COR/TOM the location of the item and the name and telephone number of the person who should be contacted regarding its inspection by prospective contractors. |  |  |  |  |  |  |

Appendix TBD: Accessories Test Area Equipment List

| waterbrake | hydrabrake inc. | was-400 | 680 | each | 3 |
| --- | --- | --- | --- | --- | --- |
| mg set | kinetics | svp-017be-28f | cn254-2 | each | 2 |
| oil pump | kahn | 506-100-029 | 1915 | each | 1 |
| hydraulic pump | kahn | 525-100-076 | 1915 | each | 1 |
| compressor | ingersoll-rand | ph9047 /ph5046 | ? | each | 2 |
| heater | digitective | 8878 | ? | each | 1 |
| blowers | spenser-usa | n21p19 | ? | each | 2 |
| valves | maxon | 445324 | ? | each | 4 |
| compressors | centax | 1cv14m2 | ? | each | 4 |
| heater controls | t-thermal | moore353 | ? | each | 2 |
| heat exchanger | superchanger | 1x-216-1p-126 | ? | each | 1 |
| dynamometers | meiden | pew-did | ? | each | 2 |
| pump | teel | 1103007448 |  | each | 1 |
| heaters | thermcraft | tsp-9-0-36-1v-j2784/1a | 2-8-60-480-00020-j | each | 3 |
| blowers | dayton | 3n6699a | ? | each | 2 |
| waterbrakes | kahn | 301-220 /102-250-003 | ? | each | 2 |
| waterbrakes | hydra-brake | d-9535 | ? | each | 1 |
| electrical control panel | ac tech | qc series | ? | each | 2 |
| lube carts | api | 1501-08-060-005 | ? | each | 2 |
| heat exchangers | itt standard | w-s-res-s | 113955-01 to 06 | each | 6 |
| hydraulic lifts | mohawk | system 1a | ? | each | 2 |
| high speed balance machine | schenck | h30b | ? | each | 1 |
| vaccumm pump sys. | teel | ww-1p | ? | each | 1 |
| lube carts | kinney | 1600 | ? | each | 4 |
| exhaust hood units | hamilton | safeair | ? | each | 7 |
| electrical control panel | reliance electric | 2003-fa-c1 typex | ? | each | 2 |
| electrical panel | d-square-d | enclosed48 | ? | each | 1 |
| compressor | siemens-centax | 2cv27m3hp | m96-9280,81,82 | each | 3 |
| mv motor control | cutler-hammer | p7-33455 | ? | each | 3 |
| boiler | hurst | am-912264 | ? | each | 1 |
| vaccumm pump sys. | rietschle | vhtd-160-201 | ? | each | 1 |
| compressor | ingersoll-rand | esv-nl | ? | each | 1 |
| compressor | ingersoll-rand | sierra-l-75 | ? | each | 1 |
| compressors | ingersoll-rand | ssr-ip350 | ? | each | 2 |
| variable speed ac motor drives | ac-tech weinman | 8l1-a05ts-fc | t529807/08 | each | 2 |
| heatexchangers | superchanger | ufx-85-5-up-215 | sc-15899 | each | 1 |
| heatexchangers | superchanger | ufx-100-5-up-167 | sc-15898 | each | 1 |
| lube carts | gardner-denver | pbeoja | m53901 | each | 1 |
| lube carts | gardner-denver | fdeojb | m60765 | each | 1 |
| pumps | super-e | 404ts | 996c-871 / 873 | each | 2 |
| strainers | duplex | 691-fab | ? | each | 2 |
| motors | super-e | fh2543t | 1.15 (list 4 Ser. Nos.) | each | 4 |
| heater control panels | watlow process sys. | 719-97a1e280 | ? | each | 3 |