Leased Space Request for Proposal

Number:  12570

NOTE:  This complete document can be viewed at our website:  http://da.state.ks.us/purch/rfq/rfqdata/12570.doc

PR Number:	017552		Procurement Officer:	Linda Gronquist

Replaces Contract:	N/A			Telephone: 		785-296-2375

Date Mailed:	October 28, 2009	E-Mail Address:		linda.gronquist@da.ks.gov

Web Address:  		www.da.ks.gov/purch/

Closing Date:		December 15, 2009, 2:00 PM

Item:		Leased Space – Overland Park

Agency(s):		Department of Social and Rehabilitation Services

Current Lease Expiration:  	June 30, 2011

Sq. Ftg. Requested:		48,413 sf

Pre-proposal Conference A pre-proposal conference will be held at 9:30 AM, on Friday, November 13, 2009, at the following location:

Overland Park SRS Service Center

8915 Lenexa Drive

Overland Park, KS

Vendors should bring a copy of the RFP document (including all embedded documents) as this will be used as the agenda.

Attendance is not required at the pre-proposal conference but is encouraged.  Impromptu questions may be permitted and spontaneous unofficial answers provided, however bidders should understand that the only official answer or position of the State of Kansas will be in writing.

Failure to notify the Procurement Officer of any conflicts or ambiguities in the Request for Proposal may result in items being resolved in the best interest of the State.  Any modification to this Request as a result of the pre-proposal conference, as well as written answers to written questions, shall be made in writing by addendum and mailed to all vendors who received the original request from the Division of Purchases.  Only written communications are binding.

Answers to questions will be available on the Division of Purchases’ website, www.da.ks.gov/purch/, bid solicitation link.

It shall be the responsibility of all participating vendors to acquire any and all addenda and additional information as it is made available from the web site cited above.  Vendors are required to check the website periodically for any additional information or instructions.

READ THIS REQUEST CAREFULLY

Failure to abide by all of the conditions of this Request may result in the rejection of a bid.

##### TABLE OF CONTENTS

##### PAGE

- Signature Sheet								 3

- Supplier Diversity Survey Form						 4

- Tax Clearance								 6

- Certification Regarding Immigration Reform and Control			 7

- Section I – Instructions							 8

- Section II – Proposal Response						12

- Section III – Terms & Conditions					 	15

- Section IV – Specifications						24

- Applicable State Codes							45

- Exhibit A & B– Cost Worksheets						51

- Exhibit C – Bidder’s Proposed Project Schedule				52

- Contractual Provisions Attachment					57

SIGNATURE SHEET

Item:	Leased Space

Agency:	Department of Social and Rehabilitation Services

Location:	Overland Park, KS

Closing Date:	December 15, 2009

By submission of a bid and the signatures affixed thereto, the bidder certifies all products and services proposed in the bid meet or exceed all requirements of this specification as set forth in the request and that all exceptions are clearly identified.

Legal Name of Person, Firm or Corporation

Mailing Address 	  City & State	Zip

Toll Free Telephone	Local	  Cell:  		Fax

Tax Number

CAUTION:  If your tax number is the same as your Social Security Number (SSN), you must leave this line blank.  DO NOT enter your SSN on this signature sheet.  If your SSN is required to process a contract award, including any tax clearance requirements, you will be contacted by an authorized representative of the Division of Purchases at a later date.

E-Mail

Signature	Date

Typed Name  	Title

In the event the contact for the bidding process is different from above, indicate contact information below.

Bidding Process Contact Name

Mailing Address 	  City & State	Zip

Toll Free Telephone	Local	  Cell:  		Fax

E-Mail

If awarded a contract and purchase orders are to be directed to an address other than above, indicate mailing address and telephone number below.

Award Contact Name

Mailing Address 	  City & State	Zip

Toll Free Telephone	Local	  Cell:  		Fax

E-Mail

State of Kansas

Department of Administration

Division of Purchases

Supplier Diversity Survey Form

Why is the Division of Purchases requesting this information?

Current statutes governing the activities of the Kansas Division of Purchases do not include preferences or set-asides for Small Business Enterprises (SBEs).  The Division of Purchases is interested in determining to what extent purchase orders and contracts are awarded to SBEs under existing work efforts.  Please Note:  You must submit this form with each bid opportunity.

Persons or concerns wishing to receive a Purchase Order or Contract Award resulting from this bid opportunity must provide the information contained in this document before the award is made.  To help expedite this procurement, it is requested that you submit this form with your bid.

COMPANY DATA

Legal Company Name

Doing Business As (if applicable)

Federal Tax ID Number  / FEIN

Diversity Program Contact Name					Title

Phone Number 							Fax Number

E-Mail Address 					 Company Web

Address

City 						State 		Zip Code

Legal Structure:		□ Corporation	□ Partnership	□ Non-Profit	□ Sole Proprietorship	□ LLC

Signature 							Date:

COMPANY DIVERSITY DATA

(A)	Business Classification   (See Appendix A for definitions):

Is your business a Small Business Enterprise (SBE) as defined by the SBA?

□ Yes	□ No   □ Don’t Know

Check all that Apply:	□ Disabled (DIS) 	□ SBA-Small Disadvantage Business (SDB)

□ Veteran-Owned (VBE)	□ Women-Owned (WBE)	□ Service-Disabled Veterans-Owned (DVBE)

□ African American	□ Native American	□ Minority-Owned Business Enterprise (MBE)

□ Hispanic American  	□ Asian Pacific American	□ Disadvantaged Business Enterprise (DBE)

□ Asian Subcontinent American 	□ Other: __________________________________________________________

(B)	Has your Business Classification Status been certified by a state, municipal, federal or other certifying agency?

□ No   	□ Yes	Certifying Entity:

Other State of Kansas Resources for Small Business Enterprises (SBE)

Kansas Department of Commerce

Office of Minority/Women Business Development

http://www.kansas.gov/ksbdc/

State of Kansas

Department of Administration

Division of Purchases

Supplier Diversity Survey Form

Appendix A

Definition of Terms

Small Business Enterprise / Concern (SBE)

SBEs are businesses that do not exceed the size standard for the product or service it is providing as measured by its employment and/or business receipts in accordance with the U.S. SBA numerical size standards.  These standards are defined as FAR 52.219-8, 13 CFR Part 121 and 13 CFR 121.410.

Disadvantaged Business Enterprise (DBE)

DBEs are defined as a business which are (a) owned by socially disadvantaged individuals who have been subjected to racial or ethnic

prejudice or cultural bias because of their identity as a member of a group without regard to their individual qualities; or (b) owned by economically disadvantaged individuals whose ability to compete in the free enterprise system has been impaired due to diminished opportunities to obtain capital and credit as compared to others in the same line of business who are not socially disadvantaged.

Disabled Business Enterprise (DIS)

DIS businesses are at least 51% owned and controlled by one or more U.S. citizens who has a physical or mental impairment which substantially limits one or more of such person’s major life activities.

Small Disadvantage Business Concern (SDB)

SDB businesses are certified by the SBA as meeting the following criteria: (1) they are small business concern and (2) must be at least 51% owned and controlled by one or more U.S. citizens who are socially and economically disadvantaged.  African Americans, Asian Pacific Americans, Asian Subcontinent Americans, Hispanic Americans and Native Americans are presumed to qualify as being socially disadvantaged.  Other individuals can qualify if they show by a preponderance of the evidence that they are socially disadvantaged.  In addition, the personal net worth of each eligible owner applicant must be less than $750,000, excluding the values of the applicant’s ownership interest in the business seeking certification and the owner’s primary residence.  Successful applicants must also meet applicable size standards for small businesses in their industry.  SDB regulations can be found in FAR 52.219-8 and 13 CFR parts 121 & 124.

Veterans-Owned Business Concern (VBE)

VBE businesses are at least 51% owned and controlled by one or more U.S. citizens who are Veterans of the U.S. Armed Forces.  In the case of any publicly owned business, at least 51% of the stock is owned by one or more veterans and one or more veterans must control the management and daily business operation.  The term “Veteran” means a person who served in the active military, naval or air service and who was discharged or released there from under conditions other than dishonorable.  VBE regulations can be found in FAR 52.219-9 & 38 USC 101 (2).

Service-Disabled Veterans-Owned Business Concern (DVBE)

DVBE businesses are at least 51% owned and controlled by one or more U.S. citizens who are service-disabled Veterans of the U.S. Armed Forces.  In the case of any publicly owned business, at least 51% of the stock is owned by one or more service-disabled veterans and one or more veterans must control the management and daily business operation.  The term “Veteran” means a person who served in the active military, naval or air service and who was discharged or released there from under conditions other than dishonorable.  The term “Service-Disabled” means a veteran of the U.S. Military Service has a service-connected disability with a disability rating of 0%-100%.  In the case of permanent or severe disability, the spouse of caregiver of such a service-disabled veteran may control the management and daily operations.  DVBE regulations can be found in FAR 52.219-9 & 38 USC 101 (2) & USC 101 (16).

Women-Owned Business Concern (WBE)

WBE businesses are at least 51% owned and controlled by one or more U.S. citizens who are female gender.  In the case of any publicly owned business, at least 51% of the stock is owned by one or more women and one or more women must control the management and daily business operations.  For Federal contracting regulations see FAR 52-219-8.

Minority-Owned Business Enterprise (MBE)

MBE businesses are at least 51% owned and controlled by one or more U.S. citizens belonging to certain ethnic minority groups.  In the case of any publicly owned business, at least 51 % of the stock is owned by one or more minorities, and one or more minorities must control the management and daily business operations.  “Ethnic Minority Groups” are people of Asian Pacific American, Asian Subcontinent American, African American, Hispanic American and Native American descent.

- African Americans: People whose origins lay in any of the Black racial groups of Africa.

- Asian Pacific Americans: People whose origins lay in Brunei, Burma, China, Guam, Indonesia, Japan, Kampuchea (Cambodia), Korea, Laos, Malaysia, Northern Mariana Islands, Republic of the Marshall Islands, Federated States of Micronesia, Republic of Palau (U.S. Trust Territory of the Pacific Islands), the Philippines, Samoa, Singapore, Taiwan, Thailand and Vietnam.

- Asian Subcontinent Americans: People whose origins lay in Bangladesh, Bhutan, India, Pakistan, Sri Lanka or Nepal.

- Hispanic Americans: People whose origins are in the South and Central America, Mexico, Puerto Rico, Cuba or the Iberian Peninsula (including Portugal).

- Native Americans: American Indians, Inuit (Eskimos), Aleuts, and native Hawaiians of Polynesian ancestry.

Tax Clearance

Per KSA 75-3740-(c), the Director of Purchases may reject the bid of any bidder who is in arrears on taxes due the State of Kansas.  The Division of Purchases will confirm tax status of all potential contractors and subcontractors prior to the release of a purchase order or contract award.  The State of Kansas reserves the right to allow a bidder an opportunity to clear tax status within ten (10) calendar days, or to proceed with award to the next lowest responsive bidder, whichever is determined by the Director of Purchases to be in the best interest of the State.

Potential bidders are encouraged to contact the Kansas Department of Revenue directly (and on a regular basis) to confirm current tax status and to clear up any outstanding liabilities.

The Secretary of Revenue is authorized to exchange such information with the Director of Purchases as is necessary to determine the bidders tax clearance status, notwithstanding any other provision of law prohibiting disclosure of the contents of taxpayer records or information.

Instructions on how to check Tax Clearance Status can be found at the following website:

http://www.ksrevenue.org/taxclearance.htm

Information about Tax Registration can be found at the following website:

http://www.ksrevenue.org/busregistration.htm

Contact Information:  Please provide the attached contact information for use should the State of Kansas need to contact the appropriate officials within your company to discuss your tax clearance / registration status.

CONTRACTOR

Contact Person for Tax Issues:	_

Company Name:	Tax Number:

Mailing Address

City & State	Zip Code

Toll Free Telephone	Local	  Cell:  		Fax

E-Mail

SUBCONTRACTOR(S)

Contact Person for Tax Issues:

Company Name:	Tax Number:

Mailing Address

City & State	Zip Code

Toll Free Telephone	Local	  Cell:  		Fax

E-Mail

Additional pages may be added, as required, indicating the same information for multiple subcontractors.

CERTIFICATION REGARDING

IMMIGRATION REFORM & CONTROL

All Contractors are expected to comply with the Immigration and Reform Control Act of 1986 (IRCA), as may be amended from time to time.  This Act, with certain limitations, requires the verification of the employment status of all individuals who were hired on or after November 6, 1986, by the Contractor as well as any subcontractor or sub-subcontractor.  The usual method of verification is through the Employment Verification (I-9) Form.  With the submission of this bid, the Contractor hereby certifies without exception that Contractor has complied with all federal and state laws relating to immigration and reform.  Any misrepresentation in this regard or any employment of persons not authorized to work in the United States constitutes a material breach and, at the State’s option, may subject the contract to termination and any applicable damages.

Contractor certifies that, should it be awarded a contract by the State, Contractor will comply with all applicable federal and state laws, standards, orders and regulations affecting a person’s participation and eligibility in any program or activity undertaken by the Contractor pursuant to this contract.  Contractor further certifies that it will remain in compliance throughout the term of the contract.

At the State’s request, Contractor is expected to produce to the State any documentation or other such evidence to verify Contractor’s compliance with any provision, duty, certification, or the like under the contract.

Contractor agrees to include this Certification in contracts between itself and any subcontractors in connection with the services performed under this contract.

____________________________________________			______________________

Signature, Title of Contractor						Date

SECTION I

INSTRUCTIONS

1.1	Proposal Reference Number:  The RFP number, indicated in the header of this page, as well as on the first page of this proposal, has been assigned to this Request and MUST be shown on all correspondence or other documents associated with this Request and MUST be referred to in all verbal communications.  All inquiries, written or verbal, shall be directed only to the procurement officer reflected on Page 1 of this proposal.  There shall be no communication with any other State employee regarding this Request except with designated state participants in attendance ONLY DURING:

Negotiations

Contract Signing

as otherwise specified in this Request.

Violations of this provision by vendor or state agency personnel may result in the rejection of the proposal.

1.2	Negotiated Procurement:  This is a negotiated procurement pursuant to K.S.A. 75-37,102.  Final evaluation and award will be made by The Procurement Negotiation Committee (PNC) consisting of the following entities (or their designees):

Secretary of Department of Administration;

Director of Purchases, Department of Administration; and

Head of Leasing Agency

1.3	Appearance Before Committee:  Any, all or no vendors may be required to appear before the PNC to explain the vendor's understanding and approach to the project and/or respond to questions from the PNC concerning the proposal; or, the PNC may award without conducting negotiations, based on the initial proposal.  The PNC reserves the right to request information from vendors as needed.  If information is requested, the PNC is not required to request the information of all vendors.

Vendors selected to participate in negotiations may be given an opportunity to submit a revised proposal and/or their best and final offer to the PNC.  Prior to a specified cut-off time for best and final offers, vendors may submit revisions to their technical and cost proposals.  Meetings before the PNC are not subject to the Open Meetings Act.  Vendors are prohibited from electronically recording these meetings.  All information received prior to the cut-off time will be considered part of the vendor's best and final offer.

No additional revisions shall be made after the specified cut-off time unless requested by the PNC.

1.4	Finalization of Lease Agreement – Vendors will be allowed 30 days to review and sign the Lease Agreement once it is received.  Receipt of the Lease Agreement shall be presumed to have occurred within three (3) days of the date of the notice.  If parties are unable to agree on the terms of the Lease document, the State reserves the option to open negotiations with the next lowest bidder.  For informational purposes, this document can be found at the following website:

http://da.ks.gov/fm/dfm/forms/DA-46_RealEstateLeaseAgreement.pdf

1.5	Cost of Preparing Proposal:  The cost of developing and submitting the proposal is entirely the responsibility of the vendor.  This includes costs to determine the nature of the engagement, preparation of the proposal, submitting the proposal, negotiating for the contract and other costs associated with this Request.

1.6	Preparation of Proposal:  Prices are to be entered in spaces provided in Exhibit A&B provided herein.  Computations and totals shall be indicated where required.  In case of error in computations or totals, the unit price shall govern.  The Committee has the right to rely on any price quotes provided by vendors.  The vendor shall be responsible for any mathematical error in price quotes.  The Committee reserves the right to reject proposals which contain errors.

A proposal shall not be considered for award if the price in the proposal was not arrived at independently and without collusion, consultation, communication or agreement as to any matter related to price with any other vendor, competitor or public officer/employee.

Technical proposals shall contain a concise description of vendor's capabilities to satisfy the requirements of this Request for Proposal with emphasis on completeness and clarity of content.  Repetition of terms and conditions of the Request for Proposal without additional clarification shall not be considered responsive.

1.7	Signature of Proposals:  Each proposal shall give the complete mailing address of the vendor and be signed by an authorized representative by original signature with his or her name and legal title typed below the signature line.  If communication regarding the RFP process will be a different entity, indicate that individual’s contact information.  Each proposal shall include the vendor's tax number.

1.8	Acknowledgment of Addenda:  All vendors shall acknowledge receipt of any addenda to this Request by returning a signed hard copy with the bid.  Failure to acknowledge receipt of any addenda may render the proposal to be non-responsive.  Changes to this Request shall be issued only by the Division of Purchases in writing.

1.9	Modification of Proposals:  A vendor may modify a proposal by letter or by FAX transmission at any time prior to the closing date and time for receipt of proposals.

1.10	Withdrawal of Proposals:   A proposal may be withdrawn on written request from the vendor to the Procurement Officer at the Division of Purchases prior to the closing date.

1.11	Competition:  The purpose of this Request is to seek competition.  The vendor shall advise the Division of Purchases if any specification, language or other requirement inadvertently restricts or limits bidding to a single source.  Notification shall be in writing and must be received by the Division of Purchases no later than five (5) business days prior to the bid closing date.  The Director of Purchases reserves the right to waive minor deviations in the specifications which do not hinder the intent of this Request.

1.12	Evaluation of Proposals:  Award shall be made in the best interest of the State as determined 		by the Procurement Negotiating Committee or their designees.

The bidder should develop the building and space design through a process that considers the mission and involvement of the prospective Kansas tenant agency.  Existing buildings or new construction will be considered.  The location and surrounding neighborhood, the building form, the building’s site orientation with regards to energy conservation concerns, the efficiency of space in the layout plan, and the selection and assembly of materials should reflect performance, energy conservation, economy of design, and appearance.  A bidder is not limited in the materials chosen for the exterior construction of the building.

All proposals submitted in response to the RFP will be evaluated by the Procurement Negotiating Committee, or their designees, using the following criteria and factors (listed in no particular order of importance):

1.12.1	Quality and Suitability of Space.

The extent to which the proposed building and space meets the overall housing need of the tenant agency, as described in the specifications and general criteria set forth in this RFP.

1.12.2	General Space Efficiencies, including energy.

A further consideration is total efficiency of the proposal in regards to space and resources.

1.12.3	Price of Proposal.

The extent to which bidder’s total cost proposal is in keeping with prevailing market prices with respect to lease rates, the cost of building services, and the cost of constructing and furnishing the space, as specified herein.  In addition, proposals will be evaluated within the context of the limitations imposed by the tenant agency’s budget and capital resources.

1.12.4	Cost of Associated Services.

The cost of building services, including utility services and the cost of high-speed Internet connections, will be considered.  The proposed property will not be considered in the event a location cannot support the overall telecommunications requirements of the tenant agency.

1.12.5	Timing of Delivery of Space.

The extent to which the bidder’s proposed schedule for the build-out and delivery of the finished space, ready for occupancy, conforms to the needs of the tenant agency.

1.12.6	Technical Response.

The extent to which the bidder effectively demonstrates an understanding of the space needs of the tenant agency, as described in this RFP, and offers appropriate housing solutions to meet that need.  The quality of the technical response is measured by the extent to which the space specifications are adequately addressed within the bidder’s proposal, and the extent to which the bidder may suggest recommendations for improvements and anticipate potential problems that may arise in the performance of the work and delivery of the space.

1.12.7	Response Format and Completeness.

Adequacy and completeness of the proposal is required and carries an important weighting in the evaluation of all proposals.  The proposal is to be complete, clear, and understandable.  Pages are to be numbered.

1.12.8	Financial Ability.

The bidder’s demonstrated financial ability to implement, manage and maintain the proposed offering.

1.12.9	Experience and Qualifications.

The bidder’s general experience and qualifications, and the PNC’s assessment of bidder’s ability to perform the work in a timely and professional manner.

1.13	Acceptance or Rejection:  The Committee reserves the right to accept or reject any or all proposals or part of a proposal; to waive any informalities or technicalities; clarify any ambiguities in proposals; modify any criteria in this Request; and unless otherwise specified, to accept any item in a proposal.

  - Real Estate Lease Agreement:  The successful bidder will be required to enter into a formal contract that is acceptable to the tenant agency and the State of Kansas.  The base document required for this contract is the Department of Administration, Real Estate Lease Agreement, 
DA-46. This document can be found at the following website:

http://da.ks.gov/fm/dfm/forms/DA-46_RealEstateLeaseAgreement.pdf

The bid document, bidder’s response to this RFP, bidder’s counter offer and best and final offer shall be included as a legal part of the real estate lease agreement.  In the absence of any language to the contrary, this RFP will be the determining document in questions of compliance with the specifications for this project.

1.15	Special Provisions:  Special Provisions within the lease agreement allow for the addition of attachments, amendments, and special conditions that may be negotiated by the successful bidder and the Procurement Negotiating Committee.  Bidder MUST submit, with their initial response documents, any and all items they wish to be considered as “Special Provisions” with this lease in a separate section to be entitled “Special Provisions”.  The State reserves the right to add special provisions as finalized in the RFP process.

1.16	Proposal Disclosures:  At the time of closing, only the names of those who submitted proposals shall be made public information.  No price information will be released.  Interested vendors or their representatives may be present at the announcement at the following location:

State of Kansas Division of Purchases

900 Jackson Street, Room 102N

Topeka, KS  66612-1286

Bid results will not be given to individuals over the telephone. Results may be obtained after contract finalization by obtaining a bid tabulation from the Division of Purchases by sending (do not include with bid):

- A check for $3.00, payable to the State of Kansas

- A self -addressed, stamped envelope

- Contract Proposal Number

Send to:

Kansas Division of Purchases

Attention: Bid Results/Copies

900 SW Jackson, Room 102N

Topeka, KS   66612-1286

Copies of individual proposals may be obtained under the Kansas Open Records Act by sending an email to janet.miller@da.state.ks.us or calling 785-296-0002 to request an estimate of the cost to reproduce the documents and remitting that amount with a written request to the above address or a vendor may make an appointment by calling the above number to view the proposal file.  Upon receipt of the funds, the documents will be mailed.  Information in proposal files shall not be released until a contract has been executed or all proposals have been rejected.

1.17	Disclosure of Proposal Content and Proprietary Information:  All proposals become the property of the State of Kansas.  The Open Records Act (K.S.A. 45-205 et seq) of the State of Kansas requires public information be placed in the public domain at the conclusion of the selection process, and be available for examination by all interested parties.  (http://da.state.ks.us/purch/KSOpenRecAct.doc)  No proposals shall be disclosed until after a contract award has been issued.  The State reserves the right to destroy all proposals if the RFP is withdrawn, a contract award is withdrawn, or in accordance with Kansas law.  Late Technical and/or Cost proposals will be retained unopened in the file and not receive consideration or returned to the bidder.

Trade secrets or proprietary information legally recognized as such and protected by law may be requested to be withheld if clearly labeled “Proprietary” on each individual page and provided as separate from the main proposal.  Pricing information is not considered proprietary and the vendor’s entire proposal response package will not be considered proprietary.

All information requested to be handled as “Proprietary” shall be submitted separately from the main proposal and clearly labeled, in a separate envelope or clipped apart from all other documentation. The vendor shall provide detailed written documentation justifying why this material should be considered “Proprietary”.   The Division of Purchases reserves the right to accept, amend or deny such requests for maintaining information as proprietary in accordance with Kansas law.

The State of Kansas does not guarantee protection of any information which is not submitted as required.

1.18	Exceptions:  By submission of a response, the vendor acknowledges and accepts all terms and conditions of the RFP and DA-46 Lease Agreement unless clearly avowed and wholly documented in a separate section to be entitled:  “Exceptions”.

1.19	Notice of Award:  An award is made on execution of the written contract by all parties.

1.20	News Releases:  Only the State is authorized to issue news releases relating to this Request, its evaluation, award and/or performance of the contract.

SECTION II

PROPOSAL RESPONSE

2.1	Submission of Proposals:  Vendor’s proposal shall consist of five (5) copies of the Proposal, including signature sheet, applicable literature and other supporting documents.

Vendor's proposal, sealed securely in an envelope or other container, shall be received no later than 2:00 p.m., Central Time, on the closing date indicated on Page 1, addressed as follows:

Kansas Division of Purchases

Proposal # (Indicated on Page 1)

Closing Date:  (Indicated on Page 1)

900 SW Jackson Street, Room 102N

Topeka, KS  66612-1286

Faxed, e-mailed or telephoned proposals are not acceptable.

Proposals received prior to the closing date shall be kept secured and sealed until closing.  The State shall not be responsible for the premature opening of a proposal or for the rejection of a proposal that was not received prior to the closing date because it was not properly identified on the outside of the envelope or container.  Late Technical and/or Cost proposals will be retained unopened in the file and not receive consideration.

It is the vendor’s responsibility to ensure bids are received by the closing date and time.  Delays in mail delivery or any other means of transmittal, including couriers or agents of the issuing entity shall not excuse late bid submissions.

PLEASE NOTE:  If you expect to deliver your bid in person, watch for a major construction project which  result in the closure of streets around the Landon State Office Building at various times throughout 2009.  This construction activity will affect ease of access to the building.  Please plan accordingly.

2.2 	Proposal Format: No paperwork or form is provided by the State for the narrative section of the proposal.  Instead, bidders are asked to prepare their proposals in a format that they believe best conveys the details of their property and offering.  It is generally recommended that bidders organize their proposals following the same sequence of property characteristics provided in the overall space requirements located in the Statement of Work, Section 4  (i.e., location, building, space, HVAC systems, etc), and address each line item that has a specified requirement indicated.

As a general guideline in preparing the narrative, bidders should also be careful to thoroughly identify themselves, both individually and/or corporately, as well as the property in question.  At minimum, all bidders shall provide the following identifying information in the narrative portion of their proposals:

- Bidder Identification - Name, address, phone number, and authorized signature of bidder.

- Corporate identification - If applicable, bidder’s corporate or other business information, date established, structure (trust, partnership, corporation, non-profit, etc.), and federal tax identification number.  See agency specifications for additional information required.

- Building Identification - Building name, address, and other identifiers

- Property Ownership - Name of ownership entity; if partnership or corporation, include names of principals and those with controlling interest in the asset.

- Current zoning and platting - Please indicate if non-conforming use, or if it must be rezoned to accommodate proposed use.

- Use restrictions & easements - Please list all restrictions to land use, right-of-ways, or easements for this property.

- Historic register - List if structure has been nominated or date listed on the National Register of Historic Places, or the Register of Historic Kansas Places, and any conditions or restrictions imposed due to such designation.

- Environmental conditions - Adverse environmental conditions and status of abatement of all known or suspected hazardous or contaminated conditions in the facility or on site.

- Occupancy work site history - Indicate current and prior uses, including current tenancy within the building, as well as vacant square feet and location of vacant space, if any.

- Property management - Identify property manager of the proposed property, including credentials and experience.

- Elements of non-compliance - Identify space and other requirements described in this RFP that are not being met in bidder’s proposal.

2.3	Additional Proposals:  Bidders may submit more than one proposal; however, the proposals for each site shall be in accordance with the provisions of this RFP.  Bidders should submit complete specifications, descriptive materials and indicate any deviation from the specifications of this proposal.

A clear, well-organized and complete proposal will facilitate the review process by the Procurement Negotiating Committee.  Please follow the proposal format described, as failure to do so may result in disqualification.

A completed bid submission package from respondents consists of the following 	elements:

-Preparation of a narrative section for the proposal, as described below.

-Completion of worksheet Exhibits A through C found at the end of this RFP.

Bidders shall, at a minimum, complete Exhibits A through C as part of their bid submission for additional proposals.

2.4	Qualifications:  A description of the vendor's qualifications and experience providing the requested or similar service shall be submitted with the bid.  The vendor must be an established firm recognized for its capacity to perform.  The vendor must have sufficient personnel to meet the deadlines specified in the Request.

2.5	Timeline:  A timeline for implementing services must be submitted with the bid via Exhibit C.

2.6	Subcontractors:  The Contractor shall be the sole source of contact for the contract.  The State will not subcontract any work under the contract to any other firm and will not deal with any subcontractors.  The Contractor is totally responsible for all actions and work performed by its subcontractors.  All terms, conditions and requirements of the contract shall apply without qualification to any services performed or goods provided by any subcontractor.

The State of Kansas requires tax information regarding all subcontractors be disclosed on the Signature Sheet, indicating company name, contact information and tax number.  Additional pages may be added, as required.  (See Tax Clearances, Page 3)

2.7	Proof of Insurance:  Upon request, the vendor shall present an affidavit of Worker's Compensation, Public Liability, and Property Damage Insurance to the Division of Purchases.

2.8	References:  Provide three (3) references who have purchased similar items or services from the vendor in the last five (5) years.  References shall show firm name, contact person, address, e-mail address and phone number.  Vendor employees and the buying agency shall not be shown as references.

Additionally, bidders shall list clients who have terminated services within the past three (3) years, indicating reasons for termination. Provide the firm name, contact person, address, e-mail address and phone number of each referenced organization.

  - Other bid completion instructions:  All bidders shall include the following with their bid submissions:

- Show the Bid Contract Number (noted on the cover of this RFP) on all bid documents and other correspondence with the State of Kansas.

- Table of Contents with page numbers.

- Include photos of the property as well as plan drawings, including location map, site plans, building plans, space plans, and any other relevant plans.

Beyond these general guidelines, bidders are invited to submit additional information in the narrative section that they may consider important in fully explaining their proposal and the advantages for its selection.

SECTION III

TERMS AND CONDITIONS

3.1	Contract Documents:  This Request and any amendments and the response and any amendments of the Contractor shall be incorporated along with the DA-146a into the written Lease Agreement (DA-46) which shall compose the complete understanding of the parties.

In the event of a conflict in terms of language among the documents, the following order of precedence shall govern:

- Real Estate Lease Agreement, DA-46;

- written modifications to the executed contract;

- this Request including any and all addenda; and

- Contractor's written proposal submitted in response to this Request as finalized.

3.2	Contract:  The successful vendor will be required to enter into a written contract with the State.  The vendor agrees to accept the provisions of form DA-146a (Contractual Provisions Attachment) attached to this Request and Real Estate Lease Agreement, DA-46.

3.3	Contract Formation:   No contract shall be considered to have been entered into by the State until all statutorily required signatures and certifications have been rendered and a written Lease Agreement has been signed by the successful vendor.

3.4	Notices:  All notices, demands, requests, approvals, reports, instructions, consents or other communications (collectively "notices") which may be required or desired to be given by either party to the other shall be IN WRITING and addressed as follows:

Kansas Division of Purchases

900 SW Jackson St, Room 102N

Topeka, Kansas  66612-1286

RE:  Bid Number 10541

or to any other persons or addresses as may be designated by notice from one party to the other.

3.5	Termination for Cause:  The Director of Purchases may terminate this contract, or any part of this contract, for cause under any one of the following circumstances:

- the Contractor fails to make delivery of goods or services as specified in this contract; or

- the Contractor provides substandard quality and/or workmanship;

- the Contractor fails to perform any of the provisions of this contract, or so fails to make progress as to endanger performance of this contract in accordance with its terms.

The Director of Purchases shall provide Contractor with written notice of the conditions endangering performance.  If the Contractor fails to remedy the conditions within ten (10) days from the receipt of the notice (or such longer period as State may authorize in writing), the Director of Purchases shall issue the Contractor an order to stop work immediately.  Receipt of the notice shall be presumed to have occurred within three (3) days of the date of the notice.

Termination for Convenience:  The Director of Purchases may terminate performance of work under this contract in whole or in part whenever, for any reason, the Director of Purchases shall determine that the termination is in the best interest of the State of Kansas.  In the event that the Director of Purchases elects to terminate this contract pursuant to this provision, it shall provide the Contractor written notice at least 30 days prior to the termination date.  The termination shall be effective as of the date specified in the notice.  The Contractor shall continue to perform any part of the work that may have not been terminated by the notice.

3.6	Debarment of State Contractors:  Any vendor who defaults on delivery or does not perform in a satisfactory manner as defined in this Request may be barred for a period up to three (3) years, pursuant to KSA 75-37,103, or have their work evaluated for pre-qualification purposes.

3.7	Rights and Remedies:   If this contract is terminated, the State, in addition to any other rights provided for in this contract, may require the Contractor to transfer title and deliver to the State in the manner and to the extent directed, any completed materials.  The State shall be obligated only for those services and materials rendered and accepted prior to the date of termination.

In the event of termination, the Contractor shall receive payment prorated for that portion of the contract period services were provided to and/or goods were accepted by State subject to any offset by State for actual damages including loss of federal matching funds.

The rights and remedies of the State provided for in this contract shall not be exclusive and are in addition to any other rights and remedies provided by law.

3.8	Force Majeure:  The Contractor shall not be held liable if the failure to perform under this contract arises out of causes beyond the control of the Contractor.  Causes may include, but are not limited to, acts of nature, fires, tornadoes, quarantine, strikes other than by Contractor's employees, and freight embargoes, etc.

3.9	Waiver:  Waiver of any breach of any provision in this contract shall not be a waiver of any prior or subsequent breach.  Any waiver shall be in writing and any forbearance or indulgence in any other form or manner by State shall not constitute a waiver.

3.10	Independent Contractor:  Both parties, in the performance of this contract, shall be acting in their individual capacity and not as agents, employees, partners, joint ventures or associates of one another.  The employees or agents of one party shall not be construed to be the employees or agents of the other party for any purpose whatsoever.

The Contractor accepts full responsibility for payment of unemployment insurance, workers compensation and social security as well as all income tax deductions and any other taxes or payroll deductions required by law for its employees engaged in work authorized by this contract.

3.11	Staff Qualifications:  The Contractor shall warrant that all persons assigned by it to the performance of this contract shall be employees of the Contractor (or specified Subcontractor) and shall be fully qualified to perform the work required.  The Contractor shall include a similar provision in any contract with any Subcontractor selected to perform work under this contract.

Failure of the Contractor to provide qualified staffing at the level required by the proposal specifications may result in termination of this contract and/or damages.

3.12	Conflict of Interest:  The Contractor shall not knowingly employ, during the period of this contract or any extensions to it, any professional personnel who are also in the employ of the State and who are providing services involving this contract or services similar in nature to the scope of this contract to the State.  Furthermore, the Contractor shall not knowingly employ, during the period of this contract or any extensions to it, any state employee who has participated in the making of this contract until at least two years after his/her termination of employment with the State.

3.13	Confidentiality:  The Contractor may have access to private or confidential data maintained by State to the extent necessary to carry out its responsibilities under this contract.  Contractor must comply with all the requirements of the Kansas Open Records Act in providing services under this contract.  Contractor shall accept full responsibility for providing adequate supervision and training to its agents and employees to ensure compliance with the Act.  No private or confidential data collected, maintained or used in the course of performance of this contract shall be disseminated by either party except as authorized by statute, either during the period of the contract or thereafter.  Contractor must agree to return any or all data furnished by the State promptly at the request of State in whatever form it is maintained by Contractor.  On the termination of expiration of this contract, Contractor will not use any of such data or any material derived from the data for any purpose and, where so instructed by State, will destroy or render it unreadable.

3.14	Nondiscrimination and Workplace Safety:  The Contractor agrees to abide by all federal, state and local laws, rules and regulations prohibiting discrimination in employment and controlling workplace safety.  Any violations of applicable laws, rules and regulations may result in termination of this contract.

3.15	Environmental Protection:  The Contractor shall abide by all federal, state and local laws, rules and regulations regarding the protection of the environment.  The Contractor shall report any violations to the applicable governmental agency.  A violation of applicable laws, rule or regulations may result in termination of this contract.

3.16	Hold Harmless:  The Contractor shall indemnify the State against any and all loss or damage to the extent arising out of the Contractor’s negligence in the performance of services under this contract and for infringement of any copyright or patent occurring in connection with or in any way incidental to or arising out of the occupancy, use, service, operations or performance of work under this contract.

The State shall not be precluded from receiving the benefits of any insurance the Contractor may carry which provides for indemnification for any loss or damage to property in the Contractor's custody and control, where such loss or destruction is to state property.  The Contractor shall do nothing to prejudice the State's right to recover against third parties for any loss, destruction or damage to State property.

3.17	Care of State Property:  The Contractor shall be responsible for the proper care and custody of any state owned personal tangible property and real property furnished for Contractor's use in connection with the performance of this contract, and Contractor will reimburse State for such property's loss or damage caused by Contractor, normal wear and tear excepted.

3.18	Prohibition of Gratuities:  Neither the Contractor nor any person, firm or corporation employed by the Contractor in the performance of this contract shall offer or give any gift, money or anything of value or any promise for future reward or compensation to any State employee at any time.

3.19	Retention of Records:  Unless the State specifies in writing a different period of time, the Contractor agrees to preserve and make available all of its books, documents, papers, records and other evidence involving transactions related to this contract for a period of five (5) years from the date of the expiration or termination of this contract.

Matters involving litigation shall be kept for one (1) year following the termination of litigation, including all appeals, if the litigation exceeds five (5) years.

The Contractor agrees that authorized federal and state representatives, including but not limited to, personnel of the using agency; independent auditors acting on behalf of state and/or federal agencies shall have access to and the right to examine records during the contract period and during the five (5) year post contract period.  Delivery of and access to the records shall be at no cost to the state.

3.20	Antitrust:  If the Contractor elects not to proceed, the Contractor assigns to the State all rights to and interests in any cause of action it has or may acquire under the anti-trust laws of the United States and the State of Kansas relating to the particular products or services purchased or acquired by the State pursuant to this contract.

3.21	Modification:  This contract shall be modified only by the written agreement of the parties with the approval of the PNC.  No alteration or variation of the terms and conditions of the contract shall be valid unless made in writing and signed by the parties.  Every amendment shall specify the date on which its provisions shall be effective.

3.22	Assignment:  The Contractor shall not assign, convey, encumber, or otherwise transfer its rights or duties under this contract without the prior written consent of the State.

This contract may terminate in the event of its assignment, conveyance, encumbrance or other transfer by the Contractor without the prior written consent of the State.

3.23	Third Party Beneficiaries:  This contract shall not be construed as providing an enforceable right to any third party.

3.24	Captions:  The captions or headings in this contract are for reference only and do not define, describe, extend, or limit the scope or intent of this contract.

3.25	Severability:  If any provision of this contract is determined by a court of competent jurisdiction to be invalid or unenforceable to any extent, the remainder of this contract shall not be affected and each provision of this contract shall be enforced to the fullest extent permitted by law.

3.26	Governing Law:  This contract shall be governed by the laws of the State of Kansas and shall be deemed executed at Topeka, Shawnee County, Kansas, unless otherwise specified and agreed upon by the State of Kansas.

3.27	Jurisdiction:  The parties shall bring any and all legal proceedings arising hereunder in the State of Kansas, District Court of Shawnee County, unless otherwise specified and agreed upon by the State of Kansas.  The United States District Court for the State of Kansas sitting in Topeka, Shawnee County, Kansas, shall be the venue for any federal action or proceeding arising hereunder in which the State is a party.

3.28	Mandatory Provisions:  The provisions found in Contractual Provisions Attachment (DA-146a) which is attached are incorporated by reference and made a part of this contract.

3.29	Integration:  This contract, in its final composite form, shall represent the entire agreement between the parties and shall supersede all prior negotiations, representations or agreements, either written or oral, between the parties relating to the subject matter hereof.  This contract between the parties shall be independent of and have no effect on any other contracts of either party.

3.30	Criminal or Civil Offense:   Any conviction for a criminal or civil offense of an individual or entity that controls a company or organization or will perform work under this contract that indicates a lack of business integrity or business honesty must be disclosed. This includes (1) conviction of a criminal offense as an incident to obtaining or attempting to obtain a public or private contractor subcontract or in the performance of such contract or subcontract; (2) conviction under state or federal statutes of embezzlement, theft, forgery, bribery, falsification or destruction of records, receiving stolen property; (3) conviction under state or federal antitrust statutes; and (4) any other offense to be so serious and compelling as to affect responsibility as a state contractor.  For the purpose of this section, an individual or entity shall be presumed to have control of a company or organization if the individual or entity directly or indirectly, or acting in concert with one or more individuals or entities, owns or controls 25 percent or more of its equity, or otherwise controls its management or policies.  Failure to disclose an offense may result in disqualification of the bid or termination of the contract.

3.31	Injunctions:  Should Kansas be prevented or enjoined from proceeding with the acquisition before or after contract execution by reason of any litigation or other reason beyond the control of the State, vendor shall not be entitled to make or assert claim for damage by reason of said delay.

3.32	Statutes:  Each and every provision of law and clause required by law to be inserted in the contract shall be deemed to be inserted herein and the contract shall be read and enforced as though it were included herein.  If through mistake or otherwise any such provision is not inserted, or is not correctly inserted, then on the application of either party the contract shall be amended to make such insertion or correction.

3.33	Materials and Workmanship:  The Contractor shall perform all work and furnish all supplies and materials, machinery, equipment, facilities, and means, necessary to complete all the work required by this solicitation, within the time specified, in accordance with the provisions as specified.

The contractor shall be responsible for all work put in under these specifications and shall make good, repair and/or replace, at the contractor's own expense, as may be necessary, any defective work, material, etc., if in the opinion of agency and/or Division of Purchases said issue is due to imperfection in material, design, workmanship or contractor fault.

3.34	Industry Standards:  If not otherwise provided, materials or work called for in this contract shall be furnished and performed in accordance with best established practice and standards recognized by the contracted industry and comply with all codes and regulations which shall apply.

3.35	Federal, State and Local Taxes:  Unless otherwise specified, the proposal price shall include all applicable federal, state and local taxes.  The successful vendor shall pay all taxes lawfully imposed on it with respect to any product or service delivered in accordance with this Request.  The State of Kansas is exempt from state sales or use taxes and federal excise taxes for direct purchases.  These taxes shall not be included in the vendor's price quotation.

The State makes no representation as to the exemption from liability of any tax imposed by any governmental entity on the Contractor.

3.36	Accounts Receivable Set-Off Program:  During the course of this contract if the vendor is found to owe a debt to the State of Kansas, agency payments to the vendor may be intercepted / set off by the State of Kansas.  Notice of the setoff action will be provided to the vendor.  The vendor shall credit the account of the agency making the payment in an amount equal to the funds intercepted.

K.S.A. 75-6201 et seq. allows the Director of Accounts & Reports to set off funds the State of Kansas owes vendors against debts owed by the vendors to the State of Kansas.  Payments setoff in this manner constitute lawful payment for services or goods received. The vendor benefits fully from the payment because its obligation to the State is reduced by the amount subject to set off.

3.37	Definite Quantity Contract:  This Request is for a close-ended contract between the vendor and the State to furnish a predetermined quantity of a good or service in a given period of time.

3.38	On-Site Inspection:  Failure to adequately inspect the premises shall not relieve the successful vendor from furnishing without additional cost to the State any materials, equipment, supplies or labor that may be required to 	carry out the intent of this Request.  Submission of a bid shall be construed as evidence that the vendor has made necessary examination, inspection and investigation. Failure to properly inspect the site may result in rejection of the vendor's bid.

3.39	Experience:  All bidders are preferred to have a minimum of three (3) years continuous active participation in the applicable industry, providing equipment/services comparable in size and complexity to those specified herein.

Bidders may be required to furnish information supporting the capability to comply with conditions for bidding and fulfill the contract if receiving an award of contract.  Such information may include, but not be limited to, a list of similar size and type projects the Bidder has completed.

3.40	Prices:  Prices shall remain firm for the entire contract period and subsequent renewals. Prices quoted shall be 	net delivered, including all trade, quantity and cash discounts.  Any price reductions available during the contract 	period shall be offered to the State of Kansas.  Failure to provide available price reductions may result in termination of the contract.

3.41	Payment:  Payment Terms are Net 30 days.  Payment date and receipt of order date shall be 	based upon K.S.A. 75-6403(b).  This Statute requires state agencies to pay the full amount 	due for goods or services on or before the 30th calendar day after the date the agency receives 	such goods or services or the bill for the goods and services, whichever is later, unless other 	provisions for payment are agreed to in writing by the vendor and the state agency.

NOTE:  If the 30th calendar day noted above falls on a Saturday, Sunday, or legal holiday, the following workday will become the required payment date.

Payments shall not be made for costs or items not listed in the vendor's response.

Payment schedule shall be on a frequency mutually agreed upon by both the agency and the 	Contractor.

3.42	Subcontractors:  Kansas Statute K.S.A. 75-3741, as amended, requires a Bidder to list and identify the "Major Sub-Contractors" for Mechanical Construction, Plumbing Construction, and/or Electrical Construction included as a part of the Proposed, when a single contract 	for the "Project as a whole" is to be awarded.

The State of Kansas requires tax information regarding all subcontractors be disclosed on the 	Signature Sheet, indicating company name, contact information and tax number.  Additional 	pages may be added, as required.  (See Tax Clearances, Page 4)

3.43	Implied Requirements:  All products and services not specifically mentioned in this solicitation, but which are 	necessary to provide the functional capabilities described by the specifications, shall be included. Other products required to make the described software functional shall be identified in the vendor's response.

3.44	Acceptance:  No contract provision or use of items by the State shall constitute acceptance or 	relieve the vendor of liability in respect to any expressed or implied warranties.

3.45	Submission of the Bid:  Submission of the bid will be considered presumptive evidence that the vendor is conversant with local facilities and difficulties, the requirements of the documents and of pertinent State and/or local codes, state of labor and material markets, and has made due allowances in the proposal for all contingencies.  Later claims for labor, work, materials, equipment, and tax liability required for any difficulties encountered which could have foreseen will not be recognized and all such difficulties shall be properly taken care of by Contractor at no additional cost to the State of Kansas.

3.46	Certification of Materials Submitted:  The response to this request, together with the 	specifications set forth 	herein and all data submitted by the vendor to support the response 	including brochures, manuals, and descriptions covering the operating characteristics of the 	item(s) proposed, shall become a part of any contract between the successful vendor and the 	State of Kansas. Any written representation covering such matters as reliability of the item(s), 	the experience of other users, or warranties of performance shall be incorporated by 	reference into the contract.

3.47	Award:  Awards will be made by the PNC based upon the best interest of the State.  The 	successful bidder will be notified in writing by the Procurement Negotiating Committee. Neither 	the bidder nor the State of Kansas is obligated in any way until the Real Estate Lease 	Agreement has been approved and signed by all parties.

##### 3.48	Property Maintenance & Capital repairs:  The successful bidder will maintain the building and the space, including maintenance and replacement of select finish materials (e.g., paint, carpets, lighting, etc.,) as part of the base rent for the term of the lease.  The Lessor is also responsible for landscaping.

##### 3.49	Bidder Qualifications & Evidence of Financial Capacity:  The successful bidder will demonstrate to the Procurement Negotiating Committee that they possess the qualifications and experience needed to perform the work, including the experience and qualifications of their contractors and subcontractors.  In addition, the successful bidder will demonstrate financial capacity to fund and/or finance the construction build-out and tenant fit-up of the space.

##### 3.50	Performance Guarantees & Liability Protections:  The lease agreement will contain a liquidated damages provision in favor of State of Kansas in the event that the successful bidder fails to deliver space to agreed standards, and/or fails to meet the established date for agency occupancy of space.

In addition, the successful bidder will agree to hold the State of Kansas harmless for any liability claims related to the work, or workplace accidents during the construction phases of the project. Such language will be added to the real estate lease agreement as a special provision.

3.51	Timeline:

So that the State may objectively evaluate proposed construction and occupancy schedules, bidders must complete and include the Project Schedule Worksheet (Exhibit C), providing specifics on estimated schedule and completion of milestone tasks.  The Project Schedule Worksheet, and any signed amendments thereto, will be incorporated into the lease agreement.  Time is of the essence in completing the project.

Schedule of Events:	(Note:  The State of Kansas reserves the right to change these dates as required; all registered bidders will receive written notice of any changes to this schedule).

|  | Phase 1: Proposal request and submittal |  |  |
| --- | --- | --- | --- |
| Week of 11/2/09 |  |  | Request For Proposals (RFP) mailed to prospective parties |
| 11/5/09 |  |  | Notice appears in the Kansas Register |
| 11/13/09 |  |  | Pre-proposal Conference - A pre-proposal conference will be held at 9:30 AM, local time, at the Overland Park SRS Service Center. |
| Within 1 week of Pre-Bid Conference |  |  | Written response to issues raised at the pre-proposal conference will be posted on Division of Purchases’ website. |
| 12/15/09 |  |  | Deadline for Bid submissions. |
|  |  | ##### Phase 2: Proposal review and bidder selection |  |
| 12/16/09 |  |  | Begin review of proposals by the Procurement Negotiating Committee. |
|  |  |  | Begin site reviews and building inspections by Procurement Negotiating Committee of all proposed sites and facilities. |
|  |  |  | Procurement Negotiating Committee will meet with selected bidders to interview and discuss bids. Additional information or meetings may be requested to determine the best proposal. |
| To Be Determined |  |  | Initial lease negotiations will occur during bidder interviews in an effort to establish a clear understanding of the prospective price and terms of the respective bids, thereby helping the decision processes of the Procurement Negotiating Committee. |
| To Be Determined |  |  | Bidder selected and a formal real estate lease agreement is approved and executed between parties. (Note: No party to transaction is legally obligated in any way until the Agreement has been approved by the State of Kansas and signed by all parties). |

| ##### Phase 3: Space build-out, occupancy & project completion |  |
| --- | --- |
| To Be Determined | The successful bidder works with the tenant agency(ies) to finalize floor plans and other build-out specifications provided in the lease agreement and/or other contracts between the parties. Meetings with the bidder’s design professional(s) are typically required. |
| To Be Determined | Pre-occupancy inspection(s) made. |
| To Be Determined | Property and space ready for occupancy. |
| To Be Determined | State tenant takes occupancy of the space. The designated occupancy date will be mutually agreed to by Lessee and Lessor at time of execution of the lease agreement. |

##### 3.52	Architectural Drawings and Construction Documents:  The successful bidder, following execution of the lease agreement and before completion of the build-out of the space, shall be required to submit the architectural design development and construction documents to the State of Kansas.  These documents shall conform to the guidelines promulgated by all applicable local and state code publications, as listed in this RFP.

3.53	Occupancy Provisions:  A predetermined occupancy date must be established prior to execution of the real estate lease agreement, which shall include a specific schedule of milestone events, known as the Project Completion and Occupancy Schedule.  In the event that the successful bidder fails to adhere to the agreed performance schedule, the State of Kansas shall have the right, to be exercised in its sole discretion, to take one of the following two courses of 	action:

(a)  Terminate Lease Agreement:   If the successful bidder (Lessor) falls behind the project schedule by more than sixty (60) days, the State of Kansas (Lessee) has the option of canceling and terminating this lease.  No rents, damages or other monetary costs will be owed.  No legal liability will exist as a result of this cancellation.  Each party will release and discharge each other and will waive all rights to pursue claims against each other in the event of lease cancellation.

(b)  Seek Claim for Liquidated and Stipulated Damages:  The Lessor agrees to begin work upon this project upon lease approval.  The Lessor will fully perform, complete and finish all work on the property, ensure the facility is ready for occupancy and will obtain an occupancy permit issued by local authorities (if applicable) by the lease commencement date of xxxxxx.  In the event that the property is not complete and available by this date, liquidated and stipulated damages in the amount of $ xxxx.xx per calendar day will be assessed.  This assessment will be calculated for every day that this project is uncompleted and unfinished from the lease commencement date, unless the Lessor is delayed in the prosecution and completion of this work by fire or tornado.  The liquidated and stipulated damages assessed will be deducted from monthly rental payments from the start of the actual occupancy date.  If Lessee changes the project specifications or submits a project change order, both parties will mutually agree upon a revised commencement date in writing.

3.54	Defects in Workmanship & Lessee Rights to Remedy Defects:  Occupancy and lease commencement will not 	occur until substantial completion and compliance with building codes, ordinances, standards and regulations takes place; and the local governmental organization(s) having authority has issued a building occupancy permit 	or has inspected the property and given approval for occupancy.

For remedies of initial defects, see paragraph 7, Repair of Premises, in the DA-46 Lease Agreement.

##### 3.55	Project review process and change orders:  Within 60 calendar days from lease execution (or four months prior to lease start date, whichever is less), the Lessor shall submit to Project Manager and/or the tenant agency(ies), the architectural and engineering drawings which shall include, but may not be limited to, the following plans and specifications:

- Site Plan

- Plans/Elevations

- Building Section Plans

- Plumbing Plan

- HVAC Plan

- Electrical Plan

The review and approval of these plans by the Project Manager and/or the tenant agency(ies) is required before construction shall commence.  These plans must be sealed by an architect and/or engineer registered with the State of Kansas.  Plans and specifications are to be approved by the Project Manager and the tenant agency within three weeks from their receipt.

The design process sometimes requires that revisions be made to the initially proposed plans and specifications as a result of on-site conditions or changes requested by tenant agency.  The plans and specifications changes shall require the written consent of both parties. This change order process shall utilize a Facility Change Request form provided by the State.  Changes requested by the State will be billed at a pre-approved rate of time and material.

3.56	Site and space access rights prior to occupancy of space:  The Lessor agrees to allow Lessee, and any of Lessee’s vendors or contractors, access to the demised space prior to the established occupancy date.  Such access, however, does not constitute lease occupancy for purposes of establishing rental payments.  Such site visits and vendor access shall be scheduled in advance whenever possible or practical.

In addition, representatives of the State shall have the right to inspect the premises to determine whether the space is in full compliance with the terms of the lease agreement and build-out specifications.

3.57	Maintenance:  The Lessor will be responsible for maintenance, repairs, and improvements as a result of typical wear and tear of the leased premises, including preventive and corrective maintenance.  The Lessor will maintain or replace the finish materials as part of the base rent for the term of this lease, according to the reasonable life expectancy of such materials and finishes.  Notwithstanding the provisions of this clause, the Lessor shall have no obligation to make repairs or replacements to the extent such repairs or replacements are caused by the negligence of Lessee.  The Lessor is responsible for trash removal.

3.58	Annual Disclosure Of Property Operating Expenses:  The Lessor agrees to provide the tenant agency with a detailed list of operational expenses attributable to the demised space within sixty (60) days following the end of each lease year, calendar year, or other mutually agreed time period for annual reporting.  Such expense detail may include, but is not limited to:  roof repair/inspection, heating/cooling, maintenance, repair, snow removal, landscaping, insurance, taxes and other applicable operating expenses.

SECTION IV

SPECIFICATIONS

##### 4.1	Deliverable:

The State of Kansas is seeking leased office space to house the operations of the Overland Park Service Center for the Department of Social and Rehabilitation Services.  The goods and services being sought from prospective bidders include provisions for the following elements, in accordance to the criteria and specifications prescribed in this RFP.

- The leased space itself, also known as the “raw” space, before being customized to meet the particular needs of the tenant agency, together with the building, site and parking areas that support the space.

- Construction of the leased space, also known as the “build-out” of the space, including mechanical, electrical, and plumbing systems, in accordance with the standards and specifications described herein;

- Provision of the furniture, fixtures and equipment (FF&E), including security and paging systems, as may be applicable;

- Provision of select telephone and computer data systems (“tel-data”), including the computer network cabling system, also known as the Telecommunication Premise 	Distribution System;

- On-going maintenance and management of the property after the State tenant agency takes occupancy of the space.

The successful bidder shall be responsible for managing the build-out of the space, including the procurement and installation of all construction materials; the purchase and installation of the prescribed FF&E, if applicable; and the hiring, coordination and oversight of all contractors and subcontractors used to complete the work.

It is appropriate here to again emphasize the collaborative nature of the interface and meetings that are anticipated and expected between the successful bidder, the bidder’s design professionals and contractors, and the agency tenant in finalizing the design plans and specifications for the space, the building, and the site.

Prospective bidders should develop preliminary space designs consistent with the requirements described in this RFP, however, major details are not required in these preliminary plans.  Initial plans need to reflect only a level of detail to show all agencies included and the initial footprint proposed.  The selected bidder will finalize the space design and plan specifications through close collaboration with the tenant agencies.

Any revisions to the construction budget and schedule for performance will be reflected through signed amendments, change orders, and other special provisions in the real estate lease agreement.  Initial plans are not required to be stamped by an architect.  Final plans shall be stamped approved by an architect.

4.2	Terms of Reference:

This RFP may refer to State governmental agencies under alternative names, including “offeree”, “tenant agency”, “State”, “State tenant”, “occupant”, and “Lessee”.  In all instances, these are understood to be synonymous and interchangeable names.  Similarly, prospective respondents may be referred to by different names, including: “bidder”, “proposer”, “developer”, “owner”, “landlord”, and “Lessor”, which are also understood to be synonymous references.

##### 4.3	Agency Background and Scope:

The Kansas Department of Social and Rehabilitation Services (SRS) is seeking a facility to house the Department of Social and Rehabilitation Services – Overland Park Service Center. The property may be new, renovated or remodeled. The estimated space requirement is for approximately 48,413 sq. ft. of useable space to accommodate 255 staff workstations with additional space for clients and visitors, and 289 parking stalls. The targeted occupancy date will be determined during negotiations, but timely project delivery is desired.

SRS is a cabinet level state agency managed by a Secretary appointed by the Governor. The Overland Park Service Center is a unit within the Kansas City Metro Region. Services are provided to residents throughout Johnson County from these local offices. Currently, Overland Park has one (1) office building. The building located at 8915 Lenexa Drive contains 50,425 square feet. The annual rental payment is $458,868 or $9.10 per square foot per year. This lease expires June 30, 2011. SRS is requesting proposals be submitted for the following options:

- One (1) Five year period

- One (1) Ten year period, and

- One (1) Fifteen year period, with one (1) five-year renewal option, at the decision of the agency.

The agency will evaluate the proposals to determine which is in the best financial interest of the State.

##### 4.4	Requested Lease Terms and Conditions

The following provides an overview of the lease terms and conditions being sought by State of Kansas.  Additional lease terms and conditions will be provided for in the written Lease Agreement, which, together with the successful bidder’s responses to this RFP, constitutes the contractual agreement between the parties.

- Initial lease term desired:  See options, above

- Renewal option:  See options, above

- Estimated space requirement:  48,413 square feet of useable space

- Number of staff to accommodate in leased space:  255

- Number of off-street parking stalls required:  289

##### 4.5	Lease Type:

The agency preference is for a limited-service lease, where the state typically assumes responsibility for payment of such things as utilities, security, and custodial services.

The State will not agree to assume responsibility for payment of any of the following categories of operating expense or service item:

- Real estate taxes

- Property insurance

- Maintenance and capital repairs

- Parking (both on-site or off-site)

4.6	Energy Conservation:  In January 2007 the Governor issued Executive Directive 07-373 addressing energy usage in State of Kansas government. In compliance with that Directive, the Department of Administration has broken lease responses into three (3) areas; new construction, existing building remodel and existing building with state agency. All data required will be reviewed by the Kansas Energy Office for analysis during the evaluation process.

New Construction - Any RFP proposal submitted for new construction will be required to meet or exceed the International Energy Conservation Code 2006 commercial requirements. The vendor shall submit a letter to the PNC after construction is completed stating that the building meets all IECC 2006 requirements. In addition, the vendor shall complete and submit with the bid response the Energy Rating Information spreadsheet, attached in the link, below.

Existing Building Remodel - If the proposed building is not currently occupied by the agency listed in the RFP and the facility will be remodeled to meet the RFP requirements, the bidder will be required to determine the energy rating for the followings areas; building envelope, mechanical systems, electrical and lighting systems and landscaping.  In addition, the vendor shall complete and submit with the bid response the Energy Rating Information spreadsheet, attached in the link, below.

Existing Building with State Agency - If proposed facility is an existing space currently occupied by an agency, the bidder shall submit the last 13 months of electrical and natural gas usage data. The required electrical data shall consist of the billing start and end date, kilowatt hour’s usage and the cost for each month. The required natural gas data shall consist of the billing start and end date, mcf usage and the cost for each month.

Bidders shall provide a brief history of the building and components related to energy, as well as complete and submit with the bid response the Energy Rating Information spreadsheet, in the link below, where applicable.

##### 4.7	General Criteria:

- Location – The office location is to be in Overland Park, Johnson County, Kansas. The location should be in proximity to well-traveled routes and near public transportation. Proximity to other similar facilities and the general appearance of a professional building are desired features. Proximity to other state agencies and social service community providers and organizations may be advantageous. Other desirable features of the proposed location could include proximity to restaurants, commercial or retail areas, and child care facilities. The proposed site would preferably have a main front entrance that faces either east or west with an airlock. Consideration should be given to effective sitting to reduce utility expenditures and to the use of day lighting without glare and heat buildup.

It is preferable that the location is adjacent to sidewalks which are continuous throughout the neighborhood, and which adjoin and lead to both busy and residential streets. Traffic lights should be available at an intersection of a busy street in the immediate area, and available through travel on sidewalks.

The premises must not be in an area designated as a hazardous waste site, landfill, or wetlands area.

- Space:  Approximately 48,413 square feet of Useable Area that includes a circulation factor of 1.4 is needed. Rentable Area is expected to be in close proximity to this square footage. The facility is to be sized to accommodate approximately 255 staff workstations. Additional area is required for visitors.

- Parking - 289 off-street stalls.  An appropriate number of handicapped parking stalls, based on total parking requirements, will be provided and located near the building entrance.  Visitor parking shall be available adjacent to or within reasonable walking distance from the building entrance.  The cost for staff off-street parking stalls is to be included in the cost of the lease.

- Accessibility - The property is required to be accessible to people with disabilities, with special attention for those persons with blindness and/or multiple disabilities.

- Efficient space utilization, facility design, energy usage and operation are desired. SRS preference is for all functions to be in one single story building.

- Tel-Data Infrastructure Access – The proposer is responsible for furnishing and installing the telecommunications wiring, outlets, or jacks to meet voice and data per agency requirements.  The proposer is also responsible for the wiring of the paging system.  An estimated 448 telecommunication jacks (each telecommunication jack will have four (4) pairs (8 wires) of unshielded twisted pair (UTP) for voice (CAT 3 minimum) and another four (4) pairs for data (CAT 6a or current standard) applications); 546 general electrical duplex outlets and 435 computer duplex outlets are required. Each location is to have the defined number of jacks or electrical outlets as specified. Electrical circuits for computers and dedicated office equipment are to be separated from general office circuits. The estimated number of jacks and outlets may vary by 10% due to the floor plan of the proposed service center. See Appendix A.

- SRS will not be the responsible party for the payment of taxes, insurance and the maintenance of the building and its systems. The owner is responsible for maintenance and improvements as a result of typical wear and tear of the facility.

- The owner is responsible for meeting safety and security needs in this request.

- The facility must be accessible during daytime and evening, weekday and weekend usage for meetings.

- Special attention is to be given to design elements. This includes the need for electrical and computer outlets, lighting and sound containment needs, the need for special handicapped accessibility, the use of “spine” walls adjacent to Herman Miller workstations, panel creep, and the unique design of the interview rooms.

4.8	Specific Facility Design Criteria

Enclosed are required facility specifications for the SRS service center.  A remodeled, renovated or new facility is expected to be in compliance with the enclosed criteria. Deviations from these criteria must be so noted in the proposal.

4.9	Space Needs

SRS prefers the size of the various spaces listed; however, minor adjustments to them are understandable in order to enhance the design, functional relationships and the available space. SRS will approve design alterations as the final space plan evolves. Multiple sites to meet the total space requirements of the RFP, which split the functions of the office, will not be acceptable.

Departmental areas list workstations, offices and supporting area by unit. Common area is space used in general among the units of the Overland Park SRS Service Center. Common areas are designated as public access or staff areas. Estimated total Useable area is the total of both Departmental and Common area square footage times an interior circulation multiplier of 1.4. It is desirable that rentable area should match or nearly match the calculated Useable area. The proposer needs to realize that sizes listed in the enclosed division tables do not include the additional allowances for the interior circulation multiplier.

Other factors not specified in these space requirements will affect the building area and needs to be considered. If the facility is a multi story property, additional space will be needed for duplicate functions on each floor. Areas for mechanical and equipment rooms have not been included as they will vary based on the design proposed. The restroom space has not been determined for this summary but needs to be considered. At a minimum, both public and staff restrooms are to be provided. The facility will require a minimum 3 female and 2 male public stalls and 7 female and 2 male employee stalls. Finally when creating a floor plan, the proposer needs to account for interior wall thicknesses and systems furniture panel thickness. Panel thickness of 4” per a Herman Miller workstation is a good gauge for planning.  If an efficient design is proposed, these factors often can be accounted for from the area added by the circulation multiplier.

- If a multi-story building is proposed, the following features must be considered:

- Telecommunications rooms must be located on each floor.

- Janitor rooms/closets must be located on each floor.

- Restrooms must be installed on each floor.

- Elevator(s) and stairways must be installed in the building.

- Staff break rooms and coffee kitchens on each floor.

Space Needs

| STAFF AREAS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| UNIT OPERATIONS | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| Admin spec. | O | 0 | 1 | 64 | 64 |
| MSA I | E | 0 | 1 | 120 | 120 |
| Account I | E | 0 | 1 | 120 | 120 |
| Senior AA | O | 0 | 4 | 64 | 256 |
| Intern | O | 0 | 1 | 64 | 64 |
| Switchboard (SAA) | O | 0 | 1 | 64 | 64 |
| HSA | O | 0 | 1 | 64 | 64 |
| GMRT | O | 0 | 2 | 64 | 128 |
| Travel Staff | O | 0 | 1 | 64 | 64 |
| Supply Storage | E | 1 | 0 | 150 | 150 |
| Mail Dist Center | O | 1 | 0 | 128 | 128 |
| Multimedia Output Center | A | 1 | 0 | 80 | 80 |
| SUBTOTAL |  | 3 | 13 | 1046 | 1302 |
| UNIT IT | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| IR Spec II | E | 0 | 1 | 120 | 120 |
| TSC III | D | 0 | 1 | 96 | 96 |
| Vacant | D | 0 | 1 | 96 | 96 |
| IT Storage | E | 1 | 0 | 150 | 150 |
| SUBTOTAL |  | 1 | 3 | 462 | 462 |
| UNIT LEADERSHIP | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| Senior Admin Specialist | O | 0 | 1 | 64 | 64 |
| Asst. Director PI | E | 0 | 1 | 168 | 168 |
| Asst. Director ISD | E | 0 | 1 | 168 | 168 |
| Asst. Director OPS | E | 0 | 1 | 168 | 168 |
| PC II | E | 0 | 1 | 120 | 120 |
| Travel Staff | E | 0 | 3 | 168 | 504 |
| SUBTOTAL |  | 0 | 8 | 856 | 1192 |
| HUMAN RESOURCES | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| HRP II | E | 0 | 1 | 120 | 120 |
| HRP I | E | 0 | 1 | 120 | 120 |
| Admin Specialist | O | 0 | 1 | 64 | 64 |
| WEP | O | 0 | 1 | 64 | 64 |
| Applicant Station | O | 1 | 0 | 64 | 64 |
| Multimedia Output Center | A | 1 | 0 | 80 | 80 |
| Files | E | 1 | 0 | 120 | 120 |
| SUBTOTAL |  | 3 | 4 | 632 | 632 |
| LEGAL | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| Staff Attorney | E | 0 | 1 | 168 | 168 |
| SI I | O | 0 | 1 | 64 | 64 |
| Admin Specialist | O | 0 | 1 | 64 | 64 |
| Travel Staff | O | 0 | 1 | 64 | 64 |
| Multimedia Output Center | A | 1 | 0 | 80 | 80 |
| FILES | E | 1 | 0 | 400 | 400 |
| SUBTOTAL |  | 2 | 4 | 840 | 840 |
| UNIT COM COLLAB | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| PC II | O | 0 | 1 | 64 | 64 |
| Multimedia Output Center | A | 1 | 0 | 80 | 80 |
| RADAC | O | 0 | 4 | 64 | 256 |
| Sr Mentor (EES Provider) | O | 0 | 3 | 64 | 192 |
| OARS | O | 0 | 3 | 64 | 192 |
| CC Files | E | 1 | 0 | 400 | 400 |
| SUBTOTAL |  | 2 | 11 | 736 | 1184 |
| UNIT PI | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| SDS I | O | 0 | 1 | 64 | 64 |
| HSC | D | 0 | 2 | 96 | 192 |
| PC I | O | 0 | 4 | 64 | 256 |
| PC II | O | 0 | 4 | 64 | 256 |
| Intern | O | 0 | 1 | 64 | 64 |
| SDS I | O | 0 | 1 | 96 | 96 |
| Travel Staff | O | 0 | 1 | 64 | 64 |
| SUBTOTAL |  | 0 | 14 | 512 | 992 |
| UNIT PI/QC | TYPE | WORK AREAS | STAFF AREAS | USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| HSC | O | 0 | 2 | 64 | 128 |
| Multimedia Output Center | A | 1 | 0 | 80 | 80 |
| Storage | O | 1 | 0 | 64 | 64 |
| SUBTOTAL |  | 2 | 2 | 208 | 272 |
| UNIT EES E & D | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| HSS | O | 0 | 16 | 64 | 1024 |
| HSA | O | 0 | 2 | 64 | 128 |
| SUBTOTAL |  | 0 | 18 | 128 | 1152 |
| UNIT AMM/APS | TYPE | WORK AREAS | STAFF AREAS | USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| APS SW | O | 0 | 4 | 64 | 256 |
| HSA | O | 0 | 1 | 64 | 64 |
| Multimedia Output Center | A | 1 | 0 | 80 | 80 |
| Files | O | 1 | 0 | 64 | 64 |
| SUBTOTAL |  | 2 | 5 | 272 | 464 |
| UNIT SS/PRC,FACTS,IL,IV-E Eligibility | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| HSA | O | 0 | 1 | 64 | 64 |
| HSA Travel | O | 0 | 2 | 64 | 128 |
| Multimedia Output Center | A | 1 | 0 | 80 | 80 |
| SUBTOTAL |  | 1 | 3 | 208 | 272 |
| UNIT RS | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| PSE I | E | 0 | 1 | 120 | 120 |
| HSC | O | 0 | 10 | 64 | 640 |
| SAA | O | 0 | 1 | 64 | 64 |
| AS | O | 0 | 1 | 64 | 64 |
| Travel Staff | O | 0 | 1 | 64 | 64 |
| Storage | O | 1 | 0 | 64 | 64 |
| SUBTOTAL |  | 1 | 14 | 440 | 1016 |
| UNIT CSE LEGAL | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| PSE II | E | 0 | 1 | 168 | 168 |
| ATTY I | E | 0 | 3 | 120 | 360 |
| AA | O | 0 | 1 | 64 | 64 |
| SAA | O | 0 | 3 | 64 | 192 |
| Legal Library | D | 1 | 0 | 96 | 96 |
| Multimedia Output Center | A | 1 | 0 | 80 | 80 |
| SUBTOTAL |  | 2 | 8 | 592 | 960 |
| UNIT SUPS/COACHES | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| PSE I | E | 0 | 1 | 120 | 120 |
| EES | E | 0 | 6 | 120 | 720 |
| CFS | E | 0 | 5 | 120 | 600 |
| RS | E | 0 | 1 | 120 | 120 |
| Multimedia Output Center | A | 1 | 0 | 80 | 80 |
| CSE | E | 0 | 2 | 120 | 240 |
| Travel Supervisor | E | 0 | 1 | 120 | 120 |
| SUBTOTAL |  | 1 | 16 | 800 | 2000 |

| UNIT SUPPORT | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| --- | --- | --- | --- | --- | --- |
| EES HSA | O | 0 | 4 | 64 | 256 |
| CSE AA | O | 0 | 2 | 64 | 128 |
| CSE HSA | O | 0 | 2 | 64 | 128 |
| CSE Interns | O | 0 | 3 | 64 | 192 |
| CFS HSA | O | 0 | 5 | 64 | 320 |
| CFS Interns | O | 0 | 2 | 64 | 128 |
| Multimedia Output Center | A | 1 | 0 | 80 | 80 |
| CFS Staging Area | O | 1 | 0 | 64 | 64 |
| SUBTOTAL |  | 2 | 18 | 528 | 1296 |
| UNIT A | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| EES | O | 0 | 7 | 64 | 448 |
| CFS | O | 0 | 2 | 64 | 128 |
| CSE | O | 0 | 3 | 64 | 192 |
| RS | O | 0 | 2 | 64 | 128 |
| SUBTOTAL |  | 0 | 14 | 256 | 896 |
| UNIT B | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| EES | O | 0 | 7 | 64 | 448 |
| CFS | O | 0 | 4 | 64 | 256 |
| CSE | O | 0 | 2 | 64 | 128 |
| RS | O | 0 | 2 | 64 | 128 |
| SUBTOTAL |  | 0 | 15 | 256 | 960 |
| UNIT C | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| EES | O | 0 | 7 | 64 | 448 |
| CFS | O | 0 | 5 | 64 | 320 |
| CSE | O | 0 | 2 | 64 | 128 |
| RS | O | 0 | 1 | 64 | 64 |
| SUBTOTAL |  | 0 | 15 | 256 | 960 |
| UNIT D | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| EES | O | 0 | 6 | 64 | 384 |
| CFS | O | 0 | 5 | 64 | 320 |
| CSE | O | 0 | 1 | 64 | 64 |
| RS | O | 0 | 1 | 64 | 64 |
| SUBTOTAL |  | 0 | 13 | 256 | 832 |
| UNIT E | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| EES | O | 0 | 5 | 64 | 320 |
| CFS | O | 0 | 5 | 64 | 320 |
| CSE | O | 0 | 2 | 64 | 128 |
| RS | O | 0 | 1 | 64 | 64 |
| SUBTOTAL |  | 0 | 13 | 256 | 832 |
| UNIT F | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| EES | O | 0 | 5 | 64 | 320 |
| CFS | O | 0 | 5 | 64 | 320 |
| CSE | O | 0 | 1 | 64 | 64 |
| RS | O | 0 | 1 | 64 | 64 |
| SUBTOTAL |  | 0 | 12 | 256 | 768 |
| UNIT G | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| EES | O | 0 | 5 | 64 | 320 |
| CFS | O | 0 | 3 | 64 | 192 |
| CSE | O | 0 | 1 | 64 | 64 |
| RS | O | 0 | 1 | 64 | 64 |
| SUBTOTAL |  | 0 | 10 | 256 | 640 |
| UNIT H | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| EES | O | 0 | 5 | 64 | 320 |
| CFS | O | 0 | 2 | 64 | 128 |
| CSE | O | 0 | 1 | 64 | 64 |
| RS | O | 0 | 1 | 64 | 64 |
| SUBTOTAL |  | 0 | 9 | 256 | 576 |
| UNIT I | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| EES | O | 0 | 6 | 64 | 384 |
| CFS | O | 0 | 2 | 64 | 128 |
| CSE | O | 0 | 1 | 64 | 64 |
| RS | O | 0 | 1 | 64 | 64 |
| SUBTOTAL |  | 0 | 10 | 256 | 640 |

| UNIT COMMON | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| --- | --- | --- | --- | --- | --- |
| Break Room | E | 1 | 0 | 485 | 485 |
| Coffee Kitchen | A | 1 | 0 | 96 | 96 |
| Vending | A | 1 | 0 | 48 | 48 |
| OPS Secure Storage (10X15) | E | 1 | 0 | 150 | 150 |
| SM Conference | E | 4 | 0 | 180 | 720 |
| Staff Classrooms (24X30) | E | 1 | 0 | 720 | 720 |
| Child Supervision Area (SM) | E | 1 | 0 | 100 | 100 |
| Family Bathrooms (12X12) | E | 1 | 0 | 144 | 144 |
| Storage | E | 5 | 0 | 150 | 750 |
| Computer Training Lab (24X24) | E | 1 | 0 | 576 | 576 |
| Telecom Room (20x20) | E | 1 | 0 | 400 | 400 |
| Recycle/Shred Areas | A | 21 | 0 | 4 | 84 |
| Inactive Files | E | 1 | 0 | 1380 | 1380 |
| Dock/Receiving (10X20) | E | 1 | 0 | 200 | 200 |
| Janitor Closet | E | 1 | 0 | 100 | 100 |
| SUBTOTAL |  | 42 | 0 | 4733 | 5953 |
| UNIT LOBBY | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| Reception | O | 0 | 3 | 64 | 192 |
| EBT Issuance | O | 1 | 0 | 64 | 64 |
| Child play Area (10X10) | A | 1 | 0 | 100 | 100 |
| Waiting Area/Lobby (25X40) | A | 1 | 0 | 1000 | 1000 |
| Courtesy Phones | A | 4 | 0 | 24 | 96 |
| SUBTOTAL |  | 7 | 3 | 1252 | 1452 |
| UNIT PUBLIC | TYPE | WORK AREAS | STAFF AREAS | NET USABLE SQ. FT. | TOTAL NET USABLE SQ. FT. |
| Large Conference (48X48) | E | 1 | 0 | 2304 | 2304 |
| Conference (12x16) | E | 5 | 0 | 192 | 960 |
| Interview Rooms (8x10) | E | 16 | 0 | 80 | 1280 |
| Interview Space (10x10) no door | E | 1 | 0 | 100 | 100 |
| Family Interview Area | E | 1 | 0 | 144 | 144 |
| Group Meeting Room | E | 1 | 0 | 800 | 800 |
| CDC Testing Large (16x16) | E | 1 | 0 | 256 | 256 |
| CDC Testing Small (12x12) | E | 1 | 0 | 144 | 144 |
| Vending | A | 1 | 0 | 48 | 48 |
| SUBTOTAL |  | 28 | 0 | 4068 | 6036 |
| Total |  | 99 | 255 |  | 34581 |
| 34581 | 1.4 | 48,413 |  |  |  |

Summary of Space Requirements

Total Departmental and Common Area Square Footage times an Interior Circulation multiplier of 40%.

|  | Sub-Total | Percent | Total Useable Area |
| --- | --- | --- | --- |
| Total Useable Area* | 34,581 | 40% | 48,413 |

Note: The Total Useable square footage is expected to be in close proximity to total rentable area.

*The preceding is the approximate square footage need.  Each building is unique and development of the building floor plan will determine the actual square footage need.

AREA TYPE DEFINITIONS:

A	Area partly enclosed or open depending on space plan or building configuration

E	Enclosed room or workstation with hard wall construction with a door

O	Open office area - may use miscellaneous open office systems furniture and components (typically Herman Miller).  The open office areas typically backup to a spine wall.

D         	Open office area Herman Miller 80 inches with door.

4.10	Parking Needs

Off street parking for a minimum of 289 vehicles is to be provided to the office as listed in the following summary. The cost for parking is to be included in the cost of the lease.

    - Accessible for people with disabilities-van   	 1

    - Accessible for people with disabilities		 7

    - State Vehicles					 10

    - SRS Customers, Staff and Visitors		 	    271

TOTAL PARKING				     289

Parking areas should be paved with asphalt or concrete and have adequate drainage, striping, and curbs or bumper blocks. A well lit parking area is necessary for staff returning to the office after dark and to deter vandalism to state vehicles. Exterior lighting will be controlled by photo sensors only. The parking area shall be illuminated with either pole or building-mounted lighting. The arrangement of the parking should not detract from the image or visibility of the building and should emphasize the location and provide easy access to the front entry. SRS expects typical dimensions, clearances and aisle widths to be used in planning for parking areas. Minimum stall width is to be 9 feet. The parking area and accessible stalls need to meet requirements of Americans with Disabilities Act Accessibility Guidelines. Adequate care is to be taken to consider walkways. Appropriate directional signs and safety markings must be provided in all parking and driveway areas (see Finish Materials).  Signs are to be installed to indicate that some stalls are for New Mothers Only (2) two signs, Loading and Unloading Only (1) one sign, and State Cars Only (10) ten signs.  All signs are to be provided and installed by the contractor.

### 4.11	Architectural and Miscellaneous Needs

Special use areas and specific design elements needed for an SRS office are described in the following.

Public Area: The public area is defined as the entry vestibule, waiting area, interview stations, public conference rooms and restrooms. SRS requires a physical separation between this area and the rest of the facility. The waiting area is to be adjacent to the reception area. The SRS service center may be used after normal business hours by non SRS persons. The layout of the public area should address the security needs of after hour use.

Reception and Waiting Area:  The receptionist station adjacent to the waiting area is to be enclosed with a floor to ceiling hard wall construction facing the public area. Preference is to have the back portion of this station open to the staff area rather than a fully enclosed room. It is to include a receptionist window with a staggered glass design with two rows of frosted glass. A laminated counter (approximately 16" width) will also be provided with this window. This window (or windows) needs to be large enough to provide a clear view of the waiting and entrance lobby. Additional windows may be needed based on the design proposed. The mail processing area should not be near the reception station.  The waiting area is to have a chair rail on the perimeter walls. Six (6) 4’x4’ bulletin boards shall be provided and installed by the proposer on lobby walls. Provision for a wall-mounted television is to be provided (TV will be provided by SRS). A wall shelf or bracket system is to be installed with a duplex outlet for the television and must include enough space to accommodate a VCR/DVD player.  Approximate height of 64" for the shelf height and outlet height of 72". An area adjacent to the waiting area is to be reserved as a children’s play area for visiting children. No power outlets shall be in this area.

Wiring for four (4) courtesy phones is to be installed in the lobby area. At least one (1) phone must be wheel chair assessable and one (1) phone will be TTY. SRS will provide the phones which will meet ADA requirements. They are to be located so as to provide some privacy and confidentiality.

Client Interview Rooms and Family Visit Rooms: Sixteen (16) of these rooms must measure 8’x10’ and one (1) room must measure 12’x12’. These rooms are to be of hard walled construction with a door. At least one (1) wall in each room must be constructed with a 1’x3’ glass window and can be placed in the door or in the wall by the door. This wall must be in plain sight of the reception area or other areas in which it would be easy for someone to view who was in the room and to monitor in the event a volatile situation develops. Each room must also be partially sound proofed. These measures are necessary to help ensure audio confidentiality while at the same time maintaining needed employee and client security cautions.

Client Interview Space: This room must measure 10’x10’. This room is to be of hard walled construction without a door. This wall must be in plain sight of the reception area or other areas in which it would be easy for someone to view who was in the room and to monitor in the event a volatile situation develops. The room must also be partially sound proofed. These measures are necessary to help ensure audio confidentiality while at the same time maintaining needed employee and client security cautions.

EBT Issuance Station:  The EBT Issuance station adjacent to the waiting area is to be enclosed with a floor to ceiling hard wall construction facing the public area.  Preference is to have the back portion of this station open to the staff area rather than a fully enclosed room. It is to include a receptionist window with a staggered glass design with two (2) rows of frosted glass. A laminated counter (approximately 16" width) will also be provided with this window.  See Appendix C.

Large Conference Room:  Two (2) exit/entrance doors to gain access to this room from the public or staff side of the building. Equipped with fluorescent dimming lights and ballast. Ceiling fans are to be installed in the rooms and will be controlled with a switch on the wall and not a pull chain. The large conference room is to have a moveable hard wall divider separating the room so that it can be divided into two areas. The construction of panel, top and bottom seals will provide acoustic separation to meet a minimum Sound Transmission Class (STC) of 48 to 55 STC. All walls to be covered with five feet fabric wrapped acoustical panels, panels will allow for push pins and adhesive backed paper to be used.

SRS also requests, when feasible and practical, that two (2) storage closets be included in areas adjacent to the large conference rooms (for coats and presentation materials), resource centers (for supplies), break areas, and group rooms.  These closets will need to have locking capability. Swinging doors are preferred over sliding or bi-fold doors.

Storage Area:  The preferred location is near a service access or exterior door so as to store and transport bulky and heavy items.  A convenient ingress/egress is required.

Child Supervision Area: Hard wall room with door that cannot be locked from inside. Any existing power outlets in room must have locking covers. Purpose of room is to provide a safe controlled area for children in the temporary care of SRS.

Central File Room:  The centrally located file room should be approximately 1,380 sq. ft., with a mechanical assist manual movement filing system unit with space for 58,464 linear inches. The bidder shall purchase, install, and include the costs into the lease rate.  The unit shall be a Spacesaver High-Density Mobile Filing System, or approved equal. Informational website: http://www.spacesaver.com.  The room must have at least 6” of concrete to support the unit.  Shelves and end panels shall be of steel construction with a power coat finish, color to be determined by Lessee.  All shelving shall be new and unused. The unit shall have pull out reference shelves installed. Shelves shall have a minimum of three (3) vertical dividers per opening. Top shelves shall have canopy tops. This unit shall be installed prior to occupancy of the facility.

The mechanical assist system may or may not be included in the lease. Options are to purchase a system or move a system from another facility.  In either case, the vendor is responsible for installation.

Break Room: Furnish and maintain as part of the lease one (1) break room. The break room should be located in the building so that it is convenient for staff usage. The kitchen will be used for both as a coffee area and for lunchtime activities. Durable, easily cleaned finishes and flooring must be installed in both areas. One (1) 220 volt outlet will be required for the stove. Also one (1) fourplex outlet positioned above the counter top every four (4) linear feet of counter top.

The break room/vending machine area is to be equipped as follows:

a.	One garbage disposal unit with a two-bowl sink large enough to wash out a 20 cup coffee pot.  The sink is to also have a built in hand sprayer.

b.	Approximately 12 linear feet (lf) of counter top, 12 (lf) wall cabinets and 12 (lf) base cabinets for use for storage.

c.	Exhaust fan for the kitchen area.

d.	Provide space and electrical hookups for (1) stove, (4) refrigerators, and (6) microwaves.

Coffee Kitchens: This is to be provided with the following:

a.	One single bowl sink large enough to rinse out a 12 cup coffee pot with garbage disposal.

b.	Approximately 6 linear feet (lf) of counter top, 6 lf wall cabinets and 6 lf base cabinets for use for storage.

The (1) coffee kitchen is to be located near the large conference room in the secure area.

Custodial Room:  Provide a floor mounted mop sink with back splash and hose attachment for filling of buckets and disposal of wastewater. Custodial room should provide space for storage of the day-to-day consumable supplies such as paper towels, toilet tissue, and disposable bags.

Division Secure Storage room: Hard wall room with lockable door. Purpose is to provide secure controllable storage for each division.

Multimedia Output Center: 8’x10’ open area to house copier, fax machine and shared printers. Contains work surfaces for collating, paper cutting and stapling. This area will require special wiring of power outlets and extra jack needs.

Recycling/Shred Areas:  4’x4’ open area to house security and non-security recycling bins.

PC Training Lab: Hard walled room with door for training of staff. Requires ceiling fan(s), florescent dimming, large number of power outlets and data jacks.

IT Secure storage room:  Hard wall room with locking door.

Ceiling Fans:  Ceiling fans are required for those areas specified in Appendix A. These ceiling fans are to operate with wall switches not with pull chains. Appendix A has a schedule of fan locations. Clear, unobstructed ceiling height should be at a minimum of 8 feet.  SRS prefers 9’ to 10’ ceiling heights for work areas.

Acoustics: Care should be taken to consider sound deadening materials and design. Sound insulation or sound batting must be installed in all enclosed, hard-wall rooms; this is required for the interior side walls and is also required in the ceiling above such rooms. This insulation requirement is not required for the Telecom Room ceiling and the storage room. Control of noise in the HVAC system and adequate insulation of duct work is needed.

Restrooms: A minimum of two (2) sets of restrooms, each to have both male and female rooms. One (1) set of restrooms is to be within the public access area. The second set of restrooms is to be provided in the employee/staff work area. The facility will require a minimum of three (3) female public stalls and seven (7) female employee stalls.  Approximately 80% of staff is female. Each restroom is to be equipped with an exhaust fan and wall switch to operate this fan. All restrooms shall comply with ADA design requirements. Diaper changing stations and child safety seats are to be installed in all restrooms. Sound containment within the restrooms is required. The restrooms are to be equipped with a floor drain. Shut off valves are to be provided for all sinks, toilets and urinals. Accessories are discussed in the Finish Materials section.

Water Fountains: Water fountains are to be provided adjacent to each set of restrooms. These must be electric refrigerated type water coolers and shall comply with ADA design requirements and to be fully accessible to disabled individuals.

Water Conservation - Bidders are encouraged to develop designs, which conserve natural resources; with respect to water consumption, the control features may include:

- Sensor-operated electronic faucets and toilet flush valves in restrooms.

- Water flow limited to a maximum of 0.5 gallons of water per minute for restroom lavatories.

Entrance Ways:  A double door public entry vestibule will be provided of an approximate size of 10’x12’. This vestibule will have an airlock design with two (2) sets of double doors. Each set of double doors is not to have a center support, i.e., both doors can be opened so as to provide a large, open, unobstructed entry pathway if needed. Two (2) doors on the same pathway shall be accessible; power operated sliding doors with handicap opening operators (touch plates with the handicap symbol) on each side of each door to provide accessible entry for the physically challenged. The main staff entrance shall also be provided with this style of power operated doors. Alternative powered door opening mechanisms to provide accessibility will be considered. Additional employee entranceway(s) and emergency exits shall be provided. SRS may require additional entrances to have an airlock vestibule dependent upon the building design and layout.  The vestibule area of the public entranceway may have a recessed grated floor system, typically with aluminum treads to provide for dirt, mud, and snow removal as an additional design option.

Dock / Receiving Area:  Must be located on an outside wall and have both exterior and interior ingress/egress which facilitates the storage and transport of bulky items such as large boxes, chairs, etc. Reasonable access for delivery vehicles to and from the dock / receiving area must be provided.  An electronic push button sound buzzer shall be installed on the building exterior directly adjacent to the exterior receiving area room door(s).  This buzzer shall be hooked up to an accompanying buzzer installed in a strategic location in the reception area and another in the support staff area. The storage area will include a delivery dock with a minimum of 36” passage door and a 10’ X 12’ overhead door.  The dock will be standard height and include a dock lift for non-standard size delivery vehicles.

Spine Walls:  Walls adjacent to open space panel system furniture (typically Herman Miller brand) will be 5/8 inch gypsum board over ½ inch CDX plywood sheathing.  This is to provide secure placement of wall hung components and system furniture brackets independent of stud placement.  Preference is for these walls to be of partial height so as to allow for air flow in the building. The plywood sheathing backing may stop at the 82" height and the walls may be of this height except for areas of support and hidden raceways. The walls shall use a minimum of 16" centered stud placement with returns and ceiling connections for support.  These walls will be used as a means of providing power and telecommunication outlets to work stations. Power poles are not acceptable. Alternative design considerations may be made with regards to the use of this spine wall concept versus power-based Herman Miller wall partitions. Jacks and outlets require placement every 6’ so that work stations can be compressed from 8’x8’ work areas to 6’x8’ work areas if necessary. Only part of the facility will require compression.  See Appendix B

Telecommunications Room: Equipment rooms and telecommunications closets should be large enough to house equipment, servers, switches, hubs, routers, LAN racks, fiber optic equipment, telephone systems, voice mail/auto attendant and Telco lines. Closets should have a minimum ceiling height of 8’. This ceiling may be suspended acoustical tile or a finished ceiling. Fire protection for telecom rooms must be in compliance with local building and fire codes. There shall be no wet pipes traversing, entering or residing in the telecom room unless specifically required in local building or fire codes. No sinks, furnaces, air conditioners or other moisture-producing devices will be allowed in telecommunications closets or equipment rooms unless these devices are required by the equipment installed in such rooms.  All telecommunications rooms are to have a sealed floor, such as sealed concrete or vinyl composition tile.  All walls shall be trimmed out at the bottom with 4” vinyl or rubber cove base. No carpeting of any type is allowed in equipment rooms. The Telecommunications room should be located against an outside wall if possible for ease of wiring entry to the room.  The TC Room must have its own temperature controls and have a dedicated A/C unit sized to cool agency computer systems per manufacturer recommendations. See Section 5.0 of the SRS IT Wiring Infrastructure Standards for more information.

Access Hallway: At least one (1) hallway will be clearly labeled an access hallway. This hallway will be sufficiently wide enough to allow a standard pallet of paper, 48” x 36”, or supplies to pass through without obstructing traffic.

Miscellaneous: Interior hallways in staff areas may need to be wide enough on the hall side of work areas for storage, display, and usage of program forms, pamphlets, brochures, and materials. This space is also used to place file cabinets outside of the staff Herman Miller work stations. The enclosed offices, conference rooms, and training rooms are to be of hard wall construction and are to have a glass side panel included next to each door or a glass panel in the door itself. The enclosed offices shall have at least two (2) adjacent walls with 5/8 inch gypsum board over ½” CDX plywood sheathing.

Exterior Design Features: Items to be included are an office sign, a lighted flagpole, and a standalone mail box equivalent to a U.S. Postal Service Drop Box. A mail box is to be provided adjacently to an exterior driveway. This U.S. mail drop box is to be in accordance with US Postal Service regulations and security guidelines.

Flag Pole:  Furnish, install, and maintain an appropriate height lighted flagpole at a prominent location around the front of the facility. Lessor is responsible to provide appropriately sized current issue Kansas flag, in addition to the U.S. flag. The Lessor will replace flags as necessary to ensure a proper display at no cost to the Lessee.

Exterior Signs: Furnish and install an aluminum exterior sign with 6" high letters of "KANSAS DEPARTMENT OF SOCIAL AND REHABILITATION SERVICES – Overland Park Service Center.”  Sign to be approved by authority having jurisdiction. Furnish and install a decal sign on the window inside the foyer to indicate office hours, location of drop box, and other information as determined by SRS.  Directional and traffic control signs are to be installed in driveways and parking area as needed and required. Parking areas shall also be identified by signs for Accessible stalls, state vehicles, staff and visitors.  An additional five (5) signs shall be installed specifying, “Children shall not be left unattended in vehicles.”

Windows:  A suitable number of Low-E anti-glare exterior windows are required.  The reception station is to have at least one (1) interior window and possibly more to provide needed sight lines in the public area.  Placement of windows must take in consideration of modular panels.

Exterior Notes:  Access for delivery vehicles and trash removal is required. A concrete pad is to be provided for a commercial trash container. Fencing with a gate to remove trash container should surround the trash container on the concrete slab. Guttering, down spouts, and adequate site drainage is required.

Accommodations for Smokers:  SRS policy is to not allow smoking inside an SRS facility. Some accommodation may be made for humane treatment of smokers outside the building. A privacy fence surrounding a patio area with some protection from the elements would be one option. Other more cost effective options could be considered. Clearly designated smoking areas will be located away from public and staff entrances. The Staff smoking area will be located away from the public smoking area and public entrances.

Building Wide One-way Paging System:  An overhead paging system will be required. Equipment and speakers will be provided by SRS.  Building wiring for a multiple zone one-way paging system shall be provided and installed, after SRS approval, by the successful vendor.  SRS will identify the speaker locations, and number of zones after the building design is completed and a detailed floor plan has been developed. The cost for this work shall be incorporated into the cost of the lease agreement. System design, as it relates to the wire size and number of speakers per wire run will conform to established technical specifications for the paging system selected by SRS and will be the responsibility of the wiring vendor.

Storm Shelter - Access to a storm shelter must be provided.  Providing access to a basement storm shelter may satisfy this requirement.  If a one-floor or multi-story facility above ground is proposed, an appropriate storm shelter area must be provided that is designed for all employees.  Access to adjacent buildings with storm shelter facilities may also satisfy this requirement, if that building agrees to allow use by JJA staff, when required.  Bidders are instructed to provide details regarding their proposed storm shelter with the bid response.

#### 4.12	Finish Materials

Selection of typical finish materials will be made by SRS from several choices presented by proposer.  The choices should be of a pleasing color and texture and be compatible with furnishings and equipment.  The proposer should present a recommended material list that takes into account durability and the normal amount of wear and tear associated with SRS service centers.

The proposer shall be responsible for maintenance, repairs, and improvements required as a result of typical wear and tear. The proposer is responsible for preventative and corrective maintenance.  The proposer shall maintain or replace the selected finish materials as part of the base rent for the term of the lease, according to the reasonable life expectancy of such materials and finishes, except for damages or unusual circumstances caused by SRS. All finishes and materials in the proposed facility should receive appropriate maintenance or replacement provided by the proposer. Painted walls, carpeting and other flooring are of particular concern to SRS.

Depending on the length of the lease, the proposer shall plan on repainting at the beginning of year five the high traffic areas and the entire building at the half way point of the lease at no cost to the Lessee.  Similarly, carpet shall be replaced at the beginning of the eighth year and at a minimum of eight year intervals thereafter at no cost to the Lessee.

Flooring:  Only carpet designed for heavy wear (density of not less than 28 ounce weight) for the term of the lease will be accepted.  2’ x 2’ carpet squares will be considered.  SRS shall make the final choice of carpet to ensure durability and compatible colors.  Carpet adhesive shall be solvent free and carpet shall be approved by the Carpet and Rug Institutes Indoor Air Quality Testing Program.  Appearance loss and maintenance needs shall be considered in carpet selection.  Entrances, lobby, restrooms, break rooms and break room kitchen should have resilient tile or ceramic tile flooring.  Resilient flooring to be 12” x 12” vinyl composition tile or equivalent. All walls shall be trimmed out at the bottom with 4” vinyl or rubber cove base. Restrooms are to have a 6” cove base that may be integrated with the flooring. Ceramic tile splash back to be placed on walls behind sinks and paper towel holders.

Ceilings:  Typical standard ceiling consists of 2’x4’ acoustic ceiling, white metal grid, and flush tiles with lay in ceiling light fixtures. Alternatives will be considered. Telecommunications and electrical wiring typically run above dropped ceiling using manufactured commercial wire racks/trays.

Painting: All walls, steel door frames and steel doors should be painted. Two (2) coats of semi-gloss finish over primer as required. Paint material shall be acrylic latex or type appropriate to the material. More durable finishes shall be used in restrooms, break rooms and public entry. All wood doors shall be stained and clear finished. Dependent upon the length of the lease, suggested painting intervals shall be five (5) years. Telecom room requires white semi-gloss paint and fire retardant ¾” plywood on designated walls.

Doors:  All doors shall be solid core with a minimum width of 32” with a preference of 36" width. Greater width doors are required for main entry, interview rooms and telecom room. Doors shall be equipped with accessible hardware and have a door stop. All security access doors are required to have a door closer.

Toilet & Restrooms: All restrooms shall have accessories. Accessories shall include mirrors, soap dispensers, trash containers, toilet tissue dispensers, napkin dispensers and napkin disposal units.  Also hand dryers, automated flush toilets and faucets. Toilet privacy partitions are to be provided for restrooms with more than one water closet and/or urinal. Restrooms shall be equipped with a floor drain.

Window Blinds: All exterior Low E windows shall have either 1-inch or 2-inch horizontal blinds. No mini-blinds or other coverings on interior windows.

Interior Signs: The proposer shall install room signs, typically including room function and room number, on all enclosed offices, hard wall rooms such as conference rooms, break rooms, equipment rooms and restrooms.  In addition the proposer shall install room signs as required by ADAAG or building codes.

##### 4.13	General Construction Standards and Design Requirements:

Building codes - The successful bidder is responsible for meeting all applicable local and State building codes, ordinances, standards and regulations as reflected below.  In the event that this RFP has requirements that do not comply with building codes, then the building code requirement will prevail.

Hazardous Materials – Bidders must identify known or suspected areas of asbestos, mold / mildew or presence of other hazardous materials, in the building or on the site, both past and present.  If the property has been abated for hazardous materials, then bidder must present suitable evidence of such.

(Note:  The Selection Committee reserves the right to require the bidder to provide appropriate environmental audits, hazardous material studies, and abatement certifications, as appropriate.  The Selection Committee will determine the need for such verifications prior to selection of the successful bidder).

American with Disabilities Act of 1990 (ADA) - The remodeling, renovation, or new construction proposed shall comply with the Americans with Disabilities Act Accessibility Guidelines (ADAAG).  The following items are minimal requirements:

- An accessible route from accessible parking through an accessible entrance to primary function areas;

- Accessible toilets; and

- Accessible signage

Space measurement standards - Calculation of rentable and usable area should be based on ANSI/BOMA standards (Z65.1 – 1996, Standard Method for Measuring Floor Area in Office Buildings).

Cad drawings – Initial submissions do not require Cad drawings, specifically; the original submission requires only a level of detail to show all agencies included and the initial footprint proposed.

It is desired that plans be submitted on computer disk, using the most current AutoCAD Version 14 or above, DXF format.  Final plans must be sealed by an architect or engineer registered with the State of Kansas.  A final set of as-built drawings shall be provided to the Project Manager and the tenant agency occupying the space.

4.14	Plumbing

Hot & cold-water distribution – Hot and cold water will be provided at all restroom sinks, custodial closets, break room(s), etc.

Fire hydrants - Provide outside water hydrants as dictated by the local fire department.

##### 4.15	Mechanical & HVAC Systems

HVAC conditioning specifications – general office spaces & common areas - General office and common areas shall be heated in the winter to maintain the space environment at 68-74 degrees F. with a relative humidity of 20-30% and cooled in the summer at 74-78 degrees F. with a relative humidity of 40-60%.  As a guide, an adequately sized air distribution system shall provide 4-10 air changes per hour.

Air conditioning specifications – computer & electronics room(s) - Telecommunication, Computer, UPS and server room(s) require air conditioning systems designed to ensure proper environmental requirements are met.  These shall be sized to cool the tenant agency’s computer systems per manufacturer’s recommendation.

Other HVAC design criteria - HVAC design considerations shall include reasonable consideration of sound transmission, especially in training and conference rooms.  Noise criterion level shall be NC30-45 as defined by ASHRAE Handbook of Fundamentals 2001.  Return air sound transmission should be considered to ensure privacy.  Training rooms shall be designed to offset additional heat rejection from the computers.

Exhaust systems - All toilets, custodial closets, and break rooms shall have mechanical exhaust systems in accordance with International Mechanical Code and/or existing state and local code requirements.

##### 4.16	Electrical Systems

General - The overall electrical design must take into account office density and computer usage, telecommunication needs, special-use rooms, and other types of power demands.  The general electrical system specifications are as follows, with greater design detail to be developed once the leased space has been selected

Power requirement - Provide code-compliant service with adequate amperage to satisfy building and space needs.  Ground-to-neutral voltage not to exceed 1-volt p/p and 3-volts RMS within a range of 58Hz to 60Hz.  House circuits must be within 5% power range of 120 volts AC.  The building’s power factor shall be maintained at or above .85.

Distribution panels - The dedicated circuits for computers, copiers and specified office equipment are to have a separate ground and dedicated neutral.   All electric panels will be properly labeled according to destination.

Other electric design requirements –  Tel-data room will require six 208v connections for Uninterruptible Power Supplies (UPS). Panel board for tel-data should be located in tel-data room.

##### 4.17	Lighting Systems

General design standards - The total interior/exterior lighting system shall meet the requirements of the ASHRAE 90.1, latest edition (i.e. the interior lighting power density shall not exceed 1.3 watts per square foot of building area, where the lighting load includes ballast power.

Brightness of work / desktop areas (foot candles) –  An average brightness of 50-60 foot candles is required.  Tel-data room brightness to average 90-100 foot candles.

Brightness of general and circulation areas –   A brightness of at least 10 foot candles is required.

Lighting controls - Lighting controls shall meet the requirements of ASHRAE 90.1, section 9.2.1 or latest addition of code. All building exterior and site lighting will be automatically controlled by photo sensors, time clocks, or a combination of both where required for energy conservation or security conditions per ASHRAE 90.1 section 9.2.1 or latest addition of code.

Exterior lighting - Exterior building illumination, lighting for safety and security, parking lots and driveways shall be illuminated as jointly determined.  Exterior lighting must be designed to avoid glare for drivers and neighbors.

Other lighting requirements - Bidders are encouraged to develop designs, which conserve natural resources by employing energy saving devices, such as lighting occupancy sensors.

4.18 	Telephone & Data Systems (Tel-Data):

Tel-data distribution system - The successful bidder shall provide the design and installation of the tel-data wiring distribution system.  The number of cable drops shall correspond with the total number of workstations, with expansion capability and layout flexibility to allow for tenant agency growth and/or reconfiguration of workspace areas.

Tel-data Design Standards - The tele-data wiring design shall conform at minimum to the standards described in the State of Kansas Publication entitled, “Wiring Infrastructure Standards for New and Remodeled Offices, Version 2.71”, October 21, 2009 (click on link, below).  These guidelines are based on EIA/TIA 568 Commercial Building Telecommunications Wiring Standard, and on the BICSI Telecommunications Distribution Methods Manual.

Telephone device - The successful bidder shall provide individual phone lines to each space using the telcom information listed in the space description below. The Receptionist area will need modular units capable of transferring phone calls to each line.

#### 4.19	Safety and Security

General - The proposed plan must take into account building and site security, which shall be developed in detail with the tenant agency as part of the design process.  The following security features shall be understood as a baseline requirement, possibly supplemented with other security systems as may be requested by the tenant agency on a to-be-negotiated basis.

Life Safety:  A life safety system shall be provided that meets building code and NFPA recommendations (NFPA 72, 1999 or newer, National Fire Alarm Code and NFPA 70, 1999 or newer, National Electrical Code).  A fire alarm, smoke detection (and/or heat detection) shall be provided in the building and if local code requires an automatic fire sprinkler system. Appropriate fire rated structure, walls and doors are required per building codes and industry standards. HVAC equipment interlocks shall be provided as required by NFPA, UBC and local jurisdictions based on the proposed facility and its configuration. Fire extinguishers shall be provided and maintained as required by code in finished areas in compartments and in service areas hung directly from the wall. Notwithstanding code requirements, fire extinguisher and fire sprinkler inspection and maintenance are required no less than once a year by trained personnel at no cost to the Lessee.

Emergency lights shall be provided and positioned, with rechargeable batteries and with a changeover time of no more than ten seconds and with no less than 90 minutes of backup power per IBC 2006.  Exits and exit access shall be provided and marked by approved illuminated signs using high efficiency light-emitting diodes readily visible from any direction of access.

The proposer shall identify all known or suspected hazardous or contaminated conditions on site including, but not limited to, subsurface, surface, and the building and its building envelope. Identify status of asbestos abatement, if any, for facility. Identify known or suspected areas of asbestos contamination. Identify known surveys and abatement projects or investigations and the author.

SRS reserves the right to require the proposer to provide appropriate environmental audits, hazardous material studies and abatement.  SRS will determine the need for this during negotiations.

Security:  Design shall consider relevant security needs for the building and site. A physical separation between public area and adjoining restrooms from the rest of the facility is required. Consideration is to be given to ensuring visibility throughout the facility.  Security concerns should be developed with SRS as part of the design and construction process. Specific requirements are as follows:

Access Management and Control: SRS prefers a magnetic card, preferably a proximity sensor, access system on exterior entrance doors, elevators, and interior doors that go from public access areas to staff areas.  SRS prefers a Wiegand/HID access control system shall be installed, although any systems proposed will be reviewed.  http://www.cardacc.com/cards.htm The number of doors required to be controlled by this system will be determined by SRS after a review of each proposal.  The system must have the ability to be operated by authorized SRS staff through computer control. The computer will be provided by SRS.  This system needs to have the ability to control who has access to each door, be able to record who has accessed a door and the date and time of entry, who has been denied access and the date and time that access was denied. The system must have the ability to add, delete, and change access codes and levels with speed and flexibility. This system is to utilize cards or proximity sensors.  Upon occupancy, 300 of these cards will be provided to SRS at no charge.

Door Locks and Keys:  Exterior entrance doors shall have a key override. Consideration should be given to access to local fire department and emergency personnel. The telecommunication room, custodial room, file room and conference rooms shall have a locking door, a minimum of ten (10) keys is to be provided for these rooms. All enclosed offices are to have locking doors with four (4) keys provided for each office.

Lighting: Building exterior and site lighting shall be automatically controlled by photo sensors for security conditions. Interior controls and lighting for after hour usage shall be provided. Interior controls may be programmable timers or photo sensors.  Florescent dimming is required in the large conference rooms and in the PC training lab. See Appendix A.

Vendors are invited to include in their proposal any “green” environmental efficiencies they may view appropriate, any Energy Management System, etc the building must meet Kansas Department of Administration energy standards.

Intrusion detection & control – Not required.

Panic Buttons/Silent Alarms – Not Required.

Video Surveillance:  Required to be installed by Lessor.  Number and location of cameras required will be determined by SRS after a review of each proposal.  A multiplex digital recording system capable of recording the activity of each surveillance camera simultaneously at all times shall be installed by the Lessor.  SRS has final approval of all Lessor’s video surveillance/recording equipment and installation vendors/subcontractors to be used.

##### 4.20	Energy Design Criteria

General - The State of Kansas seeks a facility that takes full advantage of proven technology through careful design and a reasonable balance between the cost of energy conservation improvements and their long-term economic value.  Accordingly, the items below list some of the basic energy-conservation features required of the selected building and space.

HVAC controls and set-back devices - HVAC equipment shall be properly sized and balanced to meet design conditions.  Each zone provided shall be equipped with programmable thermostatic controls, capable of a 55ο F night/weekend setback in the heating mode and 85ο F night/weekend set-up in the cooling mode.  Controls shall prevent reheating, re-cooling, and simultaneous heating and cooling in the same zone (where multiple system controls exist).  Conference rooms, training rooms, waiting and break rooms shall be zoned separately from normal office space to meet temperature, humidity and IAQ (indoor air quality) requirements of the conditioned space(s).

Minimum HVAC energy and efficiency standards - The State of Kansas requires that the following efficiency standards be achieved on HVAC systems in the proposed facility:

Winter:68-74 degF drybulb, 20-30% relative humidity

Summer:74-78 degF drybulb, 40-60% relative humidity

The heating system will use either natural gas, electrical heat pump(s) in conjunction with natural gas back up, or heat recovery chiller.  The heating system energy source will be based on an economic analysis of the specific HVAC system design options considered.

Heating system efficiency will not be less than 80% steady state at full load for natural gas boilers or furnaces.

Air conditioning equipment will meet or exceed the performance ratings required under Federal and State guidelines.

All ventilation systems will be controlled by a seven-day programmable time device.  Minimum ventilation rates will be capable of 15 cubic feet per minute per person during occupied hours and automatically reduced during off-work hours.

Buildings are to be in full compliance with the ANSI/ASHRAE/ESNA Standard 90.1, latest addition, Energy Design of New/Existing Commercial Buildings.

##### 4.21	Applicable Codes for State Buildings:  (As of September, 2008)

The Contractor shall ensure compliance with all applicable local and State building codes, ordinances, standards and regulations (see list below).  In the event that this RFP has requirements that do not comply with building codes, then the building code requirement will prevail.  In the event that the city/county does not have required building codes, the following shall apply (this list is not all-inclusive).

1. 	International Building Code (IBC), 2006 Edition.

a. 	Chapter 11, Accessibility, is deleted. See Item No. 11 below.

b. 	Additionally, The Life Safety Code (NFPA 101, 2000 edition) will also be applicable on projects where its use is required to meet Federal requirements (i.e. if the facility receives Center for Medicaid/Medicare Services - CMS funding and inspections).

2. 	International Building Fire Code (IFC), 2006 Edition.

3. 	International Residential Code (IRC), 2006 Edition.

4. 	International Mechanical Code (IMC), 2006 Edition.

5. 	International Plumbing Code (IPC), 2006 Edition.

6. 	International Fuel Gas Code (IFGC), 2006 Edition.

7. 	International Energy Conservation Code (IECC), 2006 Edition.

8. 	The codes and standards referenced in the Referenced Standards Chapter in the IBC, IFC, IRC, IMC, IPC, IFGC and IECC shall be applicable.

9. 	National Fire Protection Association (NFPA), National Fire Codes and Standards, as referenced in the codes listed in item 1 through 7 or as required by Division of Facilities Management for special conditions. (NFPA 13 & 13R, 2002 edition – Installation of Sprinkler Systems Code and NFPA 72, 2002 edition – The National Fire Alarm Code are two such codes referenced in the IBC/IFC.)

a. 	NFPA 101, 2000 edition - The Life Safety Code shall only be applicable on projects where its use is required to meet Federal requirements (i.e. if the facility receives CMS funding and inspections).

b. 	NFPA 70 - National Electric Code (NEC), 2005 Edition is applicable.

10.	Kansas Fire Prevention Code (This code combines many different documents including Kansas state statutes (K.S.A.), Kansas state regulations (K.A.R.), and Kansas State Fire Marshal (KSFM) interpretations and rules.) A list of pertinent statutes and regulations can be found at the KSFM website at http://www.accesskansas.org/firemarshal.)

11. Americans with Disabilities Act Accessibility Guidelines for Buildings and Facilities (ADAAG), published in the Federal Register 7-26-91 (K.S.A. 58-1301 et seq.) and/or the Uniform Federal Accessibility Standards (UFAS), which also apply to agencies covered by Section 504 of the Rehabilitation Act of 1973.

12. Kansas State Boiler Code (K.S.A 44-913 available though Kansas Department of Labor (http://www.dol.ks.gov found under workplace safety-labor safety programs-boiler safety) and the ASME Boiler Pressure Vessel Code, as referenced in Kansas State Boiler Code.

APPENDIX A

Telecommunication Jacks, Electrical Outlets, Special Lighting and Room Ceiling Fan Estimated Requirements

|  | Area | Type A,E,O | Work | Telecom | General | Computer | Room | Special | Card Reader |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Areas | Jacks | Outlets | Outlets | Fans | Lighting |  |
|  | Unit Operations |  |  |  |  |  |  |  |  |
| 1 | Admin Specialist | O | 1 | 1 | 1 | 1 |  |  |  |
| 2 | MSA I | E | 1 | 2 | 2 | 2 |  |  |  |
| 3 | Account I | E | 1 | 2 | 2 | 2 |  |  |  |
| 4 | Senior AA | O | 4 | 4 | 4 | 4 |  |  |  |
| 5 | Intern | O | 1 | 1 | 1 | 1 |  |  |  |
| 6 | Switchboard | O | 1 | 1 | 1 | 1 |  |  |  |
| 7 | HSA | O | 1 | 1 | 1 | 1 |  |  |  |
| 8 | GMRT | O | 2 | 2 | 2 | 2 |  |  |  |
| 9 | Travel Staff | O | 1 | 1 | 1 | 1 |  |  |  |
| 10 | Supply Storage | E | 1 | 0 | 2 | 0 |  |  | 1 |
| 11 | Mail Dist Center | O | 1 | 2 | 2 | 1 |  |  |  |
| 12 | Multimedia Output Center | A | 1 | 2 | 2 | 1 |  |  |  |
|  | Unit IT |  |  |  |  |  |  |  |  |
| 13 | IR Spec II | E | 1 | 4 | 4 | 4 |  |  |  |
| 14 | TSC III | D | 1 | 4 | 4 | 4 |  |  |  |
| 15 | Vacant | D | 1 | 4 | 4 | 4 |  |  |  |
| 16 | IT Storage | E | 1 | 0 | 2 | 0 |  |  | 1 |
|  | Unit Leadership |  |  |  |  |  |  |  |  |
| 17 | Senior Admin Specialist | O | 1 | 1 | 1 | 1 |  |  |  |
| 18 | Asst. Director PI | E | 1 | 2 | 2 | 2 |  |  |  |
| 19 | Asst. Director ISD | E | 1 | 2 | 2 | 2 |  |  |  |
| 20 | Asst. Director OPS | E | 1 | 2 | 2 | 2 |  |  |  |
| 21 | PC II | E | 1 | 2 | 2 | 2 |  |  |  |
| 22 | Travel Staff | E | 3 | 6 | 6 | 6 |  |  |  |
|  | Unit Human Resources |  |  |  |  |  |  |  |  |
| 23 | HRP II | E | 1 | 2 | 2 | 2 |  |  |  |
| 24 | HRP I | E | 1 | 2 | 2 | 2 |  |  |  |
| 25 | Admin Specialist | O | 1 | 1 | 1 | 1 |  |  |  |
| 26 | WEP | O | 1 | 1 | 1 | 1 |  |  |  |
| 27 | Applicant Station | O | 1 | 1 | 1 | 1 |  |  |  |
| 28 | Multimedia Output Center | A | 1 | 2 | 2 | 1 |  |  |  |
| 29 | Files | E | 1 | 1 | 2 | 1 |  |  |  |
|  | Unit Legal |  |  |  |  |  |  |  |  |
| 30 | Staff Attorney | E | 1 | 2 | 2 | 2 |  |  |  |
| 31 | SI I | O | 1 | 1 | 1 | 1 |  |  |  |
| 32 | Admin Specialist | O | 1 | 1 | 1 | 1 |  |  |  |
| 33 | Travel Staff | O | 1 | 1 | 1 | 1 |  |  |  |
| 34 | Multimedia Output Center | A | 1 | 2 | 2 | 1 |  |  |  |
| 35 | Files | E | 1 | 1 | 2 | 1 |  |  |  |
|  | Unit Com Collab |  |  |  |  |  |  |  |  |
| 36 | PC II | O | 1 | 1 | 1 | 1 |  |  |  |
| 37 | Multimedia Output Center | A | 1 | 2 | 2 | 1 |  |  |  |
| 38 | RADAC | O | 4 | 4 | 4 | 4 |  |  |  |
|  | Area | Type A,E,O | Work | Telecom | General | Computer | Room | Special | Card Reader |
|  |  |  | Areas | Jacks | Outlets | Outlets | Fans | Lighting |  |
| 39 | Sr Mentor (EES Provider) | O | 3 | 3 | 3 | 3 |  |  |  |
| 40 | OARS | O | 3 | 3 | 3 | 3 |  |  |  |
| 41 | CC Files | E | 1 | 1 | 2 | 1 |  |  |  |
|  | Unit PI |  |  |  |  |  |  |  |  |
| 42 | SDS I | O | 1 | 1 | 1 | 1 |  |  |  |
| 43 | HSC | D | 2 | 2 | 2 | 2 |  |  |  |
| 44 | PC I | O | 4 | 4 | 4 | 4 |  |  |  |
| 45 | PC II | O | 4 | 4 | 4 | 4 |  |  |  |
| 46 | SDS I | O | 1 | 1 | 1 | 1 |  |  |  |
| 47 | Intern | O | 1 | 1 | 1 | 1 |  |  |  |
| 48 | Travel Staff | O | 1 | 1 | 1 | 1 |  |  |  |
|  | Unit PI/QC |  |  |  |  |  |  |  |  |
| 49 | HSC | O | 2 | 2 | 2 | 2 |  |  |  |
| 50 | Multimedia Output Center | A | 1 | 2 | 2 | 1 |  |  |  |
| 51 | Storage | O | 1 | 1 | 1 | 1 |  |  |  |
|  | Unit EES E & D |  |  |  |  |  |  |  |  |
| 52 | HSS | O | 16 | 16 | 16 | 16 |  |  |  |
| 53 | HSA | O | 2 | 2 | 2 | 2 |  |  |  |
|  | Unit AMM/APS |  |  |  |  |  |  |  |  |
| 54 | APS SW | O | 4 | 4 | 4 | 4 |  |  |  |
| 55 | HSA | O | 1 | 1 | 1 | 1 |  |  |  |
| 56 | Multimedia Output Center | A | 1 | 2 | 2 | 1 |  |  |  |
| 57 | Files | O | 1 | 1 | 1 | 1 |  |  |  |
|  | Unit SS/PRC, FACTS, IL,IV-E Eligibility |  |  |  |  |  |  |  |  |
| 58 | HSA | O | 1 | 1 | 1 | 1 |  |  |  |
| 59 | HSA Travel | O | 2 | 2 | 2 | 2 |  |  |  |
| 60 | Multimedia Output Center | A | 1 | 2 | 2 | 1 |  |  |  |
|  | Unit RS |  |  |  |  |  |  |  |  |
| 61 | PSE I | E | 1 | 2 | 2 | 2 |  |  |  |
| 62 | HSC | O | 10 | 10 | 10 | 10 |  |  |  |
| 63 | SAA | O | 1 | 1 | 1 | 1 |  |  |  |
| 64 | AS | O | 1 | 1 | 1 | 1 |  |  |  |
| 65 | Travel Staff | O | 1 | 1 | 1 | 1 |  |  |  |
| 66 | Storage | O | 1 | 1 | 1 | 1 |  |  |  |
|  | Unit CSE Legal |  |  |  |  |  |  |  |  |
| 67 | PSE II | E | 1 | 2 | 2 | 2 |  |  |  |
| 68 | ATTY I | E | 3 | 6 | 6 | 6 |  |  |  |
| 69 | AA | O | 1 | 1 | 1 | 1 |  |  |  |
| 70 | SAA | O | 3 | 3 | 3 | 3 |  |  |  |
| 71 | Legal Library | D | 1 | 1 | 1 | 1 |  |  |  |
| 72 | Multimedia Output Center | A | 1 | 2 | 2 | 1 |  |  |  |
|  | Unit Sups/Coaches |  |  |  |  |  |  |  |  |
| 73 | PSE I | E | 1 | 2 | 2 | 2 |  |  |  |
| 74 | EES | E | 6 | 12 | 12 | 12 |  |  |  |
| 75 | CFS | E | 5 | 10 | 10 | 10 |  |  |  |
| 76 | RS | E | 1 | 2 | 2 | 2 |  |  |  |
|  | Area | Type A,E,O | Work | Telecom | General | Computer | Room | Special | Card Reader |
|  |  |  | Areas | Jacks | Outlets | Outlets | Fans | Lighting |  |
| 77 | Multimedia Output Center | A | 1 | 2 | 2 | 1 |  |  |  |
| 78 | CSE | E | 2 | 4 | 4 | 4 |  |  |  |
| 79 | Travel Supervisor | E | 1 | 2 | 2 | 2 |  |  |  |
|  | Unit Support |  |  |  |  |  |  |  |  |
| 80 | EES HSA | O | 4 | 4 | 4 | 4 |  |  |  |
| 81 | CSE AA | O | 2 | 2 | 2 | 2 |  |  |  |
| 82 | CSE HSA | O | 2 | 2 | 2 | 2 |  |  |  |
| 83 | CSE Interns | O | 3 | 3 | 3 | 3 |  |  |  |
| 84 | CSF HSA | O | 5 | 5 | 5 | 5 |  |  |  |
| 85 | CFS Interns | O | 2 | 2 | 2 | 2 |  |  |  |
| 86 | Multimedia Output Center | A | 1 | 2 | 2 | 1 |  |  |  |
| 87 | CFS Staging Area | O | 1 | 1 | 1 | 1 |  |  |  |
|  | Unit IST A |  |  |  |  |  |  |  |  |
| 88 | EES | O | 7 | 7 | 7 | 7 |  |  |  |
| 89 | CFS | O | 2 | 2 | 2 | 2 |  |  |  |
| 90 | CSE | O | 3 | 3 | 3 | 3 |  |  |  |
| 91 | RS | O | 2 | 2 | 2 | 2 |  |  |  |
|  | Unit IST B |  |  |  |  |  |  |  |  |
| 92 | EES | O | 7 | 7 | 7 | 7 |  |  |  |
| 93 | CFS | O | 4 | 4 | 4 | 4 |  |  |  |
| 94 | CSE | O | 2 | 2 | 2 | 2 |  |  |  |
| 95 | RS | O | 2 | 2 | 2 | 2 |  |  |  |
|  | Unit IST C |  |  |  |  |  |  |  |  |
| 96 | EES | O | 7 | 7 | 7 | 7 |  |  |  |
| 97 | CFS | O | 5 | 5 | 5 | 5 |  |  |  |
| 98 | CSE | O | 2 | 2 | 2 | 2 |  |  |  |
| 99 | RS | O | 1 | 1 | 1 | 1 |  |  |  |
|  | Unit IST D |  |  |  |  |  |  |  |  |
| 100 | EES | O | 6 | 6 | 6 | 6 |  |  |  |
| 101 | CFS | O | 5 | 5 | 5 | 5 |  |  |  |
| 102 | CSE | O | 1 | 1 | 1 | 1 |  |  |  |
| 103 | RS | O | 1 | 1 | 1 | 1 |  |  |  |
|  | Unit IST E |  |  |  |  |  |  |  |  |
| 104 | EES | O | 5 | 5 | 5 | 5 |  |  |  |
| 105 | CFS | O | 5 | 5 | 5 | 5 |  |  |  |
| 106 | CSE | O | 2 | 2 | 2 | 2 |  |  |  |
| 107 | RS | O | 1 | 1 | 1 | 1 |  |  |  |
|  | Unit IST F |  |  |  |  |  |  |  |  |
| 108 | EES | O | 5 | 5 | 5 | 5 |  |  |  |
| 109 | CFS | O | 5 | 5 | 5 | 5 |  |  |  |
| 110 | CSE | O | 1 | 1 | 1 | 1 |  |  |  |
| 111 | RS | O | 1 | 1 | 1 | 1 |  |  |  |
|  | Unit IST G |  |  |  |  |  |  |  |  |
| 112 | EES | O | 5 | 5 | 5 | 5 |  |  |  |
| 113 | CFS | O | 3 | 3 | 3 | 3 |  |  |  |
| 114 | CSE | O | 1 | 1 | 1 | 1 |  |  |  |
| 115 | RS | O | 1 | 1 | 1 | 1 |  |  |  |
|  | Area | Type A,E,O | Work | Telecom | General | Computer | Room | Special | Card Reader |
|  |  |  | Areas | Jacks | Outlets | Outlets | Fans | Lighting |  |
|  | Unit IST H |  |  |  |  |  |  |  |  |
| 116 | EES | O | 5 | 5 | 5 | 5 |  |  |  |
| 117 | CFS | O | 2 | 2 | 2 | 2 |  |  |  |
| 118 | CSE | O | 1 | 1 | 1 | 1 |  |  |  |
| 119 | RS | O | 1 | 1 | 1 | 1 |  |  |  |
|  | Unit IST I |  |  |  |  |  |  |  |  |
| 120 | EES | O | 6 | 6 | 6 | 6 |  |  |  |
| 121 | CFS | O | 2 | 2 | 2 | 2 |  |  |  |
| 122 | CSE | O | 1 | 1 | 1 | 1 |  |  |  |
| 123 | RS | O | 1 | 1 | 1 | 1 |  |  |  |
| 124 | For Herman Miller Compression | O |  | 50 | 50 | 50 |  |  |  |
|  | Unit Common |  |  |  |  |  |  |  |  |
| 125 | Break Room | E | 1 | 1 | 16 | 1 |  |  |  |
| 126 | Coffee Kitchen | A | 1 | 0 | 6 | 0 |  |  |  |
| 127 | Vending | A | 1 | 0 | 3 | 0 |  |  |  |
| 128 | OPS Secure Storage (10 X 15) | E | 1 | 0 | 4 | 0 |  |  | 1 |
| 129 | Small Conference Room | E | 4 | 4 | 8 | 4 |  |  |  |
| 130 | Staff Classroom (24 X 30) | E | 1 | 4 | 8 | 4 | 1 | X |  |
| 131 | Child Supervision Area (SM) | E | 1 | 1 | 0 | 0 |  |  |  |
| 132 | Family Bathroom (12 X 12) | E | 1 | 0 | 3 | 0 |  |  |  |
| 133 | Storage | E | 5 | 0 | 10 | 0 |  |  |  |
| 134 | Computer Training Lab (24 X 24) | E | 1 | 16 | 12 | 16 | 1 | X | 1 |
| 135 | Telecom Room (20 X 14) | E | 1 | See Specs | See Specs | See Specs |  |  | 1 |
| 136 | Recycle/Shred Areas | A | 21 | 0 | 0 | 0 |  |  |  |
| 137 | Inactive Files | E | 1 | 1 | 8 | 1 |  |  | 1 |
| 138 | Dock/ Receiving | E | 1 | 1 | 2 | 0 |  |  |  |
| 139 | Janitors Closet | E | 1 | 0 | 1 | 0 |  |  |  |
|  | Unit Lobby |  |  |  |  |  |  |  |  |
| 140 | Reception | O | 3 | 6 | 3 | 3 |  |  |  |
| 141 | EBT Issuance station | O | 1 | 2 | 1 | 1 |  |  |  |
| 142 | Child Play Area | E | 1 | 0 | 0 | 0 |  |  |  |
| 143 | Waiting Lobby | A | 1 | 0 | 6 | 0 | 2 |  |  |
| 144 | Courtesy Phones | A | 4 | 4 | 0 | 0 |  |  |  |
|  | Unit Public |  |  |  |  |  |  |  |  |
| 145 | Large Conference room | E | 1 | 4 | 12 | 12 | 4 | X |  |
| 146 | Conference | E | 5 | 5 | 10 | 5 |  |  |  |
| 147 | Interview Rooms (8X10) | E | 16 | 16 | 32 | 16 |  |  |  |
| 148 | Interview Space (10 X 10) no door | E | 1 | 1 | 2 | 1 |  |  |  |
| 149 | Family Interview Area | E | 1 | 1 | 2 | 1 |  |  |  |
| 150 | Group Meeting Room | E | 1 | 4 | 8 | 4 |  |  |  |
| 151 | CDC Testing Large | E | 1 | 1 | 2 | 1 |  |  |  |
| 152 | CDC Testing Small | E | 1 | 1 | 2 | 1 |  |  |  |
| 153 | Vending | A | 1 | 0 | 3 | 0 |  |  |  |
|  | TOTAL |  | 354 | 448 | 546 | 435 | 8 |  | 6 |

Notes:	The above number of electrical outlets is for a duplex outlet.  However, when applicable a four-plex design is desired containing a duplex outlet for general usage and another color keyed duplex outlet for computer usage whenever possible.  If separate outlets are used a general outlet is required to be located in proximity to each computer outlet and these jacks must separated by at least one foot to avoid electrical interference.  The tel-data room has specific design requirements to be met not withstanding this schedule.

AREA TYPE DEFINITIONS:

A	Area partly enclosed or open depending on space plan or building configuration

E	Enclosed room or workstation with hard wall construction with a door

O	Open office area - may use miscellaneous open office systems furniture and components (typically Herman Miller).

EXHIBIT A – Vendor's Estimated Cost Worksheet (1st Tab)

&

Exhibit B - Vendor's Proposed Lease Cost Submission Form (2nd Tab)

Bidders should use the MS Excel worksheet available by clicking on the icons below.  Populate the necessary pricing fields, print and submit with bid documents.  There are two (2) tabs on this worksheet (Exhibit A & Exhibit B).  Include both with your proposal.

The State of Kansas will not pay any up-front payments or payments in addition to that which bidders indicate on the attached worksheets.

- VARIANCE(S) REQUESTED:  Check this box if this proposal is contingent upon any variances to provisions of the Specifications and/or Attachment(s).  All variances to the Specifications and Attachment(s) must be fully explained on a separate document attached to the completed Proposal Forms.  Failure to comply with this requirement may result in disqualification of the proposal or, at the discretion of the State, insistence on full compliance with Specifications.

Vendors are instructed to complete the following:

1)	Site the source and provide applicable documentation for the pricing on the following items:

Insurance:

Taxes:

Utilities:

2)	Provide comparable rates for leases within the same geographical area:

3)  The proposed facility is:				7)  The proposed premises are:

____ (a) an existing structure with renovations		____ (a) all in one continuous space

____ (b) an existing structure with no renovations		____ (b) located on more than one level

____ (c) an existing structure with an addition		____ (c) located on one level but different areas, not ____ (d) new construction						connected

4)  The proposed premises are currently:			8)  The exterior of the proposed facility is:

____ (a) owned by the bidder				____ (a) brick	____ (b) block	____ (c) wood

____ (b) Bidder has a signed option to purchase contract	____ (d) metal	____ (e) drivit	____ (f) other

____ (c ) Bidder is acquiring an option to purchase contract

____ (d) Bidder has a verbal agreement with the owner	9)  The proposed facility’s roof is:

____ (e) Bidder has no ownership rights or obligations		____ (a) Shingle____ (b) metal____ (c) membrane

____ (f) Broker representing an individual

5)  In order to comply with local zoning 			10)  The proposed facility’s HVAC system is:

requirements, the proposed premises:			Heat:  ____ (a) gas____ (b) electric	 (c) other ____

____ (a) are zoned correctly____ (b) must be re-zoned	Air:     ____ (a) gas____ (b) electric	 (c) other ____

(if other, please clarify)

6)  The proposed facility would be designed for and 	11)  The proposed facility’s parking lot is:

occupied by:						____ (a) asphalt	____ (b) concrete

____ (a) only the agency(s) specified in this RFP

____ (b) the agency(s) specified in this RFP and other 	12)  The proposed facility is:

state agencies					____ (a) single level ____ (b) a multi-level

____ (c) the agency(s) specified in this RFP and other

non-state organization(s)

| Exhibit C – bidder’s proposed PROJECT SCHEDULE Bid Contract Number: __________________________________ Bidder Name:________________________________________________________ |  |  |  |  |
| --- | --- | --- | --- | --- |
| # | MILESTONE | DURATION | START | COMPLETION |
| 1 | Lease agreement approved |  |  |  |
| 2 | Final space plan due from Owner |  |  |  |
| 3 | 50% Construction Document Review |  |  |  |
| 4 | Final Construction Document Review |  |  |  |
| 5 | Building permit acquisition |  |  |  |
| 6 | Construction contract bid/award |  |  |  |
| 7 | Demolition of existing structure |  |  |  |
| 8 | Start of construction or remodeling |  |  |  |
| 9 | Foundation work |  |  |  |
| 10 | Rough framing |  |  |  |
| 11 | Building enclosed |  |  |  |
| 12 | Interior framing |  |  |  |
| 13 | Mechanical rough-in |  |  |  |
| 14 | Electrical rough-in |  |  |  |
| 15 | Telecom conduit installed |  |  |  |
| 16 | Construction complete |  |  |  |
| 17 | Occupancy permit awarded |  |  |  |
| 18 | ADAAG checklist completed |  |  |  |
| 19 | Inspection and occupancy by State tenant |  |  |  |

Shaded milestone numbers are the responsibility of State of Kansas personnel and/or their contractors.

Bidder  ________________________________________  Bidder’s Signature:____________________________________________________            DATE

Appendix B

Appendix C

State of Kansas

Department of Administration

DA-146a    (Rev. 1-01)

CONTRACTUAL PROVISIONS ATTACHMENT

Important:	This form contains mandatory contract provisions and must be attached to or incorporated in all copies of any contractual agreement.  If it is attached to the vendor/contractor's standard contract form, then that form must be altered to contain the following provision:

"The Provisions found in Contractual Provisions Attachment (Form DA-146a, Rev. 1-01), which is attached hereto, are hereby incorporated in this contract and made a part thereof."

The parties agree that the following provisions are hereby incorporated into the contract to which it is attached and made a part thereof, said contract being the _____ day of ____________________, 20_____.

1.	Terms Herein Controlling Provisions:  It is expressly agreed that the terms of each and every provision in this attachment shall prevail and control over the terms of any other conflicting provision in any other document relating to and a part of the contract in which this attachment is incorporated.

2.	Agreement With Kansas Law:  All contractual agreements shall be subject to, governed by, and construed according to the laws of the State of Kansas.

3.	Termination Due To Lack Of Funding Appropriation:  If, in the judgment of the Director of Accounts and Reports, Department of Administration, sufficient funds are not appropriated to continue the function performed in this agreement and for the payment of the charges hereunder, State may terminate this agreement at the end of its current fiscal year.  State agrees to give written notice of termination to contractor at least 30 days prior to the end of its current fiscal year, and shall give such notice for a greater period prior to the end of such fiscal year as may be provided in this contract, except that such notice shall not be required prior to 90 days before the end of such fiscal year.  Contractor shall have the right, at the end of such fiscal year, to take possession of any equipment provided State under the contract.  State will pay to the contractor all regular contractual payments incurred through the end of such fiscal year, plus contractual charges incidental to the return of any such equipment.  Upon termination of the agreement by State, title to any such equipment shall revert to contractor at the end of State's current fiscal year.  The termination of the contract pursuant to this paragraph shall not cause any penalty to be charged to the agency or the contractor.

4.	Disclaimer Of Liability:  Neither the State of Kansas nor any agency thereof shall hold harmless or indemnify any contractor beyond that liability incurred under the Kansas Tort Claims Act (K.S.A. 75-6101 et seq.).

5.	Anti-Discrimination Clause:  The contractor agrees: (a) to comply with the Kansas Act Against Discrimination (K.S.A. 44-1001 et seq.) and the Kansas Age Discrimination in Employment Act (K.S.A. 44-1111 et seq.) and the applicable provisions of the Americans With Disabilities Act (42 U.S.C. 12101 et seq.) (ADA) and to not discriminate against any person because of race, religion, color, sex, disability, national origin or ancestry, or age in the admission or access to, or treatment or employment in, its programs or activities; (b) to include in all solicitations or advertisements for employees, the phrase "equal opportunity employer"; (c) to comply with the reporting requirements set out at K.S.A. 44-1031 and K.S.A. 44-1116; (d) to include those provisions in every subcontract or purchase order so that they are binding upon such subcontractor or vendor; (e) that a failure to comply with the reporting requirements of (c) above or if the contractor is found guilty of any violation of such acts by the Kansas Human Rights Commission, such violation shall constitute a breach of contract and the contract may be cancelled, terminated or suspended, in whole or in part, by the contracting state agency or the Kansas Department of Administration; (f) if it is determined that the contractor has violated applicable provisions of ADA, such violation shall constitute a breach of contract and the contract may be cancelled, terminated or suspended, in whole or in part, by the contracting state agency or the Kansas Department of Administration.

Parties to this contract understand that the provisions of this paragraph number 5 (with the exception of those provisions relating to the ADA) are not applicable to a contractor who employs fewer than four employees during the term of such contract or whose contracts with the contracting state agency cumulatively total $5,000 or less during the fiscal year of such agency.

6.	Acceptance Of Contract:  This contract shall not be considered accepted, approved or otherwise effective until the statutorily required approvals and certifications have been given.

7.	Arbitration, Damages, Warranties:  Notwithstanding any language to the contrary, no interpretation shall be allowed to find the State or any agency thereof has agreed to binding arbitration, or the payment of damages or penalties upon the occurrence of a contingency. Further, the State of Kansas shall not agree to pay attorney fees and late payment charges beyond those available under the Kansas Prompt Payment Act (K.S.A. 75-6403), and no provision will be given effect which attempts to exclude, modify, disclaim or otherwise attempt to limit implied warranties of merchantability and fitness for a particular purpose.

8.	Representative's Authority To Contract:  By signing this contract, the representative of the contractor thereby represents that such person is duly authorized by the contractor to execute this contract on behalf of the contractor and that the contractor agrees to be bound by the provisions thereof.

9.	Responsibility For Taxes:  The State of Kansas shall not be responsible for, nor indemnify a contractor for, any federal, state or local taxes which may be imposed or levied upon the subject matter of this contract.

10.	Insurance:  The State of Kansas shall not be required to purchase, any insurance against loss or damage to any personal property to which this contract relates, nor shall this contract require the State to establish a "self-insurance" fund to protect against any such loss or damage.  Subject to the provisions of the Kansas Tort Claims Act (K.S.A. 75-6101 et seq.), the vendor or lessor shall bear the risk of any loss or damage to any personal property in which vendor or lessor holds title.

11.	Information:  No provision of this contract shall be construed as limiting the Legislative Division of Post Audit from having access to information pursuant to K.S.A. 46-1101 et seq.

12.	The Eleventh Amendment:  "The Eleventh Amendment is an inherent and incumbent protection with the State of Kansas and need not be reserved, but prudence requires the State to reiterate that nothing related to this contract shall be deemed a waiver of the Eleventh Amendment."