INVITATION TO BID
Lighting Upgrades at Four (4) Facilities of 

Indian Prairie Community Unit School District 204

1. Brookdale Elementary School, 1200 Redfield Road, Naperville, Illinois, 60540, DuPage County
2. Graham Elementary School, 2315 High Meadow Road, Naperville, Illinois 60564, Will County
3. Hill Middle School, 1836 Brookdale Road, Naperville, Illinois, 60563, DuPage County
4. Gregory Middle School, 2621 Springdale Circle, Naperville, 60565, Will County
INSTRUCTION TO BIDDERS
Director of Support Services Karla Zozulia, will receive bids for the Board of Education, 
Indian Prairie School District 204, at 1:30 PM on Monday, October 22, 2007; at which time a public opening of bids will take place.  Bids will be received/opened at:

Crouse Education Center
Indian Prairie Community Unit School District #204
Attention: Karla Zozulia
780 Shoreline Drive 

Aurora, Illinois  60504

(phone: 630-375-3077;  fax: 630-978-5200)
BIDDING INSTRUCTIONS
1.  Proposals received after the specified date may not be considered.  Required specifications  

     are enclosed.
2.  Indian Prairie Community Unit School District #204, the “District”, reserves the right to reject 
     any/all bids, waive minor informalities in any bid, or make award in the best interest of the 
     District.  
3.  Should a bidder find any discrepancy or omission within any document or be in doubt as to its    

     meaning, he/she must advise Director of Support Services Karla Zozulia at (630) 375-3077.    

     As needed, the District will issue necessary clarifications to all prospective bidders by means  

     of e-mailed addenda.

4.  Bids should include a calculation of the estimated final kilowatt savings resulting from the  

     project, as installed.

5.  Where trade names, models or catalog numbers are specified, they are understood to indicate  

    minimum design and quality desired.  Descriptions are given for the purpose of providing a  

    suitable basis for comparison, not for the purpose of limiting competition.  If items other than 
    those specified are substituted, the bidder must, via attachment to the Bid Worksheet, give 
    the name of the manufacturer, model or catalog number, etc., and submit literature to aid the  

    District in evaluating the substitution(s).  It is assumed if no changes are indicated, items will
    be furnished as specified.
6.  Prices quoted must be guaranteed for a period of not less than ninety (90) days, and 
     considered firm upon receipt of a district purchase order.

7.  All spaces on the proposal must be filled.  The signature(s) must be in longhand, by a 
    principal authorized to make contracts.  The bidder’s legal name must be fully stated.  Bids 
    may not be accepted after closing time, regardless of how they are transmitted.

8.  The outside of a sealed envelope containing a bid should be plainly marked:
SEALED BID

Lighting Upgrade Projects

2007-2008
9.  Every bid must contain certification that the prime contractor is not barred from contracting 
     with any unit of state or local government as a result of a violation of 720 ILCS 5/33E-3 and 
     33E-4.  Failure to complete certification will result in disqualification of the bid.

10.  Failure to include signed and dated forms insuring Drug Free Work Place Certification may 
      result in disqualification of the bid.

PREVAILING WAGE
1.  The rates of per diem wages, including legal holidays and overtime work for all classes of  

     labor required on the project will be prevailing wage rates in the school district, located in  

     DuPage and Will Counties.  Current prevailing wage documents are attached.  If a 
     prevailing wage rate(s) changes prior to completion of the job, the contractor will not use the   

     rate increase as cause to increase project cost to the District.
2.  Contractors and subcontractors on public works projects must submit certified payroll records 
     on a monthly basis to the public body in charge of the construction project, along with a 
     statement affirming that such records are true and accurate, that the wages paid to each 
     worker are not less than the required prevailing rate and that the contractor is aware that 
     filing records he or she knows to be false is a Class B misdemeanor.

3.  The certified payroll records must include for every worker employed on the public works 
     project the name, address, telephone number, social security number, job classification, 
     hourly wages paid in each pay period, number of hours worked each day, and starting and 
     ending time of work each day.  These certified payroll records are considered to be public 
     records and public bodies must make these records available to the public under the Freedom 
     of Information Act, with the exception of the employee’s address, telephone number and 
     social security number.  Any contractor who fails to submit a certified payroll or knowingly 
     files a false certified payroll is guilty of a Class B misdemeanor.

4.  Bidders agree to comply with all pertinent statutes of the State of Illinois relative to   

     employment in connection with public contracts, including but not limited to, provisions of the 
     Illinois Human Rights Act.  As defined by the Act, unfair employment practices may not be 
     committed by the contractor, his suppliers of material, or any labor organization furnishing 
     skilled or unskilled labor to the contractor.

INSURANCE
1. The Contractor will provide Workmen’s Compensation, public liability and property damage insurance to fully protect the Contractor, subcontractors and the District.

2. Workmen’s Compensation-Employers Liability 
   



    $500,000

Comprehensive auto and general bodily injury liability

- Personal injury     







    $1,000,000     

- Property damage  





                         $1,000,000 
- Comprehensive automobile liability including non-ownership per occurrence     $1,000,000

3.  The Contractor may be required to provide additional information, as needed, to satisfy the
     District the Contractor is able to fulfill the contract.
4.  The Contractor will provide insurance policies that may not be canceled or endorsed to reduce

or limit coverage during this contract.

5.  Workmen’s Compensation insurance must cover all employees of the Contractor involved in

performance of this contract.  

An insurance certificate(s) in the given amounts must be sent to the Director of Support Services, at the address on page #1.  No work will start until the certificate(s) is sent.

DELIVERY

1. Dependent on the meeting schedule of the Board of Education, the successful bidder will be notified, and a purchase order issued.  The purchase order will act as a contract for service described in this document.

2. Caution must be used at all times for protection of persons and property.  Safety provisions of applicable laws and building and construction codes will be observed.  All hazards must be guarded or eliminated in accordance with safety provisions of the Manual of Accident Prevention in Construction, established by the Association of General Contractors of America and Federal Safety and Health Regulations for Construction as issued by the Department of Labor.

3. Damage to District property by Contractor personnel, will be repaired or replaced by the

Contractor in a manner agreed upon by the District. 

4. The Contractor assumes responsibility for protection of all equipment under his/her contract.  The Contractor will repair or replace damaged equipment in a timely manner.  

WITHDRAWAL OF BIDS
A bidder may withdraw a bid any time prior to the scheduled time for receipt of bids.

APPLICATION FOR PAYMENT

1. The Contractor will submit an itemized invoice including a detailed list of all lighting equipment removed and new/retrofit systems installed as part of the project and a calculation of the final amount of electricity demand reduction measured in watts resulting from the project.  The invoice will be sent to Karla Zozulia, Director of Support Services, at the address on page #1.  Invoices are paid after approval of the Director of Support Services and Board of Education.  Timing is dependent upon the schedule of Board of Education meetings.

2.  The Contractor pays local, county, state, or federal; sales, excise, use or other taxes as

     applicable.

3.  A waiver of lien for the entire requested amount, must accompany an invoice. 

QUALIFICATION OF BIDDERS

1. To demonstrate qualifications to perform described services, each bidder must be prepared to submit, within five (5) days of the District’s request, any written evidence (i.e. financial data, previous experience, present commitments, etc.) the District feels is necessary.

2. The bidder must include with the bid proposal, a list of commercial customers for whom similar services have been performed in the last two years.  A list of subcontractors employed on this project, will also be part of the bid package.

3. A bid bond, or certified check, equal to 10% of the base bid will be submitted with the bid.

INDEMNIFICATION

To the full extent permitted by law, the Contractor will indemnify and hold harmless the District, its agents and employees, against all claims, damages, losses and expenses; including but not limited to, attorney’s fees resulting from the performance of the Contractor’s work in this contract.  This is provided the claim, damage, loss or expense is attributable to bodily injury, sickness, disease, death, or injury; or destruction of tangible property, other than the service itself. It includes the loss of use, in whole or part, by a negligent act or omission of the Contractor or anyone directly or indirectly employed by him, or any one for whose acts he may be liable, regardless of whether it is caused in part by a party indemnified hereunder.  This obligation will not be construed to neglect, abridge or reduce; any right, obligation or indemnity, that otherwise exists for any part or person, described in this article.









SUPERVISION OF WORK

1. The Contractor will provide a competent superintendent to supervise all service.  The Contractor will perform duties in a workmanlike manner, causing as little disturbance and inconvenience as possible for the District’s personnel and students.  

2. The Contractor will not let, transfer or assign this contract, in part or whole, without the District’s written consent.

3. Service must be coordinated through the Director of Support Services, or her designee. This includes, but may not be limited to, the date, time and extent of service.

4. All work will be done in conformance with applicable federal, state, and local laws.
SCOPE OF AGREEMENT
1. The District has the right to inspect services for conformity to specifications.  The District will give the Contractor, upon dissatisfaction of any service rendered for the Agreement, a reasonable period of time to rectify the situation.

2. If the Contractor has not rectified the situation after the reasonable time period, the Owner may terminate this Agreement by giving thirty (30) days written notice.  Notice may be given personally or by registered mail.  Only an amount due for completed service will be paid to the Contractor at the cancellation date.

3. Failure of either party to enforce a provision(s) of this Agreement is not a waiver of the provision(s) or the right of either party to enforce the provision(s).

4. The Agreement will be construed according to State of Illinois laws.  The Agreement will be

divisible to any provisions that contravene any law.

5. The Agreement constitutes the entire contract between the parties.  An understanding or obligation not contained in the Agreement, is not binding upon them.

6. No waiver, alteration, or modification of any provision is binding on the parties, unless reduced to writing and signed by an authorized agent of the District and Contractor.

7. Changes in specifications, or explanations and statements a bidder wishes to make, must be attached to the affected bid document.  Otherwise, it is understood the bid is in strict accordance with specification requirements.

8. Bids are final and irrevocable.  No bid will be amended and/or corrected due to error or miscalculation.

9. Bids will state the nature and period of all warranties or guarantees provided.

10. The District has the right to reject any bid not suitable for the purpose for which it is intended.
LIGHTING UPGRADE SPECIFICATIONS

1. Bidders must be certified professional lighting contractors experienced with the type of work required.

2. The Contractor must be familiar with the Illinois Clean Energy Community Foundation’s required documents that need to be completed and submitted to the Foundation at the end of the project in order to receive grant monies.  The Contractor must furnish all documents required by the 2007 Illinois Clean Energy Community Foundation School Lighting Upgrade Grant. 

3. For compliance with the Illinois Clean Energy Community Foundation Grant, a calculation of the final amount of electricity demand reduction assumes the following estimated watts for existing 2x4x4 fixtures = 144 KW.

4. Work required under this specification must include all labor, materials and equipment necessary for completing the lighting retrofit projects per specifications.  

5. Contractors may inspect a work site(s) before submitting proposals.  Site inspections may only take place during 8:30 a.m. – 10:00 a.m. @ middle schools, 9:30 a.m. – 11:00 a.m. @ elementary schools, and again from 1:30 p.m. – 2:30 p.m. @ all schools on Tuesdays and Thursdays only, during the open bid period.  Contractors must sign in at the school’s reception desk or main office to receive security credentials, and ask for the Head Custodian.  Site inspections will be no longer than (15) minutes per site.  No allowance will be made on behalf of a contractor because of existing conditions.

6. The Contractor must obtain all state and local permits and licenses required by law and pay all fees that may be required in performance of the work

7. The Contractor must comply with all fire, safety and security regulations.

8. The Contractor must clean job sites daily and remove from the premises any waste material and debris caused by performance of the contract.

9. A meeting will be scheduled by the Director of Support Services before work begins, with the school Principal(s) or designee(s), Head Custodian(s), and Contractor. The Agenda will include, but may not be limited to:
1. Sequence of work

2. Construction schedule

3. Designation of responsible personnel

4. Use of premises

5. Safety of occupants and public

6. Protection of property

10. The Contractor must not unreasonably encumber a site with materials or equipment.

11. The Contractor will assume full responsibility for protection and safe-keeping of his building         materials and products stored on premises, and move, if necessary, stored products which interfere with operations of other contractors or the District, or interfere with building operations.

12. The Contractor will work with the District to insure access to the work area is approved when the Contractor is available to work.  

13. Approved manufacturers for lamps, ballasts and reflector kits are:  GE, Osram Sylvania, Phillips, Advanced, US Energy Sciences or equal.  Reflectors must be 95% enhanced aluminum.  All lamps must be 5000K.
14. Beginning December 24, 2007, it is expected work will be complete on January 4, 2008.  Work hours will be Monday through Friday, 7:00 AM - 3:30 PM.  Leftover work must be completed on 2nd shift (3:00 – 11:30 PM), at no extra cost to the District, no later than January 11, 2007
15. The scope of work follows:

BROOKDALE ELEMENTARY SCHOOL
Brookdale Elementary School is 120 Volt lighting system.

	Item #
	Quantity
	Specifications for Retrofit or New Fixture Installation
	Quantity
	Existing Fixture

	1. 
	6
	Retrofit 4’1 lamp fixture with 4’ T8 lamp and one electronic ballast
	6
	4’1 lamp fixture with T12 lamp and magnetic ballast

	2. 
	129
	Retrofit 4’2 lamp fixture with 4’ T8 lamps and one electronic ballast
	129
	4’2 lamp fixture with T12 lamps and magnetic ballast

	3. 
	27
	Install new 4’2 lamp wrap fixture with 4’ T8 lamps and one electronic ballast
	27
	4’2 lamp fixture with VHOT12 lamps and magnetic ballast

	4. 
	13
	Retrofit (2) 4’1 lamp fixtures with 4’ T8 lamps and one electronic ballast.  Tandem wire (2) 4’1 lamp fixtures on one electronic ballast
	13


	(2) 4’1 lamp fixture with T12 lamp and magnetic ballast

	5. 
	37


	Retrofit (3) 4’1 lamp fixtures with 4’ T8 lamps and one electronic ballast.  Tandem wire (3) 4’1 lamp fixtures on one electronic ballast
	37
	(3) 4’1 lamp fixture with T12 lamp and magnetic ballast

	6. 
	176


	Retrofit (2) 4’2 lamp fixtures with 4’ T8 lamps and one electronic ballast.  Tandem wire (2) 4’2 lamp fixtures on one electronic ballast
	176
	(2) 4’2 lamp fixture with T12 lamps and magnetic ballast

	7. 
	31
	Retrofit 4’2 lamp fixture with 4’ T8 lamps, one electronic ballast and one 2x4 reflector kit including new sockets.
	31
	4’4 lamp fixture with T12 lamps and magnetic ballast

	8. 
	24
	Install new 8’6 lamp gym fixture with 4’ T8 lamps, electronic ballasts and wire cage
	24
	400 Watt High Pressure Sodium


GRAHAM ELEMENTARY SCHOOL
Graham Elementary School is 120 Volt lighting system.
	ITEM #
	TOTAL QTY
	SPECIFICATIONS FOR PROPOSED RETROFIT OR NEW FIXTURE INSTALLATION
	TOTAL QTY
	EXISTING FIXTURE

	9. 
	5
	Retrofit 4’1 lamp fixture with 4’ T8 lamp and one electronic ballast
	5
	4’1 lamp fixture with T12 lamp and magnetic ballast

	10. 
	21
	Retrofit 4’2 lamp fixture with 4’ T8 lamps and one electronic ballast
	21
	4’2 lamp fixture with T12 lamps and magnetic ballast

	11. 
	20
	Retrofit (2) 4’2 lamp fixtures with 4’ T8 lamps and one electronic ballast. Tandem wire (2) 4’2 lamp fixtures on one electronic ballast
	20
	(2) 4’3 lamp fixture with T12 lamps and magnetic ballast

	12. 
	57
	Retrofit (2) 4’2 lamp fixtures with 4’ T8 lamps and one electronic ballast.  Tandem wire (2) 4’2 lamp fixtures on one electronic ballast
	57
	(2) 4’2 lamp fixture with T12 lamps and magnetic ballast

	13. 
	1
	Retrofit 2’2 lamp fixture with U shaped T8 lamps with one electronic ballast
	1
	2’2 lamp fixture with U shaped T12 lamps and magnetic ballast


	14. 
	15
	Retrofit 4’2 lamp fixture with 4’ T8 lamps, one electronic ballast and one 2x4 reflector kit including new sockets.
	15


	4’3 lamp fixture with T12 lamps and magnetic ballast

	15. 
	498
	Retrofit 4’2 lamp fixture with 4’ T8 lamps, one electronic ballast and one 2x4 reflector kit including new sockets.
	498
	4’4 lamp fixture with T12 lamps and magnetic ballast

	16. 
	12
	Retrofit 8’2 lamp fixture with (4)  4’ T8 lamps, one electronic ballast and one ballast pan conversion kit
	12
	8’2 lamp fixture with (2) 8’ T12 lamps and magnetic ballast

	17. 
	12
	Install new 8’6 lamp gym fixture with 4’ T8 lamps, electronic ballasts and wire cage
	12
	400 Watt Metal Halide




HILL MIDDLE SCHOOL
Hill Middle School is a 277 Volt lighting system.
	ITEM #
	TOTAL QTY
	SPECIFICATIONS FOR PROPOSED RETROFIT OR NEW FIXTURE INSTALLATION
	TOTAL QTY
	EXISTING FIXTURE

	18. 
	105
	Retrofit 4’2 lamp fixture with 4’ T8 lamps and one electronic ballast
	105
	4’2 lamp fixture with T12 lamps and magnetic ballast

	19. 
	50


	Retrofit 4’3 lamp fixture with 4’ T8 lamps and one electronic ballast
	50
	4’3 lamp fixture with T12 lamps and magnetic ballast

	20. 
	16
	Retrofit 4’4 lamp fixture with 4’ T8 lamps and one electronic ballast
	16
	4’4 lamp fixture with T12 lamps and magnetic ballasts

	21. 
	20
	Retrofit (2) 4’2 lamp fixtures with 4’ T8 lamps and one electronic ballast.  Tandem wire (2) 4’2 lamp fixtures on one electronic ballast
	20
	(2) 4’2 lamp fixture with T12 lamps and magnetic ballast

	22. 
	1
	Retrofit 2’2 lamp fixture with U shaped T8 lamps with one electronic ballast
	1
	2’2 lamp fixture with U shaped T12 lamps and magnetic ballast

	23. 
	667
	Retrofit 4’2 lamp fixture with 4’ T8 lamps, one electronic ballast and one 2x4 reflector kit including new sockets.
	667
	4’4 lamp fixture with T12 lamps and magnetic ballast

	24. 
	1
	Retrofit 8’2 lamp fixture with (4)  4’ T8 lamps, one electronic ballast and one ballast pan conversion kit
	1
	8’2 lamp fixture with (2) 8’ T12 lamps and magnetic ballast


	25. 
	16
	Install new 8’6 lamp gym fixture with 4’ T8 lamps, electronic ballasts and wire cage
	16
	400 Watt High Pressure Sodium

	26. 
	24
	Install new 8’6 lamp gym fixture with 4’ T8 lamps, electronic ballasts and wire cage
	24
	400 Watt Metal Halide


GREGORY MIDDLE SCHOOL
Gregory Middle School is 277 Volt lighting system.
	ITEM #
	TOTAL QTY
	SPECIFICATIONS FOR PROPOSED RETROFIT OR NEW FIXTURE INSTALLATION
	TOTAL QTY
	EXISTING FIXTURE

	27. 
	36
	Retrofit 4’1 lamp fixture with 4’ T8 lamp and one electronic ballast
	36
	4’1 lamp fixture with T12 lamp and magnetic ballast

	28. 
	142
	Retrofit 4’2 lamp fixture with 4’ T8 lamps and one electronic ballast
	142
	4’2 lamp fixture with T12 lamps and magnetic ballast

	29. 
	63
	Retrofit (3) 4’1 lamp fixtures with 4’ T8 lamps and one electronic ballast.  Tandem wire (3) 4’1 lamp fixtures on one electronic ballast
	63
	(3) 4’1 lamp fixture with T12 lamp and magnetic ballast

	30. 
	8
	Retrofit (4) 4’1 lamp fixtures with 4’ T8 lamps and one electronic ballast.  Tandem wire (4) 4’1 lamp fixtures on one electronic ballast
	8
	(4) 4’1 lamp fixture with T12 lamp and magnetic ballast

	31. 
	134
	Retrofit (2) 4’2 lamp fixtures with 4’ T8 lamps and one electronic ballast.  Tandem wire (2) 4’2 lamp fixtures on one electronic ballast
	134
	(2) 4’2 lamp fixture with T12 lamps and magnetic ballast

	32. 
	135
	Retrofit 4’2 lamp fixture with 4’ T8 lamps, one electronic ballast and one 2x4 reflector kit including new sockets.
	135
	4’3 lamp fixture with T12 lamps and magnetic ballast

	33. 
	397
	Retrofit 4’2 lamp fixture with 4’ T8 lamps, one electronic ballast and one 2x4 reflector kit including new sockets.
	397
	4’4 lamp fixture with T12 lamps and magnetic ballast

	34. 
	18
	Install new 8’6 lamp gym fixture with 4’ T8 lamps, electronic ballasts and wire cage
	18
	400 Watt Metal Halide




	DESCRIPTION
	CATALOG #
	MANUFACTURER

	Lamps 
	F32T8/SPX50/ECO

F32T8/SPX50/U/6
	GE or Equal-T8 5000K, CRI, 80 or above, initial minimum lumen output of 2,800

	Ballasts:  
	REL1P32SC

REL2P32SC

REL3P32SC

REL4P32SC
	VEL1P32SC

VEL2P32SC

VEL3P32SC

VEL4P32SC
	Advance or Equal

	Reflector Kit
	SKLF1T-C/EA/4-2
	US Energy Sciences – No Equal

	Ballast Pan Kit
	SKSP2-4-WPS-8-4-B
	US Energy Sciences – No Equal

	Wrap Fixture
	SW-2-32-48-EA-S-SM
	US Energy Sciences – No Equal

	Gym Fixture
	IWT08XSWGS047YP2U
	Holophane – No Equal


Note:  Contact Rich Keuss (Regional Manager for US Energy Sciences) at (314) 845-0123 for quotations on all US Energy Sciences products.  Contact Mary Brown (Sales Representative for Holophane) at 630-794-9371 for quotations on all Holophane products.
16. Existing fixtures will be modified in place.  Modification includes installation of reflector systems, and replacement of:  ballasts, lamps, lamp socket brackets and lamp sockets.

17. A certified hazardous waste recycler will properly dispose of all lamps and those ballasts containing PCBs and a Certificate of Proof of Recycling will be provided to the Owner to provide release of liability.

18. Items of equipment of the same general type will be the product of the same manufacturer throughout the project, unless otherwise indicated or accepted by the Owner, to provide uniformity of operation and maintenance.

19. Provide unit prices for all reflector kits, gym fixtures, ballasts and lamps used in the project.  Unit prices will include all material, installation costs and recycling.

20. Product data must be provided for ballast and lamp.  Include dimensions, ratings and performance data.  Submit manufacturers' operation and maintenance instructions for each product.

21. Contractor will conform to requirements of NFPA 70 and NFPA 101.  

22. Where applicable, products must be listed and classified by Underwriters Laboratories, Inc. as suitable for the purpose specified and indicated. 

23. Contractor will furnish a written warranty of all materials and labor supplied in the proposal for a minimum period of one (1) year from the date of the project completion.  Contractor will further guarantee to replace any and all materials and labor with defects occurring within the guarantee period without cost to the owner.  Owner will receive the benefit of all warranties furnished by manufacturers.

REQUIRED DOCUMENTATION FOR COMPLETE BIDS

BID WORKSHEET AND ACKNOWLEDGEMENT OF ADDENDUM – pages 12, 13
CONTRACTOR’S CERTIFICATION (signed) – page 14
CONTRACTOR’S DRUG-FREE WORK PLACE CERTIFICATION (signed) – page 14, 15
INDIVIDUAL’S DRUG-FREE WORK PLACE CERTIFICATION (signed) – page 16
COMMERCIAL CUSTOMER LIST (form provided) – page 16
SUBCONTRACTOR LIST (form provided) – page 16
SMOKING AND TOBACCO POLICY – page 17
BID BOND STATEMENT - page 17
Also Attached:  PREVAILING WAGE INFORMATION
BID WORKSHEET AND ACKNOWLEDGEMENT OF ADDENDUM
	BID TO:
	PROJECT:

	Indian Prairie Community Unit School District 204
	Lighting Upgrade Project

	780 Shoreline Drive
	2007 Illinois Clean Energy Grant

	Aurora, Illinois 60504
	


Attention:
Karla Zozulia, Director of Support Services



Bids due:
Monday, October 22, 2007 at 1:30 PM

BID FROM:


Firm Name:



Address:







Phone/Fax:

The Undersigned agrees to furnish all labor, materials, equipment and disposal necessary to perform the Work as described in the Documents (including all applicable costs, expenses, overhead and profit, and all applicable taxes and fees) on the above referenced project for the Sum of:

BID PRICES

1. BASE BID: (Includes allowance)………………………………
$___________    
           
UNIT PRICING

1. 5000K Fluorescent Lamp






$___________

2. Electronic Ballast







$___________

3. Reflector Kit







$___________

4. Ballast Pan Kit







$___________

5. Wrap Fixture







$___________

6. Gym Fixture







$___________

TIME & MATERIAL RATE

1. For repair of latent conditions or additional work:
Time: (per man-hour) $___________

Material (Contractor cost) plus_____%

CONSTRUCTION SCHEDULE

1. The Undersigned agrees to commence work in ____ calendar days after Contract Award and fully on or before January 11, 2008.

CERTIFICATION

1. The Undersigned acknowledges receipt of:

a.   The Bid Specifications

b. Guidelines for the 2007 Clean Energy Foundation Grant

2. The Undersigned attests to: Examination of the Bidding Documents and to familiarity with all work stipulated therein.

3. The Undersigned agrees:

a. To hold this Bid open for ______days after the Bid due date.

b. To enter into and execute a Contract, if awarded on the basis of the Bid and to furnish all bonds and insurance required in the Bidding Documents.

c. To accomplish the work in accordance with the Contract Documents.

d. To comply with requirements outlined in attached Contract between Owner/Contractor; if applicable.

ACKNOWLEDGEMENT OF ADDENDUM (if any)

Addendum #1:  acknowledge receipt on ___________________________

Addendum #2:  acknowledge receipt on ___________________________

Addendum #3:  acknowledge receipt on ___________________________
SIGNATURES

Authorized signature, in affirmation of the statements and Bid prices on the BID FORM:

(Firm Name)


(Authorized Signature)



(Title)


(Name Printed or Typed)



(Date)

Corporation Information (if applicable)

Partnership Information (if applicable)



(Corporation Name, if different from above)





(State of Incorporation)



(Names of the Partners)

CONTRACTOR’S CERTIFICATION

In compliance with Section 33E-11, Criminal Code of 1961, the undersigned certifies that _____________________________ (name of company), is not barred from bidding on any contract offered by a unit of state or local government, as a result of  violation of Section 33E-3 (bid-rigging) or Section 33E-4 (bid-rotating) of Article 33E, Criminal Code of 1961.

This certification is executed and submitted for the purpose of inducing the Board of Education of Indian Prairie Community Unit School District #204 to consider the attached sealed bid to enter a contract with the undersigned.

Dated:   This_____ day of                              , 20      .


Contractor
CONTRACTOR’S DRUG FREE WORKPLACE CERTIFICATION

Pursuant to 30 ILCS 580/1 et seq. (the “Drug Free Workplace Act”), the undersigned certifies to the Board of Education of the Indian Prairie Community Unit School 

District #204 that it will provide a drug-free workplace by:

A.
Publishing a statement:

1. Notifying employees that the unlawful manufacture, distribution, dispensation, possession, or use of a controlled substance, including cannabis, is prohibited in the Contractor’s workplace.

2. Specifying actions that will be taken against employees for violations of this prohibition.

3. Notifying employees that, as a condition of employment on this contract, employees will:



a.  abide by the terms of the statement; and



b.  notify the Contractor of any criminal drug statute conviction for a 


     violation occurring in the workplace, no later than five (5) days

                            after such conviction.

B.
Establishing a drug-free awareness program to inform employees about:


1.
The dangers of drug abuse in the workplace.


2.
The Contractor’s policy of maintaining a drug-free workplace.


3.
Available drug counseling, rehabilitation, and employee assistance programs.


4.
Penalties that may be imposed upon employees for drug violations.

C.
Making it a requirement to give a copy of the statement required by subsection “A” to each employee engaged in the performance of the contract, and posting the statement in a prominent location in the workplace.

D.
Notifying the Owner within ten (10) days after receiving notice under subsection “A”, paragraph “3”, part “b”, from an employee, or otherwise receiving actual notice of such conviction.

E.
Imposing a sanction or requiring satisfactory participation, by a convicted employee, in a drug abuse assistance or rehabilitation program, as required by Section 5 of the Drug Free Workplace Act.

F.
Assisting employees in selecting a course of action in the event drug counseling, treatment, and/or rehabilitation is required, and indicating that a trained referral team is in place.

G.
Making a good-faith effort to maintain a drug-free workplace through implementation of Section 3 of the Drug Free Workplace Act.

Failure to abide by this Contractor’s Drug Free Workplace Certification will subject the Contractor to penalties set forth in Sections 6, 7, and 8 of the Drug Free Workplace Act.








Name of Contractor







By:











Its:





ATTEST:

By:






Its:






DATED:





NOTICE:  This Contractor’s Drug Free Workplace Certification is to be completed by any corporations, partnerships or other entities with twenty-five or more employees at the time of contract, or a department, division, or unit thereof, directly responsible for the performance of a contract of $5,000 or more with the Owner.
INDIVIDUAL’S DRUG FREE WORKPLACE CERTIFICATION
Pursuant to 30 ILCS 580/1 et seq. (the “Drug Free Workplace Act”), the undersigned hereby certifies to the Board of Education of Indian Prairie Community Unit School District #204, that he/she will not engage in the unlawful manufacture, distribution, dispensation, possession, or use of a controlled substance in the performance of this contract.

Failure to abide by this Individuals’ Drug Free Workplace Certification will subject the individual to the penalties set forth in Sections 6, 7, and 8 of the Drug Free Workplace Act.





__________
               Name of Individual





__________
                    Signature





__________
                          Date
NOTICE:  This Individual’s Drug Free Workplace Certification is to be completed by an individual directly responsible for the performance of a contract of $5,000 or more with the Owner.

COMMERCIAL CUSTOMER AND SUBCONTRACTOR LIST
COMMERCIAL CUSTOMER LIST

	Name of Account
	Contact Person
	Telephone Number
	Most Recent Contract Term 
	Most Recent Contract Amount

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


SUBCONTRACTOR LIST (if any)
	Company Name
	Address
	Purpose
	Contact Person
	Telephone Number

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


Note:  This list cannot be altered after submission without written consent of the District.

INDIAN PRAIRIE COMMUNITY SCHOOL DISTRICT 204 SMOKING/TOBACCO POLICY

THE USE OF TOBACCO BY ANY SCHOOL PERSONNEL, STUDENT, OR OTHER PERSON IS PROHIBITED ON THE SCHOOL PROPERTY OF SCHOOL DISTRICT #204.  THIS PROHIBITION APPLIES TO SUCH PROPERTY BEFORE, DURING, AND AFTER THE REGULAR SCHOOL DAY, AND ON DAYS WHEN SCHOOL IS NOT IN SESSION.

THE TERM “TOBACCO” MEANS CIGARETTES, CIGARS, PIPES, OR TOBACCO IN ANY FORM, INCLUDING SMOKELESS TOBACCO WHICH IS LOOSE, CUT, SHREDDED, GROUND, POWDERED, COMPRESSED OR LEAF TOBACCO TO BE PLACED IN THE MOUTH WITHOUT BEING SMOKED.

“SCHOOL PROPERTY” INCLUDES, WITHOUT LIMITATION, ANY AREA WITHIN A BUILDING OR OTHER INDOOR FACILITY USED FOR SCHOOL PURPOSES, AND AREAS OUTSIDE BUILDINGS AND FACILITIES, WHETHER OWNED, LEASED OR CONTRACTED BY THE DISTRICT.

“SCHOOL PURPOSES” INCLUDE EVENTS, ACTIVITIES OR OTHER USES OF SCHOOL PROPERTY THAT THE BOARD OR DISTRICT OFFICIALS AUTHORIZE OR PERMIT, INCLUDING WITHOUT LIMIT, ALL INTERSCHOLASTIC OR EXTRA-CURRICULAR ATHLETIC, ACADEMIC OR OTHER EVENTS SPONSORED BY THE BOARD OR IN WHICH PUPILS OF THE DISTRICT PARTICIPATE.

THIS ACTION IS TAKEN IN COMPLIANCE WITH THE ILLINOIS SCHOOL CODE, SECTION 10-20.5B; GOALS 2000: EDUCATE AMERICA ACT, PART C, (THE “PRO-CHILDREN ACT OF 1994”).

Agreed and Signed:  ___________________________ of _______________________________

                                      (Contractor Official)                                   (Company)
its _____________________________________ on ___________________________________.

                              (Position)                                                             (Date)
BID BOND STATEMENT

A bid security deposit in the form of a Bid Bond or certified check in an amount not less than

10% of the cost of the contract, is included with this proposal.  Bid security may be forfeited if a 

bidder does not meet specifications.  A bid security deposit is enclosed in the amount of 

$__________________.
Bid bonds from unsuccessful bidders will be returned via regular U.S. Mail within (10) work days 
after contract approval by the Board of Education.  An unsuccessful bidder wishing to receive a 

bid bond in another manner, must call Ben Peterson @ 630-375-3077 within (3) work days after 
contract approval to discuss an alternative.  For the successful bidder, the bond will be

returned after satisfactory start of the contract.

BY: ___________________________________             DATE: __________________
PREVAILING WAGE
 October, 2007 rates are attached.
                                                                                                                                  (IL Clean Energy 2007 Bid Document)
1
13
17
IL Clean Energy 2007 Bid Doc





10/3/2007  kz


