VENDORS WHO DO NOT WISH TO RESPOND TO A BID ARE NOT REQUIRED TO DO SO. HOWEVER, VENDORS NOT RESPONDING AND/OR SUBMITTING A “NO BID” RESPONSE TO THREE CONSECUTIVE BID INVITATIONS FOR THE REQUESTED COMMODITY MAY BE REMOVED FROM THE UNIVERSITY’S BIDDERS LIST.

Please Print or Type

| Company Name: |  |  | Phone: |  |
| --- | --- | --- | --- | --- |
| Address: |  |  |  |  |
|  |  |  | Fax: |  |
| City: |  |  | EMail: |  |
| State: |  |  | Web Site: |  |
| Zip Code: |  |  | Tax ID or SSN: |  |

THIS OFFICIAL BID SHEET MUST BE SIGNED AND RECEIVED IN A SEALED ENVELOPE WITH BID NUMBER AND BID OPENING DATE CLEARLY NOTED ON OUTSIDE OF ENVELOPE. BIDS MAY NOT BE FAXED DIRECTLY TO THE UNIVERSITY IN RESPONSE TO THIS INVITATION FOR BID. BID WILL BE ACCEPTED EITHER SIGNED IN INK OR WITH ELECTRONIC OR FACSIMILE SIGNATURE. PLEASE ENCLOSE ONE EXTRA COPY OF SIGNED BID. Name (Type or Print): Title: Signature: Date:

# STANDARD TERMS AND CONDITIONS

| 1. | PREPARATION OF BIDS |  |  |
| --- | --- | --- | --- |
|  | 1.1 | Failure to examine any drawings, specifications, and instructions will be at bidder’s risk. |  |
|  | 1.2 | All prices and notations must be printed in ink or typewritten. No erasures permitted. Errors may be crossed out and corrections printed in ink or typewritten adjacent, and must be initialed in ink by person signing bid. |  |
|  | 1.3 | Brand Name References: Unless specified “No Substitute” any catalog brand name or manufacturer’s reference used in the bid invitation is descriptive only, not restrictive, and used to indicate the type and quality desired. If bidding on other than referenced specifications, the bid must show the manufacturer, brand or trade name, and other descriptions, and should include the manufacturer’s illustrations and complete descriptions of the product offered. The University reserves the right to determine whether a substitute offered is equivalent to and meets the standards of the item specified, and the University may require the bidder to supply additional descriptive material, samples, or demonstrators. The bidder guarantees that the product offered will meet or exceed the referenced product and/or specifications identified in this bid invitation. If the bidder takes no exception to the specifications, bidder will be required to furnish the product exactly as specified in the invitation. |  |
|  | 1.4 | Samples: Samples or demonstrators, when requested, must be furnished free of expense to the University. Samples not destroyed during reasonable examination will become property of the University unless bidder states otherwise. All demonstrators will be returned after reasonable examination. Each sample should be marked with the bidder’s name and address, bid number and item number. |  |
|  | 1.5 | Time of Performance: The number of calendar days in which delivery will be made after receipt of order shall be stated in the bid. |  |
| 2. | SUBMISSION OF BIDS |  |  |
|  | 2.1 | Bids, modifications or corrections thereof received after the closing time specified will not be considered. |  |
| 3. | ACCEPTANCE OF BIDS |  |  |
|  | 3.1 | The University reserves the right to accept or reject all or any part of a bid or any and all bids, to waive any informality, and to award the bid to best serve the interest of the University. |  |
|  | 3.2 | If a bidder fails to state the time within which a bid must be accepted, it is understood and agreed that the University shall have 60 days to accept. |  |
| 4. | ERROR IN BID |  |  |
|  | 4.1 | In case of error in the extension of prices in the bid, the unit price will govern. No bid shall be altered or amended after the specified time for opening bids. |  |

| 5. | AWARD |  |  |
| --- | --- | --- | --- |
|  | 5.1 | Contracts and purchases will be made or entered into with the lowest responsible bidder meeting specifications or on the basis of best value. |  |
|  | 5.2 | When more than one item is specified in the Invitation, the University reserves the right to determine the low bidder either on the basis of the individual items or on the basis of all items included in its Invitation for Bids, or as expressly stated in the Invitation for Bid. |  |
|  | 5.3 5.4 | A written purchase order or contract award mailed, or otherwise furnished, to the successful bidder within the time of acceptance specified in the Invitation for Bid results in a binding contract without further action by either party. The contract shall not be assignable by the vendor in whole or part without the written consent of the University. Vendors awarded contracts for commodities and/or services are encouraged to participate in our University Shopping Mall. This online catalog database is operated by a third party provider and will allow all University departments to place orders to multiple vendors online. A monthly maintenance fee, to be negotiated between each vendor and the shopping mall data base provider, is required. |  |
| 6. | DELIVERY |  |  |
|  | 6.1 | The Invitation for Bid will show the number of days to place a commodity in the University designated location under normal conditions. If the bidder cannot meet the stated delivery, alternate delivery schedules may become a factor in award. The University has the right to extend delivery if reasons appear valid. |  |
|  | 6.2 | Delivery shall be made during University work hours only, 8:00 a.m. to 4:30 p.m.., unless prior approval for other shipment has been obtained. |  |
|  | 6.3 | Packing memoranda shall be enclosed with each shipment. |  |
| 7. | ACCEPTANCE AND REJECTION |  |  |
|  | 7.1 | Final inspection and acceptance or rejection may be made at delivery destination, but all materials and workmanship shall be subject to inspection and test at all times and places, and when practicable. During manufacture, the right is reserved to reject articles which contain defective material and workmanship. Rejected material shall be removed by and at the expense of the contractor promptly after notification of rejection. Final inspection and acceptance or rejection of the materials or supplies shall be made as promptly as practicable, but failure to inspect and accept or reject materials or supplies shall not impose liability on the University thereof for such materials or supplies as are not in accordance with the specification. In the event necessity requires the use of materials or supplies not conforming to the specification, payment may be made with a proper reduction in price. |  |
| 8. | TAXES AND TRADE DISCOUNTS |  |  |
|  | 8.1 | Do not include state or local sales taxes in bid price. |  |
|  | 8.2 | Trade discounts should be deducted from the unit price and net price should be shown in the bid. |  |
| 9. | DEFAULT |  |  |
|  | 9.1 | Back orders, default in promised delivery, or failure to meet specifications authorize the University to cancel this contract to the defaulting contractor. The contractor must give written notice to the University of the reason and the expected delivery date. |  |
|  | 9.2 | Consistent failure to meet delivery without a valid reason may cause removal from the bidders list or suspension of eligibility for award. |  |
| 10. | WAIVER |  |  |
|  | 10.1 | The University reserves the right to waive any General Condition, Special Condition, or minor specification deviation when considered to be in the best interest of the University, so long as such waiver is not given so as to deliberately favor any single vendor and would have the same effect on all vendors. |  |
| 11. | CANCELLATION |  |  |
|  | 11.1 | Any contract or item award may be canceled for cause by either party by giving 30 days written notice of intent to cancel. Cause for the University to cancel shall include, but is not limited to, cost exceeding current market prices for comparable purchases; request for increase in prices during the period of the contract; or failure to perform to contract conditions. The contractor will be required to honor all purchase orders that were prepared and dated prior to the date of expiration or cancellation if received by the contractor within period of 30 days following the date of expiration or cancellation. Cancellation by the University does not relieve the Contractor of any liability arising out of a default or nonperformance. If a contract is canceled due to a request for increase in prices or failure to perform, that vendor shall be removed from the Qualified Bidders List for a period of 24 months. Cause for the vendor to cancel shall include, but is not limited to the item(s) being discontinued and unavailable from the manufacturer. |  |
| 12. | ADDENDA |  |  |
|  | 12.1 | Addenda modifying plans and/or specifications may be issued if time permits. No addendum will be issued within a period of three(3) working days prior to the time and date set for the bid opening. Should it become necessary to issue an addendum within the three-day period prior to the bid opening, the bid date will be reset giving bidders ample time to answer the addendum. |  |
|  | 12.2 | Only written addenda is part of the bid packet and should be considered. |  |
| 13. | ALTERNATE BIDS |  |  |
|  | 13.1 | Unless specifically requested alternate bids will not be considered. An alternate is considered to be a bid that does not comply with the minimum provisions of the specifications. |  |
| 14. | BID OPENINGS |  |  |
|  | 14.1 | Bid opening will be conducted open to the public. However, they will serve only to open, read and tabulate the bid price on each bid. No discussion will be entered into with any vendor as to the quality or provisions of the specifications and no award will be made either stated or implied at the bid opening. |  |
| 15. | DEBRIS REMOVAL |  |  |
|  | 15.1 | All debris must be removed from the University after installation of said equipment. |  |

ALL BIDS SUBMITTED SHALL BE IN COMPLIANCE WITH THE GENERAL CONDITIONS SET FORTH HEREIN.  THE BID PROCEDURES FOLLOWED BY THIS OFFICE WILL BE IN ACCORDANCE WITH THESE CONDITIONS.  THEREFORE, ALL VENDORS ARE URGED TO READ AND UNDERSTAND THESE CONDITIONS PRIOR TO SUBMITTING A BID.

# Please send 2 copies of your response to this bid.  The extra copy is needed for bid evaluation purposes.  Please do not send bid responses to different bids in the same envelopes.  Thank You!

Bid the following according to minimum specifications or functional equivalent.

| # Item | ## Description | Qty |  | Unit Price |  | Total Price |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Optical Profiler as per minimum specifications: | 1 ea |  | $_________ |  | $_________ |

# FOB:	University of Arkansas

Electrical Engineering

Bell Engineering Center, Room 3217

Fayetteville, AR 72701

Delivery___________ days after receipt of order.

NOTE:   If any portion of a vendor's contract terms and conditions are in conflict with those in this Invitation for Bid or with the laws of the State of Arkansas,  State of Arkansas laws shall govern.  Failure to conform to these standards may result in rejection of bid.

NOTE: If offering equal, full description and complete specifications must accompany bid at the time

of bid opening.   Failure to do so may result in disqualification of bid.

Bids must be submitted on this official bid form to be considered.

Bid will be awarded on an all or none basis.

If further information is needed please contact:

Omar Manasreh at 479-575-6583.

# General Campus Background for University of Arkansas

Established in 1871 as a land grant institution, the University of Arkansas is the only comprehensive doctoral degree granting institution in Arkansas. It is classified as a Carnegie Foundation Doctoral/Research University. The University campus includes 360 buildings on 357 acres. The University offers more than 230 undergraduate and graduate degrees in more than 150 fields of study in agricultural, food and life sciences, arts and sciences, business, education, engineering, architecture and law. As of Fall 2008, student enrollment was 19,800 (undergraduate 14,861, professional 398, graduate 3192, and non-degree 743; full-time 14,814 and part-time 4,380). The faculty count was 898, and staff count was 2864. The University is the flagship campus for the University of Arkansas System.

Ethical Standards

“It shall be a breach of ethical standards for a person to be retained, or to retain a person, to solicit or secure a state contract upon an agreement or understanding for a commission, percentage, brokerage, or contingent fee, except for retention of bona fide employees or bona fide established commercial selling agencies maintained by the contractor for the purpose of securing business”

Technology Access

The Vendor expressly acknowledges that state funds may not be expended in connection with the purchase of information technology unless that system meets certain statutory requirements, in accordance with State of Arkansas technology policy standards relating to accessibility by persons with visual impairments.

Accordingly, the Vendor represents and warrants to University of Arkansas, Fayetteville that the technology provided to University of Arkansas for purchase is capable, either by virtue of features included within the technology or because it is readily adaptable by use with other technology, of: (1) providing equivalent access for effective use by both visual and nonvisual means; (2) presenting information, including prompts used for interactive communications, in formats intended for nonvisual use; and (3) being integrated into networks for obtaining, retrieving, and disseminating information used by individuals who are not blind or visually impaired.

For purpose of this paragraph, the phrase “equivalent access” means a substantially similar ability to communicate with or make use of the technology, either directly by features incorporated within the technology or by other reasonable means such as assisting devices or services which would constitute reasonable accommodations under the American with Disabilities Act or similar state or federal laws.  Examples of methods by which equivalent access may be provided include, but are not limited to, keyboard alternatives to mouse commands and other means of navigating graphical displays, and customizable display appearance.

If requested, the Vendor must provide a detailed plan for making this purchase accessible and/or a validation of concept demonstration.

# Specification for Optical Profiler

The following specs are need in an optical profiler to allow us perform our research.

- Data and Image Processing

Archival Storage and Supervisory Systems. System operates in a Windows® XP environment or better Window 07.

•	Multiple objectives:  1.5x, 2.5x, 5x, 10x, 10x bright field, 20x, 50x.  System must include a 20X objective.   Multiple fixed magnification field-of-view lenses are also available:  0.55x, 0.75x, 1.5x, 2x.  System must include a 0.55X and 2X FOV’s.

•	The on-line help library should be available and standard

• 	Software must be an industry standard, native Windows format.

•	The following data analysis and display capabilities should be standard:

- All displays are fully customizable by the user

- Create 2-D cross sections anywhere in the data: Wide range of cursors is available (including: horizontal and vertical lines, 2-point choosing of line orientation, radial, etc.).  Cursor widths can be increased for averaging larger areas along a line.

- 2 dimensional plot

- 3 dimensional plot

- 3 dimensional ‘interactive’ plot

- Autocovariance function

- Contour plot

- Cross hatch analysis of machined parts

- Digital high pass and low pass filtering of the data

- Bearing ratio analysis

- Histogram for entire dataset

- Intensity plot of data

- Line width analysis

- Magnification calibration

- Multiple region analysis and multiple wall analysis: All discrete regions or walls (separated by height from background or by pixels/distance from other features) are found, and a database is automatically created with user-selectable measurement options and analyses

- 2-D Power spectral density plots and power spectral density averages in X,Y

- R-Parameters

- Slope analysis

- Stylus X and Y analysis: Data and measurements are displayed in a format similar to that of stylus profilers.  This is to aid users more familiar with stylus profilers or for comparison of measurements to stylus profilers.

- S-Parameters

- Surface area

- Texture

- Volume

- Step height

- Fourier transform analysis

- Custom and specific analysis options and displays can be created

User has the option of displaying the information acquired in the form of X-Y position plots as colored top view, cross-sectional line-plot, or shaded 3-D surfaces.  Facilities for producing high quality color images of such plots on paper are supported.  Output is compatible with commercially available printers.

•	The data is recorded in a form that can be communicated to other image processors in a straightforward way.

•	User has the option of filtering the image data with high-pass, low-pass, and two-dimensional Fourier Transform filters.

•	A variety of other surface analysis functions are available, including:

•	Data analysis of selectable sub-regions of an image, with thresholding to define range included analysis.

•	Artifact removal such as flattening, plane-fit, and line and region removal.

•	The controller serving archival storage, display and control functions is manufactured by Dell, and currently a Precsion workstation, with a 2.4GHz Intel Core2Duo CPU, 2 Gigabytes SDRAM, 160 Gigabyte disc drive, CD/RW, interface electronics, keyboard, mouse, Windows® XP operating system, and imaging and analysis software.

•	Operator, maintenance, and training manuals provided.

- Profiler Measurement Modes

The Optical Profiler  should be supported by white-light and green light  vertical scanning and phase

shifting interferometric measurements.  Optional measurement mode should be available to provide

sub nanometer z resolution, with long scan measurements

## Performance Specifications

•	Vertical resolution  ≤ 0.1nm

- Step Height Accuracy – within uncertainty of NIST standards

•            1σ Step Height Repeatability must be ≤ 0.1%

- Improved Modular Optical Assembly

The improved modular optical assembly head should contain the following:

•	Vertical scanning mechanism including closed-loop feedback control of vertical position.  The closed-loop feedback control operates over the entire vertical scanning range of 10mm.  System that stitch data over 10mm range or longer will not be considered.

•	Whole surface imaged at once.  No raster scanning required.

- The standard vertical scanning range is10mm, with closed loop operation over entire range.

- The vertical scanning speed is up to 28.1 /s.

- The standard CCD camera has selectable acquisition densities with a maximum of

640 X 480 pixels

- The objectives can be mounted on a motorized, programmable,  turret with 4 positions

- Field-of-view (FOV) lenses are used rather than a zoom mechanism.  This ensures that the magnification and measurements remain correct and calibrated with all objectives and FOV lens combinations.  FOV lenses provide the ability to change the effective magnification without changing objective.  FOV lenses are more thermally stable, more mechanically

stable and require no user calibration as compared to mechanical zoom mechanisms.

- Up to 3 FOV lenses can be inserted into the MMD turret providing programmable control

over FOV for measurements

- Auto focus is standard

- Motorized filter slide for PSI low magnification measurement

- The total vertical range of the IOA along the Z axis is 4 inches

- Dual LED illuminator to provide the ultimate in stability and usability.  The two LED light sources (green and white), helps to achieve a step height accuracy of 0.8%-within

uncertainty of NIST standards up to 9.5 mm. This means that it gives a very accurate thickness measurement (with a vertical resolution of 0.08 nm) in a scan range up to

9.5 mm for the samples we are studying. If the thickness measurement is not accurate

to this 0.08 nm resolution– the thickness measure for our thin film coated samples will be incorrect.  The LED illumination employed in this system allows stobescopic stop motion operation, which makes possible imaging motion of micro-structures. The dual LED light source is computer

controlled making measurement setup effortless.  The auto intensity option makes optimization simple for production and multi-user environments.  The true benefit of the

dual LED’s is the increased light levels due to unfiltered white and green LEDs for low reflective surfaces.  Vertical Scanning Interferometry is performed with both LEDs

- Illuminator is integrated and completely computer controlled.

- System is upgradable to dynamic operation with the addition of an In-Motion™ upgrade package at a later date

- Main Body

The main body should contain the following:

•	Small-footprint stand resistant to external vibration

•	Manual 4” stage standard.  Optional automated 6” stage available for stitching large area measurements.  Optional programmability for simple automation on the 6” automated stage.  System must include a automated 6” stage for stitching large areas at high lateral resolution.

•	All cabling for operation should be provided

•	Z coarse focus should be motorized, and should be completely controlled via the computer interface

- Future Upgrades

The system should be configures for possible future upgrade.  These upgrade includes:

•	 Dynamic measurement capability

Specifications and Options:

Actuation Frequency Range: 0Hz (Static); 11Hz to 2.4MHz

Illumination Range: (Dynamic) White LED from 11Hz to 			100kHz;

Green LED from 11Hz to 2.4MHz

Vertical Resolution: <0.1nm (device dependant)

Lateral Resolution: 380nm (objective dependent)

Practical Maximum Slope (tilt dependent): 35° (objective and sample dependent)

Lateral Displacement Resolution: 0.1 pixels (geometry 			dependent)

Frequency Resolution: 0.0005% of frequency

Phase Range: 0 to 720° (continuous)

Phase Resolution:

0.018º at up to 10kHz;

0.18º at 100kHz;

1.8º at 1MHz;

4.3º at 2.4MHz

Waveform: DC, sine, triangular, rectangular, user-defined 		(arbitrary)

Device Output Range: 0 to ±200V with high voltage 			amplifier

Software Output Plots: More than 2000 analysis parameters, including displacement data, bode diagram, stepresponse

plots, ring-down plots

Optional Interfaces Support: MATLAB analysis package; TCP/IP remote control interface

Optional Hardware Probe platter; Through Transmissive Media (TTM) module; ZIF socket, porous vacuum chuck

Advanced Capability: Environmental chamber support, measurement of encapsulated devices

•		Through Transmissive Media (TTM)- A useful tool for MEMS characterization is

the TTM option. The TTM option allows researchers to characterize of devices 				in the environment they are used: vacuum, temperature, etc. The TTM objective

permits 3D metrology and stroboscopic studies of packaged devices. The TTM

utilizes a  compensation window to match test and reference paths. The flexibility

of the design is the ability to easily swap compensation glasses to match

experimental setups. The 	modular design also allows one housing to be used

the four magnifications available for TTM: 2X, 5X, 10X and 20X.

- Miscellaneous Specifications

•	 A minimum of two days of installation and training at the customer’s site should be provided.

Equal Opportunity Policy Disclaimer

ATTENTION BIDDERS

Act 2157 of 2005 of the Arkansas Regular Legislative Session requires that any business or person bidding, who is responding to a formal bid request, Request for Qualifications or qualifications, or negotiating a contract with the state for professional or consultant services, submit their most current equal opportunity policy (EO Policy).

Although bidders are encouraged to have a viable equal opportunity policy, a written response stating the bidder does not have such an EO Policy will be considered that bidder’s response and will be acceptable in complying with the requirement of Act 2157.

Submitting the EO Policy is a one-time requirement.  The University of Arkansas, Fayetteville Procurement Department, will maintain a database of policies or written responses received from all bidders.

Note: This is a mandatory requirement when submitting an offer as described above.

Please complete and return this form with your bid response.

Should you have any questions regarding this requirement, please contact this office by calling (479) 575-2551.

Sincerely,

Linda Fast

Linda Fast, APO, CPPO, CPPB

Manager of Procurement Services

University of Arkansas

To be completed by business or person submitting response: (check appropriate box)

____   EO Policy Attached

____   EO Policy previously submitted to University of Arkansas-Fayetteville

Purchasing Department

____   EO Policy is not available from business or person

Company Name

Or Individual: __________________________________________________________

Title:  _____________________________________Date:  ______________________

Signature:  ____________________________________________________________

University of Arkansas

Fayetteville, Arkansas

Procurement Department

321 Administration

Fayetteville, AR  72701

Tel:  479-575-2551

Fax:  479-575-4158

Act 157 of 2007 of the Arkansas Regular Legislative Session requires that any business or person responding to a Request for Proposal (RFP) for professional services, technical and general services or any category of construction in which the total dollar value is $25,000 or greater certify, prior to the award of the contract, that they do not employ or contract with any illegal immigrants.  Bidders are to certify online at:

http://www.dfa.arkansas.gov/offices/procurement/Pages/forms.aspx

This is a mandatory requirement.  Failure to certify may result in rejection of your proposal, and no award will be made to a vendor who has not so certified.  If you have any questions, please contact the Procurement Department.  Thank you.

Linda Fast

Linda Fast, APO, CPPO, CPPB

Manager of Procurement Services

************************************************************************************************************

TO BE COMPLETED BY BUSINESS OR PERSON SUBMITTING RESPONSE:

Please check the appropriate statement below:

_______	We have certified on-line that we do not employ or contract with any

illegal immigrants

Date on-line certification completed:  ___________________________________

_______	We have NOT certified on-line at this time, and we understand that

no contract can awarded to our firm until we have done so.

Reason for non-certification:  _________________________________________

| Name of Company |  |
| --- | --- |
| Mailing Address |  |
| City, State & Zip |  |
| Signature |  |
| Name & Title (printed or typed) |  |
| Date |  |