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United Nations Development Programme

                                                                                                                                        Belarus
	REQUEST FOR QUOTATION (RFQ)


	NAME & ADDRESS OF FIRM: 

____________________________________________

____________________________________________
	DATE: 26 April, 2010 



	
	REFERENCE: UNDP/GFATM-HIV/FLOW/414/2010


Dear Sir / Madam,
You are kindly requested to submit your quotation for flow cytofluorimeter within the framework of the UNDP Project “Ensure Universal Access of the Key Affected Populations in Belarus to HIV prevention, Treatment, and Care” before close of business on the 24 May, 2010, 18:00 local time (Minsk, Belarus). 

SCOPE OF SUPPLY

	Pos.  No
	Description
	QTY

	1
	Flow cytofluorimeter
	1 unit

	2
	Unit for blood samples preparation, including clinical sampling and lysing of erythrocytes 
	1 unit

	3
	Laser printer for printing out (A4 format paper) the results of assay 
	1 unit

	4
	LCD monitor at least 19”
	2 units

	5
	UPS with full load operation mode at least 1 hour
	1 unit

	6
	Standard instruments 
	1 set

	7
	Reagents and consumables enough for 1000 essays for indication of absolute and relative number of CD4/CD8 cells in blood serum, including:
- test-tubes,

- buffer solution,

- cleansing liquid,

- monoclonal antibodies for indication of absolute and relative number of CD4/CD8 cells,

- lysing reagent,

- particles for absolute count of cells,

- set of reagents for quality control of the essays,

- reagents for maintenance and operation of station for samples treatment enough for 1000 essays.
	1 set


TECHNICAL REQUIREMENTS:

1. Optical system:

1.1.                Air-cooled laser with service life at least 5000 hours, wave length - 488 nm, power - at least 20 mW.
1.2.               Two (2) channels of light scatter (forward and side) and at least five (5) channels of fluorescence.
1.3.  Variable angle range of forward scatter.

2. System of samples loading:

2.1.               Carousel-type automatic delivery of samples.

2.2.  Separate port for processing single tubes.

2.3.               Automatic wash and drying of the sampler after registration of a sample for prevention of penetration of its remainders into the next sample.
2.4.  Automatic forced wash of flow tray in case of choking without interruption of sample testing and disturbing optical settings of the device.

2.5.  Automatic stirring of samples just before registration.

3. System of solution feeding:

3.1.  Video and audio indication of lack of reagents and overloading of waste containers.
3.2.  At least three (3) fixed speeds of sample flow: low, medium, high.
3.3.  Automatic notification about choking of flow channels.

4. Parameters of detection and collection of data:

4.1.              Detection signal resolution – at least 1024 channels for any parameter.

4.2. Full automatic compensation at all levels of fluorescence using biological samples, possibility to set value of compensation at all levels without interruption of analysis cycle, possibility of compensation after registration of events (format FCS 3.0 or analogue).

5. Software:

5.1.               20-bit signal processing.
5.2.  Creating of reports by statistics processing.

5.3.               Calculation of absolute number of cells in the sample.
5.4.  Creating of automatic regions.

5.5.               Availability of calibration protocols for values and tensions, coefficient of force and compensation for automatic setting of fluorescence signals in the program of data accumulation and processing.

5.6.   Support of two (2) monitors.

6. Unit for samples preparation:
6.1.  Automatic sampling of peripheral blood/bone brain from covered (with lids) tubes 2-7 ml.
6.2.  Automatic incubation, lysing and fixation of blood samples.
6.3.  Capacity – at least 100 samples an hour.

6.4.  System of automatic samples loading – at least 32 tubes.

6.5.  Lysing time for one sample – not more than 40 seconds.

6.6.  Built-in vortex.

6.7.               Volume of whole blood sample – not more than 100 mcl.

6.8.  Stability of samples after preparation – at least 24 hours.

6.9.  Filling volume of reagents – at least 300 tests.

ADDITIONAL REQUIREMENTS:

1. Initial calibration of the offered equipment.

2. Availability of calibration method guide for the offered equipment.

3. The offered equipment must be introduced to the market by the manufacturer not earlier than in 2008.

4. Availability of user manual and technical documentation in Russian.

5. The quotation must include costs for installation, setting-up, training of technical and medical personnel and warranty service within 24 months from the date of installation.

GENERAL REQUIREMENTS:

1. Field of application – clinical laboratory diagnostics.

2. Availability of certificate of approval of the metering device for medical purpose or, if not available, written confirmation of the manufacturer of the offered equipment that registration of the metering device for medical purpose will be obtained in case of the contract award.
3. Availability of service in the Republic of Belarus.

REGISTRATION REQUIREMENTS:

The procured goods are subject to the state registration by the Ministry of Health of the Republic of Belarus. Quotations for unregistered goods will not be rejected. However, the Registration Certificate should be obtained and presented to the Purchaser before goods delivery.
(a)      An Offeror who has already registered its Goods by the time of quoting should submit a copy of the Registration Certificate with its quotation. 

(b)   An Offeror who has not registered its Goods by the time of quoting, shall submit a written confirmation of the Manufacturer of the goods which have not yet been registered in the Republic of Belarus that in case of contract award to the Offeror the Manufacturer agrees to submit or authorize an Offeror/any other its representative to submit an application for registration and all the required documents as well as samples if necessary to the regulatory body of the Ministry of Health of the Republic of Belarus stipulated herein below within the shortest possible time and register goods by the moment of delivery. All the costs connected with the registration procedure shall be covered by the applicant.

(c)     The successful Offeror, by the time of Contract signing shall submit to the Purchaser either:

(i) a copy of the Registration Certificate of the Goods for use in the Republic of Belarus;

OR, if such Registration Certificate has not yet been obtained,

(ii)     Evidence establishing to the Purchaser’s satisfaction that the Offeror has complied with all the documentary requirements for registration as according to the national legislation.

For the purpose of obtaining more detailed information about documentary requirements for registration, costs, etc. Offerors may contact:

Republican Center of Expertise and Tests in Health Care (RCETHC)
2A Pereulok Tovarishcheskij

220037,  Minsk, Belarus

Tel.: +375 (17) 299-53-49

e-mail: med@rceth.by
www.rceth.by
	CONDITIONS

	Delivery Term

(INCOTERMS 2000) & Place
	CIP-Minsk, Belarus  ( for offerors – non-residents of the Republic of Belarus)

DDP-Minsk, Belarus (for offerors – residents of the Republic of Belarus)

	Delivery schedule
	Up to 90 days from the date of the contract. Offers with alternative delivery schedule will also be considered.

	Payment Terms


	Bank transfer, 100% upon delivery.  All payments are transferred from the bank account of the UN Office in Belarus (non-resident of the Republic of Belarus)

Contract will be signed and the payments will be made exclusively in the currency of the quotation.

	Currency of payment
	US Dollars, Euro, Belarusian rubles

	Validity of Quotation
	100 DAYS from the date fixed as deadline for submitting quotations                           

	Preliminary Examination -

Completeness of quotation.
	Offers for scope of insufficient supply or quantity shall not be accepted.



	Mode of Transport
	AIR, OVERLAND TRANSPORTATION

	General Terms and Conditions

UNDP Model Contracts
	The competition, evaluation of the quotations and contract award shall be conducted basing on the UNDP procurement procedures and General Terms and Conditions for Goods that can be found at UNDP web page 

http://un.by/en/tenders/conditions/
Standard UNDP Contract Form that can be found at UNDP web page http://un.by/tenders/modalities/  will be used for the Contract.


	REQUIREMENTS

	Language: All documentation, including installation and operating manuals shall be in English or  Russian.

	The Offeror submits:

(1) Quotation Form (Form 1);

(2) Company background information (Form 2);

(3) Price Schedule (Form 3);

(4) Delivery schedule (Form 4);

(5) Documents confirming technical and functional parameters of the offered goods to the requirements of the request (technical descriptions, photos, etc.), including information about the date of market introduction of the equipment;

(6) Offeror’s declaration that user manual and technical documentation in Russian is available or, if not available, written confirmation that it will be provided with delivery ;

(7) Calibration method guidelines;

(8) Documents confirming the availability of service in the Republic of Belarus;

(9) Certificate of registration of the Ministry of Health of the Republic of Belarus (if available, or written confirmation of the Manufacturer of the goods not registered in the Republic of Belarus that, in case the Contract is awarded to the Offeror, the Manufacturer agrees to apply for registration);

(10) Certificate of approval of the metering device for medical purpose (if available) or written confirmation  that registration of the metering device for medical purpose will be obtained by the Manufacturer in case of the contract award.
(11) ISO compliance certificate (if available) or other documents confirming the quality of the offered goods to the Offeror’s discretion;

(12) Documents confirming that the Offeror is established as a legal entity (e.g. registration certificate);

(13) Documents confirming that the Offeror is duly authorized by the manufacturer of the goods (letter of authorization, distribution contract, etc.) if not a manufacturer itself.



	During the financial evaluation stage, the Purchaser will convert all prices expressed in the amounts in various currencies to US dollars at the official UN exchange rate on the last day for submission of Quotations.



	The Bidder has the right to send one or several alternative quotations, which shall be prepared separately and marked with the Latin letters: А, B, C and etc. The alternative quotations will be evaluated separately. 


	Bidders are not eligible if:

· their participation is prohibited by the UN Security Council sanctions;

· their participation in procurement activities in the Republic of Belarus is prohibited on the basis of previously made violations of law on fraud and corruption.



	SPECIAL NOTES

	The quotations shall be sent with the indication of a subject and number/reference of RFQ to the fax number +375 17 2 26 03 40 or by e-mail in PDF to the address tenders.by@undp.org or delivered in the envelopes with the indication of a subject and number/reference of RFQ to the address: 17 Kirov St. (6th floor), Minsk, 220030, Belarus, UN Office in Belarus, before 18:00 local time (Minsk, Belarus) on the 24 May, 2010. The quotations received after the deadline set above shall be rejected and not considered. 

If you need any additional information it shall be provided without delay; at the same time any delay in providing such information shall not be considered as the reason for postponing the deadline for submission your quotation.  The requests for clarifications shall be sent to the e-mail address tatsiana.ptashnik@un.minsk.by or by fax to the number +375 (17) 299 51 88, +375 (17) 299 07 87.

Contact person:  Ms. Tatsiana Ptashnik, Purchasing/Contracting Specialist, Grants Implementation Unit.



Form 1

Quotation Form

                              Date:______________________ 2010

                                                                                                                       Reference: UNDP/GFATM-HIV/FLOW/414 /2010   
                                                                                                              Alternative Quotation No.: ____

To:
UN OFFICE in the Republic of Belarus

Dear Sir/Madam,

Having examined the Request for Quotation, the receipt of which is hereby duly acknowledged, we, the undersigned, offer to supply and deliver _____________ [description of goods] in conformity with the said RFQ documents for the sum of _______________________ [total  amount in words and figures] as may be ascertained in accordance with the Price Schedule and made part of this Quotation.

We agree to abide by this Quotation for a period of _______ [number] days from the date fixed as deadline for submitting quotations, and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

We understand that you are not bound to accept or reject any Quotation you may receive, do not account for such activity and are not bound to inform an Offeror of reasons for such without special request from its party.

Dated this . . . . .day of . . . . .[year].

Signed by the authorized representative of the Offeror

Stamped 

Form 2

Background

	1
	Name of Offeror:


	

	2
	Address:


	

	3
	Telephone number:


	e-mail:

	4
	Fax Number:


	

	5
	Country of Registration:


	Registration Year:

	6
	Name of Body Issuing registration:



	7
	Bank Data:




Signed by the authorized representative of the Offeror

Stamped 

Form 3

Price schedule

For Offerors – non-residents of the Republic of Belarus:

	Description
	Unit
	Unit price
	Requested quantity
	Total price

	
	
	
	
	

	Installation, setting-up, training
	
	
	
	

	Warranty service within 24 months
	
	
	
	

	Name of currency:
	

	Total Quotation price (in figures):
	

	Total Quotation price (in words):




For Offerors – residents of the Republic of Belarus:

	Description
	Unit
	Unit price
	Requested quantity
	Total price
	VAT rate
	Total price with VAT

	
	
	
	
	
	
	

	Installation, setting-up, training
	
	
	
	
	
	

	Warranty service within 24 months
	
	
	
	
	
	

	Name of currency:
	
	
	

	Total Quotation price (in figures):
	
	
	

	Total Quotation price (in words):




* Unit price should be based on INCOTERMS 2000 CIP-Minsk, Republic of Belarus (for Offerors - non-residents of the Republic of Belarus) or DDP Minsk, Republic of Belarus (for Offerors - residents of the Republic of Belarus).

Note: In case of discrepancy between unit price and total price the unit price shall prevail.

Signature





[in capacity of]

Duly authorized to sign the quotation on behalf of . . . . . . . . . . . . . . . . . . . . . . . . . . . .








[name of Offeror]

Stamped

Form 4

Delivery Schedule

	№
	Description
	Delivery days from the date of signing the contract

	
	
	


Signature





[in capacity of]

Duly authorized to sign the quotation on behalf of . . . . . . . . . . . . . . . . . . . . . . . . . . . .








[name of Offeror]
Stamped

PAGE  

