University of Northern Colorado

REQUEST FOR PROPOSAL

SECURITY CAMERA SOLUTION

UNC-RFP-08-12

PURPOSE OF THE RFP

The University of Northern Colorado (UNC) is planning to install an IP Network based Digital Video Surveillance System into the new campus residence hall located on the west-campus in Greeley Colorado and develop a campus standard for video equipment that will allow for future expansion to other building areas on campus.  The purpose of this document is to request a proposal for a solution based on the criteria outlined in this package. We expect each respondent to demonstrate its uniqueness in fulfilling this request.

SECTION I

ADMINISTRATIVE INFORMATION

A. 
ISSUING OFFICE:  This Request for Proposal (RFP) is issued for the University of Northern Colorado by the Purchasing Department for the benefit of the University of Northern Colorado Board of Trustees.  The Purchasing Department is the SOLE point of contract concerning this RFP.  All communication must be done through the Purchasing Department (DOP).

B.
OFFICIAL MEANS OF COMMUNICATION: During the solicitation process for this RFP, all official Communication between the DOP and offerors will be via postings on the State’s BIDS system.  DOP will post notices, which will include, but not be limited to, any modifications to administrative or performance requirements, answers to inquiries received, clarifications to requirements, and the announcement of the apparent winning offeror. It is incumbent upon offerors to carefully and regularly monitor BIDS for any such postings.

C.
PURPOSE:  This RFP provides prospective offerors with sufficient information to enable them to prepare and submit proposals for consideration by the Purchasing Department to satisfy the need for expert assistance in the completion of the goals of this RFP.

D.
SCOPE:  This RFP contains the instructions governing the proposal to be submitted and the material to be included therein; mandatory requirements which must be met to be eligible for consideration; and other requirements to be met by each proposal.

E.


SCHEDULE OF ACTIVITIES



DATE  

	1.  RFP Notice Published on BIDS
	April 24, 2008

	
	

	2.  Pre-proposal Conference
	N/A

	
	

	3.  Prospective Offerors Written Inquiry Deadline
	May 7, 2008

	(No questions after this date)       
	

	4.  Proposal Submission Deadline
	May 27, 2008 at 2:00 p.m.

	(Submit 5 Copies of Proposal)
	

	5.  Oral Presentations 
	

	(Only if necessary after initial evaluation)
	

	6.   Contract Period
	From award until June 30, 2009

	
	

	7.  The resulting contract may be renewed for 
	Additional four years


F. INQUIRIES:  Offerors may make written or fax inquires concerning this RFP to obtain clarification of requirements.  No inquires will be accepted after the date and time indicated in the Schedule of Activities.  Send all inquires to:

Attn:  Mary Jantz
Director of Purchasing        

University of Northern Colorado

Greeley, CO 80639

mary.jantz@unco.eudu with a copy to Virginia.klingman@unco.edu
Response to any offeror's inquiries will be published as a modification on BIDS in a timely manner.  Responses to inquiries may also be made verbally and/or in writing at a pre-proposal conference.  Offerors should not rely on any other statements that alter any specification or other term or condition of the RFP.

G.
MODIFICATION OR WITHDRAWAL OF PROPOSALS:  Proposals may be modified or withdrawn by the offeror prior to the established due date and time.

H.
PROPOSAL SUBMISSION:  Proposals must be received on or before the date and time indicated in the Schedule of Activities.  Late proposals will not be accepted.  It is the responsibility of the offeror to ensure that the proposal is received by the University of Northern Colorado Purchasing Office on or before the proposal opening date and time.  Offerors mailing their proposals are advised to allow sufficient mail delivery time to ensure receipt of their proposals by the time specified.  The proposal package shall be delivered or sent by mail to:

University of Northern Colorado

Purchasing Office

Carter Hall, Room 1002

Greeley, CO 80639 

Attn: Mary Jantz
Proposals must be submitted and sealed in a package showing the following information on an envelope attached to the package:

OFFEROR’S NAME

UNC-RFP-08-12 
PROPOSAL DUE DATE AND TIME:

The Vendor Signature Form MUST be signed in ink by the offeror or an officer of the offeror who is legally authorized to bind the offeror to the proposal.  The signed Vendor Signature form is to be included with the proposal that is marked as ORIGINAL. Proposals, which are determined to be at a variance with this requirement, may not be accepted.

Offerors are advised that the University desires and encourages that proposals prepared in response to his RFP be submitted on recycled paper, and that all five (5) copies be printed on both sides of paper.  Include one electronic copy of the response as well.  While the appearance of proposals is important, and professionalism in proposal presentation should not be neglected, the use of nonrecycled or nonrecycled glossy materials is discouraged.

I. 
ADDENDUM OR SUPPLEMENT TO REQUEST FOR PROPOSAL:  In the event that it becomes necessary to revise any part of this RFP, an addendum notice will be sent via the BIDS system.

J.
ORAL PRESENTATIONS/SITE VISITS:  Offerors who are deemed most qualified, after initial evaluation, may be asked to make oral presentations and/or to make their facilities available for a site inspection by the evaluation committee.  Such presentations and/or site visits will be at the offeror's expense.

K.
ACCEPTANCE OF RFP TERMS:  A proposal submitted in response to this RFP shall constitute a binding offer.  Acknowledgment of this condition shall be indicated by the signature of the offeror, or an officer of the offeror legally authorized to execute contractual obligations.  A submission in response to this RFP acknowledges acceptance by the offeror of all terms and conditions including compensation, as set forth herein.  An offeror shall identify clearly and thoroughly any variations between its proposal and the State's RFP.  Failure to do so shall be deemed a waiver of any rights to subsequently modify the terms of performance, except as outlined or specified in the RFP.

L. PROTESTED SOLICITATIONS AND AWARDS:  Any actual or prospective offeror or contractor who is aggrieved in connection with the solicitation or award of a contract may protest to the University Purchasing Director.  The protest shall be submitted in writing within seven working days after such aggrieved person knows, or should have known, of the facts giving rise thereto.  [Ref. Section 24-109, 101 et. seq., C.R.S., as amended; Section 24-109, 201 et. seq., C.R.S. as amended; Section R-24-109-101 through R-24-109-206, Colorado Procurement Rules.

With regard to the emphasized language above, it is important for offerors to note that a challenge to the solicitation’s requirements or specifications should be made within 7 days of when the protestable item is known.  In other words, if you believe that the solicitation contains a requirement you want to protest should be submitted within the 7 day time period, even it that means it is filed during the time the solicitation is still open.  

As noted in paragraph B above and paragraph Q below, announcement of the apparent winning offeror will be made via a posting on the BIDS system. The requirement for timely submission of any protest  (7 working days) will begin on the first working day following posting of the award notice on BIDS.

M.
CONFIDENTIAL/PROPRIETARY INFORMATION:  Any restrictions of the use or inspection of material contained within the proposal shall be clearly stated in the proposal itself.  Written requests for confidentiality shall be submitted, by the offeror with the proposal.  The offeror must state specifically what elements of the proposal are to be considered confidential/proprietary.  Confidential/proprietary information must be readily identified, marked and separately packaged from the rest of the proposal.  Co-mingling of confidential/proprietary and other information is NOT acceptable.  Neither a proposal in its entirety, nor proposal price information will be considered confidential/proprietary.  Any information that will be included in any resulting contract cannot be considered confidential.

The University Purchasing Department will make a written determination as to the apparent validity of any request for confidentiality.  In the event the Purchasing Department does not concur with the offeror’s request for confidentiality, the written determination will be sent to the offeror. Ref. Section 24-72-201 et. seq., C.R.S., as amended, Public (open) Records.

N.  RFP RESPONSE MATERIAL OWNERSHIP:  The State of Colorado has the right to retain the original proposal and other RFP response materials for our files.  As such, the State of Colorado may retain or dispose of all copies as is lawfully deemed appropriate.  Proposal materials may be reviewed by any person after the “Notice of Intent to Make an Award” letter(s) has/have been issued, subject to the terms of Section 24-72-201 et seq., C.R.S., as amended, Public (open) Records.  The State of Colorado has the right to use any or all information/material presented in reply to the RFP, subject to limitations outlined in the clause, Proprietary/Confidential Information.  Offeror expressly agrees that the State may use the materials for all lawful State purposes, including the right to reproduce copies of the material submitted for purposes of evaluation, and to make the information available to the public in accordance with the provisions of the Public Records Act.  

O. PROPOSAL PRICES:  Estimated proposal prices are not acceptable.  Proposal prices will be considered to be your best and final offer, unless otherwise stated in the RFP.  The proposal price will be considered in determining the apparent successful offeror.

P. DISCUSSION WITH RESPONSIBLE OFFERORS AND REVISIONS TO PROPOSAL:

Discussions may be conducted with responsible offerors who submit proposals determined to be reasonably susceptible of being selected for award; for the purpose of clarification to assure full understanding of, and responsiveness to, the solicitation requirement.  Offerors shall be accorded fair and equal treatment with respect to any opportunity for discussions and revision of proposals, and such revisions may be permitted after submissions and prior to award, for the purpose of obtaining best and final offers.  In conducting discussions, there shall be no disclosure of any information derived from proposals submitted by competing offerors.

Q.
SELECTION OF PROPOSAL:  As described within the RFP, an Evaluation Committee will review and score offers submitted and make a recommendation for award.  The selection will be for award to the responsible offeror whose proposal is determined to be most advantageous to the University.  The Department of Purchasing, after review and approval of the evaluation committee’s written recommendation, will notify all offerors via a posting on the BIDS system of the results of the RFP evaluation.  The posting will be an announcement of the “Notice of Intent to Make an Award” which will name the apparent successful offeror.

R.
AWARD OF CONTRACT:  While a numerical rating system may be used to assist the evaluation committee in selecting the competitive range (if necessary) and making the award decision, the award decision ultimately is a business judgment that will reflect an integrated assessment of the relative merits of the proposals using the factors and their relative weights disclosed in the RFP.  A contract must be completed and signed by all parties concerned.  In the event the parties are unable to enter into a contract, the State may elect to cancel the “Notice of Intent to Make an Award” letter and make the award to the next most responsible offeror.

S.
ACCEPTANCE OF PROPOSAL CONTENT:  The contents of the proposal (including persons specified to implement the project) of the successful offeror will become contractual obligations if acquisition action ensues.  Failure of the successful offeror to accept these obligations in a contract, purchase order, or similar authorized acquisition document may result in cancellation of the award and such offeror may be removed from future solicitations.

T.
STANDARD CONTRACT:  The University/State of Colorado will incorporate standard State contract provisions (Special Provisions) and other provisions noted in this RFP into any contract resulting from this RFP.  The University/State of Colorado will not agree to binding arbitration.  The University/State of Colorado will agree to alternative dispute resolution which includes non-binding mediation.
U.
RFP CANCELLATION:  The University reserves the right to cancel this Request for Proposal at any time, without penalty.

V.
STATE OWNERSHIP OF CONTRACT PRODUCTS/SERVICES:  Proposals, upon established opening time, become the property of the University of Northern Colorado.  All products/services produced in response to the contract resulting from this RFP will be the sole property of the University of Northern Colorado unless otherwise noted in the RFP.  The contents of the successful offeror's proposal will become contractual obligations.

W.
INCURRING COSTS:  The University/State of Colorado is not liable for any cost incurred by offerors prior to issuance of a legally executed contract, purchase order, or other authorized acquisition document.  No property interest, of any nature shall accrue until a contract is awarded and signed by all concerned parties.

X.
MINORITY PARTICIPATION:  It is the State’s intent to achieve the goals of the Governor’s Executive Orders D0055-87 and D0005-94 regarding minority/woman-owned businesses.  Offerors are reminded it is illegal to discriminate.

Y.
NON-DISCRIMINATION:  The offeror shall comply with all applicable state and federal laws, rules and regulations involving non-discrimination on the basis of race, color, religion, national origin, age or sex.

Z.
REJECTION OF PROPOSALS:  The University reserves the right to reject any or all proposals and to waive informalities and minor irregularities in  proposals received and to accept any portion of a proposal or all items proposed if deemed in the best interest of the University of Northern Colorado .

AA.
PARENT COMPANY:  If an offeror is owned or controlled by a parent company, the main office address and parent company's tax identification number shall be provided in the proposal.  The tax identification number provided must be that of the offeror responding to the RFP.

BB.
NEWS RELEASES:  News releases pertaining to this RFP shall NOT be made prior to execution of the contract without prior written approval by the University.

CC.
CONTRACT CANCELLATION:  The University reserves the right to cancel, for cause, any contract resulting from this RFP by providing timely written notice to the contractor.

DD.CERTIFICATION OF INDEPENDENT PRICE DETERMINATION:

1.
By submission of this proposal, each offeror, and in the case of a joint proposal, each party thereto, certified as to its own organization, that, in connection with this procurement:

a.
The prices in this proposal have been arrived at independently, without consultation, communication, or agreement, for the purpose of restricting competition, as to any matter relating to such prices with any other offeror or with any competitor;

Unless otherwise required by law, the prices which have been quoted in this proposal have not been knowingly disclosed by the offeror and will not knowingly be disclosed by the offeror prior to opening, directly or indirectly to any other offeror or to any competitor; and

No attempt has been made or will be made by the offeror to induce any other person or firm to submit or not to submit a proposal for the purpose of restricting competition.

2.
Each person signing the Invitation for Bid form of this proposal certified that: 

a.
He is the person in the offeror's organization responsible within that organization for the decision as to the prices being offered herein and that he has not participated, and will not participate, in any action contrary to (1)(a) through (1)(c) above; or

b.
He is not the person in the offeror's organization respon sible within that organization for the decision as to the prices being offered herein but that he has been authorized in writing to act as agent for the persons responsible for such decision in certifying that such persons have not participated, and will not participate, in any action contrary to (1)(a) through (1)(c) above, and as their agent does hereby so certify; and he has not participated, and will not participate, in any action contrary to (1)(a) through (1)(c) above.

3.
A proposal will not be considered for award where (1)(a), (1)(c), or (2) above has been deleted or modified.  Where (1)(b) above has been deleted or modified, the proposal will not be considered for award unless the offeror furnishes with the proposal a signed statement which sets forth in detail the circumstances of the disclosure and the head of the agency, or his designee, determines that such disclosure was not made for the purpose of restricting competition.

EE.
CONFLICTS OF INTEREST:  The holding of public office or employment is a public trust.  A public officer or employee whose conduct departs from his fiduciary duty is liable to the people of the State.  Rules of conduct for public officers and state employees:

1.
Proof beyond a reasonable doubt of commission of any act enumerated in this section is proof that the actor has breached his fiduciary duty.

2.
A public officer or a state employee shall not:

a.
Engage in a substantial financial transaction for his private business purposes with a person whom he inspects, regulates, or supervises in the course of his official duties;

b.
Assist any person for a fee or other compensation in obtaining any contract, claim, license, or other economic benefit from his agency;

c.
Assist any person for a contingent fee in obtaining any contract, claim, license, or other economic benefit from any state agency; or

d.
Perform an official act directly and substantially affecting to its economic benefit a business or other undertaking in which he either has a substantial financial interest or is engaged as counsel, consultant, representative, or agent.

3.
A head of a principal department or a member of a quasi-judicial or rule-making agency may perform an official act notwithstanding paragraph (d) of subsection (2) of this section if his participation is necessary to the administration of a statute and if he complies with the voluntary disclosure procedures under CRS section 24-18-110.

4.
Paragraph (c) of subsection (2) of this section does not apply to a member of a board, commission, council, or committee if he complies with the voluntary disclosure procedures under CRS 24-18-110 and if he is not a full-time state employee.  Reference CRS 24-18-108.

FF.
TAXES:  The University of Northern Colorado, as purchaser, is exempt from all federal excise taxes under Chapter 32 of the Internal Revenue Code Registration No. 84-6000546) and from all state government use taxes (Ref. Colorado Revised Statutes Chapter 39-26.114(a)).  Our Colorado State Sales Tax Exemption Number is 98-03693.  Seller is hereby notified that when materials are purchased in certain political subdivisions the seller may be required  to pay sales tax even though the ultimate product or service is provided to the State of Colorado.  This sales tax will not be reimbursed by the State.

GG.ASSIGNMENT AND DELEGATION:  Except for assignment of antitrust claims, neither party to any resulting contract may assign or delegate any portion of the agreement without the prior written consent of the other party.

AVAILABILITY OF FUNDS:  Financial obligations of the State payable after the current fiscal year are contingent upon funds for that purpose being appropriated, budgeted and otherwise made available.  In the event funds are not appropriated, any resulting contract will become null and void, without penalty to the State of Colorado.

II.
BID BONDS/SECURITY:  

NOT REQUIRED FOR THIS PROPOSAL

JJ.
CONTRACTOR'S PERFORMANCE BOND:  

NOT REQUIRED FOR THIS PROPOSAL

KK.
INSURANCE:  The contractor shall procure, at its own expense, and maintain for the duration of the work, the following insurance coverages; the State shall be issued certificates as an additional insured.

1. Standard Workers' Compensation and Employers' Liability as required by State statute including occupational disease, covering all employees on or off the work site, acting within the course and scope of their employment.

2. Commercial General Liability Insurance written on ISO occurrence form CG 00 01 10/93 or equivalent, covering premises operations, fire damage, independent contractors, products and completed operations, blanket contractual liability, personal injury, and advertising liability (state anticipating HIPAA coverage) with minimum limits as follows:

    a.  $1,000,000 each occurrence;


b.  $2,000,000 general aggregate;

    c.  $2,00,000 products and completed operations aggregate;

    d.  $50,000 any one fire; and

    e.  Per Project general Aggregate Limit


If any aggregate limit is reduced below $1,000,000 because of claims made or paid, Contractor shall immediately obtain additional insurance to restore the full aggregate limit and furnish to the State a certificate or other document satisfactory to the State showing compliance with this provision. 

3.  Automobile Liability Insurance covering any auto (including owned, hired, and non-owned autos) with a minimum limit as follows:  $1,000,000 each accident combined single limit.

4.
Professional liability insurance with minimum limits of liability of not less than $1,000,000 may be required for certain contracts.

5.  Other insurance as may be required by law, or in a specific solicitation.  All policies evidencing the insurance coverages required hereunder shall be issued by insurance companies satisfactory to the State.

6. The State of Colorado – University of Northern Colorado shall be named as an additional insured on the Commercial General Liability and Automobile Liability Insurance policies (leases and construction contracts will require the additional insured coverage for completed operations on endorsements CG 2010 11/85, CG 2037, or equivalent).  Coverage required of the contract will be primary over any insurance or self-insurance program carried by the State of Colorado.

Insurance shall include provisions preventing cancellation or non-renewal without at least 30 days’ prior notice to the State by certified mail.

Contractor will require all insurance policies in any way related to the contract and secured and maintained by the contractor to include clauses stating that each carrier will waive all rights of recovery, under subrogation or otherwise, against the State of Colorado, its agencies, institutions, organizations, officers, agents, employees and volunteers.

9.  Contractor shall provide certificates showing insurance coverage required by this contract to the State within 7 business days of the effective date of the contract, but in no event later than the commencement of the services or delivery of the goods under the contract.  No later than 15 days prior to the expiration date of any such coverage, the contractor shall deliver the State certificates of insurance evidencing renewals thereof.  At any time during the term of the contract, the State may request in writing, sand the contractor shall thereupon within 10 days supply to the State, evidence satisfactory to the State of compliance with the provisions of this section.  Certificate/s of adequate insurance coverage and endorsement/s of additional insured coverage.  Copies of the insurance certificate can be faxed and should be followed by the hard copy of the certificate being mailed to UNC’s Purchasing Office.  The Additional Insured portion should read as follows:

UNC Purchasing Director

Carter Hall 1002, Greeley CO 80639

Phone:  (970)351-2288
Fax:  (970)351-1142

LL.
INDEPENDENT CONTRACTOR CLAUSE:  All personal service contracts must contain the following clause:

“THE CONTRACTOR SHALL PERFORM ITS DUTIES HEREUNDER AS AN INDEPENDENT CONTRACTOR AND NOT AS AN EMPLOYEE.  NEITHER THE CONTRACTOR NOR ANY AGENT OR EMPLOYEE OF THE CONTRACTOR SHALL BE OR SHALL BE DEEMED TO BE AN AGENT OR EMPLOYEE OF THE STATE.  CONTRACTOR SHALL PAY WHEN DUE ALL REQUIRED EMPLOYMENT TAXES AND INCOME TAX WITHHOLDING, SHALL PROVIDE AND KEEP IN FORCE WORKER’S COMPENSATION (AND SHOW PROOF OF SUCH INSURANCE) AND UNEMPLOYMENT COMPENSATION INSURANCE IN THE AMOUNTS REQUIRED BY LAW, AND SHALL BE SOLELY RESPONSIBLE FOR THE ACTS OF THE CONTRACTOR, ITS EMPLOYEES AND AGENTS.”

MM.INDEMNIFICATION:  To the extent authorized by law, the contractor shall indemnify, save and hold harmless the State, its employees and agents, against any and all claims, damages, liability and court awards including costs, expenses, and attorney fees incurred as a result of any act or omission by the contractor or its employees, agents, subcontractors, or assignees pursuant to the terms of the contract resulting from this RFP.

NN.
VENUE:  The laws of the State of Colorado, U.S.A. shall govern in connection with the formation, performance and the legal enforcement of any resulting contract.  Further, Title 24, C.R.S. as amended, Article 101 through 112 and Rules adopted to implement the statutes govern this procurement.
OO. PERFORMANCE OUTSIDE THE STATE OF COLORADO:  Please check whether the work performed by the Contractor ⁭___Will ___  ⁭Will Not be performed entirely within the State of Colorado.  (If Will Not is checked, the Contractor Must complete the Vendor Disclosure Statement which is included with this solicitation).

PLEASE NOTE:  It is the CONTRACTOR’S responsibility to purchase parking permits when performing work on the UNC Campus.  They can be obtained by contacting UNC Parking 

Services Division.

1.
CONTROLLER'S APPROVAL. CRS 24-30-202 (1). This contract shall not be deemed valid until it has been approved by the Colorado State Controller or designee.

2.
FUND AVAILABILITY. CRS 24-30-202(5.5). Financial obligations of the State payable after the current fiscal year are contingent upon funds for that purpose being appropriated, budgeted, and otherwise made available.

3.
INDEMNIFICATION. Contractor shall indemnify, save, and hold harmless the State, its employees and agents, against any and all claims, damages, liability and court awards including costs, expenses, and attorney fees and related costs, incurred as a result of any act or omission by Contractor, or its employees, agents, subcontractors, or assignees pursuant to the terms of this contract.

[Applicable Only to Intergovernmental Contracts] No term or condition of this contract shall be construed or interpreted as a waiver, express or implied, of any of the immunities, rights, benefits, protection, or other provisions, of the Colorado Governmental Immunity Act, CRS 24-10-101, et seq., or the Federal Tort Claims Act, 28 U.S.C. 2671, et seq., as applicable, as now or hereafter amended.

4.
INDEPENDENT CONTRACTOR. 4 CCR 801-2. Contractor shall perform its duties hereunder as an independent contractor and not as an employee. Neither Contractor nor any agent or employee of Contractor shall be or shall be deemed to be an agent or employee of the state. Contractor shall pay when due all required employment taxes and income taxes and local head taxes on any monies paid by the state pursuant to this contract. Contractor acknowledges that Contractor and its employees are not entitled to unemployment insurance benefits unless Contractor or a third party provides such coverage and that the state does not pay for or otherwise provide such coverage. Contractor shall have no authorization, express or implied, to bind the state to any agreement, liability or understanding, except as expressly set forth herein. Contractor shall provide and keep in force workers' compensation (and provide proof of such insurance when requested by the state) and unemployment compensation insurance in the amounts required by law and shall be solely responsible for its acts and those of its employees and agents.

5.
NON-DISCRIMINATION. Contractor agrees to comply with the letter and the spirit of all applicable State and federal laws respecting discrimination and unfair employment practices.

6.
CHOICE OF LAW. The laws of the State of Colorado, and rules and regulations issued pursuant thereto, shall be applied in the interpretation, execution, and enforcement of this contract. Any provision of this contract, whether or not incorporated herein by reference, which provides for arbitration by any extra-judicial body or person or which is otherwise in conflict with said laws, rules, and regulations shall be considered null and void. Nothing contained in any provision incorporated herein by reference which purports to negate this or any other special provision in whole or in part shall be valid or enforceable or available in any action at law, whether by way of complaint, defense, or otherwise. Any provision rendered null and void by the operation of this provision will not invalidate the remainder of this contract, to the extent that this contract is capable of execution. At all times during the performance of this contract, Contractor shall strictly adhere to all applicable federal and State laws, rules, and regulations that have been or may hereafter be established.

7.
[Not Applicable to Intergovernmental Contracts] VENDOR OFFSET. CRS 24-30-202 (1) and 24-30-202.4. The State Controller may withhold payment of certain debts owed to State agencies under the vendor offset intercept system for: (a) unpaid child support debt or child support arrearages; (b) unpaid balances of tax, accrued interest, or other charges specified in Article 21, Title 39, CRS; (c) unpaid loans due to the Student Loan Division of the Department of Higher Education; (d) amounts required to be paid to the Unemployment Compensation Fund; and (e) other unpaid debts owing to the State or its agencies, as a result of final agency determination or reduced to judgment, as certified by the State Controller.

8.
SOFTWARE PIRACY PROHIBITION. Governor's Executive Order D 002 00. No State or other public funds payable under this contract shall be used for the acquisition, operation, or maintenance of computer software in violation of federal copyright laws or applicable licensing restrictions. Contractor hereby certifies that, for the term of this contract and any extensions, Contractor has in place appropriate systems and controls to prevent such improper use of public funds. If the State determines that Contractor is in violation of this paragraph, the State may exercise any remedy available at law or equity or under this contract, including, without limitation, immediate termination of this contract and any remedy consistent with federal copyright laws or applicable licensing restrictions. 9.
EMPLOYEE FINANCIAL INTEREST. CRS 24-18-201 and 24-50-507. The signatories aver that to their knowledge, no employee of the State has any personal or beneficial interest whatsoever in the service or property described in this contract.

10.
[Not Applicable to Intergovernmental Contracts]. ILLEGAL ALIENS – PUBLIC CONTRACTS FOR SERVICES AND RESTRICTIONS ON PUBLIC BENEFITS. CRS 8-17.5-101 and 24-76.5-101. Contractor certifies that it shall comply with the provisions of CRS 8-17.5-101, et seq. Contractor shall not knowingly employ or contract with an illegal alien to perform work under this contract or enter into a contract with a subcontractor that fails to certify to Contractor that the subcontractor shall not knowingly employ or contract with an illegal alien to perform work under this contract. Contractor represents, warrants, and agrees that it (i) has verified that it does not employ any illegal aliens, through participation in the Basic Pilot Employment Verification Program administered by the Social Security Administration and Department of Homeland Security, and (ii) otherwise shall comply with the requirements of CRS 8-17.5-102(2)(b). Contractor shall comply with all reasonable requests made in the course of an investigation under CRS 8-17.5-102 by the Colorado Department of Labor and Employment. Failure to comply with any requirement of this provision or CRS 8-17.5-101, et seq., shall be cause for termination for breach and Contractor shall be liable for actual and consequential damages. 

Contractor, if a natural person eighteen (18) years of age or older, hereby swears or affirms under penaltyof perjury that he or she (i) is a citizen or otherwise lawfully present in the United States pursuant to federal law, (ii) shall comply with the provisions of CRS 24-76.5-101, et seq., and (iii) shall produce one form of identification required by CRS 24-76.5-103 prior to the effective date of this contract.

Revised October 25, 2006 



Effective Date of Special Provisions: August 7, 2006

VENDOR SIGNATURE FORM

THIS FORM MUST BE COMPLETED, SIGNED, AND RETURNED WITH YOUR BID RESPONSE
BID/RFP INVITATION NO:    UNC___________________

Bid Solicitation will indicate whether this is a Sealed or Fax Bid

BID RECEIPT:

SEALED BIDS -- Bid to be submitted in sealed envelope bearing the NAME AND ADDRESS OF THE BIDDER,

THE DATE AND HOUR OF OPENING, AND INVITATION NUMBER ON THE FACE OF THE ENVELOPE.

Bid must be received on or before the indicated due date and time in the:

UNC Purchasing Office

Carter Hall -- Room 1002

Greeley, CO 80639

Please be advised that telegraphic or electronic bids (Fax, Western Union, Telex, etc.) cannot be accepted directly in the Purchasing Office as a sealed bid.  Bidders are urged to read the bid thoroughly before submitting a bid.

FAX BIDS -- Fax Number will vary depending on Buyer submitting Documented Quote.  Please refer to Solicitation for number to fax your response.

ALL BIDS SHALL BE QUOTED F.O.B. DESTINATION UNLESS OTHERWISE SPECIFIED

Per the attached specifications, terms and conditions

Vendor is required to submit Federal Employer Identification Number (F.E.I.N.) prior to payment of Purchase Order.

F.E.I.N. _______________________________________________________________________________________

DELIVERY DATE_____________________________________TERMS__________________________________

COMPLETE COMPANY NAME_____________________________________________ State ________________

(Include INC., DBA, LLC, LLP, Sole Proprietorship or any other ownership)

       (State of incorporation)

ADDRESS____________________________________________________________________________________

CITY/STATE/ZIP______________________________________________________________________________

PHONE_______________________________ FAX _________________________ EMAIL __________________

NAME OF AUTHORIZED SIGNATOR ______________________________________________________________

(Individual with authority to enter into and execute agreements/contracts/assignments/or any other legal document on

behalf of company; include name/title/address/phone/fax if different from above) ______________________________

SIGNATURE (of Vendor’s representative) ____________________________________________________________

TYPED/PRINTED NAME__________________________________TITLE________________________________

ADDRESS ____________________________________________________________________________________

CITY/STATE/ZIP_______________________________________________________________________________

PHONE _____________________________ FAX _________________________ EMAIL _____________________

Please indicate if you are a State of Colorado PERA (Public Employees’ Retirement Association) retiree :  Yes       No

SECTION II

PROJECT DESCRIPTION

1.0 PROJECT SUMMARY

UNC is interested in installing an IP Network based Digital Video Surveillance System in the West Campus Residence Hall and develop a campus standard for video equipment that will allow for future expansion to other buildings and areas on campus. This system will be used to monitor movement in and around the public entrances and exits to buildings, parking lots and for ad-hoc type of installations where surveillance is required. 

UNC requires a system that will be capable of satisfying its security needs for a minimum of five

years, with the capacity to expand by at least 50% over that time.

1.1 DESCRIPTION OF PROJECT

The video capture, storage and distribution of images shall be done using a series of IP cameras and network control and/or storage devices. Hereafter, these networked control and/or storage devices will be referred to as the video surveillance system. Users of the system shall be able to connect to the video surveillance system across the UNC network to retrieve both live and archive images from their local computer system. Users shall be able to access the video surveillance system from any computer connected to the UNC network including access via the Internet (over a secured connection), using only a web browser or thin-client.

If applicable, the installation of cabling will be managed by UNC; either internally or an authorized UNC cabling contractor, thus cable specification are not included in this RFP.  However, the requirement is that the system will utilize Category 6 type of cable.  UNC’s network infrastructure includes 1GB inter-building connectivity via fiber and power over Ethernet (POE) switches in the designated equipment closets which are accessible in each building.  The campus has complete wireless coverage in all academic buildings and the University Center.
1.1.1Enterprise Features

The proposed solution shall have the following features:

1. Solution shall utilize existing LAN/WAN infrastructures for access to camera and video surveillance system user interfaces.

2. Solution shall allow an unlimited number of camera sites to be accessible as a single site to the end‐user.

3. Solution shall allow for multiple cameras to access a single Storage Attached Network (SAN).

4. Solution shall allow for an unlimited number of cameras and user accounts to be

configured into one logical enterprise implementation with a single Graphical User Interface (GUI).

5. Solution shall have a browser interface that allows users access to all system features and

functions. Access to the solution shall consist of a web‐browser and an Active X plug‐in and

should not require the installation of thick‐client software at the end‐user workstation 

6. Solution shall provide for a ‘live view’ of any camera included in the video network.
7. Shall support traditional analog cameras via video server adapters using IP protocol.

8. Shall communicate and receive video image streams from IP addressable cameras using IP protocol.

9. Shall control PTZ cameras using IP protocol.

10. Shall have the option to use Active Directory services to authenticate remote users.

11. Shall have the ability to view, record, playback and archive video from cameras located at remote locations over the IP network. (Multi-location recordings).

12. Shall support IP cameras and encoders using MJPEG and MPEG4 compression simultaneously.

13. Shall provide the capability to record audio with the associated camera, when

audio recording is necessary and the camera has audio feature supported by the software.

14. Shall allow time synchronized multiple cameras view/playback with motion

detection information.

15. Shall have the ability to store the recorded images on the system’s local hard

drive or on a Network Attached Storage (NAS), or on attached storage (USB,

Firewire, and SCSI) if so required.
16. Shall have automatic (maintenance free) daily archiving capabilities of recorded video with automatic archive recycling.

17. Shall have video search capabilities to find video images by Time, Date and Activity/Alarm.

18. Shall provide 24 hours scheduler to activate and deactivate the following features

on a per camera basis:

a. Bring cameras on/off line

b. Sound audible alarm on motion detection in camera’s field of view

c. Send e-mail/text pager/SMS notification on motion detection events

with/without video image attachment.

d. Start/stop and change patrolling sequence for PTZ cameras.

19. Shall have an advanced motion detection capabilities with ALL the functions as

described below. The operator shall have the ability to use one, several or any

non-conflicting combinations of the following functions, on a per camera basis:

• Automatically freeze the live video of a camera with no motion in its field of view.

• Stop recording camera images with no motion in it field of view.

• Start recording images up to 999 seconds before a motion is detected in the cameras field of view and continue recording for up to 999 seconds after the motion stopped in the cameras field of view.

• Adjustments of low light noise levels to avoid false motion detection.

• Change recorded frame rate when motion is detected.

20. Shall have the ability to adjust the compression level of the video image data

size, to save on storage size, when needed.

21. Shall have the ability to detect door contacts or digital passive infrared sensor (PIR) motion detector input and cause a PTZ camera to move and zoom into the door and record the activity, to increase protection of sensitive areas.

22. Shall be able to detect close/open relay input from the camera’s location and

trigger alarm/event on the System.

23. Shall have the ability to adjust image resolution.
24. The system shall include an operator station/console for local video surveillance

management.
25. Shall support at least 2 display screens per operator console, one for live view of

all cameras, simultaneously (monitoring screen), and the other display for

playback, search, video clips productions, evidence printout and more (viewer

screen). Playback and searching shall not interfere or eliminate the continuous

and simultaneous view of the live streaming videos.
26. Shall display all active cameras on the monitoring screen, in a 2x2 and up to 8x8

matrix.
27. Shall allow the operator to zoom, pan and tilt any PTZ camera by using the system’s mouse.
28. Shall allow the display of each live camera on a larger then original image size screen. (Large view).
29. Shall have viewer application with the ability to show multiple selected cameras at the same time with full synchronization between the images.
30. Playback viewer screen shall provide the operator with ability to skip forward and

backward the video on a frame-by-frame basis, event-by-event basis and provide 3 levels of fast-forward / backward playback.
31. Playback viewer screen shall provide the operator with graphical motion level bar for quick identification of motion events and the ability to access the event by mouse click and drag in to graph area, on a per camera basis. (Search by activity)
32. Shall provide the following general alarm and notification via system message and e-mail/pager: General System alarms, low video storage space, camera disconnect.
33. Shall have export tool of recorded video and audio using the system database format with date and time stamp.
34. Shall have the ability to encrypt the database exported file with user key of

minimum 128 bits.
35. Shall have export tool of recorded video into JPEG or AVI formats and the ability

to e-mail and store these files..
36. Shall have printer tool to allow the operator to print video image and add operator name and comments as well as print a system timestamp of the event.

37. Shall provide web server service to allow authorized users to view live video, playback of recorded video and search the archive to view video using their Internet Explorer web browser from any PC on the Intranet or Internet, if authorized.

38. Shall operate on industry standard Microsoft 2003 advanced server operating system with all the controls done via keyboard and mouse.
1.1.2 System Design Features

Architecture and Design Information

In its response, the vendor should describe the architecture used to attach to and communicate with the cameras, the video server, and the archived images. Responses are expected to explain how the following items are managed within the proposed solution.

1. The solution shall have distributed system architecture to allow the video surveillance system to be installed at multiple locations within a site without affecting the functionality of the remaining devices.

2. The solution shall utilize LAN/WAN, intranet, and/or Internet for delivery of interface tousers using standard TCP/IP ports.

3. The solution shall allow administratively manageable configurations that can limit users to one or more sites, limit users to specific system devices, limit users to specific system

modules, or configure users for restricted access.
4. The solution shall be designed to allow HTTPS control of external devices such as PTZcontrols.

5. The preferred solution shall allow IP camera capture functions to be configured to transmit images as individual frames and/or a "video stream" to maximize the efficiency of the system from affecting network bandwidth.

6. The preferred solution shall allow IP cameras “Live View” functions to be configured to minimize impact of video feed to minimally impact network bandwidth.

Captured Image Specifications

In its response, the vendor should describe the options available to view and capture images. Responses are expected to provide specifications and recommendations for the following needs related to the proposed solution.

1. The solution shall have adjustable image quality settings that allow the user to adjust the

amount of image compression utilized.

2. The solution shall have the capability to distinguish when one image from the same camera

view differs from the prior image (i.e. ‘Differencing’ as an event trigger). The preferred solution

shall store in its image archives only those images that are "different" than their predecessors.

This ‘differencing’ shall be a configurable setting that can be turned on/off.

3. When transmitting images over the network, the solution shall provide file sizes of each image

less than 100 kilobytes with adequate quality, dependent on configured compression levels.

4. The solution shall have the ability to capture images at one or more of the following resolutions,

but are not limited to the following resolutions:

a. 320 x 240

b. 640 x 480

c. 704 x 480

5. The solution shall provide a method to configure the image resolution by camera for IP cameras.

6. The solution shall transmit independent individual frames of video that can be viewed, saved,

stored, printed, e‐mailed, and shared as independent files.

Automated Trigger Specifications

In its response, the vendor should describe the automatic ‘triggers’ built into the cameras and

or software provided in the solution. Responses are expected to provide specifications and

recommendations for the following needs related to the proposed solution.

1. The solution shall be capable of providing a scope of camera responses in the occurrence of a

triggered event.

2. The solution shall be able to support several input triggers for the Video Surveillance System.

3. The solution shall contain video motion sensor trigger software capable of independently

detecting motion anomalies within the parameters of camera focal areas.

4. The solution shall provide programmable sensitivity on each camera enabled with the video

motion sensor triggers.

5. The solution shall utilize multiple programmable regions per camera focal area to differentiate

and determine motion sensor trigger events.

6. The solution shall be capable of enabling every camera on the system with video motion sensor

triggering capabilities.

7. The solution shall be capable of integrating with 3rd party products that can communicate to

the Video surveillance system via standard Digital I/O connections. The system shall be capable of a

programmable, multiple level response to threshold events received via these connections.

1.1.3 Software Features

Image & Camera Access Software Information

In its response, the vendor should describe the software required to access the cameras and their configuration, the Video Surveillance System, and the archived images. Any necessary access software shall support clients utilizing Microsoft Windows versions including Microsoft XP and Microsoft Vista SP1 . Responses are expected to provide specifications and recommendations for the following needs related to the proposed solution.

1. The preferred solution will utilize a standard web browser certified by manufacturer

testing for all functions. Web browsers that support standard HTTPS protocols and are

supported by Microsoft Windows operating systems should be utilized for system access.

For browser‐based access software, camera specific ActiveX controls/Java Applets may be automatically loaded on the end‐user system.

2. The solution shall describe the licensing arrangements and costs for the required client side software. The preferred solution shall allow for unlimited client licenses without any incremental cost for additional user access.

3. The solution shall include an ‘archive extractor’ software module capable of viewing archived

images based on a specific camera, date and time specified by the user. The images will be able

to be downloaded and viewed with standard multimedia players or web browser.

4. The solution shall include an ‘archive extractor’ software module capable of storing and transmitting archived images based on a specific camera, date and time specified by the user.

The images will be able to be captured and stored on video surveillance system, the users' workstation, or any other storage media (local or network) accessible by the user. This capability shall allow users to distribute the images to other entities, such as law enforcement or discipline officers, as independent playable video "clips."

5. The solution shall incorporate single‐point authentication to allow users a single login to the

enterprise solution. This access shall be based on the user's rights to each site. Users shall not

gain access to sites or devices that they do not have rights to even with the single‐point authentication.

6. The solution shall provide a software ‘live view’ capability that will:

6.1 display the latest image available.

6.2 display live streaming video of the selected camera with different frame rates up to 30 fps (based on available bandwidth).
1.1.4 Hardware Features

Server Specifications

In its response, the vendor should describe the server necessary to manage the solution.

Responses are expected to provide specifications and recommendations for the following

needs related to the proposed solution; including technical specifications of any proposed

server(s).

1. The solution shall provide the specifications for the video surveillance system (or other archival

storage device) included in the proposal. It is understood that the configuration specified

for the video surveillance system is specific to number of image resolution/compression/frame rate parameters. If these parameters change, so may change hardware configuration of the server.

2. The solution shall be capable of accepting up to 500 IP camera streams to the Video Surveillance System. There shall be no limitation on camera capacity by logical site.

3. The solution shall be capable of accepting cameras that will capture/multiplex color and/or B/W camera images.
Camera Specifications
Responses are expected to provide specifications and recommendations for the following needs related to the proposed solution; including technical specifications of the proposed cameras.
1. The cameras proposed in the solution may be able to view or capture color and/or B/W images. 

2. The cameras proposed in the solution shall output motion JPEG as the IP camera video standard.

3. The solution shall support a variety of cameras with differing characteristics, such as, tamper resistant with all movable parts enclosed behind a protective cover; interior models with variable focus lenses; weather resistant for outdoor use; PTZ’s with network access and control; and, auto‐iris for low‐light conditions. The customer shall not be limited to one choice of camera.

4. The solution shall provide the capability of controlling and viewing pan‐tilt‐zoom cameras over the network as well as allowing on site viewing and control. The system shall allow this control via the TCP/IP communication protocol so that the pan‐tilt‐zoom cameras can be controlled via a LAN, WAN, or Internet connection.

5. The solution shall support cameras that have built in video motion detection. As such, the system shall store in its image archives those images transmitted which are "different" than

their predecessors. This ‘differencing’ shall be a configurable setting, which can be turned on/off.

6. The preferred solution would support camera systems with tamper notification alarm and/or

notification and the ability to transition images for enhanced day/night viewing of images.
1.1.5 Support Features

Staff Support

In its response, the vendor should describe the support provided to the UNC staff to manage and utilize the system after installation.

1. The proposed solution will include expert to expert training for at least two members of the UNC staff.
System Maintenance Specifications

In its response, the vendor should describe the support and maintenance capabilities of the

system provided in the solution. Responses are expected to provide specifications and

recommendations for the following needs related to the proposed solution.
1. The solution shall be able to recover fully from a power loss to the system hardware without

the aid of an un‐interruptible power supply (UPS) or the intervention of an operator. Recovery

will include:

a. No loss of archived images received prior to the failure.

2. The solution shall be able to recover fully when a network connection is lost and then returned without the aid of an operator.

3. The solution shall automatically detect anomalous software and hardware conditions and attempt to recover from them via software re‐start.

4. The solution shall provide the ability to remotely disable, enable, or modify configuration settings of cameras without an operator physically being present at a site.
5. The solution shall automatically delete Image Archives once they expire without the aid or

intervention of an operator. The number of stored Image Archives days shall be configurable per camera.

6. If utilized in the solution, in the event that an Video surveillance system begins to run out of archive storage, the system shall automatically purge the oldest archive per camera until enough space is available to store the current day’s archives. This function shall be executed without user intervention or assistance.

7. The video surveillance system shall be able to continue to archive images normally from any camera, for an amount of time, when the network connection to the unit is not operational as long as video system sub‐network is available. This shall allow for normal network system maintenance to be executed without interrupting the archive capture function.

8. The video surveillance system shall provide Time Synchronization for units to be obtained by directing the systems Time Synchronization function to one of the following:

a. IP of an accepted national or international Time Server

b. IP of a DNS server internal to the customer's network

Warranty & Upgrade Specifications

In its response, the vendor should describe the warranty and upgrade options provided in the

solution. Responses are expected to provide specifications and recommendations for the

following needs related to the proposed solution.

1. The solution shall provide information related to warranties for ANY camera from ANY camera

manufacturer utilized in the solution.

2. The solution shall provide for System Software Maintenance Releases or “patches” on the

purchased software version at no charge during warranty and/or service period.
1.1.6 Miscellaneous Items

Other Criteria

In its response, the vendor should describe how the proposed solution meets the following criteria.
1. The vendor providing the ‘Security Camera Solution’ must be a certified partner

for the products proposed as well as an authorized installer.

2. The Video Surveillance System Vendor shall make a thorough inspection and test of the

complete installed system, to insure the following:

a. A complete and functional system is delivered.

b. Security Camera System is installed in accordance applicable codes, industry standards

and manufacturer's recommendations.

c. A test to confirm that each camera is located properly, aimed and focused for the

intended coverage area shall be performed. 

3. The Vendor shall provide a warranty of the installed system against defects in material and

workmanship for a period of three (3) years from the date of substantial completion.  Any

equipment shown to be defective shall be replaced, repaired, or adjusted free of charge within

the warranty period. All labor and materials shall be provided at no expense to the Owner.

4. It shall be the responsibility of the Video Surveillance System Vendor to obtain all required

approvals and certifications from authorities having jurisdiction.

5. The Video Surveillance System Vendor shall conduct formal on‐site training sessions. It shall be

the responsibility of the Vendor to coordinate time and location of training sessions with the

Owner.  Provide documented general instruction as follows:

6. Provide instruction to the maintenance personnel to include the location, inspection, normal

maintenance, testing, and operation of all system components.

7. Provide instruction to designated personnel on the functions and operation of the system

provided including capabilities, limitations, and the meaning of status messages. State the

proper procedure for testing, routine maintenance, and request for service. Provide detailed

instruction on the operation of the system operation.

PART 2. GENERAL RESPONSE INSTRUCTIONS

2.0 RESPONSE SUMMARY

The University of Northern Colorado is requesting quotes for an IP Network based Digital Video Surveillance System.  Before awarding the bid, a vendor may be asked to demonstrate the system to ensure it meets all of the necessary qualifications. Upon agreement on bid and project work, final approval of work completed is required from the Project Manager for the job to be considered complete.

2.1 RESPONSE STRUCTURE
All responses should include the following sections

Vendor Information Section

All proposals must include the vendor’s name and address, a contact person for bid, and the contact person’s phone number and email address, as well as the completed Vendor Signature Form.
Response Section

All proposals must include a complete representation of how the proposed solution will fulfill the

items described in the Project Description section, specifically addressing the features and requirements outlined and including the sections titled Enterprise Features, System Design Features, Software Features, Hardware Features, Support Features, and Miscellaneous Items. Any solution that substantially exceeds the requirements outlined in the RFP should be clearly indicated; the additional capabilities will be taken into consideration after the basic capabilities have been met.  To facilitate the evaluation of RFP Responses, bidders should prepare their response to the sections in the format and sequence specified.  Respond specifically and concisely to each question posed.  
Cost Section

The vendors’ proposals shall include an itemized price list with the following;

1. Network Video Surveillance system including features of each specific

system and differences between them.  Cost shall include all itemized components of the NVR including but not limited to, Brand of equipment being proposed, model number of equipment and associated cost.
2. Cameras listing all the different camera types offered including a brief feature set for each

one.

3. Installation cost for the NVR system (please include what post installation support is

included in this price).

4. Installation cost for the cameras to include physical installation, camera focusing, and

testing, as needed (please include what post installation support is included in this price).

5. Cost of client(s), if required, to view the cameras and stored images. Any limits to the

number of cameras must be included in the proposal.

6. Price for support either by hour, day, or service contract with service level options (this

should include readjusting, and re‐focusing of cameras and configuration of the system as

may be necessary).

7. Support response schedule, indicating distance from the main campus and the maximum

time to respond via phone and the time to arrive on campus for support needs on a normal

business day.

Evaluation Criteria

1. Cost

2. Technical and operational capabilities of the system

3. Hardware features

4. Software features

5. Experience with similar projects
COLORADO SPECIAL PROVISIONS    The Special Provisions apply to all contracts except where noted in italics.
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