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The Georgia State Financing and Investment Commission (GSFIC), as “Owner” on behalf of The Technical College System of Georgia, (“Using Agency”), is soliciting Proposals from firms interested in providing professional services associated with Statewide Facility Condition Assessments, Energy Audits, and Capital Asset Management Software for a project known as Project No. TCSG-278 (“Project”) titled “Statewide Facility condition Assessments, Energy Audits, and Capital Asset Management Software”. This Request for proposals (RFP) seeks to identify potential providers of the above-mentioned services. Firms determined by the Owner to be the sufficiently qualified for this project, may be deemed eligible and may be invited to participate in an interview and product demonstration with the Owner in addition to submitting a proposal to provide these services as well.  All respondents to this RFP are subject to instructions communicated in this document and additional terms and conditions listed in the Owner’s Request for Proposals (RFP). The Owner reserves the right to reject any or all proposals, and to waive technicalities and informalities at the discretion of the Owner.

Restriction of Communication: From the issue date of this (RFP) solicitation until a successful proposer is selected and the selection is announced, proposers are not allowed to communicate for any reason with any members of the Selection Committee, or the Using Agency, except for submission of questions as instructed in the RFP, or during the proposer's conference (if applicable), or as provided by any existing work agreement(s).  For violation of this provision, the Owner reserves the right to reject the proposal of the offending proposer.  

1.0 PURPOSE
To aid in the planning for facilities predictive and preventative maintenance and facility capital asset replacement, and the identification of energy conservation projects with short term payback periods, the Facilities Management Department of the Technical College System of Georgia (TCSG) is currently seeking to update its facility condition information database, conduct energy audits and obtain a capital asset management software program. The buildings which are included in the Work are identified in Exhibit 'C' to this RFP.
Through this RFP, TCSG seeks to:

1.1 Determine a cost for the Facilities Condition Assessment and Energy Audits,

1.2 Evaluate the proposed assessment methodologies;

1.3 Evaluate the proposed software applications;

1.4 Establish a cost for the proposed software application, complete with support and training; and 
1.5 Select the successful Vendor, if any.
2.0 PROJECT SCOPE OF WORK

TCSG is inviting experienced, qualified Vendors to submit proposals to provide the following professional services and supporting information technology products:

a. Complete a comprehensive Facilities Condition Assessment (FCA) of the specified buildings and their respective systems and components through visual, non-destructive inspection and review of existing building data and maintenance history.  Populate data collected during the FCA in a capital asset management and planning software system developed to store and analyze facility condition assessment data based on Engineered Management System (EMS) principles.  Provide a report of findings for the individual buildings on each Campus included in the Work. The report will include a budget forecast for maintenance, repair and replacement (MR&R) activities to be performed in each building over a five year study period. 
b. Complete a Preliminary Energy Use Analysis by analyzing each facility’s historical energy use, benchmarking the building, and performing a utility rate analysis to pinpoint any cost saving opportunities.  In addition, complete a Level I Energy Audit by assessing each building's energy cost and efficiency by analyzing energy bills and conducting brief survey of the building. Combine the findings and supportive data collected from both the Preliminary Energy Use Analysis and the Level I Energy Audit into an Energy Audit Report for each Campus.  The report will discuss energy conservation measures including estimated capital costs, anticipated annual energy cost savings and the simple payback or return on investment.

The objectives of an energy analysis or audit are to identify and develop modifications that will reduce the energy use and/or cost of operating a building. The results should be presented in a format that will provide the information needed by TCSG to decide if any, some, or all of the recommended modifications should be implemented.

c. Provide a capital asset management and planning software application, either hosted by TCSG or the Vendor, for managing the facilities condition information. The proposed system should be capable of accepting existing data from TCSG in addition to or in place of facilities assessment information provided by the Vendor.  At a minimum, the software system shall be a fully integrated facility condition assessment system, facility sub-element asset inventory system, and capital asset planning/replacement system that is capable of providing standard and customized management reports.  At project completion, the software shall be fully loaded with all FCA data, inventory, maintenance, repair and replacement (MR&R) cost estimates with resulting recommendations for repair and replacement work moving forward over the term of a five-year study period.

d. Provide training to TCSG staff on the use of the capital asset management and planning software such that they will be capable to take over daily operations and perform on-going data updates.  

e. Provide cost for Vendor field re-assesment updates in a cost per square foot format to be performed every 24-36 months.  Database updating and revised reports should also be included. 
2.1 Requirements for Conducting the Facility Condition Assessments
2.1.1 Complete a visual, non-destructive inspection of the specified buildings by experienced (preferably registered) architectural and engineering professionals. The inspection, combined with a review of base building data and maintenance history, shall be used to produce an accurate quantitative and qualitative assessment of building condition that identifies deficient components (sub-elements) that comprise the as-built construction of the buildings included in the Work. 
2.1.2 Verify the gross square footage of every building assessed.  

2.1.3 Obtain any and all construction documents, if available,  and provide copies in digital  (.PDF) format for each sheet and indexed in a format to be determined by TCSG.

2.1.4 Verify gross square footage of each individual building to be assessed.

2.1.5 Establish a hierarchical building portfolio that clearly indicates the buildings located at each site, the sites that comprise each campus, and the roll up of all campuses to the owner, TCSG.  Collect and store information that describes each building, such as building number, building name, address, building area, number of stories above and below grade, date of original construction, date(s) of significant expansions and renovation, building use, and current plant replacement value. 

2.1.6 Review background data made available by TCSG and / or the college to extract information describing campus sites and buildings that cannot easily be discerned based solely on visual observations.

2.1.7 Provide digital files of the background data provided in .PDF format sorted and indexed by college, campus, building, drawing name and number.  Obtain and include any existing CAD files if available.

2.1.8 Interview TCSG staff or on-site college facilities representatives who may be knowledgeable regarding the recent past history of facility maintenance activities and construction history to obtain relevant background information regarding TCSG’s real estate portfolio.  As is often the case, specific information regarding individual sites and facilities can be obtained from interviews with on-site staff, such as the facility manager and/or lead maintenance personnel who may have knowledge about the property.  Document the staff interviews, and summarize the information provided by each person interviewed.
2.1.9 Review site plans, architectural drawings and other background documentation that can be readily made available by TCSG or the college to assist in documentation of the facilities sub-element inventory.  Verify the take-off of the types of materials used and quantities of materials from plan review during field observation of the as-built construction.  Other critical information such as construction and repair dates and warranty information can often be determined from background documents. Document the sources of background data reviewed.

2.1.10 Create an inventory of building sub-elements, quantified by an appropriate unit of measure (linear feet, square feet, each, etc.), and grouped  based on age, material type, and functional use. Inventory shall be categorized in accordance with the naming conventions outlined in the “Standard Classification for Building Elements and Related Sitework-UNIFORMAT II”.  The inventory shall be defined, at a minimum, at the Level 4 classification of Uniformat II.  Additional attributes that more specifically describe each sub-element shall be recorded, in addition to the Level 4 name.

2.1.11 Provide information required by the State of Georgia Building Land and Lease Inventory of Property (BLLIP) replacement value data base system for each building as shown in Exhibit  'D' Replacement Cost.  

2.1.12 Facility sub-elements that are homogeneous, based on the lowest level of attributes, are inventoried as unique “assets.”  An asset is defined by the attributes of the facility component together with its measured or estimated quantity of the component.  The level at which the component is segmented is the lowest level that the component may be managed.  Assets should be defined as a single “database record” if the asset has unique inventory attributes, is physically separated from other assets, was installed at different times, or has physical defects that are not consistent across the full quantity of the component.  

2.1.13 The FCA will be limited to the inventory of building sub-elements that are readily accessible for visual observation using non-destructive survey techniques, grouped in the UNIFORMAT II categories listed below.  

· A20 - Basement Construction:  Include basement walls (A-2020) and slabs on grade (A-1030). 

· B10 - Superstructure:  Identify primary structural system and report any obvious or visible deficiencies.

· B20 - Exterior Enclosure: Include the exterior facing and closure of a facility, such as exterior walls, soffits, exterior windows, and exterior doors. Include any loading docks which make up the exterior wall system, and categorize as part of UNIFORMAT II Category E-1030.

· B30 – Roofing: Include roof coverings and insulation, expansion joints, together with skylights, hatches, ventilators, and required trim. 

· C10 - Interior Construction:  Include visible structure related to interior construction elements of fixed, demountable, retractable, movable and operable partitions, interior windows and storefronts, and interior doors.  This category excludes wall finishes.

· C20 – Stairs:  Include visible stair components,  such as treads, risers, landings handrails and balustrades, and the finishes to these elements.

· C30 - Interior Finishes:  Include wall finishes, floor finishes, and ceiling finishes.

· D10 – Conveying:  Include passenger and freight elevators, escalators, conveyors, chutes, and other conveying equipment such as hoists and cranes.

· D20 – Plumbing:  Include plumbing fixtures, domestic water distribution, water supply, sanitary wastes systems, rain water drainage systems and other special piping systems and equipment within the building.

· D30 – HVAC:  Include equipment, distribution systems, and energy supply systems required to provide heating, ventilating, and air conditioning within a building.
· D40 - Fire Protection:  Include standard fire protection systems, including sprinklers and standpipes, and fire protection specialty standpipes, water supply equipment, and piping. 

· D50 – Electrical:  This category includes electrical devices that are required to deliver the main source of power to the facility and to distribute this power to subpanels and includes lighting systems, including light fixtures and devices. It also includes lightning protection and generators.

2.1.14 Because the assessment is to be conducted using visual, non-destructive inspection techniques, and excludes testing, the FCA specifically excludes the inventory or assessment of sub-elements in the UNIFORMAT II categories listed below:
· A10 – Foundations: Includes standard and special wall and column foundations, foundation walls, pilings, caissons, and concrete slabs-on-grade.
· D3060 - HVAC Controls and Instrumentation 

· D5030 - Communications and Security 

· D509006 - Energy Management Control Systems.

2.1.15 During the on-site work, if the Vendor observes significant and obvious indications of distress to sub–elements in categories excluded from the Scope of Work, the Vendor shall notify TCSG of its observations and note such observations in the Vendor’s report of findings for each campus.

2.1.16 The FCA is limited to real property elements (versus chattel) that are used in the permanent construction of the buildings, and as such, the Scope of the FCA specifically excludes the inventory or assessment of sub-elements in the UNIFORMAT II categories listed below:

· E - Equipment and Furnishings (except E-1030)

· F – Special Construction and Demolition
· G – Building Sitework

2.1.17 Populate all data collected as part of the inventory and assessment in the Capital Asset Management Software system to be provided as part of the project.

2.1.18 Provide digital photos of representative components of the building sub-element inventory and significant observed condition deficiencies.  Store digital photo files in the Capital Asset Management Software.  Store the photos in the software system in a manner that links the photos to the building location, sub-element inventory records, and deficiency data as appropriate.  The photos should help to graphically depict the buildings, sub-elements and potential work requirements identified during the FCA.

2.1.19 Assess the condition of each sub-element included in the inventory. Vendor shall describe the assessment techniques to be used on each category of building sub-elements in its proposal response.

2.1.20 Calculate a Condition Index (CI) for each sub-element record based on Engineered Management System calculation methods.

2.1.21 Based on a calculated Condition Index (CI), provide a forecast of the remaining useful economic service lifespan (RSL) for each sub-element included in the inventory for renewal forecasting. The Capital Asset Management Software shall store baseline standards for reference to support the Design Life for each sub-element. The RSL shall be calculated based on lifecycle degradation curves that are assigned specifically to each sub-element.  CI and RSL shall not be calculated using a straight line equation based on the age of the sub-element compared against its Design Life. 

2.1.22 For each deficiency identified in the audit, develop recommendations for a means of mitigation (a required action).  Each required action shall clearly indicate whether the recommended action is a repair or replacement in kind.  Each requirement should include a preliminary budget for the work. The estimates shall be based upon RSMeans® Unit Costs, indexed for the appropriate city in which the work would be performed. The cost analysis models shall include a defined escalation rate. The software system shall permit administrative changes to these escalation rates. 

2.1.23 Calculate existing deferred maintenance as defined in The Statement of Federal Financial Accounting Standards Number 6, Accounting for Property Plant and Equipment (SFFAS No. 6).  Develop multi-year financial scenarios illustrating the level of funding required to renew and upgrade the buildings to reduce or eliminate deferred maintenance. Prepare budget estimates for recommended alternatives of maintenance, repair, and/or replacement (MR&R) of assets over a five year study period.

2.1.24 Prioritize MR&R alternatives based on financial and non-financial attributes and constraints. Calculate and rank priorities based on numerical metrics stored in the Capital Asset Management Software system using the principles of Analytical Hierarchy Processing (AHP). Consult with TCSG to establish metrics and weightings to use in the work prioritization. Consult with TCSG to determine budget constraints to be applied to the analyses, if any.

2.1.25 Prepare a report of findings for each Campus included in the Work. The report shall include an executive summary and provide recommendations for maintenance, repair and replacement over the analysis study period.  The report shall be supported by standard reports generated from the Capital Asset Management Software system.  At a minimum, the software shall be used to provide information describing the following, for each building included in the assessment:

· Sub-element inventory for each building

· Facility condition and remaining useful life forecast

· A 5-Year budget estimate for each building for Maintenance, Repair and Replacement (MR&R) of sub-elements included in the inventory. 

· Recapitalization plan for capital forecasting

· Cost data describing the “deferred maintenance” backlog in each of the buildings included in the scope.

· A description of the assumptions used to analyze the data.

2.1.26 Deliver a draft copy of Vendor’s reports for each campus for review and approval by TCSG prior to providing a final report.  Draft reports and supporting data shall be transmitted to TCSG in electronic file format using Microsoft Word and Excel, and delivered via e-mail.
2.1.27 After TCSG provides its review comments, Vendor shall modify its draft report, as necessary and produce a Final report.  Vendor shall deliver two (2) hard copies of the Final report and two (2) copies on CD: one set each to TCSG and the college. 

2.2 Requirements for Conducting Energy Audits

2.0 Preliminary Energy Use Analysis – Obtain two (2) years of utility data, if available. Review utility trends and establish an energy baseline to compare potential energy conservation projects (ECPs). Determine present state Energy Usage Index (EUI) and Energy Cost Index (ECI).

2.0 Walk-Through Site Visit – Perform a building level walk-through of each building on each Campus included in the Work, recording data necessary to accurately reflect existing building system elements. Data collection shall include the following, at a minimum:
· Walls – type, color, area, quantity, insulation

· Windows – type, area, quantity, shading, tint

· Doors – type, area, quantity, insulation

· Infiltration conditions (i.e. missing weather-stripping) – location, size, quantity

· Roofs – type, color, area, quantity, insulation

· HVAC equipment – make, model, equipment type, quantity, capacity, efficiency, location, existing energy efficiency upgrades

· HVAC controls – type, quantity, control scheme, schedules

· Lighting, fixture – type, quantity

· Lighting, ballast – type

· Lighting, lamps – type, quantity 

· Lighting controls – type, quantity, control scheme, schedules

· Plumbing, fixtures – type, quantity, flow rate

· Plumbing, faucets – type, quantity, flow rate

· Plumbing, water heaters/boilers – type, quantity, capacity, existing energy efficiency upgrades 

Note: Additional data shall be gathered as necessary to provide accurate ECP calculations.

2.0 Take measurements, as required, to provide an acceptable degree of accuracy to the ECP calculations. Measurements shall include, but are not limited to: space temperature, humidity level, CO2 level, and illumination levels (foot-candles). 

2.0 Interviews – Interview campus and building personnel, as necessary, to obtain an understanding of building occupancy and usage, planned campus upgrade projects, and maintenance practices.   

2.0 Data Analysis and ECP Calculations – Analyze data and prepare ECP calculations for integration into the report. ECPs shall be selected based on simple payback (SPB) criteria of 10 years or less. The return on investment (ROI) shall be provided for each recommended ECP. Justification shall be provided in instances where there is a lack of ECP opportunities identified.

2.0 Draft Report – Generate a report of findings for each campus which includes the following, at a minimum:

· Executive Summary – Summary of findings, recommendations, and potential savings from energy conservation measures.

· Campus Overview – Information regarding the campus, buildings, occupancy types and profiles. Identify building construction types, existing conditions, square footages, and occupancy schedules.

· Utility Data – Present current utility rates, providers, and EUI/ECI, if available.

· Building Systems – Summary of building system characteristics including types and existing conditions. 

· Energy Conservation Projects (ECPs) – Write-ups of each ECP, identifying project content and how it applies to the campus.

· Building Sub-Metering – Identification of sub-metering opportunities and the quantification of benefits and rough order of magnitude costs.

· Renewable Project Opportunities – Summary of viable renewable projects, identifying benefits with paybacks and ROI.

· Rebates and Incentives – List of applicable local/ state rebates and incentives that are applicable to the campus.

· Energy-Related Behavioral Observations – List of campus specific behavioral changes that could net an energy savings.

· Equipment Replacement – Summary of recommended target efficiencies for equipment that is to be replaced in the immediate or near future. This shall cover typical lighting, HVAC, and plumbing equipment, at a minimum.

2.0 Deliver a draft copy of Vendor’s reports for each campus for review and approval by TCSG prior to providing a final report.  Draft reports and supporting data shall be transmitted to TCSG in electronic file format using Microsoft Word and Excel, and shall be delivered via e-mail.

2.2.8 After TCSG provides its review comments, Vendor shall modify its draft report, as necessary and produce a Final report.  Vendor shall deliver two (2) hard copies of its Final report and two (2) copies on CD:  one set each to TCSG and the college. 

2.0 Requirements for the Capital Asset Management Software 
2.0 Provide a software application, preferably web-based, for managing the facilities inventory and condition database. This system shall provide both tabular and graphical reports. Options for hosting shall be proposed by the Vendors. The proposed system should be capable of accepting existing baseline data and previous condition assessment data for selected buildings from TCSG in addition to or in place of condition assessment information provided by the Vendors.

2.0 The facility asset management software system requested as part of this RFP should support the key functional concepts and include the preferred features outlined below:

a). Ability to identify sub-elements by both name and or number, without limitation to the end user.

b). Ability to categorize sub-elements using the naming conventions outlined in the “Standard Classification for Building Elements and Related Sitework-UNIFORMAT II”.  
c). Ability to link sub-elements to a building, and buildings to a site.  

d). Sites must be able to be linked in any number of hierarchical levels, (campus, area, region, city, state, etc.)  all the way to the building owner.

e). Cost estimating system embedded within the software. Costs based upon RSMeans® Unit Costs, including local City Costs Indices. Costs shall automatically update annually.

f). Calculates a condition index (CI) for building sub-elements based on Engineered Management System principles.  Able to roll up condition indices to buildings and campuses using dollar-weighted averaging of sub-element CIs..

g). Generates maintenance, repair and replacement (MR&R) budget estimates from financial analyses at the sub-element level that rolls up to a building and/or campus.  Analysis tools able to generate reports of deferred maintenance backlog and capital renewal requirements over a defined time frame. The system should be capable of analyzing and projecting funding for time periods up to 100 years. 

h). Stores and presents the most current condition information to the user through the application interface. Current and historical information should be accessible throughout the life cycle of each sub-element in the inventory. 
i). Enables the planning, development and prioritization of facility repair and replacement projects.  Completed work should be able to be documented for future reference.

j). Data updates that document repair of sub-element deficiencies shall automatically update current CI for each sub-element.

k). Enables the estimation of project costs based on current local market conditions and permit flexibility in costing based on procurement.

l). Generates both standard and customizable reports that can easily be printed or converted into data files.  The application should include both graphical and tabular reporting mechanisms.
m). Forecasts the remaining useful economic service life of each sub-element based on its condition.

n). Calculates sub-element salvage value

o). Uses design life data taken from industry standard reference sources, such as BOMA, ASHRAE, etc.

2.0 The facility asset management software system requested as part of this RFP should meet the software design requirements and support the operational features outlined below:

a). Architected software application that stores and manages operational data within a standard relational database management system such as Oracle(, or SQL Server(  

b). The database management system should provide features for partitioning, scalability, recoverability, mirroring, and availability to meet operational requirements.

c). Accessible over the Internet with 24/7 access and operational capability.

d). Access for unlimited end users.

e). Data storage capability for data on all facilities as well as historical back-ups.

f). Recoverability – designed to facilitate business continuity in the event of problem.

g). The user interface should be the primary application design center and support delivery of all user application functions.

h). The user interface should include graphical “point and click” capabilities consistent with common standards for graphical user interface design.

i). User-friendly, with online, contextual help.

j). Response time conducive to maximizing user satisfaction.

k). Provides ability for TCSG customize by adding data fields and generate ad hoc reports.

l). Appropriate interfaces to off-the-shelf tools, including:

· Microsoft Word (correspondence)

· Microsoft Excel

· Adobe .pdf files

· AutoCAD (drawings)

· Photos

m). The software should provide role-based security that includes:

· Distributed security administration (also known as delegation of administration of security domains) for user access management.

· Record-level or field-level security.

n). The system should provide an audit trail or log of data access that records the history of data access and change by individual user.

o). Able to export data to standard relational database structure such as Oracle(, or SQL Server(, as well as Computerized Maintenance Management Systems (CMMS) and Computer-Aided Facilities Management Systems.
p). The software design and open interfaces should provide for a variety of read-only data access methods to support reporting and extracting data.  Standards-based interfaces should include: ODBC, SQL, and XML.  Data dictionary access should be available through similar open, published interfaces.
q). Operational services within application functions should be available through open, published interfaces to support application integration through controlled system functions.
r). The software design should have architectural flexibility or direction to support web services and portal integration.
s). The database design and data management components should support data interchange services.
t). The database design and data management components should support data base backups without having to take down the whole database for an extended period of time.

u). The system should provide documented and supported application programming interfaces to meet a number of requirements for flexible software integration.

2.0 For a hosted application, the following items should be addressed:

a). Service Level Agreement – Provide a Service Level Agreement that ensures the vendor is responsive to TCSG.  

b). Ownership of data – TCSG retains ownership of all data.  Vendor shall describe its understanding of this requirement and how this is accomplished.

c). Disposition of TCSG data upon expiration or termination of contract.  Vendor shall describe its understanding of this requirement and how this is accomplished.

d). Protection of TCSG data and data breaches.  Explain how Vendor protects information, procedures for notification to the College of unauthorized data access, report of breaches for the past 12 months, indemnification and vendor responsibility for damages, claims, fines, etc. if breach is due to vendor error or omission.

e). Location of TCSG data. Vendor must state that all TCSG data is stored within the United States of America and is subject to U.S. law.  

f). Requests for data. Provide procedure for notification to TCSG of all legal/governmental requests for access to TCSG data.

g). Infrastructure security. Provide overview of business continuity plan, data encryption, and physical security of vendor’s data center.

2.0 Requirements for Software Training 

2.0 Vendor shall provide training describing the capital asset management software functionality, operational use, data management requirements and data analysis methods necessary to maintain the FCA data in a “current” state.  and Please attach a current schedule and a brief description of available training courses for each proposed application.  
2.0 Vendor shall provide appropriate training tools, manuals, guidebooks, as necessary to support the training courses.

2.0 Vendor shall provide end-user documentation of how to use and operate the software. 

2. CONSULTANT REQUIREMENTS
The Owner is seeking the services of a firm to conduct Facility Condition Assessments and develop Capital Asset Management Software, as described in more detail above.  The successful firm will contract with the Owner in a timely manner. The applying firm shall be an individual firm fulfilling all contractual obligations and performing a minimum of 50% of the services in-house.  An associated firm (if desired) may provide up to 50% of the services, allowing two or more firms to share in the assessments and software development effort on an equal basis.  The Owner does not generally desire to enter into “joint-venture” agreements with multiple firms. In the event that two or more firms desire to joint-venture, it is strongly recommended that one incorporated firm is designated as the Consultant Firm with the remaining firms serving as sub-consultants. 

4.   SCHEDULE OF EVENTS 

The following Schedule of Events represents the Owner’s best estimate of the schedule that will be followed. All times indicated are Eastern. The Owner reserves the right to adjust the schedule as the Owner deems necessary.  

	Estimated Schedule of Events
	Projected Date
	Projected Time

	a.  Owner issues public advertisement of RFQ for a period of 28 days                            
	9-23-11
	----------

	b.  Deadline for submission of questions/requests for clarification (see section 7)          


	10-4-11
	 2:00 PM

	c.  Deadline for submission of Proposals (see sections 5, 8)
	10-20-11
	2:00 PM

	d.  Owner completes evaluation, posts results, and issues Notification to Finalist Firms
	10-31-11
	TBD

	e. Owner may conduct Pre-Proposal Site Visit for finalists (meeting location TBD)
	11-7-11
	TBD

	f.  Deadline for submission of written questions from finalists
	11-10-11
	2:00 PM

	.g.  Owner Interviews/Presentation/Software Demonstration by the finalist firms
	11-16-11
	TBD

	h.   Contract Negotiations (Immediately upon selection of a firm)
	TBD
	TBA

	h.  Contract Signed 
	TBD
	

	i. .  Work Begins
	TBD
	


5.   SELECTION PROCESS

Evaluation of Proposals 

Selection of the Consultant will follow the steps outlined in this RFP. A selection of finalists firms will be made by a Selection Committee consisting of representatives of the Using Agency. The Selection Committee will receive and evaluate Proposals submitted in response to this RFP, using the following criteria:  

Criteria for evaluation of Statements of Qualifications

10% Factor:
Firm’s Executive Summary: Includes the firm’s corporate history, philosophy, target markets, R&D resources, support resources, implementation/training resource, and future development plans. Category also includes litigation history, financials, and other evidence of stability, corporate profile of subcontractors and/or suppliers (if any), as well as proximity to project location, etc.

25%Factor:Facilities Condition Assessment: Includes relevant qualifications and  experience of the firm and/or its proposed subcontractors (if any), including the demonstrated ability of the firm in effective facility condition assessments, energy audits, and delivery of capital asset management software for projects comparable in complexity, size, and function. 

20% Factor:
Energy Audits: Includes relevant qualifications and experience of the firm and/or its proposed subcontractors (if any), including the demonstrated ability of firm in effectively conducting facility energy audits for  projects comparable in complexity, size, and function. 

15% Factor:
Capital Asset Management Software Capabilities includes apparent capabilities of the proposed software solution to effectively capture and to provide services for project, including the firm’s apparent fit to the project type and/or needs of the Owner, any special or unique capabilities for the project. 
5% Factor
Software Maintenance, Support and Training: apparent ability to provide post-installation maintenance and support services for the software solution, as well as provide necessary training of Owner’s staff in the proper use of the software.
5% Factor:
Software Implementation: Includes the firm’s proposed implementation plan for the software solution. 
15% Factor
Relevant Experience and Qualifications the firm and Proposed Project Team: Includes relevant qualifications and experience of the firm and proposed project team, including the demonstrated ability of the in effective management of facility condition assessments, energy audits and development and implementation of capital asset management software for projects comparable in complexity, size, and function; including experience of the project manager(s) on completed projects of similar size, type, and complexity; assigned team’s experience with effective budget and schedule control plans for this project; percentage of the primary team member’s time being committed to this project.
5% Factor: 
Project Schedule: Includes proposed milestone dates and overall schedule 


for completion of the assessment in the field, population of collected data 


in the FCA software, delivery of the FCA and Energy Audit reports, 



installation of any required software, integration with existing systems, 


customization, testing, and training.   
Finalist Notification 

Firms selected as finalists will receive written notification which may take the form of an email or other electronic transmission from the Owner.  In this notification, the Owner may request that firms participate in an interview process that would include a demonstration of the capabilities of the proposed project team and software solution. In addition to providing a demonstration of the proposed solution during the Interview/Presentation described below, the Owner will request that firms a demonstration of the capabilities of the potential software solution. The interview will take place on date(s) specified by the Owner in (Section 4 - Schedule of Events). Once the evaluation of the Proposals has been completed, a listing of selected finalist firms will be posted on the Georgia Procurement Registry as an addendum to the original RFP solicitation.

Interview/Presentation/Demonstration 

Each finalist firm shall be notified in writing which may take the form of an e mail or other electronic transmission and informed of the place and time for the interview session. Detailed interview instructions and requirements of the finalists will be provided in the “Finalist Notification” document. The Owner will request that all finalists firms conduct a demonstration of their proposed software solution for the selection committee to evaluate. All members of the Selection Committee will be present during all of the presentations and interviews. Firms shall not address any questions, prior to the interview, to anyone other than designated contact (i.e., the Procurement Department Representative).  

Pricing Proposals

In the Finalist Notification, finalists firms will be requested to submit a Pricing Proposal structure for their services at the time of the interview. The fee structure for providing the services must be submitted at the conclusion of the interview session in a sealed envelope. A fee structure format may be provided in the notification, or firms may be allowed by written authorization in the Finalist Notification, to use a format of their choosing by which to express their fees, but the format should be clear, concise, and relevant.  Additional Fee Structure instructions will be provided in the Notification to Finalists.

Final Selection

Upon completion of the evaluation and interview process (including proposed software solution) by the Selection Committee, the firms will be ranked in descending order of recommendation. The overall ranking will be based on a combination of the scores from the interview, proposed software solution, and Pricing Proposal representing the best overall value to the Owner. The Owner may elect to enter into negotiations will with the highest ranked firm to finalize the terms and conditions of the contract, including the fees to be paid. In the event a satisfactory fee agreement cannot be reached with the highest ranked firm, the Owner will formally terminate the negotiations in writing and enter into negotiations in turn with the second highest ranked firm, and so on until a mutual agreement is established and the Owner awards a Professional Consulting Programming services contract to the firm. The actual Form of Contract shall be developed by the Owner and negotiated between the parties.

6. INSTRUCTIONS AND GUIDELINES FOR PREPARING RESPONSE SUBMISSION 

TCSG is looking for Vendors to provide concise, relevant and succinct information that demonstrates the Vendor’s ability (financial and technical) and willingness to undertake and address the requirements listed herein.

In order for TCSG to easily evaluate proposals, all responses are to conform to the format specified below and address all questions and relevant objectives.

6.1 Proposals shall be signed by an authorized representative of the Vendor.  By submitting a proposal, the Vendor certifies that all information provided in response 
to this RFP is true and accurate.  Failure to provide information will ultimately result 
in rejection of any Proposal.
6.2 Responses should be prepared simply and economically, providing a straightforward, 
concise description of the Vendor’s capabilities for satisfying the requirements of the 
RFP.  Emphasis should be on completeness and clarity of content.
6.3  Any information thought to be relevant, but not specifically applicable to the 
numerated Scope of Work, may be provided as an appendix to the proposal.  If 
publications and/or interactive demos are supplied by the Vendor to respond to a 
requirement, the proposal should include reference to these.
6.3.1 Vendors must submit One (1) original and five (5) hard copies of the proposal, and two (2) electronic copies of the complete package on Compact Disc in .pdf format for a total of (8) sets of responses. Each submittal shall be identical and include 
a transmittal letter. Submittals must be typed on standard (8 ½” x 11”) paper.  
The pages of the proposal submittals must be numbered. A table of contents, with corresponding tabs, must be included to identify each section.  Responses are 
limited to Fifteen (15) double-sided pages (30 pages total) or less using a minimum of an 11-point font.  Any exhibits, 
affidavits, or other enclosure 
information called for may be included in an appendix and will 
not count toward the page limit. 

6.4 The content of all responses to this Request for Proposals  must be categorized 
and numbered in the order outlined below, and responsive to all requested 
information:
REQUEST FOR PROPOSAL
(DELIVERABLES SECTION “A” THROUGH SECTION “K” LISTED BELOW)
Part 1 - General Information

Deliverable A - Executive Summary: Provide a corporate profile providing sufficient information to enable TCSG to assess the Vendor’s ability to achieve the desired outcome outlines herein.  The Executive Summary must address the following items in the order prescribed:

1. Clear statement of the Vendor’s Company name, Corporate headquarters location, and location of branch office from which this project will be managed.

2. Corporate History, 

3. Philosophy, 

4. Target Markets, 

5. Software Product Development History, 

6. R&D Resources, 

7. Support Resources,

8. Implementation/training resources, 

9. Future development plans.
10. Complete and submit a “Georgia Security and Immigration Compliance Act 
Affidavit” (See Exhibit “A”) with response as Section “A-10” of the firm’s Proposal.  
Failure to submit this form with Proposal will result in the firm being eliminated from 
consideration for this project.  (This one page form submission shall not be 
considered part of the page limits
11. Complete the Certification Form (Exhibit “B” enclosed with RFP), and provide a 
notarized 
original with response as section “A11” of the firm’s Proposal. (This one-
page form submission shall not be considered part of the page limits)

Executive Summary must also:

12. Describe Vendor’s understanding of the project objectives and how these will be achieved.

13. Include total days required to complete the project including a proposed schedule including all requirements of the RFP.  

14. Clearly define the methodology proposed to complete the facilities condition assessment.  This must include a detailed high level project methodology and plan explaining each project task including timelines and what will be expected of both the Vendor and the College with respect to each task;

15. Clearly define the software and hardware solutions proposed;

16. Clearly identify affiliated corporations/Vendors which will participate with Vendor in this project, and the contractual relationship proposed between the parties;

17. Provide similar corporate profile and qualifications as detailed herein for each proposed affiliated corporations/Vendors subcontractor;

18. Provide profile and qualifications of the Project Manager who will oversee the implementation, staff, subcontractors, and/or suppliers who are proposed for this assessment.

Deliverable B - Facilities Condition Assessment: In this section, describe the following in detail:

1. Methodology to document the as-built inventory of building components

2. Condition assessment method to be used 
3. Standards to which the assessment shall be benchmarked 
4. Methodology to analyze the condition data and prepare recommendations for maintenance, repair and replacement of individual building components

5. Method used to prioritize recommended work

6. Plan for grouping repair and replacement actions into potential work packages
7. Costing methods proposed for calculation of deferred maintenance, current replacement value, and potential work packages
8. Detailed description of planned deliverables

Deliverable C – Energy Audit: In this section, describe the following in detail:

1. Step by step approach to conducting the work

2. Level of detail to which the inventory data is grouped (building, floor, room, etc.)

3. Standards to which the audit shall be benchmarked 

4. Method used to prioritize recommended energy conservation projects

5. Costing methods proposed for calculation recommended energy conservation projects

6. Detailed description of planned deliverables. 
Deliverable D - Capital Asset Management Software Capabilities: It is intended that data collected in the field, and the information developed from this field data, be integrated into an asset management software application. Vendor should describe the functional features of its proposed software solution.  Provide a description of what each feature “does” for the user and how it works.

Deliverable E – Software Maintenance, Support and Training: It is intended that the Vendor supply post-installation services necessary to maintain the software in a fully functional, current state, and that TCSG staff be trained to properly use and maintain the software going forward.

1. Software Maintenance and Support: Where applicable, an explanation of the source, level and timing, and frequency for upgrades to the software, plus other services provided as part of the Vendor’s software maintenance and support services.

2. Warranties: The Vendor must describe its warranties for the software products and services, including modifications, customizations, interfaces, conversions, and any third party products and services they propose as detailed above.

3. Price Protection: Vendors shall describe any price protection guarantees for maintenance and enhancement and post-installation fees.  (e.g., increase in annual maintenance fees will not exceed 2% of the previous year’s cost).

4. Support Period:  Indicate the duration of the Vendor’s support services agreement, and describe any limitations regarding the provided services.

5. Training: Vendor shall describe the training programs included in the proposal.  Describe the location of the training.  Identify specific training included in proposal versus additional training TCSG may seek for its employees.  Describe and provide separate prices for training and educational programs for TCSG personnel in the use, care and maintenance of any proposed software and any associated assessment tools/processes that were used to develop the building condition assessment database. Indicate locations, cost and recommended participant (e.g., management, operators, programmers or others) for each course.  Indicate the cost for training in Part II of the Vendor’s proposal.

6. Manuals/Training Guides:  Vendor shall describe all documentation included for its software system. 

Deliverable F - Software Implementation

If vendors proposed implementation of the capital asset management software is to install on TCSG’s IT infrastructure, then Vendor shall provide information for the following: 

1. Site Preparation and Requirements: If the Vendor proposes to install its software on TSCG’s IT infrastructure, describe the installation requirements and site services required, including environmental conditions in this proposal section. The Vendor is responsible to provide all the information necessary for a proper site preparation for the electronic system.

2. Support:  Indicate the number of Vendor supplied technical support days which are included in the proposal for the initial installation and setup of the capital asset management software at TCSG facilities.

3. Software: All operating systems, applications, utilities, and other software that is required to operate the proposed condition assessment system must be included.  The Vendor shall name and describe the function of this software.

4. Hardware Requirements: Vendor shall give a detailed description of any Hardware required, both server and client to operate their proposed solution.


If Vendor’s proposed implementation of the capital asset management software is a hosted solution, Vendor shall provide information describing such services.  At a minimum, Vendor shall provide information for the following.

1. Name and Location of Hosting Services provider

1.1. 
Requirements to Access the system

1.2. 
Description of the physical features of the hosting environment

1.3. 
Maintenance and support services included

1.4. 
Security provided

2. Hardware and software provided

2.1. 
Data Storage capacity and/or limitations

2.2. 
Speed of network access

2.3. 
Operating system and database software provided 

3. Network support services

3.1. 
Availability

3.2. 
Downtime

3.3.  Issue Response
3.4.  Maintenance

3.5. 
Backup and Disaster Recovery

Deliverable G – Qualifications
Describe Vendor’s previous project experience in delivering similar scope of work to validate ability to supply and support the system being proposed.  Provide no less than three (3) examples and their outcomes in brief detail.
Deliverable H – References
Supply a minimum of four (4) client institutions or companies, within the last 3 years, and appropriate contact references (i.e. name, title, institution, phone number, and email).  Include brief description how the services and equipment provided to these references are similar to the services and equipment proposed to the College. It is preferred that references are institutional related and of similar scope and complexity to this project.  

Deliverable I – Resumes
Supply a resume of each member of the audit team proposed to complete this phase of the work. The Vendor shall define the role of each team member, as well as define the level of effort and commitment each member will provide to the audit process. The Vendor should define the level of commitment as the number of hours assigned to each staff member and the calculated percentage of total effort required for the work.

Deliverable J – Project Schedule
seq level2 \h \r0 Provide preliminary milestone dates for completion of the assessment in the field, population of collected data in the FCA software, delivery of the FCA and Energy Audit reports, installation of any required software, integration with existing systems, customization, testing, and training. 
1. Provide a Gantt chart schedule indicating start/duration/completion of the following (as a minimum):

· Award Notification/Notice to Proceed

· PO Issued - (allow a minimum of three weeks)
· Kick Off Meeting

· Background Document Review 

· Mobilize to Site

· Conduct Field Assessments

· Data Entry and Data QC 

· Data Review, Update and Analysis 

· Develop Draft Report 

· Deliver Draft Report of Findings

· Client Review of Draft Report

· Modify Draft Report Based on Client Review

· Deliver Final Report

· Install /Configure Software

· Conduct Software Training
2. Provide a table that indicates the number of days the Vendor is anticipated to be on each site (By County, Campus and by City).  Indicate the preliminary order of progression of the assessments from site to site.  Indicate the number of assessors to be assigned to each site.

Deliverable K - Vendor Limitation Disclosures
If any component of the proposed solution is planned, under construction, in beta-test or is another such unfinished, undeliverable condition, the effect of this on delivery time of a robust tested product should be clearly indicated.  The Vendor should also disclose any current litigation, which might affect the offer and delivery of its products or services to TCSG.

Part II – Price Proposal 
(FIRMS SHOULD NOT INCLUDE A FEE PROPOSAL WITH THE RESPONSE TO THE RFP UNLESS YOU RECEIVE A WRITTEN NOTICE TO FINALIST FROM THE OWNER SPECIFICALLY REQUESTING THAT YOUR FIRM SUBMIT A PRICE PROPOSAL).  
If requested to submit a Price Proposal by the Owner, vendors shall provide a Total Lump Sum Price for the project. The project fee proposal shall include a separate labor, travel expenses and Other Direct Costs for each major component of the total project fee, as listed below. 
· Project Management (meetings, planning, client consultation, etc.)

· Project Scheduling and Planning

· Meetings

· Project Plans (health and safety plans, work plans, etc.)

· Field effort for conducting the FCA and Energy Audits

· Preparation of Report Deliverables

· Training

· Software License Fees
· Software Maintenance and Support Fees

· Software Hosting Fees or Fees for On-Site Implementation on TCSG Hardware

Describe any contingencies or assumption used that might impact the lump sum fees as proposed.
Part III -  Software License, Maintenance and Support Agreements
Proposals shall include a copy of all software license agreements and software maintenance and support agreements for Vendor’s proposed products with their response.  Identify if proposed license is an annual license or perpetual license.

6. PROPOSER’S DISCLOSURE STATEMENT

All proposers should be aware that the project you are submitting a proposal on is a public project, and the Owner (GSFIC) is a public agency.  Pursuant to the laws, rules and Executive Orders of the State of Georgia, GSFIC shall make every effort to avoid even the appearance of a conflict of interest or any impropriety in both the selection process for this project and the negotiation and performance of any resulting contract.  As part of any submittal you intend to make for this project, you must include a Disclosure Statement that answers the following specific questions:

1. Describe any business transactions occurring within the prior two years between your firm and GSFIC and/or TCSG.
2. Describe any gift, hospitality, or benefit of any sort that your firm has provided to GSFIC and/or TCSG within the prior one-year period.

3.  A conflict of interest or potential conflict of interest is defined as any action, decision, or 
recommendation by a person acting in a capacity as a public official, the effect of which 
is or could be to the private monetary or financial benefit or detriment of the person, the 
person’s relative, or any business with which the person or a relative of the person is 
associated.  The potential conflict of interest is viewed from the perspective of a 
reasonable person who has knowledge of the relevant facts.   Based upon this definition, 
describe any conflict of interest or potential conflict of interest that your firm has with 
GSFIC and/or TCSG.
This Disclosure Statement should be dated and signed by an authorized signator for the Proposer.  Only one (1) original Disclosure Statement is required and should be submitted at the time the Statements of Qualifications are submitted as a separate document under a separate cover. (Do not include the Disclosure Statement in the bound Statements of Qualifications submittals).

7.   SUBMITTAL OF QUESTIONS AND REQUESTS FOR CLARIFICATION 

It is the responsibility of each respondent to examine the entire RFP, seek clarification in writing, and review its submittal for accuracy before submitting the document.  Questions about any aspect of the RFP or the project shall be submitted in writing (e-mail is preferable) prior to October 4, 2011 to: 

Jeff Lacks, Director Procurement Services

e-mail: jlacks@gsfic.ga.gov
facsimile: (404) 463-5699

A. Deadlines.  The deadline for submission of questions relative to this RFP is the time and date shown in the Schedule of Events (Section 4).  All relevant questions and requests for clarification received by GSFIC and the corresponding responses will be posted on the Georgia Procurement Registry as an addendum to the original solicitation for services. Once the submission deadline has passed, all submissions will be final.  The Owner will not request clarification from individual respondents relative to their submission, but reserves the right to ask for additional information from all parties who have submitted qualifications. 

B. Prohibition of Extraneous Communications.  From the issue date of this solicitation until a successful proposer is selected and the selection is announced, all parties are prohibited from communication in any manner or for any reason with any members or employees of the GSFIC or the Selection Committee except the Procurement Services Department Representative duly designated herein.  Parties will be allowed to communicate only as sanctioned by the GSFIC.  Communications will be accepted as submission of questions as instructed in the RFP, or during the proposer’s conference (if applicable), or as provided by any existing work agreement(s).  For violation of this provision, the Owner shall reserve the right to reject the proposal of the offending proposer.

8.   SUBMITTAL OF PROPOSALS
One (1) original submittal and five (5) hard copies and two (2) electronic copies of the complete package on Compact Disc in .pdf format for a total of (8) sets of responses must be submitted sealed in an opaque envelope or box, and reference to the RFP No. TCSG-278 and the words “FACILITY CONDITION ASSESSMENT PROPOSAL” must be clearly indicated on the outside of all of the envelopes or boxes. In addition please provide all data requested for this RFP in a reproducible CD-ROM. The GSFIC is not responsible for the content of the CD-ROM and expects it to match exactly with the written responses. Proposers are reminded to include one (1) original Disclosure Statement (See Section 6) with the Proposal.  Statements of Qualifications must be physically received by the Owner prior to the deadline indicated in the Schedule of Events (Section 4 of RFP) at the exact address below:

Georgia State Financing & Investment Commission

 270 Washington Street, Second Floor

Atlanta, Georgia 30334

Attn: Jeff Lacks, Director Procurement Services 

No submittals will be accepted after the time set for receipt.  Proposals submitted via facsimile or e-mail will be rejected. All expenses for preparing and submitting responses are the sole cost of the party submitting the response.  The Owner is not obligated to any party to reimburse any and all expenses incurred in the preparation of your response to this RFP. All submittals upon receipt become the property of the Owner. Designating submittals “proprietary” or “confidential”, or any other restricted use will not protect the information from public view. Subject to the provisions of the Open Records Act, the details of the proposal documents will remain confidential until final award.
9.
ADDITIONAL TERMS AND CONDITIONS
Restriction of Communication
From the issue date of this (RFP) solicitation until a successful proposer is selected and the selection is announced, proposers are not allowed to communicate about this solicitation or this Project for any reason with any members of the Selection Committee or GSFIC, except for submission of questions as instructed in the RFP to the duly designated Procurement Department Representative, or during the proposer's conference (if applicable), or as provided by any existing work agreement(s).  For violation of this provision, the Owner reserves the right to reject the proposal of the offending proposer.  

Award Conditions

This RFP is not an offer to contract or a solicitation of bids.  This request and any statement of qualifications or proposal submitted in response, regardless of whether the proposal is determined to be the best proposal, is not binding upon the Owner and does not obligate the Owner to procure or contract for any services. Neither the Owner nor any party submitting a response will be bound unless and until a written contract mutually accepted by both parties is negotiated as to its terms and conditions and is signed by the Owner and a party containing such terms and conditions as are negotiated between those parties. The Owner reserves the right to waive non-compliance with any requirements of this Request for Proposal and to reject any or all proposals submitted in responses. Upon receipt and review of responses, the Owner will determine the party(ies) and proposal that in the sole judgment of the Owner is in the best interest of the Owner (if any is so determined), with respect to the evaluation criteria stated herein. The Owner then intends to conduct negotiations with such party(ies) to determine if a mutually acceptable contract may be reached.  
Reciprocal Preference Law

For the purposes of evaluation only, a proposer that resides in the State of Georgia will be granted the same preference over proposers that reside in another State in the same manner, on the same basis, and to the same extent that preference is granted in awarding bids for the same goods or services by such other State to proposers that reside therein.  For the purposes of this law, the definition of a resident proposer is one who maintains a place of business with at least one employee inside the State of Georgia.  A Post  Office (P.O.) Box or similar commercial joint address (e.g., UPS, Mailboxes Plus, etc. ) will not satisfy this requirement.

Small and Minority Business Enterprise

It is the policy of the State of Georgia that small businesses, female-owned businesses and minority businesses have a fair and equal opportunity to participate in the State purchasing process. Therefore, the Owner encourages all small businesses, female-owned businesses and minority-owned businesses to compete for contracts to provide goods, services, and construction, and encourages contractors to solicit female-owned businesses and minority-owned businesses in procuring subcontractors and suppliers. This desire on the part of the Owner is not intended to restrict or limit competitive bidding or to increase the cost of the work. The Owner supports a healthy free market system that seeks to include responsible businesses and provides ample opportunity for business growth and development. Contractors and subcontractors who utilize qualified minority subcontractors may qualify for a Georgia state income tax credits for qualified payments made to minority subcontractors.  See Official Code of Georgia Annotated (O.C.G.A.) O.C.G.A. Section 48-7-38. For more information, please contact: 

The Governor's Entrepreneur and Small Business Office

75 Fifth Street, Suite 825

Atlanta, Georgia 30308

Phone: 404.962.4071

http://www.georgia.org/Business/SmallBusiness/
Statement of Agreement 

With submission of a proposal, the Proposer agrees that he/she has carefully examined the Request for Proposal, and the Proposer agrees that it is the Proposer’s responsibility to request clarification on any issues in any section of the Request for Proposal with which the Proposer disagrees or needs clarified. The Proposer also understands that failure to mention these items in the proposal will be interpreted to mean that the Proposer is in full agreement with the terms, conditions, specifications and requirements in the therein.  With submission of a proposal, the Proposer hereby certifies:  

(a) that this proposal is genuine and is not made in the interest or on behalf of any 
undisclosed person, firm, or corporation; 

(b) that Proposer has not directly or indirectly included or solicited any other Proposer to put 
in a false or insincere proposal; 

(c) that Proposer has not solicited or induced any person, firm, or corporation to refrain from 
sending a proposal.
EXHIBIT A 
GEORGIA SECURITY AND IMMIGRATION COMPLIANCE ACT AFFIDAVIT

Project No. and Name:
     
     
Construction Professional:
     
STATE OF GEORGIA                                   COUNTY OF:      
CONTRACTOR AFFIDAVIT

By executing this affidavit, the undersigned Contractor verifies its compliance with O.C.G.A. §13-10-91, stating affirmatively that the individual, firm, or corporation which is contracting with the Georgia State Finance and Investment Commission has registered with and is participating in a federal work authorization program*, in accordance with the applicability provisions and deadlines established in O.C.G.A. 13-10-91.

The undersigned further agrees that, should it employ or contract with any subcontractor(s) in connection with the physical performance of services pursuant to this contract with the Georgia State Finance and Investment Commission, Contractor will secure from such subcontractor(s) similar verification of compliance with O.C.G.A. § 13-10-91 on the Subcontractor Affidavit provided in Rule 300-10-01-.08 or a substantially similar form. Contractor further agrees to maintain records of such compliance and provide a copy of each such verification to the Georgia State Finance and Investment Commission at the time the subcontractor(s) is retained to perform such service.

     
EEV / E-VerifyTM User Identification Number

________________________________________

___________________________

BY: Authorized Officer or Agent



Date

_________________________________________

Title of Authorized Officer or Agent of Contractor

_________________________________________

Printed Name of Authorized Officer or Agent

SUBSCRIBED AND SWORN

BEFORE ME ON THIS THE

_____ DAY OF ______________________, 20__

________________________________________

[NOTARY SEAL]

Notary Public

My Commission Expires:  ___________________
*any of the electronic verification of work authorization programs operated by the United States Department of Homeland Security or any equivalent federal work authorization program operated by the United States Department of Homeland Security to verify information of newly hired employees, pursuant to the Immigration Reform and Control Act of 1986 (IRCA), P.L. 99-603
(Exhibit B)

CERTIFICATION FORM
I, _____________________________, being duly sworn, state that I am ______________________(title) of 

_______________________________(firm) and hereby duly certify that I have read and understand the information presented in the attached proposal and any enclosure and exhibits thereto.

I further certify that to the best of my knowledge the information given in response to the request for proposals is full, complete and truthful.

I further certify that the proposer and any principal employee of the proposer have not, in the immediately preceding five years, been convicted of any crime of moral turpitude or any felony offense, nor has had their professional license suspended, revoked or been subjected to disciplinary proceedings.

I further certify that the proposer has not, in the immediately preceding five years, been suspended or debarred from contracting with any federal, state or local government agency, and further, that the proposer is not now under consideration for suspension or debarment from any such agency.

I further certify that the proposer has not in the immediately preceding five years been defaulted in any federal, state or local government agency contract, and further, that the proposer is not now under any notice of intent to default on any such contract.

I acknowledge, agree and authorize, and certify that the proposer acknowledges, agrees and authorizes, that the Owner and/or GSFIC may, by means that either deems appropriate, determine the accuracy and truth of the information provided by the proposer and that the Owner and/or GSFIC may contact any individual or entity named in the Statement of Qualifications for the purpose of verifying the information supplied therein.

I acknowledge and understand the successful Proposer will be required to certify compliance with the Immigration Reform Act of 1986 (IRCA), D.L. 99-603 and the Georgia Security and Immigration Compliance Act OCGA 13-10-90 et.seq., by meeting or having complied with the provisions in the Act and by executing any affidavits required by the rules and regulations issued by the Georgia Department of Labor set forth at Rule 300-10-1-.01: Contractor will also be required to warrant that Contractor has included a similar provision in all written agreements with any subcontractors engaged to perform services under this Contract.

I acknowledge and agree that all of the information contained in the Statement of Qualifications is submitted for the express purpose of inducing the Owner to award a contract.

A material false statement or omission made in conjunction with this proposal is sufficient cause for suspension or debarment from further contracts, or denial of rescission of any contract entered into based upon this proposal thereby precluding the firm from doing business with, or performing work for, the State of Georgia.  In addition, such false statement or omission may subject the person and entity making the proposal to criminal prosecution under the laws of the State of Georgia of the United States, including but not limited to O.C.G.A. §16-10-20, 18 U.S.C. §§1001 or 1341.
 ________________________________

 Signature

Sworn and subscribed before me


                         

This _____ day of ________, 200__.

____________________________________

NOTARY PUBLIC

        







____________________










SEAL

My Commission Expires: _________________

EXHIBIT-C
TECHNICAL COLLEGE SYSTEM OF GEORGIA – BUILDING INVENTORY 
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EXHIBIT-D
TECHNICAL COLLEGE SYSTEM OF GEORGIA
REPLACEMENT COST
	
	
	
	
	

	Structure Types
	Structure Replacement/Repair Cost  ( $ ) / square feet
	
	

	All Metal
	$0.00
	
	

	Fire Resistive
	$0.00
	
	

	Heavy Timber Joisted Masonry
	$0.00
	
	

	Joisted Masonry
	$0.00
	
	

	Masonry Non-Combustive
	$0.00
	
	

	Wood Frame
	$0.00
	
	

	Façade Types
	Facade Replacement/Repair Cost  ( $ ) / square feet
	
	

	Aluminum Siding
	$0.00
	
	

	Brick
	$0.00
	
	

	Cement Stucco
	$0.00
	
	

	Concrete
	$0.00
	
	

	Curtain Wall Systems
	$0.00
	
	

	Fiber-Cement Siding
	$0.00
	
	

	Glass
	$0.00
	
	

	Marble
	$0.00
	
	

	Masonry Veneer
	$0.00
	
	

	Metal Wall Panel Systems
	$0.00
	
	

	Stone Veneer
	$0.00
	
	

	Storefront Systems
	$0.00
	
	

	Synthetic Stucco
	$0.00
	
	

	Vinyl Siding
	$0.00
	
	

	Wood Siding
	$0.00
	
	

	Roof Types
	Roof Replacement/Repair Cost  ( $ ) / square feet
	
	

	Asphalt Shingles
	$0.00
	
	

	Build-up
	$0.00
	
	

	Clay Tile
	$0.00
	
	

	Concrete Tile
	$0.00
	
	

	EPDM Rubber
	$0.00
	
	

	Metal
	$0.00
	
	

	Metal Shingles
	$0.00
	
	

	Modified Bitumen
	$0.00
	
	

	Slate
	$0.00
	
	

	Thermoplastic
	$0.00
	
	

	Wood Shingles
	$0.00
	
	

	Mechanical System Types
	Mechanical System Replacement/Repair Cost ( $ ) / square feet
	
	

	AC (Split system, Unitary system)
	$0.00
	
	

	Air handlers (Energy wheel, Variable Refrigeration)
	$0.00
	
	

	Boiler (Hot water, Steam)
	$0.00
	
	

	Central Plant
	$0.00
	
	

	Chilled Water (Air cooled chiller, Water cooled)
	$0.00
	
	

	Heat Pumps
	$0.00
	
	

	Parking Type
	Parking Replacement/Repair Cost  ( $ ) / parking space
	
	

	Parking Deck
	$0.00
	
	

	Suface Lot
	$0.00
	
	

	Elevators/Escalators
	Elevator/Escalator Replacement/Repair Cost  ( $ )
	
	

	Elevator
	$0.00
	per stop
	

	Escalator
	$0.00
	per vertical feet?

	Interior
	Interior Replacement/Repair Cost  ( $ ) / square feet
	
	

	Athletic facilities
	$0.00
	
	

	Classroom with facility offices
	$0.00
	
	

	Dormitories
	$0.00
	
	

	Garages or repair shops
	$0.00
	
	

	Hospitals/medical centers/nursing homes/medical examiner autopsy facilities
	$0.00
	
	

	Libraries
	$0.00
	
	

	Offices
	$0.00
	
	

	Open sheds or pavillions for work/storage/display/sales/recreation
	$0.00
	
	

	Parking facilities
	$0.00
	
	

	Storage building warehouse
	$0.00
	
	

	Aircraft facilities/hangars/passenger buildings
	$0.00
	
	

	Auditorium conferences facilities
	$0.00
	
	

	Boating facilities
	$0.00
	
	

	Boiler/chiller plants or generating plants
	$0.00
	
	

	Cafeterias/restaurants/dining halls
	$0.00
	
	

	Comfort stations and rest stations
	$0.00
	
	

	Computer operations
	$0.00
	
	

	Greenhouses
	$0.00
	
	

	Hotel/motels/short-term occupancy housing
	$0.00
	
	

	Instructional shops
	$0.00
	
	

	Laboratories
	$0.00
	
	

	Maintenance and custodial operations/shops
	$0.00
	
	

	Manufacturing plant
	$0.00
	
	

	Residences/house apartments
	$0.00
	
	

	Retail stores
	$0.00
	
	

	Security facilities/fire stations/patrol posts/fire towers/guard posts
	$0.00
	
	

	Student unions/recreations or entertainment buildings
	$0.00
	
	

	Vacant
	$0.00
	
	

	Water/sewage treatment plants/other utilities
	$0.00
	
	

	Plumbing
	Plumbing Replacement/Repair Cost  ( $ ) / square feet
	
	

	 
	$0.00
	
	

	Electrical
	Electrical Replacement/Repair Cost  ( $ ) /square feet
	
	

	 
	$0.00
	
	

	Fire Alarm
	Fire Alarm Systems Replacement/Repair Cost  ( $ ) / square feet
	
	

	 
	$0.00
	
	

	Security/CCTV
	Security/CCTV Replacement/Repair Cost  ( $ ) / square feet
	
	

	 
	$0.00
	
	


