| 5. | AWARD |  |  |
| --- | --- | --- | --- |
|  | 5.1 | Contracts and purchases will be made or entered into with the lowest responsible bidder meeting specifications or on the basis of best value. |  |
|  | 5.2 | When more than one item is specified in the Invitation, the University reserves the right to determine the low bidder either on the basis of the individual items or on the basis of all items included in its Invitation for Bids, or as expressly stated in the Invitation for Bid. |  |
|  | 5.3 5.4 | A written purchase order or contract award mailed, or otherwise furnished, to the successful bidder within the time of acceptance specified in the Invitation for Bid results in a binding contract without further action by either party. The contract shall not be assignable by the vendor in whole or part without the written consent of the University. Vendors awarded contracts for commodities and/or services are encouraged to participate in our University Shopping Mall. This online catalog database is operated by a third party provider and will allow all University departments to place orders to multiple vendors online. A monthly maintenance fee, to be negotiated between each vendor and the shopping mall data base provider, is required. |  |
| 6. | DELIVERY |  |  |
|  | 6.1 | The Invitation for Bid will show the number of days to place a commodity in the University designated location under normal conditions. If the bidder cannot meet the stated delivery, alternate delivery schedules may become a factor in award. The University has the right to extend delivery if reasons appear valid. |  |
|  | 6.2 | Delivery shall be made during University work hours only, 8:00 a.m. to 4:30 p.m.., unless prior approval for other shipment has been obtained. |  |
|  | 6.3 | Packing memoranda shall be enclosed with each shipment. |  |
| 7. | ACCEPTANCE AND REJECTION |  |  |
|  | 7.1 | Final inspection and acceptance or rejection may be made at delivery destination, but all materials and workmanship shall be subject to inspection and test at all times and places, and when practicable. During manufacture, the right is reserved to reject articles which contain defective material and workmanship. Rejected material shall be removed by and at the expense of the contractor promptly after notification of rejection. Final inspection and acceptance or rejection of the materials or supplies shall be made as promptly as practicable, but failure to inspect and accept or reject materials or supplies shall not impose liability on the University thereof for such materials or supplies as are not in accordance with the specification. In the event necessity requires the use of materials or supplies not conforming to the specification, payment may be made with a proper reduction in price. |  |
| 8. | TAXES AND TRADE DISCOUNTS |  |  |
|  | 8.1 | Do not include state or local sales taxes in bid price. |  |
|  | 8.2 | Trade discounts should be deducted from the unit price and net price should be shown in the bid. |  |
| 9. | DEFAULT |  |  |
|  | 9.1 | Back orders, default in promised delivery, or failure to meet specifications authorize the University to cancel this contract to the defaulting contractor. The contractor must give written notice to the University of the reason and the expected delivery date. |  |
|  | 9.2 | Consistent failure to meet delivery without a valid reason may cause removal from the bidders list or suspension of eligibility for award. |  |
| 10. | WAIVER |  |  |
|  | 10.1 | The University reserves the right to waive any General Condition, Special Condition, or minor specification deviation when considered to be in the best interest of the University, so long as such waiver is not given so as to deliberately favor any single vendor and would have the same effect on all vendors. |  |
| 11. | CANCELLATION |  |  |
|  | 11.1 | Any contract or item award may be canceled for cause by either party by giving 30 days written notice of intent to cancel. Cause for the University to cancel shall include, but is not limited to, cost exceeding current market prices for comparable purchases; request for increase in prices during the period of the contract; or failure to perform to contract conditions. The contractor will be required to honor all purchase orders that were prepared and dated prior to the date of expiration or cancellation if received by the contractor within period of 30 days following the date of expiration or cancellation. Cancellation by the University does not relieve the Contractor of any liability arising out of a default or nonperformance. If a contract is canceled due to a request for increase in prices or failure to perform, that vendor shall be removed from the Qualified Bidders List for a period of 24 months. Cause for the vendor to cancel shall include, but is not limited to the item(s) being discontinued and unavailable from the manufacturer. |  |
| 12. | ADDENDA |  |  |
|  | 12.1 | Addenda modifying plans and/or specifications may be issued if time permits. No addendum will be issued within a period of three(3) working days prior to the time and date set for the bid opening. Should it become necessary to issue an addendum within the three-day period prior to the bid opening, the bid date will be reset giving bidders ample time to answer the addendum. |  |
|  | 12.2 | Only written addenda is part of the bid packet and should be considered. |  |
| 13. | ALTERNATE BIDS |  |  |
|  | 13.1 | Unless specifically requested alternate bids will not be considered. An alternate is considered to be a bid that does not comply with the minimum provisions of the specifications. |  |
| 14. | BID OPENINGS |  |  |
|  | 14.1 | Bid opening will be conducted open to the public. However, they will serve only to open, read and tabulate the bid price on each bid. No discussion will be entered into with any vendor as to the quality or provisions of the specifications and no award will be made either stated or implied at the bid opening. |  |
| 15. | DEBRIS REMOVAL |  |  |
|  | 15.1 | All debris must be removed from the University after installation of said equipment. |  |

ALL BIDS SUBMITTED SHALL BE IN COMPLIANCE WITH THE GENERAL CONDITIONS SET FORTH HEREIN.  THE BID PROCEDURES FOLLOWED BY THIS OFFICE WILL BE IN ACCORDANCE WITH THESE CONDITIONS.  THEREFORE, ALL VENDORS ARE URGED TO READ AND UNDERSTAND THESE CONDITIONS PRIOR TO SUBMITTING A BID.

Please send 2 copies of your response to this bid.  The extra copy is needed for bid evaluation purposes.  Please do not send bid responses to different bids in the same envelopes.  Thank you!

# Bid the following according to minimum specifications or functional equivalent:

| # Item | ## Description | Qty |  | Unit Price |  | Total Price |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | New Freestanding steam autoclave with an approximate interior chamber size of 20”H x 20”W x 38”D and stainless steel exterior enclosure. Steam supplied by three phase electric integral steam generator (208V). At least gravity and prevacuum cycles standard. Preference given to units with water saving technology to reduce water usage while idle to approximately 100 gallons per day. At least four programmable cycles and an impact printer. Radial arm door hinged on the left hand side Two interior shelves. If remanufactured the unit must have new solenoid valves, a new wiring harness and all new piping and a hydrostatically tested vessel. Installation and connection to utilities must be coordinated through University of Arkansas Facilities Management Department within 6 feet of unit, operational check-out test and any necessary adjustments. Demonstration of the equipment for appropriate facility personnel. One year parts and labor warranty and a prorated ten year warranty on the pressure vessel. Delivery of unit to the University of Arkansas Fayetteville, Agriculture Building room 128A. Delivery shall be on or after July 1, 2010 and before September 30, 2010. Unit must be delivered, installed and operational by September 30, 2010 ARRA Funds. | 1 ea |  | $________ |  | $_________ |
| 2. | Remanufactured | 1 ea |  | $_________ |  | $_________ |
|  | At this time only one autocave will be purchase, the University will select the proposal which is in the best interest of the University. |  |  |  |  |  |

Time of perf	Time of Performance

Time is of th	Time is of the essence in the rendering of services hereunder.  Proposer agrees to perform all obligations and rendering of services set forth in this RFP.

Default

Default

In the event             In the event that the Proposer fails to carry out or comply with any of the Terms and Conditions of the contract with the University, the University may notify the Proposer of such failure or default in writing and demand that the failure or default be remedied within ten (10) working days; and in the event the Proposer fails to remedy such failure or default within the ten (10) working day period, the University shall have the right to cancel the contract upon thirty (30) days written notice.

The cancellation of the contract, under any circumstances whatsoever, shall not effect or

relieve Proposer from any obligation or liability that may have been incurred or will be

incurred pursuant to the contract and such cancellation by the University shall not limit

any other right or remedy available to the University by law or in equity.

Qualifications of Bidder

The University may make such investigations as it deems necessary to determine the ability of the bidder to meet all order and delivery requirements as stated herein and the bidder shall furnish to the University all such information and data for this purpose that the University may request.  The University reserves the right to reject any bid if the evidence submitted by, or investigations of, such bidder fails to satisfy the University that such bidder is properly qualified to carry out the obligations of the Agreement.

## Indemnification

Contractor agrees to indemnify and hold harmless the University and its officers and employees from any claim, damage, liability, injury, expense, or loss, including defense cost and attorney’s fees arising out of Contractor’s performance under this Agreement or as a consequence of the existence of this Agreement.

## Permits and Licenses

Contractor shall, at its sole expense, procure and keep in effect all necessary permits and licenses required for its performance under this Agreement, and shall post or display in a prominent place such permits and/or  notices as are required by law.

Termination

In the event that the Contractor shall fail to maintain or keep in force any of the terms and conditions of the Contract, the University may notify the vendor in writing of such failure and demand that the same be remedied within Ten (10) days.  Should the Contractor fail to remedy the same within said period, the University shall then have the right to terminate the Contract by giving the Contractor thirty (30) days written notice.

Acceptance of Products and Services

All products furnished and all services performed under this agreement shall b

to the satisfaction of the University and in accordance with the specifications, terms, and conditions of the agreement.  The University reserves the right to inspect the products furnished or the services performed, and to determine the quality, acceptability, and fitness of such products or services.

Severability

If one or more provisions of the resultant agreement, or the application of any provision to any party or circumstance is held invalid, unenforceable, or illegal in any respect, the remainder of the agreement and the application of the provision to other parties or circumstances shall remain valid and in full force and effect.

Insurance Requirements

The contractor shall maintain liability insurance and shall file certificates of insurance with the owner prior to commencement of work.  Insurance policies shall be written by a company or companies authorized to do business in the State of Arkansas.  The limits of liability of such insurance shall be written for not less than the following limits:

- Workers Compensation
Workers Compensation as required by the State of Arkansas

B.	Comprehensive General Liability  (including Premises-Operations; Independent Contractors’ Protective; Products and Completed Operations; Broad Form Property Damage):

- 1.	Bodily Injury - $1,000,000.00 each occurrence, $1,000,000.00 aggregate.

2.	Property Damage - $1,000,000.00 each occurrence, $1,000,000.00 aggregate.

a.	Products and Completed Operations Insurance shall be maintained for a minimum period of (1) one year after final payment $1,000,000.00 aggregate.

b.	Property Damage Liability shall provide X, C, and U coverage

c.	Broad Form Property Damage coverage shall include Completed Operations

C.	Contractual Liability

- 1.	Bodily Injury - $1,000,000.00 each occurrence, $1,000,000.00 aggregate.

2.	Property Damage - $1,000,000.00 each occurrence, $1,000,000.00 aggregate.

- Personal Injury, with Employment Exclusion deleted, $1,000,000.00 aggregate

- Comprehensive Business Automobile Liability (including Owned, Non-Owned, and Hired Vehicles)
Bodily Injury and Property Damage – combined single limit of $500,000 per occurrence.

NOTE: Failure to file certificates, or acceptance by the University of certificates of insurance which do not indicate the specified coverage shall in no way relieve the Contractor of his responsibility for maintaining adequate insurance.

Governing Law

This agreement shall be construed and governed by the laws of the State of Arkansas.

# FOB:	University of Arkansas

Agriculture Building Room, 128A

Fayetteville, AR 72701

Delivery___________ days after receipt of order.

Delivery date may be a factor in the award of the bid.

NOTE:   If any portion of a vendor's contract terms and conditions are in conflict with those in this Invitation for Bid or with the laws of the State of Arkansas,  State of Arkansas laws shall govern.  Failure to conform to these standards may result in rejection of bid.

NOTE: If offering equal, full description and complete specifications must accompany bid at the time

of bid opening.   Failure to do so may result in disqualification of bid.

Bids must be submitted on this official bid form to be considered.

Award will be on an all or none basis.

If further information is needed please contact:

# Dr. Savin at 479-575-5718.

# General Campus Background for University of Arkansas

Established in 1871 as a land grant institution, the University of Arkansas is the only comprehensive doctoral degree granting institution in Arkansas. It is classified as a Carnegie Foundation Doctoral/Research University. The University campus includes 360 buildings on 357 acres. The University offers more than 230 undergraduate and graduate degrees in more than 150 fields of study in agricultural, food and life sciences, arts and sciences, business, education, engineering, architecture and law. As of Fall 2008, student enrollment was 19,800 (undergraduate 14,861, professional 398, graduate 3192, and non-degree 743; full-time 14,814 and part-time 4,380). The faculty count was 898, and staff count was 2864. The University is the flagship campus for the University of Arkansas System.

Ethical Standards

“It shall be a breach of ethical standards for a person to be retained, or to retain a person, to solicit or secure a state contract upon an agreement or understanding for a commission, percentage, brokerage, or contingent fee, except for retention of bona fide employees or bona fide established commercial selling agencies maintained by the contractor for the purpose of securing business”

Technology Access

The Vendor expressly acknowledges that state funds may not be expended in connection with the purchase of information technology unless that system meets certain statutory requirements, in accordance with State of Arkansas technology policy standards relating to accessibility by persons with visual impairments.

Accordingly, the Vendor represents and warrants to University of Arkansas, Fayetteville that the technology provided to University of Arkansas for purchase is capable, either by virtue of features included within the technology or because it is readily adaptable by use with other technology, of: (1) providing equivalent access for effective use by both visual and nonvisual means; (2) presenting information, including prompts used for interactive communications, in formats intended for nonvisual use; and (3) being integrated into networks for obtaining, retrieving, and disseminating information used by individuals who are not blind or visually impaired.

For purpose of this paragraph, the phrase “equivalent access” means a substantially similar ability to communicate with or make use of the technology, either directly by features incorporated within the technology or by other reasonable means such as assisting devices or services which would constitute reasonable accommodations under the American with Disabilities Act or similar state or federal laws.  Examples of methods by which equivalent access may be provided include, but are not limited to, keyboard alternatives to mouse commands and other means of navigating graphical displays, and customizable display appearance.

If requested, the Vendor must provide a detailed plan for making this purchase accessible and/or a validation of concept demonstration.

Equal Opportunity Policy Disclaimer

ATTENTION BIDDERS

Act 2157 of 2005 of the Arkansas Regular Legislative Session requires that any business or person bidding, who is responding to a formal bid request, Request for Qualifications or qualifications, or negotiating a contract with the state for professional or consultant services, submit their most current equal opportunity policy (EO Policy).

Although bidders are encouraged to have a viable equal opportunity policy, a written response stating the bidder does not have such an EO Policy will be considered that bidder’s response and will be acceptable in complying with the requirement of Act 2157.

Submitting the EO Policy is a one-time requirement.  The University of Arkansas, Fayetteville Procurement Department, will maintain a database of policies or written responses received from all bidders.

Note: This is a mandatory requirement when submitting an offer as described above.

Please complete and return this form with your bid response.

Should you have any questions regarding this requirement, please contact this office by calling (479) 575-2551.

Sincerely,

Linda Fast

Linda Fast, APO, CPPO, CPPB

Manager of Procurement Services

University of Arkansas

To be completed by business or person submitting response: (check appropriate box)

____   EO Policy Attached

____   EO Policy previously submitted to University of Arkansas-Fayetteville

Purchasing Department

____   EO Policy is not available from business or person

Company Name

Or Individual: __________________________________________________________

Title:  _____________________________________Date:  ______________________

Signature:  ____________________________________________________________

University of Arkansas

Fayetteville, Arkansas

Procurement Department

321 Administration

Fayetteville, AR  72701

Tel:  479-575-2551

Fax:  479-575-4158

Act 157 of 2007 of the Arkansas Regular Legislative Session requires that any business or person responding to a Request for Proposal (RFP) for professional services, technical and general services or any category of construction in which the total dollar value is $25,000 or greater certify, prior to the award of the contract, that they do not employ or contract with any illegal immigrants.  Bidders are to certify online at:

http://www.dfa.arkansas.gov/offices/procurement/Pages/forms.aspx

This is a mandatory requirement.  Failure to certify may result in rejection of your proposal, and no award will be made to a vendor who has not so certified.  If you have any questions, please contact the Procurement Department.  Thank you.

Linda Fast

Linda Fast, APO, CPPO, CPPB

Manager of Procurement Services

************************************************************************************************************

TO BE COMPLETED BY BUSINESS OR PERSON SUBMITTING RESPONSE:

Please check the appropriate statement below:

_______	We have certified on-line that we do not employ or contract with any

illegal immigrants

Date on-line certification completed:  ___________________________________

_______	We have NOT certified on-line at this time, and we understand that

no contract can awarded to our firm until we have done so.

Reason for non-certification:  _________________________________________

| Name of Company |  |
| --- | --- |
| Mailing Address |  |
| City, State & Zip |  |
| Signature |  |
| Name & Title (printed or typed) |  |
| Date |  |