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Request for Proposal
(Solar Hot Water Heating Project)
For
Claflin University
Orangeburg, South Carolina
BID 2011-2

SECTION I. Executive Summary

Claflin University’s campus facilities consume a considerable amount of energy to meet hot water needs.  This includes heating hot water for showers and bathrooms for nine dormitories.

Proposals will be sent to Claflin University by 5:00 P.M. on Monday, June 20, 2011 to the attention of:

Rodney B. Hudson, MBA
Director Auxiliary Services Office
Claflin University
400 Magnolia Street
Orangeburg, South Carolina, 29115

A pre-bid conference will be held on Thursday, June 9, 2011 at One o’clock p.m. The meeting will be held in the Claflin University Visitors Center located on the corner of Russell Street and Magnolia Street.

The University reserves the right to accept, reject or negotiate any or all bids, to waive
or not waive informalities or irregularities in bids or bidding procedures, to rebid the
project/purchase, and to accept any bid determined by the University to be in the best
interest of the University, regardless of the price. 

SECTION II. INSTRUCTIONS, INFORMATION AND REQUIREMENTS

1. Purpose: The purpose of this Request for Proposal (RFP) is to receive proposals for selection of a contractor to provide proposals/bids for providing Solar Hot Water Heating in the following buildings:

· Kliest Hall
· Corson Hall

Claflin University, 400 Magnolia Street Orangeburg, South Carolina 29115

This RFP does not constitute a contract for services performed or to be performed. After selection of the successful firm (referred to as the contractor), 
Claflin University and the contractor will negotiate a contract and a complete scope of services. All proposals submitted become the property of Claflin University and will not be returned. The University is not responsible for any costs incurred by the respondent in proposal preparation, presentations, site visits, or benchmarks performed.

2. Submittal of Proposals/Bids: Submittal of proposals/bids shall be on the form attached hereto in Section V no later than Monday, June 20, 2011.  Proposals shall be sealed and clearly marked as BID 2011-2 on the outside, and sent to the following:

Rodney B. Hudson, MBA
Director Auxiliary Services Office
Claflin University
400 Magnolia Street
Orangeburg, South Carolina 29115

3. Official Signature: An official/person of the bidding entity acknowledging full understanding of the information contained in this RFP must sign the Bid/Proposal Form

4. Inquiries: Questions regarding the RFP should be directed to Rodney B. Hudson by email to RHudson@claflin.edu. Any questions must be received by Monday June 13, 2011 at one o’clock p.m.

5. Insurance Requirements: Contractor shall furnish a Certificate of Insurance from an insurance company licensed to do business in the state of South Carolina and acceptable to the University for the following:

· Commercial General Liability Insurance in the amount of $500,000.
· Worker’s Disability Compensation Insurance including employer’s liability coverage, in accordance with applicable statutes of the State of South Carolina.
· Motor Vehicle Liability Insurance, including South Carolina no-fault coverage for Orangeburg, County.
· Performance Bond required
· Required release of any mechanical lien or waiver by subcontractors at the end of the project.
· Copies of subcontractor worker’s disability compensation insurance (i.e. Workers Compensation) will be required prior to commencement of work.
· Any other Insurance that may be needed by the Contractor in order to fulfill contractual obligations
	
6. Licenses: The winning bidder must be licensed to do business in the State of South Carolina and the City of Orangeburg.

7. References: Bidder shall provide the names of three (3) commercial accounts for similar work performed. References are also required for any subcontractors.

8. Compliance with the Law: Contractor shall comply with all applicable federal, state and local laws and ordinances, rules and regulations, as well as any applicable University policies presented.

SECTION III. SCOPE OF SERVICE

Furnish Solar Thermal Hot Water for Kliest and Corson Dormitories located at Claflin University and provide all equipment, installation, materials, supplies, tools, equipment, labor, supervision, and expertise to properly and professionally perform all required services described in this RFP. Work shall be performed with minimal obstruction to Claflin University operations.  All design has been performed and contractor will be responsible for equipment and installation.

Connect pipe loop from solar thermal and inlet of existing hot water system
penetration through brick at A & B location (assess points to be shown during walk through)


 No Work can be done on Sunday. 

Contractor will be responsible for any damage to buildings, property, turf or sidewalks.  

SECTION IV. MATERIAL SPECIFICATIONS

Qualified installer will pour 6”concrete pad and mount 30” evacuated tube solar collectors (concrete pad dimensions to be furnished later)

30” Evacuated Tube Solar Collectors performance specifications are as follows:

· Peak Power Output	1870watts
· BTU Peak Output	6340
· Stagnation temp max	260 Celsius
· Max Flow rate 15 1/min 3.9 gal/min
· Max Pressure		 110psi
· Max Tube in series	120
· Install Angle range	20-70 degrees
· Copper 	1”dia pipe
· Annual Production	2MNh/7200MJ

Integrated Pipe consisting of one inch copper pipe (L6/R6 Rating) and 24 volt sensor wire with PVC Coating Required.(approximately 750 square feet)



SECTION V.  BILL OFMATERIALS 

· 54 Collectors
· 2 Pump stations (108mph)
· 2 Storage Tanks (1000 gallons)
· 225 Lines Sets (with 4 connectors
· 2 Expansion Tanks


Claflin University RESPONSIBILITIES

1) Provide access to the facility and work areas as necessary for the project;
and coordinate with University security services.
2) Provide prompt payment for the installation of the project upon receipt of
invoices and acceptance of the project work.
3) Deposit not to exceed 25% for materials
4) Will allow for progress billings.
5) Will retain 15% of fees for 30 days to ensure we have the required releases of any mechanical liens or waiver by subcontractors for any mechanical liens.


SECTION VI. BID/PROPOSAL FORM
The undersigned proposes to furnish Solar Hot Water services for Claflin University in accordance with the attached specifications stated herein for
the price listed below.

TOTAL PROJECT COST $			

Submitted Certificate of Insurance with bid 	yes		no	
Visited site to view project				yes		no	
Submitted proposed schedule with bid               yes		no	
Submitted references with bid          		yes		no	 




COMPANY NAME:
ADDRESS:
SIGNATURE:
TITLE:
