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Request for Proposals

For 

Wayne Brown Correctional Facility 

Security Control System
Proposals due August 23, 2007, 2:00 p.m. Pacific Time

at

Nevada County Purchasing Division

Eric Rood Administrative Center

950 Maidu Avenue

Nevada City, California 95959

Pre-Proposal Conference 
10:00 a.m.

August 6, 2007
Wayne Brown Correctional Facility

925 Maidu Avenue

Nevada City

1 Summary 

The Nevada County Purchasing Agent, on behalf of the Nevada County Sheriff, hereinafter collectively referred to as “County,” is looking for a certified contractor to upgrade the security camera control system at the Wayne Brown Correctional Facility, 925 Maidu Avenue, Nevada City, California. 

The term “offeror” as used herein shall refer to individuals or firms submitting proposals in response to this Request for Proposals (RFP). The term “Contractor,” “Vendor,” or “Provider” is also used to describe the successful offeror in the context of providing services under a contract resulting from this RFP.

This document is available electronically to facilitate easier response.  The electronic copy may be downloaded from www.mynevadacounty.com/purchasing. Potential offerors must register with the County in order to be notified of addenda and other notices.  To register, please send an email to <sandy.balzer@co.nevada.ca.us> indicating “WBCF Security Cameras RFP Registration” in the subject field.  If you do not receive a reply to this email indicating that you have been registered, please call 530-265-1747.

All responses received in response to this RFP will be evaluated on the criteria described herein.

Sealed proposal responses must be clearly marked “PROPOSAL – WBCF Security Cameras”  and must include all elements described in Section 8 of this RFP.  One original and two (2) paper copies of the proposal, plus one copy on a CD in PDF format  must be delivered to the address below before 2:00 p.m. Pacific Time on August 23, 2007. The County will not be responsible for proposals delivered to a person or location other than that specified herein, and reliance on the postal service will not excuse late proposals.



Purchasing Division

County of Nevada

950 Maidu Avenue

Nevada City, CA 95959


Any amendment or addendum to this RFP is valid only if in writing and issued by the County of Nevada Purchasing Agent.

A pre-proposal conference will be held at the Wayne Brown Correctional Facility in Nevada City at 10:00 a.m. on August 6, 2007. The purpose of this conference is to provide interested vendors an opportunity to ask questions and inspect the facility. Each firm will be limited to not more than two (2) representatives in attendance. To be eligible to submit a proposal in response to this RFP, a vendor must have attended this pre-proposal conference or the conference that was held in the Request for Information phase for this project on November 6, 2006. 

Please submit, in writing, any questions about this RFP that you would like answered at the pre-proposal conference, no later than three (3) working days before the conference.  This will allow for a more thorough response.  

The Pre-Proposal conference may be taped and answers will be posted to the County of Nevada website (www.mynevadacounty.com/purchasing) following the conference.  Please contact Sandy Balzer at (530) 265-1747 or sandy.balzer@co.nevada.ca.us to confirm your attendance.  Oral answers at the conference will not be binding on the County.

The County reserves the right to decline to respond to any questions if, in the County’s assessment, the information cannot be obtained and shared with all potential offerors in a timely manner.


2 General Conditions  


2.1 Prime Responsibility: The selected Contractor(s) will be required to assume full responsibility for all services and activities offered in its/their proposal(s), whether or not provided directly. Further, the County will consider the selected Contractor(s) to be the sole point of contact with regard to contractual matters, including payment of any and all charges resulting from the contract. In the event a proposal is submitted jointly by more than one organization, one legal entity must be designated as the Prime Contractor. All other participants shall be designated as Subcontractors.

2.2 Subcontractors:  Any Offeror using a Subcontractor(s) must clearly explain the use of the Subcontractor(s) and list the name(s) of the Subcontractor(s) providing work under this proposal (Exhibit C, “Subcontractor List”). The selected Offeror will be fully responsible for all work performed under this proposal and will be considered as the Prime Contractor. Any Subcontracting, or other legal arrangements made by the Offeror are the sole responsibility of the Offeror. Any Contract that is entered into between the selected Offeror and the Subcontractor(s) shall contain provisions for federal and state access to the books, documents, records, and inspection of work.
2.3 Licensing/Qualifications:  Proposals will only be considered responsive to this RFP where the contractor has a current contractor’s license to perform the work described.

2.4 Performance Bond: Within fourteen (14) working days of the award of the Contract, the successful Offeror will be required to furnish, at Offeror’s expense, the County a Faithful Performance Bond in an amount equal to one hundred percent (100%) of the total proposal cost.  The bond shall be approved as to form by the County, executed by the Offeror as principal and by a corporation licensed to issue such bonds in the State of California. 
2.5 This is a public works project.  Pursuant to Sections 1770 and 1773 of the Labor Code of the State of California, the County of Nevada has ascertained that prevailing wage rates are applicable to the work to be done.  Copies of the prevailing rate of per diem wages are set forth in a schedule which is on file and available in the office of the Department of Transportation and Sanitation, County of Nevada.  Contractor shall not pay less than the prevailing rate of wages.

2.6 Independent Contractor: In performance of the work, duties and obligations assumed by the offeror, it is mutually understood and agreed that the offeror, including any and all of the offeror’s officers, agents and employees, will at all times be acting and performing in an independent capacity and not as an officer, agent, servant, employee, joint venture, partner or associate of the COUNTY.

2.7 Vendors may submit alternate proposals. Alternate proposals shall be clearly marked as such.


2.8 All proposals shall remain firm for at least one hundred twenty (120) days following the proposal closing date.  The County reserves the right to withhold an award of the proposal for one hundred twenty (120) days from date of closing.


2.9 All proposals and accompanying documentation (including financials) submitted by the Offerors will become the property of the County and will not be returned.  Proposals shall be based on the material contained in the proposal.  Offerors are instructed to disregard any prospective oral representations it may have received prior to the solicitation of the proposal.


2.10 The cost for developing and preparing the proposal is solely the responsibility of the Offeror whether or not any award results from this solicitation.  Further, the cost of developing and preparing responses to the proposal will not be allowed as direct or indirect charges under any resulting Contract.


2.11 Qualifications of Offeror:  The County may make such investigation as it deems necessary to determine the ability of the Offeror to provide the services requested herein, and the Offeror shall furnish to the County all information and data for this purpose as the County may request.  The County reserves the right to reject any proposal should the evidence submitted by, or investigation of, the Offeror fails to satisfy the County that such Offeror is properly qualified to carry out the obligations of the proposal and to complete the requirements contemplated therein.


2.12 Gratuities:  Neither the Bidder nor any person, firm, or corporation employed by the Bidder shall give, directly, or indirectly, to any employee or agent of the County, any gift, money, or anything of value, or any promise, obligation, or Contract for future reward or compensation, neither during the proposal process nor during the performance of any Contract period resulting from this proposal.

2.13 Nevada County prohibits discrimination in employment or in the provision of services because of race, color, religion, religious creed, sex, age, marital status, ancestry, national origin, political affiliation, physical disability or medical condition. This clause does not require the hiring of unqualified persons.


2.14 The County of Nevada, in accordance with Title VI of the Civil Rights Act of 1964 (78 Stat. 252) and the regulations of the Department of Commerce (15 C.F.R., Part 8), issued pursuant to such Act, hereby notifies all offerors that it will affirmatively ensure that in any contract entered into pursuant to this advertisement, minority business enterprises will be afforded full opportunity to submit proposals in response to this invitation and will not be discriminated against on the grounds of race, color, or national origin in consideration for an award.


2.15 OSHA Requirements:  All material, equipment, or labor submitted under this proposal by Bidder shall meet the required standards of OSHA 1970 and CA-OSHA 1973 as last revised.  Bidder warrants that the described material, equipment or labor meets all appropriate OSHA safety and health requirements.  Further, it warrants that the said material or equipment will not produce or discharge in any manner or form, directly or indirectly, chemicals or toxic substance that could pose a hazard to the health or safety of anyone who may use the material or equipment or come into contact with the material or equipment. 


2.16 Environmental Protection:  The Bidder awarded the Contract resulting from this proposal shall be in compliance with all applicable standards, orders or requirements issued under Section 306 of the Clear Air Act (41 USC 1857(h)), Section 508 of the Clean Water Act (33 USC, 1368), Executive Order 11738, and Environmental Protection Agency regulations (40 CFR, Part 15) which prohibits the use under nonexempt federal Contracts, grants, and loans of facilities included on the EPA List of Violating Facilities.  The Contractor shall report violations to the applicable federal agency and the US EPA Assistant Administrator for enforcement. 


2.17 Drug Free Workplace:  The awarded Bidder must certify that it will provide a drug-free workplace as set forth by the Federal Drug-Free Workplace Act of 1988 or as last revised.

2.18 The County reserves the right to reject any or all proposals, to negotiate specific terms, conditions, compensation, and provisions on any contracts that may arise from this solicitation; to waive any informalities, minor irregularities, technical defects or clerical errors in the proposals; and to accept the proposal(s) that appear(s) to be in the best interest of the County of Nevada. In determining and evaluating the proposals, costs will not necessarily be controlling; the experience of those who will be providing services under the contract, quality, equality, efficiency, utility, suitability of the services offered, and the reputation of applicants will be considered, along with other relevant factors. The County shall not be liable for any costs incurred by the Offeror in connection with the preparation and submission of this or any other proposal.

2.19 Interpretation, Corrections and Addenda: The Offeror must carefully examine the specifications, terms and conditions provided in this Request for Proposals and become fully informed as to the requirements set forth therein. If anyone planning to submit a proposal discovers any ambiguity, conflict, discrepancy, omission or error in the proposal, or has any questions in relationship to the “Scope of Work” or any other related matters, he or she is directed to immediately notify the contact person as shown below of such concern in writing and request clarification or modification of the document(s) no later than August 8, 2007.  No further requests for clarification or objections to the proposal will be accepted or considered after this date.  Any change in the proposal will be made only by written addendum, issued by the County Purchasing Agent to each firm in receipt of the Request for Proposal. Receipt of any addendum shall be acknowledged by the Offeror on the Proposal Cover Sheet. Any oral communication by the County’s designated contact person or any other county staff member concerning this Request for Proposals is not binding on the County and shall in no way modify this RFP or the obligations of the County or any Offerors.  


2.20 The contents of all proposals, correspondence, agenda, memoranda, or any other medium which discloses any aspect of an Offeror’s proposal shall be held in confidence until a Contract is awarded by the County. THE CONTENTS OF ALL WORKING PAPERS, TRADE SECRETS, PROPRIETARY DATA, AND DISCUSSIONS RELATING TO THE OFFEROR’S PROPOSAL SHALL BE HELD CONFIDENTIAL INDEFINITELY UNLESS THE PUBLIC INTEREST IS BEST SERVED BY AN ITEM’S DISCLOSURE BECAUSE OF ITS DIRECT PERTINENCE TO A DECISION AGREEMENT OR AN EVALUATION OF THE PROPOSAL The County cannot and does not give any assurances or guarantees that such information could not be ordered released under the California Public Records Act by a court of law, or be otherwise releasable thereunder, if requested by any third party.

The Offeror should clearly mark any of the information within their proposal that is proprietary.  In no case will the final cost of the Offeror’s proposal be considered proprietary; other information not clearly private and proprietary in nature, or otherwise generally available as information or technology with the subject trade industry or profession. Designating the entire proposal as proprietary is not acceptable and will not be honored.  Submission of a proposal by an Offeror shall constitute an agreement to the provision for public announcement.  The County shall not be obligated to release information contained in any proposal that has been annotated as proprietary without the written consent of the Offeror. Any agency requesting such information so marked as proprietary must obtain such written authorization directly from the Offeror and forward to the County. The County shall not be required to contact any offeror for information on behalf of any requesting agency. 

The County shall have the sole discretion and exclusive authority to determine if any other party has properly obtained the right to have access to this confidential information.

2.21 Nevada County reserves the right to:
· Request clarification of any submitted information;
· Not enter into any agreement;

· Not to select any applicant;

· Amend or cancel this process at any time;

· Interview applicants prior to award and request additional information during the interview;

· Award more than one contract if it is in the best interest of the County; and/or

· Issue similar RFPs in the future.

2.22 Qualified vendors must be prepared to enter into the County’s standard Personal Services Contract, a sample of which is attached as Exhibit F to this RFP. Please review the details of Exhibit F carefully. By reference, it incorporates many standards, terms and conditions required as part of this RFP. The County intends to award contracts substantially in the form of the sample agreement to the selected vendor(s). Portions of this RFP and the vendor’s proposal may be made part of any resultant contract and incorporated in the Contract. 


2.23 Prior to commencement of services, the Contractor must provide evidence of the following insurance coverages: Worker’s Compensation, Commercial General Liability (naming the County of Nevada as additional insured), Comprehensive Business or Commercial Automobile Liability for Owned Automobiles and Non-owned /Hired Automobiles, and Professional Liability or Malpractice Insurance. The Contractor will be required to maintain the required coverages, at its sole cost and expense, throughout the entire term and any subsequent renewal terms of the contract.  


2.24 Pursuant to the County’s Green Procurement and Sustainable Practices Policy, vendors are requested to use recycled products and sustainable practices whenever possible in preparing their response to this RFP, including using post-consumer recycled content paper and packaging products, and copying on both sides of the paper. 

3 BACKGROUND 

The Wayne Brown Correctional Facility (WBCF) is a modern direct-supervision jail that was opened in 1992. The current security system at WBCF allows for 32 different views from 30 cameras. Seventeen of the views are from black and white cameras focusing on areas outside of the building; 14 are views from color cameras focusing on various areas inside of the facility. Camera views are controlled through a central matrix switcher utilizing pushbutton control panels. The County desires to upgrade this system to a programmable logic control system with a graphical user interface operable by touchscreen monitors. 

Recording and data archiving are currently accomplished with a VHS tape system. The County desires to upgrade this system to a digital video recording system.  

Through this RFP, the County is seeking to identify a contractor to provide the goods and services described herein. The work described as Phase One is expected to commence in the fall of 2007. The schedule for commencement of Phases Two and Three will be dependent on the availability of funding.

Expansion of the WBCF is expected to take place in the next three to five years. Although specific plans for that expansion have not been finalized, it is likely that a new wing will be constructed to the north of the existing building. This RFP does not request proposals to address the security needs of a new wing. However, proposals submitted in response to this RFP must consider the scalability of the systems proposed, and offer a brief description of how the system may be expanded. 


4 SCOPE OF WORK—Requirements of all Phases

4.1 General 

A. The project includes three phases, which the County intends to undertake in the order presented below. Proposals are requested for all three phases, though it is likely that only Phase I will be contracted for in calendar year 2007. The timing of future phases will depend on the availability of funding. The County recognizes that cost proposals submitted for Phases II and III will be subject to renegotiation depending upon the actual contract date.  

B. For all phases, the contractor will ensure that the old cameras and the new cameras all conform to the new central control system. 

C. The contractor will be required to run wires either through crawl spaces and/or through walls. All current wiring and cable runs are inside of chases and/or conduit above ceilings. Conduit fill requirements for low voltage systems shall be ina accordance with the respective requirements of the National Electrical Code for lighting and power circuits. The proposed additional wiring and cable runs should match existing construction. All patching and painting to restore any areas to original condition will be the responsibility of the contractor.

D. Low voltage work shall be in complete accordance with the following: 

· National Electrical Code (NEC)
· Regulations of the State Fire Marshal
· Americans with Disabilities Act (ADA)
· National Fire Protection Association (NFPA) Codes
· All State and County codes and ordinances
E. Each conductor shall be identified by an approved marking system at each end just before entering the terminal strip. Conductor identification shall be repeated on the As-Built drawings.

F. All work must be performed while the facility is occupied. All work must be coordinated through the Jail Captain or his designee. Twenty four hours notice must be provided to the Jail Captain prior to disabling the existing operating control panel. Control of the existing facility by remote means shall not be disabled for more than 12 hours. 

G. Materials and equipment used on this project, unless specifically noted otherwise, shall be delivered to the site new, in their original packages, and shall be of the best quality of their respective kinds. All materials and equipment shall conform to the latest specifications of the American Society for Test Materials, National Electrical Manufacturers Association. Materials and equipment shall bear the stamp indicating listing by the Underwriter’s Laboratories, Inc. where listing is available for such equipment. Custom designed items shall be fabricated or assembled of UL listed materials and components. 

H. Contractor shall provide basic training to County staff on the operation of all equipment and systems installed.  


I. Contractor shall guarantee all work and parts for three (3) years from date of acceptance. Contractor shall respond to calls for assistance during the guarantee period in accordance with the requirements described herein. 


J. The County is planning to expand the WBCF over the next three to five years. To the extent practical, all equipment and designs proposed be shall be specified to anticipate later expansion. 

K. By the act of submitting a proposal, the respondent shall be deemed to have: 

· Examined all documents which are a part of this RFP.

· Visited the project site. 

· Made proper allowances for coordinating with the Jail Captain.

· Considered the complexity, scheduling and other special and unusual circumstances involved with this project.

· Made an affirmative statement that the Respondent has read the documents, understands their meaning and intent, is able to install the work in the manner described in his proposal, and that he is willing and able to execute the work described in accordance with the requirements, restrictions and limitations stated or implied in this RFP. 

L. It is the intent of this RFP to result in a complete low voltage system installation/integration in accordance with all applicable codes and ordinances. Items not specifically mentioned in this RFP, but which are necessary to make a complete working installation, shall be included by the Contractor. 


M. It is the sole and exclusive responsibility of the Contractor to clarify any questions or discrepancies with the County and to ascertain and verify all installation conditions about which he/she is unsure prior to commencing work. Further, during the entire construction period, it is the responsibility of the Contractor to coordinate, verify and confirm that all related work is done in a manner that will not complicate the day-to-day operations of the facility. 


N. The word “provide” where used in this RFP shall mean furnish and install. 


4.2 Documentation Requirements 


A. Diagrams and Schematics 


· Block diagrams, schematic diagrams, conduit layouts (existing and new), line voltage circuit planning, grounding diagrams, conductor identification system, point to point connection drawings (include wire and terminal numbering), terminal blocks, pin/shell connector wiring layouts and shop drawings shall be prepared by the contractor showing the interconnection of every component, details of all special equipment and proposed layouts of all control facilities. All such diagrams and drawings shall be submitted for review, comments and approval prior to commencing fabrication and installation.


· All submittals shall be accompanied by a transmittal letter indicating the date, project name, contractor’s name and address, low voltage installers name, product description/type and deviations from contract documents if any.


· Full size face drawings shall be submitted for Graphic User Interface and PLC backboards with the shop drawings. Provide an assembled sample GUI showing graphics and labeling with all functions installed.


· Shop drawing submittals shall be scaled at 1/8” = 1 ‘0”. Shop drawings shall be generated using a Computer Aided Drafting program.


B. Record Drawings and As-Built Drawings


· Maintain one set of drawings and specifications for use only to record the As-Built conditions as work proceeds, The “Record Drawing” set shall include one set of drawings for the facility conduit plan prepared by the contractor as described in herein. Notations shall be done in a neat and legible manner. 


· The “Record Drawings” shall be updated daily by the contractor to show every change from the original drawings and the exact locations, sizes and kinds of equipment. This set of drawings shall not be used for any other purpose and shall be maintained at the job site and available for review at any time. 


· Record Drawings shall indicate actual size of electrical equipment, routing of major raceway systems and location of control devices. 


· The actual location and elevation of all buried lines, boxes, monuments, stub-outs and other provisions for future connection shall be shown on the “Record Drawings” set and shall be referenced to the building lines or approved bench marks. 


· Final shop drawings and other documentation shall be revised to reflect all “as built” conditions.


· All equipment guarantees and certificates shall be included as part of the “as built’ submittal.


· “As built” drawings shall be generated using Computer Aided Drafting program. 


· Upon completion of the work, the contractor shall deliver the marked up Record Drawings to the Jail Captain.


C. Operating and Maintenance Manuals 

Contractor shall provide four (4) copies of a manual of operation and maintenance of installed systems and equipment. Each copy of the manual shall be indexed for ease of reference and shall be include plastic index tables coordinating with the index. Each copy of the manual shall be bound and shall include the job title, date, contractor, and system installer’s name. A full copy of the manual shall also be provided in PDF format on a CD. The Jail Captian shall be given an opportunity to review the draft copy of the manual and provide comments that shall be incorporated in the final copy of the manual. 


4.3 Equipment Identification


A. The following items shall be equipped with nameplates:


· All equipment cabinets, new and existing

· All plug-in relays

· All major items of system components

· All power circuits

· All other items as required for quick identification if not immediately obvious to reasonably trained service technicians.


B. Nameplates for equipment cabinets shall be laminated plastic, black front and white core, with lettering on black background shall be no less than 1/8” high. Nameplates shall be firmly attached with plated screws and nuts, self-tapping screws or metallic rivets.


4.4 Completion and Testing 
Upon completion of the work, contractor shall assemble all factory representatives together for system start-up. These representatives shall assist in start-up and check out their equipment/software and remain at the site until the total system operation is acceptable and understood by the Jail Captain and WBCF operations personnel. 


5 SCOPE OF WORK—Phase I: Controls, Monitors and Cabling

5.1 Replacement of Control Panels and associated hardware and software with touchscreen/graphical user interface-activated inputs.

A. The current analog switcher and toggle control panels will be replaced with a programmable logic controller (PLC) system: 
· with 256 inputs and 256 outputs
· capable of Ethernet communication to the host PC at a transfer rate of 100 mbs/sec.
· operable by touch screen/GUI monitors
· Direct Logic 205 with D2-260 CPU or equal

Control panels to be replaced include those in Central Control, A&B Pods, N Section, Medical Unit, and Booking.


At Central Control, two (2) touchscreen/GUI monitors, sized 19”-20”, will be installed on articulating arms to serve as input devices for the new control system. The control monitors in Central Control will be installed in a workstation to be provided by the County that will replace the current cabinetry. The control panels in A&B pods, N Section, Medical Unit and Booking will be replaced with one 19”-20” touchscreen/GUI monitors at each of those locations. The monitor in booking will also replace the current visual monitor.  All monitors will be operated by touchscreen and also have the ability to be mouse-driven. 

The system shall also be capable of operation from a remote location with the Wayne Brown Correctional Facility, in the event the central control station becomes inaccessible. 


B. Graphical User Interface software

· All programming of the touchscreen interfaces shall be provided. Any custom graphics or active icons that need to be created shall be included. All screen designs shall be approved by the County prior to the commencement of programming.


· Provide a complete installation CD that contains all the necessary files to run the GUI.


· Duplicate or improve every function the existing control panel is capable of.


· Microsoft Visual Studio/Basic or equal


· The touchscreen computer application shall be standard commercially available software such as WonderWare, Cimplicity or Web Studio as manufactured by InduSoft or approved equal. Proprietary software will not be acceptable. 

C. Control relays

· Shall be plug-in type with bases and shall be furnished with hold down springs.
· Contacts shall be rated 10A minimum or as required by load served at 24 volts DC and 15A for loads served at 120 volts AC.
· Contacts shall be gold flashed silver. Coil voltage shall be 24 VDC or as required for the purpose.
· Provide a coil power indicating LED or neon indicator.
· Minimum mechanical life expectancy shall be 100,000 operations at full load.
· Finder, Omron or equal.

D. Host Computer 

· Pentium 4, 3.0 GHz or better processor.
· 2 GB of RAM.
· 40 gig SATA hard drive.
· 8x/48x CDROM writer/reader or faster.
· Altec Lansing VS213 lComputer speakers.
· Microsoft keyboard or equivalent.
· Microsoft wireless mouse or equivalent.
· Microsoft XP Professional operating system or equivalent.


E. Include in your proposal all software, relays and other accessories to ensure a fully functioning system. The completed system shall duplicate or improve upon every function that the existing control panel is capable of. 

F. Contractor shall provide the equipment, materials and labor to install the system described and specified herein. This shall include but not be limited to provision of all raceways, sleeves, boxes, gutters, shelves, enclosures, supports, backboards, PLC(s) and all necessary PLC modules, computer and Windows XP operating software, Graphic User Interface (GUI) software, utilizing Visual Studio/Basic programming, with installation disk containing GUI, and all Data Server Software. All ladder programming software with programmers notes are to be included. 

G. Cabinets and enclosures shall be constructed to easily accommodate interconnecting cables entering from above or below. Approved terminal blocks shall be used to terminate all incoming and outgoing conductors. Interconnecting cables with connectors for disconnecting on at least one end shall be provided for interconnecting the various pieces of equipment being furnished. Connectors shall be the amphenol type with a threaded screw on each end to assure a tight physical connection between the two halves.

H. All equipment provided or assembled on the project site shall be provided in appropriately classified NEMA enclosures with hinged lockable door, ventilated as required to maintain an interior temperature of less than 100 degrees F or as recommended by the equipment manufacturer. 

5.2 Replacement of monitors (viewing monitors, as distinct from input monitors described above)

The current eleven (11) monitors in Central Control will be replaced with three (3) new 19”-20” monitors on articulating arms, capable of displaying separate images in each of four quadrants, for a total of twelve (12) camera views. The viewing monitors will be installed above the control monitors on a workstation to be provided by the County. Current monitors must remain operational while the Central Control workstation is in transition.

The existing 9” monitors in A&B Pods, N Section, Medical Unit and Booking will be replaced with one 19”-20” touch screen monitor at each of those locations. 

5.3 Cabling and Wiring

Existing cabling and wiring shall be replaced, and new cabling and wiring installed, to accommodate all three phases of this project. Best efforts shall be made to re-use existing cable and conduit. 


6 SCOPE OF WORK—Phase II: Cameras 

Refer to Exhibits D and E. Exhibit D identifies all existing cameras.  Exhibit E identifies the locations at which new cameras are required. 

Cameras shall be equipped with auto iris lenses (vari-focal), and must be vandal-proof or equipped with security-grade enclosures. Cameras installed in exterior locations must be equipped with sunshield, heater and blower. Offerors shall describe the specific model(s) of cameras that they believe will best meet the County’s needs, and shall provide a justification for that recommendation.

Cameras are to be mounted in a stationary position with a manual adjustment for focus and zoom.  

7 SCOPE OF WORK—Phase III:  Digital Video Recording 

The system shall be capable of recording any and all cameras on either a motion-detection or manual trigger. Proposals should assess the possibility of using the existing Matrix Video Switcher, as well as provide pricing for an alternative switcher.  The recording system shall be equipped with 1.6 terrabytes of storage space and a disk recording system capable of 4.7 gigabytes of storage. 


8 PROPOSAL CONTENT AND FORMAT REQUIREMENTS

Interested offerors shall submit an original plus two (2) paper copies of their proposal, plus one copy on a CD in PDF format to Nevada County Purchasing Division, Eric Rood Administrative Center, 950 Maidu Ave, Nevada City, CA 95959. 

Proposals shall be delivered no later than August 23, 2007 at 2:00 p.m. and shall contain at a minimum the following items:


8.1 Cover Sheet (Exhibit A) 
Provide the full legal name of the Contractor who will execute the contract. Provide specific information concerning the agency, including: the agency’s legal name, type of entity, and Federal Tax ID #.  The cover sheet must be signed by an owner, corporate officer, or agent authorized by the Contractor.


8.2 Executive Summary
In an Executive Summary of no more than two total pages, condense and highlight the contents of your proposal to provide the Evaluation Committee with a broad understanding of your approach, qualifications, experience and staffing.


8.3 Description of Materials and Services Proposed 
The merit of each proposal received in response to this RFP will be judged largely on the basis of each Offeror’s narrative description of their proposal. It is important that your proposal contain all information required for an effective review process. Your proposal should be written in such a manner to provide sufficient detail to enable the Evaluation Committee members to know what is planned at every stage, and to make a judgment as to the probable success of your proposed effort.

Your proposal should provide a clear and concise description of the services to be provided by your company in response to the County’s requested “Scope of Work”.  Describe your overall philosophy and goals in functional and operating terms - stated as what you will do, not what might be done in carrying out the County’s requested objectives under the RFP’s “Scope of Work”.   Address each of the activities to be undertaken as a means of reaching the County’s objective under the proposal.  The description should be precise and concrete and designed to have measurable outcomes. Where choices of options and accessories are available or specified, provide a description of what is to be furnished.

8.4 Exceptions
This portion of the proposal will note any exceptions taken by the Offeror to the requirements and conditions as stated in this RFP. Exceptions should clearly explain why the Offeror is taking exception to the requirements. If exceptions are not noted, the County will assume that the Offeror’s proposal meets the requirements as specified herein.  
8.5 Statement of Qualifications
Describe your qualifications for performing the work described. This work requires special skills mastered by education, experience or both education and experience. To be considered qualified, the firm and principal personnel engaged in this work are expected to have a minimum of five (5) years of experience in the construction and servicing of systems for detention projects of the type and magnitude specified herein. Provide a statement as to any judgment, litigation, licensing violations, or other violations, outstanding or resolved, against your company in the past five (5) years.


8.6 Statement of Experience
Describe at least three projects completed within the last five years that demonstrate the familiarity of your firm and key personnel with detention projects consisting of work of like magnitude and complexity as that involved with this project. For each project, include a brief description of the types of systems provided and the names of the personnel directly responsible for the design, specification, ordering, installation, programming, testing, demonstration and overall system coordination. For each of the experience project submitted, provide the following information: 


A. Name of project

B. Project location

C. Date of Completion

D. Owner

E. Owner’s representative and phone number

F. Description and dollar value of each installed system

G. Name and specific responsibility of each employee involved with the project. 


8.7 Key Personnel
Provide the names of the personnel to be assigned to this project and specific responsibility of each. If these names are not the same as the names included with the firm’s experience projects required above, submit additional experience projects to demonstrate the experience of those to be assigned to this project. Provide the same information as required above for the firm’s experience projects. 
8.8 Cost Proposal 
Provide on the form contained in Exhibit B a summary of your cost proposal. Attach additional pages as necessary to clearly detail all costs and payment schedules associated with your proposal. All proposals must have a narrative providing a thorough and clear explanation of your costs.


8.9 Subcontractor List 
Identify on the form contained in Exhibit C all subcontractors that you intend to use in performing the proposed work. 

9 SELECTION PROCEDURES

After an initial review of each of the proposals for completeness, the Offerors submitting the most highly rated proposals may be invited for interviews prior to final selection to further elaborate on their proposals. The County reserves the right to award a contract without holding interviews, in the event the written proposals provide a clear preference on the basis of the criteria described. Discussions may be conducted with Offerors who submit proposals determined to be responsive and that have the potential of being selected for an award, for the purpose of clarification to assure full understanding of, and responsiveness to, the solicitation requirements. Such clarifications may be permitted after submission of proposals and prior to award for the purpose of obtaining best and final offers. In conducting discussions, there shall be no disclosure of any information derived from proposals submitted by competing Offerors to anyone outside the Evaluation Committee. 

The final selection will be based on the following criteria: 


A. Qualifications of the firm and the key personnel, as demonstrated through years of experience in related projects, verified through interviews with references. 
B. Proposed method of performance and materials to be used, as demonstrated through a clear description in the proposal of work to be performed and justification for selection of proposed equipment and materials.
C. Proposed Cost
All Offerors submitting a proposal for consideration agree that their company will be willing to enter into a negotiated, final Contract if awarded this proposal.  

The Evaluation Committee will consider only those proposals which have been considered responsive to this Request for Proposals.  Any proposal which fails to meet the requirements of the RFP will be considered non-responsive and may be rejected.  Responsiveness includes attention to detail in following the proposal format. The Evaluation Committee may also contact and evaluate the Offeror’s and the Subcontractors’ references; contact any Offeror to clarify any response; contact any current users of an Offeror’s services; solicit information from any available source concerning any aspect of a proposal; and seek and review any other information deemed pertinent to the evaluation process. The County shall not be obligated to accept the lowest priced proposal, but will make an award in the best interests of the County after all factors have been evaluated. 

The Contractor(s) selected for this project will be required to accept the County’s standard public works contract and to comply with insurance standards as deemed acceptable to the County’s Risk Manager. No agreement with the County of Nevada is in effect until both parties have signed a contract.

The County reserves the right to cancel or discontinue with the proposal process and reject any or all proposals in the event it determines that there is no longer a requirement for the furnishing of such items, materials, equipment and/or services, funding is no longer available for this proposal, or it is otherwise in the County's best interest to cancel the proposal process.

10 SCHEDULED ACTIVITES 

Following is a tentative schedule of activities associated with this Request for Proposals 

RFP Released 






July 23, 2007 
Pre-Proposal Conference 





August 6, 2007
Deadline for submission of request for interpretation 
and/or written questions regarding the RFP


August 10, 2007
Closing Date for RFP—Proposals Due



August 23, 2007


Evaluation Committee’s review of proposals complete

August 31, 2007
Approval of Contract by Board of Supervisors


September 11, 2007




11 INQUIRIES

Direct all inquiries regarding the proposal process or proposal submissions to:

Sandy Balzer, Buyer
Nevada County Purchasing Division
950 Maidu Avenue
Nevada City, CA 95959
(530) 265-1747
sandy.balzer@co.nevada.ca.us
EXHIBIT A:  COVER SHEET
	Name of Firm: _______________________________________________________________________

	

	Contact Person

	Name and Title: __________________________________________________________________________

	

	Address: _______________________________________________________________________________

	

	Phone: _____________________________  Fax:  ___________________________________

	

	E-mail: ________________________________________________________________

	

	Type of entity: ___________________________________________________________________________

                         (e.g., corporation, sole-proprietorship, non-profit organization, public agency, etc.)

	Federal Tax ID:  ​​​​​​​​​___________________________

Contractor’s License No. ______________________




1. Sufficient physical and personnel resources are available to accomplish the low voltage work of this project without endangering timely and proper completion of the work.


2. No portion of the work proposed shall be accomplished by subcontractors except as specifically described in this proposal.


3. The undersigned has the ability to provide the service required by factory trained and qualified technicians for each major system type and will continue to maintain that capability until the end of the warrantee period. 


4. The undersigned hereby certifies that he/she is a duly authorized official of their organization and has the authority to sign on behalf of the organization and assures that all statements made in the proposal are true, agrees to furnish the item(s) and/or service(s) stipulated in this Request for Proposal at the price stated herein, and will comply with all terms and conditions set forth, unless otherwise stipulated.


5. I/We agree that the prices stated herein will be firm for ninety (90) calendar days from the date submitted.

6. The undersigned acknowledges receipt of the following Addenda issued in connection with the subject Request for Proposal.

Addendum No. _____       
Date______________

Addendum No. _____

Date______________

Amount of Proposal: $____________
_______________________________________

Signature of Authorized Representative 

_______________________________________

Date

EXHIBIT B

SUMMARY COST WORKSHEET

This worksheet is for summary purposes only. Offeror shall include a separate cost worksheet with a complete listing of parts used along with their model numbers.
	Job No.
	Description
	
	Cost

	1
	Phase I – Controls, Monitors and Cabling
	
	

	
	
	Materials
	$

	
	
	Tax  7.75%
	$

	
	
	Labor
	$

	
	Total:   (Includes all parts and labor)
	
	$

	2
	Cameras
	 
	

	
	
	Materials
	$

	
	
	Tax  7.25%
	$

	
	
	Labor
	$

	
	Total:   (Includes all parts and labor)
	
	$

	
	
	
	

	3
	Digital Video Recording 
	 
	

	
	
	Materials
	$

	
	
	Tax  7.25%
	$

	
	
	Labor
	$

	
	Total:   (Includes all parts and labor)
	
	

	3
	Warranty (3 Years)
	
	INCLUDED

	
	 
	
	 

	
	GRAND TOTAL
	
	$

	
	
	
	

	
	
	
	

	Completed by:
	Date:


(PLEASE PROVIDE ADDITIONAL COST WORKSHEET IF NECESSARY)

THIS PAGE MUST BE COMPLETED AND RETURNED WITH PROPOSAL
EXHIBIT C: SUBCONTRACTOR LIST
(COMPLETE AND RETURN WITH PROPOSAL)
SUBCONTRACTOR NO. 1 - COMPANY NAME: 

ADDRESS: 

CONTACT PERSON: 
 TITLE:

E-MAIL: 
 TELEPHONE NUMBER:


AMT. OF CONTRACT:  
 DATE AND TYPE OF SERVICE 


SUBCONTRACTOR NO. 2 - COMPANY NAME: 

ADDRESS: 

CONTACT PERSON: 
 TITLE:

E-MAIL: 
 TELEPHONE NUMBER:


AMT. OF CONTRACT:  
 DATE AND TYPE OF SERVICE 


SUBCONTRACTOR NO. 3 - COMPANY NAME: 

ADDRESS: 

CONTACT PERSON: 
 TITLE:

E-MAIL: 
 TELEPHONE NUMBER:


AMT. OF CONTRACT:  
 DATE AND TYPE OF SERVICE 


SUBCONTRACTOR NO. 4 - COMPANY NAME: 

ADDRESS: 

CONTACT PERSON: 
 TITLE:

E-MAIL: 
 TELEPHONE NUMBER:


AMT. OF CONTRACT:  
 DATE AND TYPE OF SERVICE 


SUBCONTRACTOR NO. 5 - COMPANY NAME: 

ADDRESS: 

CONTACT PERSON: 
 TITLE:

E-MAIL: 
 TELEPHONE NUMBER:


AMT. OF CONTRACT:  
 DATE AND TYPE OF SERVICE 


EXHIBIT D

32 Existing Camera Views

See Illustration on Following Page

1) Vehicle Entry (Jack in the Box)

2) Vehicle Sally Port- exit

3) Vehicle Sally Port – entrance

4) Pre-Booking Hallway

5) Booking

6) Booking Rel. Door Inner – B3

7) Booking Rel. Door Outer – B4

8) Transportation Hallway – T1, T2, T3, T4

9) Front Lobby Door

10) Front Lobby

11) Loading Dock (kitchen) doors – outer

12) Loading Dock (kitchen doors – inner

13) Loading Dock (kitchen) minimum security hallway

14) Medical

15) N-Section Pod Control

16) N-Section outer Lobby Door – inside

17) N-Section Outer Lobby Door – outside 

18) A-Pod Hall & Pod Control

19) B-Pod Hall& Pod Control

20) A-Pod West Wall – outside

21) Dispatch parking, sally port entry driveway

22) A-Pod North Wall- outside

23) B-Pod North Wall – outside 

24) B-Pod East Wall – outside

25) B-Pod East Wall—outside 

26) Front Parking Lot

27) Dispatch/Self-surrender door

28) Booking Release Parking Lot

29) Loading Dock & N-Section South Wall

30) Same as #7 (for Booking use)

31) Sally Port B-1 Entry Door Booking

32) Sally Port T1 Transport Hallway Door


[image: image2.emf]

EXHIBIT E

26 Additional Desired Camera Views

See Illustration on Following Page
1) Pre-Booking

2) A-Section

3) A-Section

4) B-Section

5) B-Section

6) A-Pod Multipurpose

7) B-Pod Multipurpose

8) C-Section

9) C-Section

10) D-Section

11) E-Section

12) F-Section

13) G-Section

14) A-Pod Recreation

15) B-Pod Recreation

16) Medical lobby door

17) Kitchen

18) Kitchen

19) Minimum Security Rec Yard 1 

20) Minimum Security Rec Yard 2

21) Minimum Security Multipurpose

22) Minimum Security Classroom (upper level)

23) Minimum Security Day Room

24) Minimum Security Day Room

25) Minimum Security Day Room

26) Minimum Security Day Room


[image: image3.emf]
EXHIBIT F

Personal Services Contract (Sample)

County of Nevada, California

	This Personal Services Contract is made between the COUNTY OF NEVADA (herein "County"), and

	
	Contractor’s Name
	


(herein “Contractor”), wherein County desires to retain a person or entity to provide the following services, materials and products generally described as follows:

	(§1)
	Description of Services
	


SUMMARY OF MATERIAL TERMS
	(§2)
	Maximum Contract Price:
	
	
	

	(§3)
	Contract Beginning Date:
	00/00/2007
	
Contract Termination Date:
	00/00/2008

	(§4)
	Liquidated Damages:
	
	
	


INSURANCE POLICIES
Designate all required policies:
Req’d
Not Req’d

	(§6)
Commercial General Liability  ($1,000,000)
	x
	
	
	

	(§7)
Automobile Liability  ($1,000,000)                          Personal Auto
	
	
	x
	

	


Business Rated
	x
	
	
	

	

                              Commercial Policy
	
	
	x
	

	(§8)
Worker’s Compensation
	x
	
	
	

	(§9)
Errors and Omissions  ($1,000,000)
	
	
	x
	


LICENSES
Designate all required licenses:

	(§14)
	


NOTICE & IDENTIFICATION
	(§26)
	Contractor:

	County of Nevada:

950 Maidu Avenue

Nevada City, California  95959

	
	Contact Person:
	Contact Person:

	
	(               )
	(   530   ) 265-

	
	e-mail:
	e-mail:

	
	Fed Tax Id:
	Fund:      101 -        - 5000 - 52150


	
	Contractor is a:  (check all that apply)

	
	
Corporation: 
	
	Calif.,
	
	Other,
	
	LLC,
	
	Non-profit

	
	
Partnership: 
	
	Calif.,
	
	Other,
	
	LLP,
	
	Limited

	
	
Person: 
	
	Indiv.,
	
	Dba,
	
	Ass’n
	
	Other


	
	EDD:  Independent Contractor Worksheet Required:
	
	Yes
	
	No

	
	HIPAA:  Schedule of Required Provisions (Exhibit D):
	
	Yes
	
	No


ATTACHMENTS
Designate all required attachments:
Req’d
Not Req’d

	
Exhibit A:
Schedule of Services (Provided by Contractor)
	x
	
	
	

	
Exhibit B:
Schedule of Charges and Payments (Paid by County)
	x
	
	
	

	
Exhibit C:
Schedule of Changes (Additions, Deletions & Amendments)
	
	
	x
	

	
Exhibit D:
Schedule of HIPAA Provisions (Protected Health Information)
	
	
	x
	


Terms


Each term of this Contract below specifically incorporates the information set forth in the Summary at page one (1) above as to each respective section (§) therein, as the case may be.

Services

1. Scope of Services:

Contractor shall provide all of the services, materials and products (herein “Services”) generally described in Exhibit "A", according to a performance schedule, if applicable, as set forth in said exhibit (herein “Performance Schedule”) .  If requested, Contractor agrees to serve as an expert witness for County in any third party action or proceeding arising out of this Contract.

Payment

2. Charges and Payments: 


The charges (herein “Charges”) for furnishing the aforesaid Services under this Contract are set forth in Exhibit "B", including, if applicable, hourly rates, unit pricing, and expense, mileage and cost limits.  Said Charges shall be presented monthly by invoice, and shall be due within thirty (30) days of receipt unless payment is otherwise set forth in said Exhibit “B”, and shall remain in effect for the entire term of this Contract, and any extension hereof.  In no event will the cost to County for Services to be provided under this Contract, including direct non-salary expenses, exceed the Maximum Contract Price set forth at §2, page one (1), above.

Time for Performance

3. Contract Term: 


This Contract shall commence on the Contract Beginning Date set forth at §3, page one (1), above.  All Services required to be provided by this Contract shall be completed and ready for acceptance no later than the Contract Termination Date set forth at §3, page one (1), above.

4. Liquidated Damages: 


County and Contractor agree that damages to County due to delays in timely providing Services in accordance with the aforesaid Performance Schedule and Contract Termination Date are impractical and difficult to ascertain.  Therefore, if §4 at page one (1) hereof shall indicate a daily amount as Liquidated Damages, County shall have the right to assess said daily sum, not as a penalty, but as and for damages to County due to delays in providing Services not in accordance with the said Performance Schedule, or later than the Contract Termination Date (herein “Delay”).  Liquidated Damages shall be offset against amounts owing to Contractor, including retention sums.


To the extent that any Delay is a result of matters or circumstances wholly beyond the control of Contractor, County may excuse said Liquidated Damages; provided however, that County may condition such excuse upon Contractor having given prompt notice to County of such delay immediately by telephone and thereafter by written explanation within a reasonable time.  The time for Contractor’s performance shall be extended by the period of delay, or such other period as County may elect.

5. Time of the Essence: 


Time is of the essence with respect to Contractor's performance under this Contract.  Delay in meeting the time commitments contemplated herein will result in the assessment of liquidated damages, if indicated at §4 at page one (1), hereof.  If Liquidated Damages are not so indicated, damages shall be as otherwise provided by law.

Insurance

6. Commercial General Liability Insurance:  (County Resolution No. 90674) 


If §6 at page one (1) hereof shall indicate a Commercial General Liability insurance policy is required, Contractor shall promptly provide proof of such insurance evidenced by a certificate of insurance with properly executed endorsements attached, which insurance shall include the following:


(i)
Broad form coverage for liability for death or bodily injury to a person or persons, and for property damage, combined single limit coverage, in the minimum amount indicated at said §6;


(ii)
An endorsement naming County as an additional insured under said policy, with respect to claims or suits arising from the Services provided or the relationships created under this Contract;


(iii)
A provision that said insurance shall be primary and other insurance maintained by the County of Nevada shall be excess only and not contributing with Contractor’s insurance;


(iv)
A provision that said insurance shall provide for thirty (30) days written notice to County of any termination or change in coverage protection, or reduction in coverage limits (except ten (10) days notice for non-payment of premium).

7. Automobile Liability Insurance:  (County Resolution No. 90676) 


If §7 at page one (1) hereof shall require either a Business Rated or a Commercial Automobile Liability insurance policy, for each vehicle used including non-owned and hired automobiles, Contractor shall promptly provide proof of such insurance evidenced by a certificate of insurance with properly executed endorsements attached, which insurance shall include the following provisions:


(i)
Liability protection for death or bodily injury to a person or persons, property damage, and uninsured and underinsured coverage, combined single limit coverage, in the minimum amount indicated at said §7;


(ii)
An endorsement naming County as an additional insured under said policy, with respect to claims or suits arising from the Services provided or the relationships created under this Contract;


(iii)
A provision that said insurance shall be primary and other insurance maintained by the County of Nevada shall be excess only and not contributing with Contractor’s insurance;


(iv)
A provision that said insurance shall provide for thirty (30) days written notice to County of any termination or change in coverage protection, or reduction in coverage limits (except ten (10) days notice for non-payment of premium).


If §7 at page one (1) hereof shall require a Personal Auto policy, for each vehicle used including non-owned and hired automobiles, Contractor shall promptly provide proof of such insurance in such amounts as required by law, evidenced by a certificate of insurance, or other proof acceptable to County.

8. Worker's Compensation:  (County Resolution No. 90674) 


If §8 at page one (1) hereof shall indicate a Worker’s Compensation insurance policy is required, Contractor shall maintain said policy as required by law, and shall promptly provide proof of such insurance evidenced by a certificate of insurance, or other documentation acceptable to County.


Before commencing to utilize employees in providing Services under this Contract, Contractor warrants that it will comply with the provisions of the California Labor Code, requiring Contractor to be insured for worker's compensation liability or to undertake a program of self-insurance therefore.

9. Errors and Omissions: 


If §9 at page one (1) hereof shall indicate Errors and Omissions insurance is required, Contractor shall maintain either a professional liability or errors & omissions policy in the minimum amount indicated, and shall promptly provide proof of such insurance evidenced by a certificate of insurance, or other documentation acceptable to County.

10. Miscellaneous Insurance Provisions:  (County Resolution No. 90675) 


All policies of insurance required by this Contract shall remain in full force and effect throughout the life of this Contract and shall be payable on a "per occurrence" basis unless County specifically consents to "claims made" coverage.  If the County does consent to "claims made" coverage and if Contractor changes insurance carriers during the term of this Contract or any extensions hereof, then Contractor shall carry prior acts coverage.


Insurance afforded by the additional insured endorsement shall apply as primary insurance, and other insurance maintained by County, its officers, agents and/or employees, shall be excess only and not contributing with insurance required or provided under this agreement.


At all times, Contractor shall keep and maintain in full force and effect throughout the duration of this Contract, policies of insurance required by this Contract which policies shall be issued by companies with a Best’s Rating of B+ or higher (B+, B++, A-, A, A+ or A++), or a Best’s Financial Performance Rating (FPR) of 6 or higher (6, 7, 8 or 9) according to the current Best’s Key Rating Guide, or shall be issued by companies approved by the County Risk Manager.  In the event the Best’s Rating or Best’s FPR shall fall below the rating required by this paragraph, Contractor shall be required to forthwith secure alternate policies which comply with the rating required by this paragraph, or be in material breach of this Contract. 


Failure to provide and maintain the insurance policies (including Best’s ratings), endorsements, or certificates of insurance required by this Contract shall constitute a material breach of this agreement (herein “Material Breach”); and, in addition to any other remedy available at law or otherwise, shall serve as a basis upon which County may elect to suspend payments hereunder, or terminate this Contract, or both.  (See §13, ¶2, below, as these provisions additionally apply to subcontractors.)

11. Indemnity: 

Nothing herein shall be construed as a limitation of Contractor’s liability, and Contractor shall indemnify, defend and hold harmless the County and its officers, officials, employees, agents and volunteers from any and all liabilities, claims, demands, damages, losses and expenses (including, without limitation, defense costs and attorney fees of litigation) which result from the negligent act, willful misconduct, or error or omission of Contractor, except such loss or damage which was caused by the sole negligence or willful misconduct of County or its officers, officials, employees, agents and volunteers.

Personal Services

12. Contractor as Independent: 


In providing services herein, Contractor, and the agents and employees thereof, shall act in an independent capacity and as an independent contractor and not as agents or employees of County.

13. Assignment and Subcontracting: 


Except as specifically provided herein, the rights, responsibilities, duties and Services to be performed under this Contract are personal to the Contractor and may not be transferred, subcontracted, or assigned without the prior written consent of County.  Contractor shall not substitute nor replace any personnel for those specifically named herein or in its proposal without the prior written consent of County.


Contractor shall cause and require each transferee, subcontractor and assignee to comply with the insurance provisions set forth herein at §§6, 7, 8, 9 and 10, to the extent such insurance provisions are required of Contractor under this Contract.  Failure of Contractor to so cause and require such compliance by each transferee, subcontractor and assignee shall constitute a Material Breach of this agreement, and, in addition to any other remedy available at law or otherwise, shall serve as a basis upon which County may elect to suspend payments hereunder, or terminate this Contract, or both.

14. Licensing and Permits: 


Contractor warrants (i) Contractor is qualified and competent to provide all Services under this contract; (ii) Contractor and all employees of Contractor hold all necessary and appropriate licenses therefore, including those licenses set forth at §14, page one (1) hereof; and, (iii) Contractor shall obtain, and remain in compliance with, all permits necessary and appropriate to provide said Services.  Contractor shall cause said licenses and permits to be maintained throughout the life of this Contract.  Failure to do so shall constitute a Material Breach of this agreement, and, in addition to any other remedy available at law or otherwise, shall serve as a basis upon which County may elect to suspend payments hereunder, or terminate this Contract, or both.

Public Contracts

15. Prevailing Wage and Apprentices: 


To the extent made applicable by law, performance of this contract shall be in conformity with the provisions of California Labor Code, Division 2, Part 7, Chapter 1, commencing with Section 1720 relating to prevailing wages which must be paid to workers employed on a public work as defined in Labor Code §§ 1720, et seq.; and shall be in conformity with Title 8 of the California Code of Regulations §§ 200 et seq., relating to apprenticeship.  Contractor shall comply with the provisions thereof at the commencement of Services to be provided herein, and thereafter during the term of this Contract.  A breach of the requirements of this section shall be deemed a material breach of this contract  A copy of the relevant prevailing wage as defined in Labor Code §1770 et seq. is on file with the Department of Transportation, County of Nevada, 950 Maidu Avenue, Nevada City, California 95959.  Copies will be provided upon request.

16. Accessibility (County Resolution No. 00190): 


It is the policy of the County of Nevada that all County services, programs, meetings, activities and facilities shall be accessible to all persons, and shall be in compliance with the provisions of the Americans With Disabilities Act and Title 24, California Code of Regulations.  To the extent this Contract shall call for Contractor to provide County contracted services directly to the public, Contractor shall certify that said direct Services are and shall be accessible to all persons.

17. Nondiscriminatory Employment: 


In providing Services hereunder, Contractor shall not discriminate against any employee or applicant for employment because of race, color, religion, age, sex, national origin, political affiliation, ancestry, marital status or disability.  This policy does not require the employment of unqualified persons.

18. Prior Nevada County Employment (County Resolution No. 03-353): 


Effective July 22, 2003, it is the policy of the County of Nevada that former members of the Board of Supervisors, a former CEO, or a former Purchasing Agent, for a period of twelve (12) months following the last day of employment, shall not enter into any relationship wherein that former employee or former Board member receives direct remuneration from a legal entity that, during the last twelve (12) months of said employment or Board member’s service, entered into a contract with, or received a grant from the County of Nevada.  Provided however, that this prohibition shall not apply to any employee that did not personally approve a contract with or grant to said legal entity during the last twelve (12) months of said employment, and shall not apply when the Board of Supervisors did not approve a contact with or grant to said legal entity during the last twelve (12) months of said Board member’s service.  


A violation of this policy shall subject Contractor to all of the remedies enumerated in said resolution and as otherwise provided in law, which remedies shall include but not be limited to injunctive relief, cancellation and voiding of this contract by County, a return of grant money, a cause of action for breach of contract, and entitlement to costs and reasonable attorney fees in any action based upon a breach of contract under this provision.

19. Cost Disclosure: 


In accordance with Government Code Section 7550, should a written report be prepared under or required by the provisions of this Contract, Contractor agrees to state in a separate section of said report the numbers and dollar amounts of all contracts and subcontracts relating to the preparation of said report

Default and Termination

20. Termination: 


A Material Breach of this Contract pursuant to the terms hereof or otherwise, in addition to any other remedy available at law or otherwise, shall serve as a basis upon which County may elect to immediately suspend payments hereunder, or terminate this contract, or both, without notice.


If Contractor fails to timely provide in any manner the services materials and products required under this Contract, or otherwise fails to promptly comply with the terms of this Contract, or violates any ordinance, regulation or other law which applies to its performance herein, County may terminate this Contract by giving five (5) days written notice to Contractor.


Either party may terminate this Contract for any reason, or without cause, by giving thirty (30) calendar days written notice to the other, which notice shall be sent by registered mail in conformity with the notice provisions, below.  In the event of termination not the fault of the Contractor, the Contractor shall be paid for services performed to the date of termination in accordance with the terms of this Contract.  Contractor shall be excused for failure to perform services herein if such performance is prevented by acts of God, strikes, labor disputes or other forces over which the Contractor has no control.


County, upon giving sixty (60) calendar days written notice to Contractor, shall have the right to terminate its obligations under this Contract at the end of any fiscal year if the County or the State of California, as the case may be, does not appropriate funds sufficient to discharge County’s obligations coming due under this contract.

Miscellaneous

21. Books of Record and Audit Provision: 


Contractor shall maintain complete records relating to this Contract for a period of five (5) years from the completion of Services hereunder.  Said records shall include but not be limited to bids and all supporting documents, original entry books, canceled checks, receipts, invoices, payroll records including subsistence, travel and field expenses, together with a general ledger itemizing all debits and credits

Contractor shall permit County to audit said records as well as such related records of any business entity controlled by Contractor.  Said audit may be conducted on Contractor's premises or at a location designated by County, upon fifteen (15) days notice.  Contractor shall promptly refund any moneys erroneously charged and shall be liable for the costs of audit if the audit establishes an over-charged of five percent (5%) or more of the Maximum Contract Price.

22. Intellectual Property: 


All original photographs, diagrams, plans, documents, information, reports, computer code and all recordable media together with all copyright interests thereto (herein “Intellectual Property”), which concern or relate to this Contract and which have been prepared by, for or submitted to Contractor, shall be the property of County, and upon fifteen (15) days demand therefore, shall be promptly delivered to County without exception.  Provided however, for personal purposes only and not for commercial, economic or any other purpose, Contractor may retain a copy of Contractor’s work product hereunder.

23. Entire Agreement: 


This Contract represents the entire agreement of the parties, and no representations have been made or relied upon except as set forth herein.  This Contract may be amended or modified only by written, fully executed agreement of the parties.

24. Jurisdiction and Venue: 


This Contract shall be construed in accordance with the laws of the State of California and the parties hereto agree that venue shall be in Nevada County, California.

25. Compliance with Applicable Laws: 


The Contractor shall comply with any and all federal, state and local laws, codes, ordinances, rules and regulations which relate to, concern of affect the Services to be provided by this Contract.

26. Notices: 


This Contract shall be managed and administered on County’s behalf by the department and the person set forth at §26, page one (1) of this Contract, and all invoices shall be submitted to and approved by this Department.  In addition to personal service, all notices may be given to County and to Contractor by first class mail addressed as set forth at said §26 Said notices shall be deemed received the fifth (5th) day following the date of mailing or the earlier date of personal service, as the case may be.

27. Authority: 


All individuals executing this Contract on behalf of Contractor represent and warrant that they are authorized to execute and deliver this Contract on behalf of Contractor.

IN WITNESS WHEREOF, the parties have executed this Contract effective on the Beginning Date, above.
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